## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING | BELOW_CITY_THRESHOLD | BELOW_ABSOLUTE_PSH_THRESHOLD
SINCERELY DYEING | FAULTY | MALAYSIA | BATU PAHAT | 2026-05-19 | 770.66 | 79.78 | 0.19 | 149.47 | 3472.63 | 0.19 | 1 | 0.19 | 0.171 | UNDERPERFORMING | 0 | TRUE | FALSE | TRUE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 126.04 | 0.62 | 149.49 | 18010.43 | 0.62 | 4 | 0.485 | 0.4365 | UNDERPERFORMING | 27.84 | TRUE | FALSE | TRUE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 26.53 | 0.47 | 33.48 | 5753.11 | 0.47 | 4 | 0.485 | 0.4365 | UNDERPERFORMING | -3.09 | TRUE | FALSE | TRUE
MAJOR ENGINEERING LOT 8 | OFFLINE | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 0 | 0.19 | 9.94 | 1277.08 | 0.19 | 4 | 0.485 | 0.4365 | UNDERPERFORMING | -60.82 | TRUE | TRUE | TRUE
VINDA PHASE 4 (MSB 3-2) | FAULTY | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 1137.49 | 0.66 | 1390.9 | 580847.67 | 0.66 | 4 | 0.485 | 0.4365 | UNDERPERFORMING | 36.08 | TRUE | FALSE | TRUE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 220.1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | UNDERPERFORMING |  | TRUE | FALSE | TRUE
IOI MALL PUCHONG (NEW WING) PHASE 2 | NORMAL | MALAYSIA | PUCHONG | 2026-03-19 | 2383.28 | 979.51 | 0.47 | 1116.79 | 347460.55 | 0.47 | 1 | 0.47 | 0.423 | UNDERPERFORMING | 0 | TRUE | FALSE | TRUE
KOSSAN RUBBER INDUSTRIES BERHAD | OFFLINE | MALAYSIA | SHAH ALAM | 2026-05-18 | 0 | 0 | 0 | 0 | 0 | 0 | 2 | 0.235 | 0.2115 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
THOR SPECIALTIES | NORMAL | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 32.81 | 0.47 | 42.67 | 5626.14 | 0.47 | 2 | 0.235 | 0.2115 | UNDERPERFORMING | 100 | TRUE | FALSE | TRUE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 533.82 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | UNDERPERFORMING |  | TRUE | FALSE | TRUE