## ALARMS_REPORT
PLANT NAME | CITY | DEVICE NAME | DEVICE SN | ALARM ID | ALARM NAME | SEVERITY
GUH METER 1 | BAYAN LEPAS | VASOLAR_INV_1 | 6T2379018351 | 2086 | ABNORMAL EXTERNAL FAN | MAJOR
C0176_GETHA | CHERAS | LOGGER-102256528260 | 102256528260 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
C0172_ATRIA SOUTH | DAMANSARA | LOGGER-102256528212 | 102256528212 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
PLEASURE LATEX PHASE 2 | JERAM | LOGGER-102347282208 | 102347282208 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
KOSSAN PAINT SDN BHD | KLANG | DONGLE-BT2590184594 | BT2590184594 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
KOSSAN PAINT SDN BHD | KLANG | INV (OFFICE) | HV2580239907 | 2032 | GRID LOSS | MAJOR
LIAN TECK SENG LOT 11 | KLANG | DONGLE-BT24C0060275 | BT24C0060275 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
PKT THE SHIP | KLANG | INVERTER_1 | 6T2379018298 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT THE SHIP | KLANG | INVERTER_2 R1 | BN2531021024 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT THE SHIP | KLANG | INVERTER_3 | 6T2379019623 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT THE SHIP | KLANG | INVERTER_4 | 6T2379019776 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT THE SHIP | KLANG | INVERTER_5 | 6T2379019768 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT THE SHIP | KLANG | INVERTER_6 | 6T2379019622 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT THE SHIP | KLANG | INVERTER_7 | 6T2379019759 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
SIME KANSAI PAINT SDN BHD | KLANG | INV-ES2550146111 | ES2550146111 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
VINDA PHASE 4 (MSB 3-2) | KLANG | INVERTER7 PHASE4 R1 | ES2580051502 | 2039 | AC OVERCURRENT | MAJOR
VINDA PHASE 4 (MSB 3-2) | KLANG | INVERTER7 PHASE4 R1 | ES2580051502 | 2032 | GRID LOSS | MAJOR
VINDA PHASE 4 (MSB 3-2) | KLANG | INVERTER7 PHASE4 R1 | ES2580051502 | 2009 | THE PV STRING IS SHORT-CIRCUITED TO THE GROUND. | MAJOR
QL ENDAU MARINE | KUALA ROMPIN | LOGGER-HV24C0331342 | HV24C0331342 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
REDANG LAGOON RESORT | KUALA TERENGGANU | DONGLE-2102312EHS10N9115979 | 2102312EHS10N9115979 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
REDANG LAGOON RESORT | KUALA TERENGGANU | INV-ES22A0089681 | ES22A0089681 | 2032 | GRID LOSS | MAJOR
LIAN FOO POULTRY FARM SDN BHD | MASJID TANAH | DONGLE-BT2541519026 | BT2541519026 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
LIAN FOO POULTRY FARM SDN BHD | MASJID TANAH | INV-ES2550000030 | ES2550000030 | 2032 | GRID LOSS | MAJOR
LIAN FOO POULTRY FARM SDN BHD | MASJID TANAH | INV-ES25C0125116 | ES25C0125116 | 2032 | GRID LOSS | MAJOR
LIAN FOO POULTRY FARM SDN BHD | MASJID TANAH | INV-ES25C0125117 | ES25C0125117 | 2032 | GRID LOSS | MAJOR
FIBERTEX PHASE 2 | NILAI | INVERTER 2 L3 OLD | 6T2379019735 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT 12 WAVES | PENANG | INVERTER 1 | 6T2459004867 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT 12 WAVES | PENANG | INVERTER 10 | 6T2449041556 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT 12 WAVES | PENANG | INVERTER 2 | 6T2459004831 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT 12 WAVES | PENANG | INVERTER 3 | 6T2449041406 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT 12 WAVES | PENANG | INVERTER 4 | ES2470045168 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT 12 WAVES | PENANG | INVERTER 5 | 6T2459004824 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT 12 WAVES | PENANG | INVERTER 6 | ES2470045204 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT 12 WAVES | PENANG | INVERTER 7 | 6T2449033633 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT 12 WAVES | PENANG | INVERTER 8 | 6T2459004809 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PKT 12 WAVES | PENANG | INVERTER 9 | 6T2449032075 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
PENGERANG INDEPENDENT TERMINAL | PENGERANG | DONGLE-LAB | TA23B0087782 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
MENARA PKNS PJ | PETALING JAYA | LOGGER-102466288020 | 102466288020 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
SJK (C) TSHING NIAN | PORT KLANG | DONGLE-BT2590184500 | BT2590184500 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
SJK (C) TSHING NIAN | PORT KLANG | DONGLE-BT2590184504 | BT2590184504 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
IOI MALL PUCHONG (NEW WING) PHASE 2 | PUCHONG | INVERTER 3 | GR2569071111 | 2015 | STRING LOSS | WARNING
IOI MALL PUCHONG (NEW WING) PHASE 2 | PUCHONG | INVERTER 3 | GR2569071111 | 2015 | STRING LOSS | WARNING
IOI MALL PUCHONG (NEW WING) PHASE 2 | PUCHONG | INVERTER 3 | GR2569071111 | 2015 | STRING LOSS | WARNING
IOI MALL PUCHONG (NEW WING) PHASE 2 | PUCHONG | INVERTER 3 | GR2569071111 | 2015 | STRING LOSS | WARNING
IOI MALL PUCHONG (NEW WING) PHASE 2 | PUCHONG | INVERTER 4 | GR2569071069 | 2015 | STRING LOSS | WARNING
IOI MALL PUCHONG (NEW WING) PHASE 2 | PUCHONG | INVERTER 4 | GR2569071069 | 2015 | STRING LOSS | WARNING
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 1 - TERA | BN2461065466 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 10 - TERA | 6T2469039407 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 11 - TERA | BN2461066739 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 12 - TERA | BN2461066801 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 2 - TERA | BN2461066770 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 21 R1-TERA | 6T2599057796 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 3 R1 - TERA | BN2521059950 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 4 - TERA | 6T2479017517 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 5 - TERA | BN2461066760 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 6 - TERA | BN2461066754 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 7 - TERA | 6T2479017524 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 8 - TERA | BN2461065428 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 9 - TERA | 6T2479017523 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
MARINE GOLD SDN BHD | RAWANG | DONGLE-HV2310773587 | HV2310773587 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
MARINE GOLD SDN BHD | RAWANG | DONGLE-HV2310776105 | HV2310776105 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
MARINE GOLD SDN BHD | RAWANG | DONGLE-HV2310776109 | HV2310776109 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
MARINE GOLD SDN BHD | RAWANG | DONGLE-TA2340291437 | TA2340291437 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
MARINE GOLD SDN BHD | RAWANG | DONGLE-TA2340293153 | TA2340293153 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
MARINE GOLD SDN BHD | RAWANG | DONGLE-TA2340293476 | TA2340293476 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
PKT 8 WAVES | SHAH ALAM | INVERTER_1 | BN2441065390 | 2032 | GRID LOSS | MAJOR
PKT 8 WAVES | SHAH ALAM | INVERTER_2 | 6T2439012020 | 2032 | GRID LOSS | MAJOR
THP MEDICAL | SIMPANG AMPAT | VASOLAR INV 1 | 6T2279009011 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
THP MEDICAL | SIMPANG AMPAT | VASOLAR INV 2 | 6T2279008977 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
THP MEDICAL | SIMPANG AMPAT | VASOLAR INV 3 | 6T2279009018 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
BOILERMECH LOT 873 | SUBANG JAYA | LOGGER-102516002824 | 102516002824 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
QL FARM SDN BHD | TAWAU | INVERTER 1 | ES2580051653 | 2032 | GRID LOSS | MAJOR
QL FARM SDN BHD | TAWAU | INVERTER 2 | ES2580051643 | 2032 | GRID LOSS | MAJOR
QL FARM SDN BHD | TAWAU | INVERTER3 | ES2490076207 | 2032 | GRID LOSS | MAJOR
QL FARM SDN BHD | TAWAU | LOGGER-102466853213 | 102466853213 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
SABAH CHINESE HIGH SCHOOL (CULTURE AND EDUCATION) | TAWAU | LOGGER-102297461111 | 102297461111 | 999999999 | NETWORK CONNECTION ERROR | MAJOR