## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING | BELOW_CITY_THRESHOLD | BELOW_ABSOLUTE_PSH_THRESHOLD
TS UNITED METAL | NORMAL | MALAYSIA | ALOR GAJAH | 2024-05-16 | 25.155 | 0 | 3.8 | 95.59 | 71809.25 | 3.8 | 1 | 3.8 | 3.42 | NO COMPARISON REQUIRED | 0 | FALSE | FALSE | FALSE
BIMB BDR PENAWAR - 1ST FLOOR | NORMAL | MALAYSIA | BANDAR PENAWAR | 2025-04-28 | 15.47 | 0 | 2.97 | 45.92 | 335.3 | 2.97 | 2 | 2.965 | 2.6685 | UNDERPERFORMING | 0.17 | TRUE | FALSE | TRUE
BIMB BDR PENAWAR - G FLOOR | NORMAL | MALAYSIA | BANDAR PENAWAR | 2025-04-29 | 15.47 | 0 | 2.96 | 45.74 | 2313.36 | 2.96 | 2 | 2.965 | 2.6685 | UNDERPERFORMING | -0.17 | TRUE | FALSE | TRUE
KOMPLEX PKNS BANGI | NORMAL | MALAYSIA | BANGI | 2024-09-04 | 379.08 | 0 | 2.21 | 838.96 | 458825.41 | 2.21 | 1 | 2.21 | 1.989 | UNDERPERFORMING | 0 | TRUE | FALSE | TRUE
JIANN LIH SAFETY PRODUCT | NORMAL | MALAYSIA | BANTING | 2024-03-21 | 475.605 | 0 | 2.68 | 1276.26 | 854453.1 | 2.68 | 1 | 2.68 | 2.412 | UNDERPERFORMING | 0 | TRUE | FALSE | TRUE
C0102_QL BATANG KALI | NORMAL | MALAYSIA | BATANG KALI | 2022-02-24 | 526 | 0 | 8.61 | 4529.73 | 3017691.52 | 8.61 | 1 | 8.61 | 7.749 | NO COMPARISON REQUIRED | 0 | FALSE | FALSE | FALSE
BP PLASTICS BP9 | NORMAL | MALAYSIA | BATU PAHAT | 2025-07-22 | 2979.1 | 0 | 1.69 | 5044.52 | 3451675.29 | 1.69 | 4 | 1.6875 | 1.5188 | UNDERPERFORMING | 0.15 | TRUE | FALSE | TRUE
BP PLASTICS HQ | NORMAL | MALAYSIA | BATU PAHAT | 2025-01-16 | 1063.425 | 8.32 | 1.54 | 1637.27 | 1887432.93 | 1.54 | 4 | 1.6875 | 1.5188 | UNDERPERFORMING | -8.74 | TRUE | FALSE | TRUE
CK PACKAGING AND PLASTIC INDUSTRIES | NORMAL | MALAYSIA | BATU PAHAT | 2026-01-19 | 138.88 | 0 | 1.9 | 264.37 | 68438.56 | 1.9 | 4 | 1.6875 | 1.5188 | UNDERPERFORMING | 12.59 | TRUE | FALSE | TRUE
SINCERELY DYEING | NORMAL | MALAYSIA | BATU PAHAT | 2026-05-19 | 770.66 | 0 | 1.62 | 1247.24 | 10863.89 | 1.62 | 4 | 1.6875 | 1.5188 | UNDERPERFORMING | -4 | TRUE | FALSE | TRUE
GUH METER 1 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 210.6 | 0 | 4.73 | 995.44 | 552452.63 | 4.73 | 3 | 4.7567 | 4.281 | NORMAL | -0.56 | FALSE | FALSE | FALSE
GUH METER 2 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 278.46 | 0 | 4.78 | 1330.64 | 688877.08 | 4.78 | 3 | 4.7567 | 4.281 | NORMAL | 0.49 | FALSE | FALSE | FALSE
GUH METER 3 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-05-04 | 534.69 | 0 | 4.76 | 2546.04 | 1356669.85 | 4.76 | 3 | 4.7567 | 4.281 | NORMAL | 0.07 | FALSE | FALSE | FALSE
TELEWIRING | NORMAL | MALAYSIA | CHENG | 2024-05-16 | 25.155 | 0 | 3.33 | 83.73 | 67040.95 | 3.33 | 1 | 3.33 | 2.997 | NO COMPARISON REQUIRED | 0 | FALSE | FALSE | FALSE
C0176_GETHA | OFFLINE | MALAYSIA | CHERAS | 2023-03-01 | 178.215 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | UNDERPERFORMING |  | TRUE | FALSE | TRUE
C0172_ATRIA NORTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 130.8 | 0 | 2.16 | 282.35 | 399346.45 | 2.16 | 3 | 2.3667 | 2.13 | UNDERPERFORMING | -8.73 | TRUE | FALSE | TRUE
C0172_ATRIA SOUTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 287.76 | 0 | 2.18 | 628.5 | 859263.78 | 2.18 | 3 | 2.3667 | 2.13 | UNDERPERFORMING | -7.89 | TRUE | FALSE | TRUE
RESTORAN CHIMAEK (KFRY) | NORMAL | MALAYSIA | DAMANSARA | 2024-10-25 | 24.4 | 0 | 2.76 | 67.33 | 50308.59 | 2.76 | 3 | 2.3667 | 2.13 | UNDERPERFORMING | 16.62 | TRUE | FALSE | TRUE
QL ENDAU DEEP SEA FISHING | NORMAL | MALAYSIA | ENDAU | 2025-09-04 | 897.76 | 0 | 3.28 | 2940.39 | 710063.57 | 3.28 | 1 | 3.28 | 2.952 | NO COMPARISON REQUIRED | 0 | FALSE | FALSE | FALSE
PROGUARD SAFETY MANUFACTURING SDN BHD | NORMAL | MALAYSIA | HULU LANGAT | 2022-12-30 | 202.195 | 0 | 2.4 | 485.6 | 586041.04 | 2.4 | 1 | 2.4 | 2.16 | UNDERPERFORMING | 0 | TRUE | FALSE | TRUE
GLASS PLASTIC PACKAGING | NORMAL | MALAYSIA | IPOH | 2025-04-19 | 704.94 | 0 | 4.07 | 2868.43 | 925887.76 | 4.07 | 3 | 4.55 | 4.095 | UNDERPERFORMING | -10.55 | TRUE | TRUE | FALSE
SWH INDUSTRIES (PLOT 132113) | FAULTY | MALAYSIA | IPOH | 2024-05-21 | 752.98 | 0 | 4.89 | 3679.6 | 1791349.71 | 4.89 | 3 | 4.55 | 4.095 | NORMAL | 7.47 | FALSE | FALSE | FALSE
SWH INDUSTRIES (PLOT6311) | NORMAL | MALAYSIA | IPOH | 2025-01-15 | 204.96 | 0 | 4.69 | 960.95 | 352681.25 | 4.69 | 3 | 4.55 | 4.095 | NORMAL | 3.08 | FALSE | FALSE | FALSE
PLEASURE LATEX | NORMAL | MALAYSIA | JERAM | 2023-07-25 | 520.3 | 0 | 2.94 | 1527.83 | 1783474.94 | 2.94 | 2 | 1.47 | 1.323 | UNDERPERFORMING | 100 | TRUE | FALSE | TRUE
PLEASURE LATEX PHASE 2 | OFFLINE | MALAYSIA | JERAM | 2024-12-20 | 1010.295 | 0 | 0 | 0 | 0 | 0 | 2 | 1.47 | 1.323 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
FOX ONE LOT 14 | NORMAL | MALAYSIA | KAJANG | 2025-08-13 | 91.76 | 0 | 3.61 | 331.55 | 72898.49 | 3.61 | 9 | 3.2211 | 2.899 | NORMAL | 12.07 | FALSE | FALSE | FALSE
FOX ONE LOT 8 | NORMAL | MALAYSIA | KAJANG | 2026-01-28 | 91.76 | 0 | 3.69 | 338.66 | 34382.07 | 3.69 | 9 | 3.2211 | 2.899 | NORMAL | 14.56 | FALSE | FALSE | FALSE
IOI KNOWLEDGE VISION SDN BHD | NORMAL | MALAYSIA | KAJANG | 2025-06-19 | 71.92 | 0 | 3.36 | 241.93 | 88252.13 | 3.36 | 9 | 3.2211 | 2.899 | NORMAL | 4.31 | FALSE | FALSE | FALSE
IOI MAYANG DEVELOPMENT | NORMAL | MALAYSIA | KAJANG | 2025-07-18 | 71.92 | 0 | 3.04 | 218.35 | 57189.44 | 3.04 | 9 | 3.2211 | 2.899 | NORMAL | -5.62 | FALSE | FALSE | FALSE
LKW FROZEN SDN BHD | NORMAL | MALAYSIA | KAJANG | 2024-05-12 | 54.99 | 0 | 2.8 | 154.22 | 100554.77 | 2.8 | 9 | 3.2211 | 2.899 | UNDERPERFORMING | -13.07 | TRUE | TRUE | TRUE
P.A. FOOD SDN. BHD. | NORMAL | MALAYSIA | KAJANG | 2024-05-07 | 25.155 | 0 | 3.08 | 77.47 | 65829.5 | 3.08 | 9 | 3.2211 | 2.899 | NORMAL | -4.38 | FALSE | FALSE | FALSE
UCS_BLOCK A | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 125 | 0 | 3.11 | 388.72 | 496739.6 | 3.11 | 9 | 3.2211 | 2.899 | NORMAL | -3.45 | FALSE | FALSE | FALSE
UCS_BLOCK B | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 135 | 0 | 3.18 | 428.89 | 576927.4 | 3.18 | 9 | 3.2211 | 2.899 | NORMAL | -1.28 | FALSE | FALSE | FALSE
UCS_BLOCK C | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 185.5 | 0 | 3.12 | 578.63 | 794409.41 | 3.12 | 9 | 3.2211 | 2.899 | NORMAL | -3.14 | FALSE | FALSE | FALSE
FDP AND MTB INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KERLING | 2026-01-25 | 186 | 0 | 4.77 | 887.93 | 21321.75 | 4.77 | 1 | 4.77 | 4.293 | NO COMPARISON REQUIRED | 0 | FALSE | FALSE | FALSE
AMT PC DISTRIBUTORS SDN. BHD. | NORMAL | MALAYSIA | KLANG | 2024-01-04 | 88.335 | 0 | 2.33 | 206.25 | 262606.31 | 2.33 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 12.17 | TRUE | FALSE | TRUE
ASHITA COMMUNICATION | OFFLINE | MALAYSIA | KLANG | 2025-11-03 | 91.76 | 0 | 0 | 0 | 0 | 0 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 0 | 2.63 | 2394.92 | 288291.99 | 2.63 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 26.62 | TRUE | FALSE | TRUE
ADVANCE VI TECH LOT 1629 | NORMAL | MALAYSIA | KLANG | 2024-10-27 | 240.13 | 0 | 2.71 | 650.62 | 426431.99 | 2.71 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 30.47 | TRUE | FALSE | TRUE
BUNCHO (M) SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-10-01 | 91.14 | 0 | 2.88 | 262.21 | 39162.01 | 2.88 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 38.65 | TRUE | FALSE | TRUE
HOON YUEN FURNITURE | NORMAL | MALAYSIA | KLANG | 2023-11-20 | 88.335 | 0 | 2.58 | 228.01 | 249359.67 | 2.58 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 24.21 | TRUE | FALSE | TRUE
KCCCI 2FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 4.13 | 0 | 2.09 | 8.62 | 5477.56 | 2.09 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 0.62 | TRUE | FALSE | TRUE
KCCCI FIRST FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 15.34 | 0 | 2.01 | 30.81 | 21963.87 | 2.01 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | -3.23 | TRUE | FALSE | TRUE
KCCCI GROUND FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 3.54 | 0 | 1.94 | 6.87 | 4693.59 | 1.94 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | -6.6 | TRUE | FALSE | TRUE
KOSSAN PAINT SDN BHD | FAULTY | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 0 | 2.3 | 552.66 | 21240.24 | 2.3 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 10.73 | TRUE | FALSE | TRUE
KAMMA KLANG ENTERPRISE | NORMAL | MALAYSIA | KLANG | 2023-03-28 | 88 | 0 | 2.36 | 207.93 | 339896.75 | 2.36 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 13.62 | TRUE | FALSE | TRUE
KWANG HUA PERSENDIRIAN METER 2-3-4-5-6 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 302.475 | 0 | 1.42 | 428.37 | 1125644.47 | 1.42 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | -31.64 | TRUE | TRUE | TRUE
LIAN TECK SENG LOT 11 | OFFLINE | MALAYSIA | KLANG | 2025-05-06 | 18.04 | 0 | 0 | 0 | 0 | 0 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 0 | 1.85 | 132.8 | 6391.6 | 1.85 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | -10.94 | TRUE | TRUE | TRUE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 0 | 0.96 | 50.24 | 1491.87 | 0.96 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | -53.78 | TRUE | TRUE | TRUE
MEWAH OILS SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-12-01 | 220.1 | 0 | 1.81 | 399 | 37863.54 | 1.81 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | -12.86 | TRUE | TRUE | TRUE
MIAW FRESH | NORMAL | MALAYSIA | KLANG | 2024-05-31 | 24.57 | 0 | 0.11 | 2.61 | 57540.6 | 0.11 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | -94.7 | TRUE | TRUE | TRUE
MAXTWO ENGINEERING (FACTORY) | NORMAL | MALAYSIA | KLANG | 2025-04-21 | 35.38 | 0 | 2.67 | 94.3 | 37782.92 | 2.67 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 28.54 | TRUE | FALSE | TRUE
PKT THE SHIP | NORMAL | MALAYSIA | KLANG | 2025-01-21 | 1068.21 | 0 | 2.22 | 2369.04 | 1299156.29 | 2.22 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 6.88 | TRUE | FALSE | TRUE
ROYAL KLANG CLUB | NORMAL | MALAYSIA | KLANG | 2025-07-14 | 91.76 | 0 | 2.15 | 197.63 | 90527.3 | 2.15 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 3.51 | TRUE | FALSE | TRUE
RS POLY INDUSTRY | NORMAL | MALAYSIA | KLANG | 2024-08-02 | 727.155 | 0 | 2.83 | 2059.46 | 1477169.38 | 2.83 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 36.24 | TRUE | FALSE | TRUE
SIME KANSAI PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-09-17 | 123.825 | 0 | 1.83 | 226.7 | 107362.78 | 1.83 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | -11.9 | TRUE | TRUE | TRUE
SJK (C) WU TECK | NORMAL | MALAYSIA | KLANG | 2025-12-25 | 71.92 | 0 | 2.5 | 179.5 | 43282.64 | 2.5 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 20.36 | TRUE | FALSE | TRUE
SJK （ C ） PIN HWA 1 | NORMAL | MALAYSIA | KLANG | 2025-09-23 | 183.52 | 0 | 2.06 | 378 | 119796.54 | 2.06 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | -0.83 | TRUE | FALSE | TRUE
SM CHUNG CHUNG HUA (PSDN) KLANG | NORMAL | MALAYSIA | KLANG | 2022-02-14 | 420.195 | 0 | 2.24 | 943.05 | 340348.83 | 2.24 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 7.84 | TRUE | FALSE | TRUE
SP LOGISTICS SDN BHD | NORMAL | MALAYSIA | KLANG | 2024-06-14 | 90.675 | 0 | 2.38 | 215.46 | 203174.74 | 2.38 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 14.58 | TRUE | FALSE | TRUE
TOMEI | NORMAL | MALAYSIA | KLANG | 2024-11-07 | 215.28 | 0 | 2.46 | 530.52 | 355208.44 | 2.46 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 18.43 | TRUE | FALSE | TRUE
TEMBIKAR WEI KHING | NORMAL | MALAYSIA | KLANG | 2025-01-27 | 977.22 | 0 | 2.81 | 2749.58 | 1186680.26 | 2.81 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 35.28 | TRUE | FALSE | TRUE
TONG SEH | NORMAL | MALAYSIA | KLANG | 2024-01-18 | 260.91 | 0 | 2.48 | 646.83 | 680692.49 | 2.48 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 19.39 | TRUE | FALSE | TRUE
UC BLASTING PAINTING | NORMAL | MALAYSIA | KLANG | 2024-05-08 | 219.96 | 0 | 2.7 | 594.35 | 574090.91 | 2.7 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 29.99 | TRUE | FALSE | TRUE
VINDA PHASE 4 (MSB 3-2) | NORMAL | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 0 | 2.47 | 5228.41 | 608585.12 | 2.47 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 18.91 | TRUE | FALSE | TRUE
VISKO INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KLANG | 2023-07-07 | 948.75 | 0 | 2.86 | 2715.41 | 3328165.78 | 2.86 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 37.69 | TRUE | FALSE | TRUE
VINDA PHASE 1 AND 2 (MSB 2) | NORMAL | MALAYSIA | KLANG | 2023-08-20 | 2561.65 | 0 | 2.08 | 5325.41 | 7382574.63 | 2.08 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 0.14 | TRUE | FALSE | TRUE
VINDA PHASE 3 (MSB 3-1) | NORMAL | MALAYSIA | KLANG | 2024-06-28 | 1502.28 | 0 | 2.15 | 3225.28 | 4853184.36 | 2.15 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | 3.51 | TRUE | FALSE | TRUE
KWANG HUA PERSENDIRIAN METER 1 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 73.03 | 0 | 1.83 | 133.8 | 345547.52 | 1.83 | 35 | 2.0771 | 1.8694 | UNDERPERFORMING | -11.9 | TRUE | TRUE | TRUE
APEX UNIPARTS | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 41.535 | 0 | 2.24 | 93.14 | 98646.54 | 2.24 | 3 | 2.4367 | 2.193 | UNDERPERFORMING | -8.07 | TRUE | FALSE | TRUE
KLUANG COFFEE POWDER | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 25.135 | 0 | 2.38 | 59.8 | 65160.38 | 2.38 | 3 | 2.4367 | 2.193 | UNDERPERFORMING | -2.33 | TRUE | FALSE | TRUE
SAWIPAC SDN BHD | NORMAL | MALAYSIA | KLUANG | 2025-09-04 | 44.28 | 0 | 2.69 | 119.29 | 35236.62 | 2.69 | 3 | 2.4367 | 2.193 | UNDERPERFORMING | 10.4 | TRUE | FALSE | TRUE
CHYE JOO HIANG SDN. BHD. (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2025-02-22 | 25.83 | 0 | 5.56 | 143.72 | 43582.15 | 5.56 | 3 | 4.87 | 4.383 | NORMAL | 14.17 | FALSE | FALSE | FALSE
SWEE CHEONG WATCH SDN BHD (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 0 | 4.92 | 43.55 | 13100.47 | 4.92 | 3 | 4.87 | 4.383 | NORMAL | 1.03 | FALSE | FALSE | FALSE
SWEE CHEONG WATCH SDN BHD (METER 2) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 0 | 4.13 | 36.54 | 12269.05 | 4.13 | 3 | 4.87 | 4.383 | UNDERPERFORMING | -15.2 | TRUE | TRUE | FALSE
SUCCESS ELECTRONIC LOT 3 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-29 | 251.72 | 0 | 1.83 | 461.08 | 101641.76 | 1.83 | 2 | 1.94 | 1.746 | UNDERPERFORMING | -5.67 | TRUE | FALSE | TRUE
SUCCESS ELECTRONIC LOT 7 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-31 | 395.56 | 0 | 2.05 | 810.29 | 132610.5 | 2.05 | 2 | 1.94 | 1.746 | UNDERPERFORMING | 5.67 | TRUE | FALSE | TRUE
QL AGROFOOD SDN BHD | NORMAL | MALAYSIA | KOTA KINABALU | 2025-06-25 | 409.92 | 0 | 2.92 | 1198.16 | 297657.42 | 2.92 | 1 | 2.92 | 2.628 | UNDERPERFORMING | 0 | TRUE | FALSE | TRUE
KIARA BAY | NORMAL | MALAYSIA | KUALA LUMPUR | 2025-01-21 | 1004.18 | 0 | 2.61 | 2620.28 | 1424545.68 | 2.61 | 3 | 2.6867 | 2.418 | UNDERPERFORMING | -2.85 | TRUE | FALSE | TRUE
MENARA PJD | NORMAL | MALAYSIA | KUALA LUMPUR | 2024-05-18 | 80.145 | 0 | 2.56 | 205.48 | 157822.12 | 2.56 | 3 | 2.6867 | 2.418 | UNDERPERFORMING | -4.71 | TRUE | FALSE | TRUE
TOA PAINT KEPONG WAREHOUSE | NORMAL | MALAYSIA | KUALA LUMPUR | 2023-11-02 | 25.74 | 0 | 2.89 | 74.48 | 79113.67 | 2.89 | 3 | 2.6867 | 2.418 | UNDERPERFORMING | 7.57 | TRUE | FALSE | TRUE
QL ENDAU MARINE | OFFLINE | MALAYSIA | KUALA ROMPIN | 2025-08-01 | 430.28 | 0 | 0 | 0 | 513509.27 | 0 | 2 | 1.755 | 1.5795 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
TIMURIKAN TRENGGANU MARINE PRODUCTS SDN BHD | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-12-08 | 260.4 | 0 | 3.51 | 913.48 | 20735.67 | 3.51 | 2 | 1.755 | 1.5795 | NORMAL | 100 | FALSE | FALSE | FALSE
AFI BRAKE MANUFACTURING SDN BHD | NORMAL | MALAYSIA | KUALA TERENGGANU | 2023-10-02 | 454.3 | 0 | 4.01 | 1821.85 | 1350597.81 | 4.01 | 3 | 2.65 | 2.385 | NORMAL | 51.32 | FALSE | FALSE | FALSE
AFI METAL | NORMAL | MALAYSIA | KUALA TERENGGANU | 2024-03-14 | 55.35 | 0 | 3.94 | 218.09 | 127420.4 | 3.94 | 3 | 2.65 | 2.385 | NORMAL | 48.68 | FALSE | FALSE | FALSE
REDANG LAGOON RESORT | OFFLINE | MALAYSIA | KUALA TERENGGANU | 2023-02-16 | 53.41 | 0 | 0 | 0 | 0 | 0 | 3 | 2.65 | 2.385 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
C0156_DENIM CODE | NORMAL | MALAYSIA | KULIM | 2022-09-04 | 86.445 | 0 | 4.68 | 404.4 | 382355.28 | 4.68 | 1 | 4.68 | 4.212 | NO COMPARISON REQUIRED | 0 | FALSE | FALSE | FALSE
ECO OILS - LAHAD DATU | NORMAL | MALAYSIA | LAHAD DATU | 2024-10-15 | 39.78 | 0 | 2.68 | 106.65 | 61399.95 | 2.68 | 1 | 2.68 | 2.412 | UNDERPERFORMING | 0 | TRUE | FALSE | TRUE
LUNAS JAYA PETROL SDN BHD | NORMAL | MALAYSIA | LUNAS | 2025-03-19 | 25.86 | 0 | 5.25 | 135.68 | 34992.94 | 5.25 | 1 | 5.25 | 4.725 | NO COMPARISON REQUIRED | 0 | FALSE | FALSE | FALSE
QL PAJAM PHASE 2 | NORMAL | MALAYSIA | MANTIN | 2025-08-05 | 566.68 | 0 | 4759.56 | 2697147.07 | 3187694.22 | 4759.56 | 1 | 4759.56 | 4283.604 | NO COMPARISON REQUIRED | 0 | FALSE | FALSE | FALSE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 220.1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | UNDERPERFORMING |  | TRUE | FALSE | TRUE
FIBERTEX PHASE 2 | NORMAL | MALAYSIA | NILAI | 2024-08-30 | 1251.704 | 0 | 3.14 | 3934.19 | 3237729.86 | 3.14 | 2 | 2.65 | 2.385 | NORMAL | 18.49 | FALSE | FALSE | FALSE
WEIDA MARKETING SDN. BHD. | NORMAL | MALAYSIA | NILAI | 2022-12-01 | 500.31 | 0 | 2.16 | 1082.34 | 1734344.56 | 2.16 | 2 | 2.65 | 2.385 | UNDERPERFORMING | -18.49 | TRUE | TRUE | TRUE
KLH SDN BHD | NORMAL | MALAYSIA | PADANG SERAI | 2024-09-05 | 265.005 | 0 | 4.64 | 1229.03 | 468973.58 | 4.64 | 1 | 4.64 | 4.176 | NO COMPARISON REQUIRED | 0 | FALSE | FALSE | FALSE
QL AGROVENTURE | NORMAL | MALAYSIA | PAPAR | 2022-05-19 | 418.965 | 0 | 2.31 | 969.87 | 1355198.33 | 2.31 | 1 | 2.31 | 2.079 | UNDERPERFORMING | 0 | TRUE | FALSE | TRUE
ECOOILS (PHASE 2) - P.GUDANG | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-13 | 38.61 | 0 | 1.52 | 58.67 | 42590.85 | 1.52 | 4 | 1.375 | 1.2375 | UNDERPERFORMING | 10.55 | TRUE | FALSE | TRUE
IOI PAN - CENTURY | NORMAL | MALAYSIA | PASIR GUDANG | 2023-05-31 | 116.815 | 0 | 1.98 | 231.17 | 278445.76 | 1.98 | 4 | 1.375 | 1.2375 | UNDERPERFORMING | 44 | TRUE | FALSE | TRUE
KISWIRE CORD PHASE 1 (DATA) | OFFLINE | MALAYSIA | PASIR GUDANG | 2023-10-24 | 1248.5 | 0 | 0 | 0 | 0 | 0 | 4 | 1.375 | 1.2375 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
KISWIRE CORD SDN BHD | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-03 | 4732.09 | 0 | 2 | 9453.4 | 5294966.37 | 2 | 4 | 1.375 | 1.2375 | UNDERPERFORMING | 45.45 | TRUE | FALSE | TRUE
KB AIS SDN. BHD. | NORMAL | MALAYSIA | PASIR MAS | 2022-07-23 | 49.05 | 0 | 4.17 | 204.51 | 236149.13 | 4.17 | 1 | 4.17 | 3.753 | NO COMPARISON REQUIRED | 0 | FALSE | FALSE | FALSE
BRC INDUSTRIES | NORMAL | MALAYSIA | PENANG | 2024-05-26 | 162.63 | 0 | 5.17 | 840.2 | 414289.62 | 5.17 | 3 | 4.1967 | 3.777 | NORMAL | 23.19 | FALSE | FALSE | FALSE
LEAN GIAP ENTERPRISE SDN BHD | NORMAL | MALAYSIA | PENANG | 2024-03-13 | 7.02 | 0 | 3.74 | 26.24 | 20269.25 | 3.74 | 3 | 4.1967 | 3.777 | UNDERPERFORMING | -10.88 | TRUE | TRUE | FALSE
PKT 12 WAVES | NORMAL | MALAYSIA | PENANG | 2025-02-05 | 1337.31 | 0 | 3.68 | 4927.92 | 1439548.82 | 3.68 | 3 | 4.1967 | 3.777 | UNDERPERFORMING | -12.31 | TRUE | TRUE | FALSE
PENGERANG INDEPENDENT TERMINAL | FAULTY | MALAYSIA | PENGERANG | 2024-10-24 | 718.965 | 0 | 2.87 | 2066.3 | 1267713.97 | 2.87 | 1 | 2.87 | 2.583 | UNDERPERFORMING | 0 | TRUE | FALSE | TRUE
CHYE JOO HIANG SDN. BHD. (METER 2) | NORMAL | MALAYSIA | PENGKALAN CHEPA | 2025-02-20 | 25.83 | 0 | 5.05 | 130.34 | 45353.25 | 5.05 | 1 | 5.05 | 4.545 | NO COMPARISON REQUIRED | 0 | FALSE | FALSE | FALSE
DURASAFE SDN. BHD. | NORMAL | MALAYSIA | PERAI | 2024-12-02 | 91.5 | 0 | 4.69 | 429.16 | 184413.84 | 4.69 | 3 | 4.9 | 4.41 | NORMAL | -4.29 | FALSE | FALSE | FALSE
MULTI CHOICE (M) SDN BHD | NORMAL | MALAYSIA | PERAI | 2025-10-26 | 423.46 | 0 | 4.75 | 2009.5 | 235624.97 | 4.75 | 3 | 4.9 | 4.41 | NORMAL | -3.06 | FALSE | FALSE | FALSE
TEONG HUAT MEDICAL | NORMAL | MALAYSIA | PERAI | 2025-11-26 | 349.32 | 0 | 5.26 | 1838.05 | 122513.55 | 5.26 | 3 | 4.9 | 4.41 | NORMAL | 7.35 | FALSE | FALSE | FALSE
GEMILITE SDN BERHAD | NORMAL | MALAYSIA | PETALING JAYA | 2025-02-20 | 39.36 | 0 | 1.98 | 77.87 | 56151.19 | 1.98 | 3 | 1.3 | 1.17 | UNDERPERFORMING | 52.31 | TRUE | FALSE | TRUE
MENARA PKNS PJ | OFFLINE | MALAYSIA | PETALING JAYA | 2026-02-11 | 112.32 | 0 | 0 | 0 | 2181.01 | 0 | 3 | 1.3 | 1.17 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
SUCCESS ELECTRONIC LOT 5 | NORMAL | MALAYSIA | PETALING JAYA | 2025-12-29 | 80.6 | 0 | 1.92 | 154.37 | 22620.54 | 1.92 | 3 | 1.3 | 1.17 | UNDERPERFORMING | 47.69 | TRUE | FALSE | TRUE
FUNGICULTURE | NORMAL | MALAYSIA | PORT KLANG | 2023-06-10 | 262.515 | 0 | 2.53 | 663.23 | 986526.82 | 2.53 | 6 | 2.215 | 1.9935 | UNDERPERFORMING | 14.22 | TRUE | FALSE | TRUE
JY1(PHASE 1) | NORMAL | MALAYSIA | PORT KLANG | 2023-03-06 | 259.42 | 0 | 2.83 | 732.97 | 1006251.81 | 2.83 | 6 | 2.215 | 1.9935 | UNDERPERFORMING | 27.77 | TRUE | FALSE | TRUE
JY1(PHASE 2) | NORMAL | MALAYSIA | PORT KLANG | 2025-10-07 | 140.74 | 0 | 2.75 | 386.44 | 118302.2 | 2.75 | 6 | 2.215 | 1.9935 | UNDERPERFORMING | 24.15 | TRUE | FALSE | TRUE
JY2 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-10 | 397.305 | 0 | 2.81 | 1117.37 | 1516072.11 | 2.81 | 6 | 2.215 | 1.9935 | UNDERPERFORMING | 26.86 | TRUE | FALSE | TRUE
JAYA NETS | NORMAL | MALAYSIA | PORT KLANG | 2024-07-15 | 99 | 0 | 2.37 | 234.86 | 211523.1 | 2.37 | 6 | 2.215 | 1.9935 | UNDERPERFORMING | 7 | TRUE | FALSE | TRUE
SJK (C) TSHING NIAN | OFFLINE | MALAYSIA | PORT KLANG | 2026-02-02 | 48.36 | 0 | 0 | 0 | 15911.17 | 0 | 6 | 2.215 | 1.9935 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
AMEBA MGMT | NORMAL | MALAYSIA | PUCHONG | 2024-01-30 | 18.72 | 0 | 2.81 | 52.55 | 37034.51 | 2.81 | 6 | 2.5683 | 2.3115 | UNDERPERFORMING | 9.41 | TRUE | FALSE | TRUE
IOI MALL PUCHONG (NEW WING) | NORMAL | MALAYSIA | PUCHONG | 2025-01-14 | 544.275 | 0 | 2.5 | 1360.85 | 937195.79 | 2.5 | 6 | 2.5683 | 2.3115 | UNDERPERFORMING | -2.66 | TRUE | FALSE | TRUE
IOI MALL PUCHONG (NEW WING) PHASE 2 | NORMAL | MALAYSIA | PUCHONG | 2026-03-19 | 2383.28 | 0 | 2.34 | 5571.01 | 376221.86 | 2.34 | 6 | 2.5683 | 2.3115 | UNDERPERFORMING | -8.89 | TRUE | FALSE | TRUE
IOI MALL PUCHONG (OLD WING) | NORMAL | MALAYSIA | PUCHONG | 2025-04-25 | 2193.09 | 0 | 2.25 | 4943.89 | 2533592.1 | 2.25 | 6 | 2.5683 | 2.3115 | UNDERPERFORMING | -12.39 | TRUE | TRUE | TRUE
MCC TECHNIQUE SDN BHD LOT 10 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 0 | 2.81 | 86.98 | 26610.92 | 2.81 | 6 | 2.5683 | 2.3115 | UNDERPERFORMING | 9.41 | TRUE | FALSE | TRUE
MCC TECHNIQUE SDN BHD LOT 12 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 0 | 2.7 | 83.83 | 26248.58 | 2.7 | 6 | 2.5683 | 2.3115 | UNDERPERFORMING | 5.13 | TRUE | FALSE | TRUE
BREMFIELD SDN BHD | NORMAL | MALAYSIA | PULAU INDAH | 2024-05-02 | 150.93 | 0 | 1.77 | 266.55 | 405473.74 | 1.77 | 3 | 1.6933 | 1.524 | UNDERPERFORMING | 4.53 | TRUE | FALSE | TRUE
C0149_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-18 | 25.175 | 0 | 1.74 | 43.69 | 94384.28 | 1.74 | 3 | 1.6933 | 1.524 | UNDERPERFORMING | 2.76 | TRUE | FALSE | TRUE
C150_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-17 | 72.2 | 0 | 1.57 | 113.36 | 319957.62 | 1.57 | 3 | 1.6933 | 1.524 | UNDERPERFORMING | -7.28 | TRUE | FALSE | TRUE
FUJI M1 | NORMAL | MALAYSIA | PUNCAK ALAM | 2023-12-23 | 265.005 | 0 | 2.27 | 601.95 | 755179.02 | 2.27 | 4 | 2.3225 | 2.0903 | UNDERPERFORMING | -2.26 | TRUE | FALSE | TRUE
FUJI M2 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-04-18 | 264.42 | 0 | 2.41 | 635.99 | 603814.9 | 2.41 | 4 | 2.3225 | 2.0903 | UNDERPERFORMING | 3.77 | TRUE | FALSE | TRUE
FUJI M3 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-02-04 | 264.89 | 0 | 1.83 | 485.74 | 422673.34 | 1.83 | 4 | 2.3225 | 2.0903 | UNDERPERFORMING | -21.21 | TRUE | TRUE | TRUE
FUJI M4 | NORMAL | MALAYSIA | PUNCAK ALAM | 2025-12-12 | 133.92 | 0 | 2.78 | 372.96 | 77501.77 | 2.78 | 4 | 2.3225 | 2.0903 | UNDERPERFORMING | 19.7 | TRUE | FALSE | TRUE
IOI CITY MALL INC. FEEDER 1 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 3049.605 | 0 | 3.5 | 10662.14 | 5905570.99 | 3.5 | 3 | 3.57 | 3.213 | NORMAL | -1.96 | FALSE | FALSE | FALSE
IOI CITY MALL INC. FEEDER 2 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 1019.07 | 0 | 3.66 | 3727.8 | 1818216.55 | 3.66 | 3 | 3.57 | 3.213 | NORMAL | 2.52 | FALSE | FALSE | FALSE
IOI RESORT VILLA GOLF COURSE | NORMAL | MALAYSIA | PUTRAJAYA | 2024-03-12 | 250.38 | 0 | 3.55 | 888.17 | 501616.75 | 3.55 | 3 | 3.57 | 3.213 | NORMAL | -0.56 | FALSE | FALSE | FALSE
MARINE GOLD SDN BHD | OFFLINE | MALAYSIA | RAWANG | 2023-10-28 | 148.5 | 0 | 0 | 0 | 0 | 0 | 6 | 2.6167 | 2.355 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
SCENT PUR MANUFACTURING SDN BHD NO.35 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 0 | 3.27 | 40.48 | 28039.04 | 3.27 | 6 | 2.6167 | 2.355 | NORMAL | 24.97 | FALSE | FALSE | FALSE
SCENT PUR MANUFACTURING SDN BHD NO.37 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 0 | 3.24 | 40.14 | 27800.93 | 3.24 | 6 | 2.6167 | 2.355 | NORMAL | 23.82 | FALSE | FALSE | FALSE
WCS UNIT 6 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 21.06 | 0 | 2.73 | 57.49 | 54327.1 | 2.73 | 6 | 2.6167 | 2.355 | UNDERPERFORMING | 4.33 | TRUE | FALSE | TRUE
WCS UNIT 7 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 16.38 | 0 | 2.8 | 45.82 | 42830.34 | 2.8 | 6 | 2.6167 | 2.355 | UNDERPERFORMING | 7.01 | TRUE | FALSE | TRUE
WCS_HOME | NORMAL | MALAYSIA | RAWANG | 2024-09-13 | 8.85 | 0 | 3.66 | 32.39 | 17831.49 | 3.66 | 6 | 2.6167 | 2.355 | NORMAL | 39.87 | FALSE | FALSE | FALSE
BM COCO MARKETING | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 0 | 2.31 | 58.93 | 77829.51 | 2.31 | 3 | 2.4567 | 2.211 | UNDERPERFORMING | -5.97 | TRUE | FALSE | TRUE
BM COCO PALM | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 0 | 2.17 | 55.28 | 82394.32 | 2.17 | 3 | 2.4567 | 2.211 | UNDERPERFORMING | -11.67 | TRUE | TRUE | TRUE
CHONG HWA SBR RENGIT | NORMAL | MALAYSIA | RENGIT | 2024-05-28 | 25.155 | 0 | 2.89 | 72.61 | 59323.07 | 2.89 | 3 | 2.4567 | 2.211 | UNDERPERFORMING | 17.64 | TRUE | FALSE | TRUE
SUPERCOWBOY (SEGAMAT) | NORMAL | MALAYSIA | SEGAMAT | 2025-07-23 | 250.75 | 0 | 3.61 | 906.11 | 278085.2 | 3.61 | 1 | 3.61 | 3.249 | NO COMPARISON REQUIRED | 0 | FALSE | FALSE | FALSE
DONG SING FOOD LINK SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-12-08 | 71.92 | 0 | 3.52 | 253.34 | 30281.65 | 3.52 | 8 | 3.615 | 3.2535 | NORMAL | -2.63 | FALSE | FALSE | FALSE
FOX ONE MARKETING SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-01-06 | 91.5 | 0 | 3.52 | 321.64 | 123382.26 | 3.52 | 8 | 3.615 | 3.2535 | NORMAL | -2.63 | FALSE | FALSE | FALSE
P.A FOOD SDN BHD 2ATKT | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 47.97 | 0 | 3.07 | 147.35 | 100460.25 | 3.07 | 8 | 3.615 | 3.2535 | UNDERPERFORMING | -15.08 | TRUE | TRUE | FALSE
P.A FOOD SDN BHD LOT 10 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 52.65 | 0 | 3.92 | 206.4 | 105658.6 | 3.92 | 8 | 3.615 | 3.2535 | NORMAL | 8.44 | FALSE | FALSE | FALSE
P.A FOOD SDN BHD LOT 12 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 51.48 | 0 | 3.7 | 190.53 | 96789.46 | 3.7 | 8 | 3.615 | 3.2535 | NORMAL | 2.35 | FALSE | FALSE | FALSE
P.A. FOOD WAREHOUSE NO. 9 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-28 | 21.06 | 0 | 3.21 | 67.55 | 42713.31 | 3.21 | 8 | 3.615 | 3.2535 | UNDERPERFORMING | -11.2 | TRUE | TRUE | FALSE
YAN JIAN 2 | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 63.86 | 0 | 4.28 | 273.03 | 59387.18 | 4.28 | 8 | 3.615 | 3.2535 | NORMAL | 18.4 | FALSE | FALSE | FALSE
YAN JIAN 2A | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 74.4 | 0 | 3.7 | 275.23 | 78443.12 | 3.7 | 8 | 3.615 | 3.2535 | NORMAL | 2.35 | FALSE | FALSE | FALSE
LYBASE SDN BHD | NORMAL | MALAYSIA | SENAI | 2024-11-04 | 400.14 | 0 | 2.22 | 886.39 | 441345.41 | 2.22 | 2 | 2.165 | 1.9485 | UNDERPERFORMING | 2.54 | TRUE | FALSE | TRUE
SUPERMICRO COMPUTER SDN BHD | NORMAL | MALAYSIA | SENAI | 2025-08-16 | 2550.85 | 0 | 2.11 | 5372 | 1754150.15 | 2.11 | 2 | 2.165 | 1.9485 | UNDERPERFORMING | -2.54 | TRUE | FALSE | TRUE
ENGE PLAS | NORMAL | MALAYSIA | SENAWANG | 2024-12-10 | 302.4 | 0 | 2.66 | 803.87 | 476941.05 | 2.66 | 1 | 2.66 | 2.394 | UNDERPERFORMING | 0 | TRUE | FALSE | TRUE
CIC CONTRACT SDN BHD | NORMAL | MALAYSIA | SERI KEMBANGAN | 2023-12-14 | 20.475 | 0 | 2.8 | 57.38 | 60734.28 | 2.8 | 1 | 2.8 | 2.52 | UNDERPERFORMING | 0 | TRUE | FALSE | TRUE
BJC FOOD (MALAYSIA) SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2023-01-10 | 320.46 | 0 | 1.63 | 520.98 | 1119954.95 | 1.63 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | -15.51 | TRUE | TRUE | TRUE
KUASA BAKTI (PETRON SETIA ALAM) | NORMAL | MALAYSIA | SHAH ALAM | 2025-08-27 | 44.64 | 0 | 2.15 | 96.02 | 32923.56 | 2.15 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | 11.44 | TRUE | FALSE | TRUE
KOSSAN RUBBER INDUSTRIES BERHAD | OFFLINE | MALAYSIA | SHAH ALAM | 2026-05-18 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
MARBACH ASIA PACIFIC LOT17 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.02 | 0 | 2.18 | 108.92 | 81713.18 | 2.18 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | 12.99 | TRUE | FALSE | TRUE
MARBACH ASIA PACIFIC LOT 15 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.05 | 0 | 2.4 | 120.25 | 84495.03 | 2.4 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | 24.4 | TRUE | FALSE | TRUE
MITSUI COPPER FOIL P3 | NORMAL | MALAYSIA | SHAH ALAM | 2025-06-26 | 706.33 | 0 | 2.62 | 1848.91 | 782752.91 | 2.62 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | 35.8 | TRUE | FALSE | TRUE
NEW AGE 160 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-17 | 166.67 | 0 | 2.23 | 371.92 | 293107.18 | 2.23 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | 15.58 | TRUE | FALSE | TRUE
NEW AGE 510 | NORMAL | MALAYSIA | SHAH ALAM | 2024-11-18 | 127.92 | 0 | 2.35 | 300.14 | 258335.83 | 2.35 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | 21.8 | TRUE | FALSE | TRUE
PKT 8 WAVES | FAULTY | MALAYSIA | SHAH ALAM | 2024-08-13 | 176.67 | 0 | 0 | 0.57 | 267414.09 | 0 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
QL MAXINCOME | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-05 | 79.3 | 0 | 2.16 | 171.3 | 116139.59 | 2.16 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | 11.96 | TRUE | FALSE | TRUE
QL LOT 14 | NORMAL | MALAYSIA | SHAH ALAM | 2025-02-24 | 61.61 | 0 | 2.12 | 130.36 | 87671.62 | 2.12 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | 9.88 | TRUE | FALSE | TRUE
QL LOT 16 | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-01 | 64.05 | 0 | 2.19 | 140.47 | 89672.84 | 2.19 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | 13.51 | TRUE | FALSE | TRUE
SAN SOON SENG FOOD INDUSTRIES SDN BHD | NORMAL | MALAYSIA | SHAH ALAM | 2025-10-02 | 1292.7 | 0 | 2.65 | 3427.99 | 812003.27 | 2.65 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | 37.35 | TRUE | FALSE | TRUE
SUCCESFUEL SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2024-10-22 | 90.86 | 0 | 2.08 | 189 | 166336.67 | 2.08 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | 7.81 | TRUE | FALSE | TRUE
THOR SPECIALTIES | NORMAL | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 0 | 2.18 | 198.69 | 6692.64 | 2.18 | 15 | 1.9293 | 1.7364 | UNDERPERFORMING | 12.99 | TRUE | FALSE | TRUE
FURUTEC | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-07-06 | 132.21 | 0 | 5.19 | 686.56 | 306273.8 | 5.19 | 3 | 4.87 | 4.383 | NORMAL | 6.57 | FALSE | FALSE | FALSE
PERBADANAN PENGURUSAN VILLA RAINTREE II | NORMAL | MALAYSIA | SIMPANG AMPAT | 2025-04-18 | 25.83 | 0 | 4.35 | 112.41 | 37879.31 | 4.35 | 3 | 4.87 | 4.383 | UNDERPERFORMING | -10.68 | TRUE | TRUE | FALSE
THP MEDICAL | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-01-08 | 377.325 | 0 | 5.07 | 1912.03 | 1196161.16 | 5.07 | 3 | 4.87 | 4.383 | NORMAL | 4.11 | FALSE | FALSE | FALSE
JEBSEN AND JESSEN MALAYSIA SDN BHD (MHE) | NORMAL | MALAYSIA | SIMPANG RENGGAM | 2025-05-24 | 184.76 | 0 | 1.78 | 329.72 | 176043.35 | 1.78 | 1 | 1.78 | 1.602 | UNDERPERFORMING | 0 | TRUE | FALSE | TRUE
ATS AIR SOLUTION | NORMAL | MALAYSIA | SUBANG JAYA | 2024-02-08 | 22.23 | 0 | 2.5 | 55.54 | 60681.54 | 2.5 | 2 | 1.25 | 1.125 | UNDERPERFORMING | 100 | TRUE | FALSE | TRUE
BOILERMECH LOT 873 | OFFLINE | MALAYSIA | SUBANG JAYA | 2025-09-15 | 280.5 | 0 | 0 | 0 | 155517.23 | 0 | 2 | 1.25 | 1.125 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
KILANG BATU BATA | NORMAL | MALAYSIA | SUNGAI SIPUT | 2025-06-27 | 545.505 | 0 | 4.02 | 2191.44 | 556109.91 | 4.02 | 1 | 4.02 | 3.618 | NO COMPARISON REQUIRED | 0 | FALSE | FALSE | FALSE
FARM FRESH TAIPING (FACTORY) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 190.125 | 0 | 4.84 | 920.03 | 492135.08 | 4.84 | 3 | 4.54 | 4.086 | NORMAL | 6.61 | FALSE | FALSE | FALSE
FARM FRESH TAIPING (FARM) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 335.79 | 0 | 4.44 | 1491.86 | 753935.8 | 4.44 | 3 | 4.54 | 4.086 | NORMAL | -2.2 | FALSE | FALSE | FALSE
QL FOODS | NORMAL | MALAYSIA | TAIPING | 2024-10-03 | 2061.225 | 0 | 4.34 | 8950.25 | 3561228.2 | 4.34 | 3 | 4.54 | 4.086 | NORMAL | -4.41 | FALSE | FALSE | FALSE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 533.82 | 0 | 0 | 0 | 0 | 0 | 5 | 1.302 | 1.1718 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
QL TAWAU FEEDMILL | NORMAL | MALAYSIA | TAWAU | 2025-11-05 | 317.2 | 0 | 2.65 | 841.02 | 69969.61 | 2.65 | 5 | 1.302 | 1.1718 | UNDERPERFORMING | 103.53 | TRUE | FALSE | TRUE
SABAH CHINESE HIGH SCHOOL (CANTEEN) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 26.91 | 0 | 1.41 | 38.02 | 14269.38 | 1.41 | 5 | 1.302 | 1.1718 | UNDERPERFORMING | 8.29 | TRUE | FALSE | TRUE
SABAH CHINESE HIGH SCHOOL (CULTURE AND EDUCATION) | OFFLINE | MALAYSIA | TAWAU | 2024-02-08 | 94.768 | 0 | 0 | 0 | 35969.56 | 0 | 5 | 1.302 | 1.1718 | UNDERPERFORMING | -100 | TRUE | TRUE | TRUE
SABAH CHINESE HIGH SCHOOL (TAK YUEN BUILDING) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.77 | 0 | 2.45 | 232.12 | 76558.09 | 2.45 | 5 | 1.302 | 1.1718 | UNDERPERFORMING | 88.17 | TRUE | FALSE | TRUE
CHAN KAH WHYE | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-01-20 | 14.75 | 0 | 2.64 | 38.99 | 23000.48 | 2.64 | 3 | 2.3367 | 2.103 | UNDERPERFORMING | 12.98 | TRUE | FALSE | TRUE
DSG MALAYSIA SDN. BHD | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2022-11-24 | 2310.255 | 0 | 1.94 | 4491.39 | 6422461.93 | 1.94 | 3 | 2.3367 | 2.103 | UNDERPERFORMING | -16.98 | TRUE | TRUE | TRUE
LAM SOON EDIBLE OILS | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-07-04 | 86.8 | 0 | 2.43 | 210.98 | 110230.04 | 2.43 | 3 | 2.3367 | 2.103 | UNDERPERFORMING | 3.99 | TRUE | FALSE | TRUE
LAU AND TAN PHARMACY (1ST FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 12.375 | 0 | 4.18 | 51.76 | 49645.57 | 4.18 | 2 | 3.625 | 3.2625 | NORMAL | 15.31 | FALSE | FALSE | FALSE
LAU AND TAN PHARMACY (G.FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 38.115 | 0 | 3.07 | 116.99 | 181137.57 | 3.07 | 2 | 3.625 | 3.2625 | UNDERPERFORMING | -15.31 | TRUE | TRUE | FALSE
WASCO PIPE SDN BHD (COATING) | NORMAL | MALAYSIA | TUARAN | 2026-02-12 | 350.92 | 0 | 1.97 | 690.38 | 10945.2 | 1.97 | 2 | 2.56 | 2.304 | UNDERPERFORMING | -23.05 | TRUE | TRUE | TRUE
WASCO PIPE SDN BHD (MILL) | NORMAL | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 3.15 | 2676.46 | 45321.97 | 3.15 | 2 | 2.56 | 2.304 | NORMAL | 23.05 | FALSE | FALSE | FALSE