## ALARMS_REPORT
PLANT NAME | CITY | DEVICE NAME | DEVICE SN | ALARM ID | ALARM NAME | SEVERITY
BIMB BDR PENAWAR - 1ST FLOOR |  | DONGLE- INV1 | BT24C0060244 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
KWANG HUA PERSENDIRIAN METER 2-3-4-5-6 |  | BLOCK C - INVERTER 7 - METER 2 | 6T21C9024903 | 2062 | LOW INSULATION RESISTANCE | MAJOR
TELEWIRING | CHENG | VASOLAR_INV_1 | HV2330869769 | 2032 | GRID LOSS | MAJOR
C0176_GETHA | CHERAS | LOGGER-102256528260 | 102256528260 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
C0172_ATRIA SOUTH | DAMANSARA | LOGGER-102256528212 | 102256528212 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
PLEASURE LATEX PHASE 2 | JERAM | LOGGER-102347282208 | 102347282208 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
LIAN TECK SENG LOT 11 | KLANG | DONGLE-BT24C0060275 | BT24C0060275 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
MIAW FRESH | KLANG | VASOLAR INV 1 | NS2331625509 | 2032 | GRID LOSS | MAJOR
SIME KANSAI PAINT SDN BHD | KLANG | INV-ES2550146111 | ES2550146111 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
VINDA PHASE 4 (MSB 3-2) | KLANG | MASTER LOG HT P4 | 102595350697 | 1154 | SOUTHBOUND DEVICE COMMUNICATION ABNORMAL | MINOR
REDANG LAGOON RESORT | KUALA TERENGGANU | DONGLE-2102312EHS10N9115979 | 2102312EHS10N9115979 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
REDANG LAGOON RESORT | KUALA TERENGGANU | INV-ES22A0089681 | ES22A0089681 | 2032 | GRID LOSS | MAJOR
LIAN FOO POULTRY FARM SDN BHD | MASJID TANAH | DONGLE-BT2541519026 | BT2541519026 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
LIAN FOO POULTRY FARM SDN BHD | MASJID TANAH | INV-ES2550000030 | ES2550000030 | 2032 | GRID LOSS | MAJOR
LIAN FOO POULTRY FARM SDN BHD | MASJID TANAH | INV-ES25C0125116 | ES25C0125116 | 2032 | GRID LOSS | MAJOR
LIAN FOO POULTRY FARM SDN BHD | MASJID TANAH | INV-ES25C0125117 | ES25C0125117 | 2032 | GRID LOSS | MAJOR
FIBERTEX PHASE 2 | NILAI | INVERTER 2 L3 OLD | 6T2379019735 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
QL AGROVENTURE | PAPAR | 6T21A9013577 | 6T21A9013577 | 2032 | GRID LOSS | MAJOR
QL AGROVENTURE | PAPAR | ES2170034957 | ES2170034957 | 2032 | GRID LOSS | MAJOR
QL AGROVENTURE | PAPAR | ES2170034958 | ES2170034958 | 2032 | GRID LOSS | MAJOR
QL AGROVENTURE | PAPAR | ES2190052996 | ES2190052996 | 2032 | GRID LOSS | MAJOR
PENGERANG INDEPENDENT TERMINAL | PENGERANG | DONGLE-LAB | TA23B0087782 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
IOI MALL PUCHONG (NEW WING) | PUCHONG | INVERTER 13 - TERA | 6T2479017534 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (NEW WING) | PUCHONG | INVERTER 14 - TERA | ES2470053866 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (NEW WING) | PUCHONG | INVERTER 17 - TERA | 6T2479017623 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (NEW WING) PHASE 2 | PUCHONG | INVERTER 4 | GR2569071069 | 2032 | GRID LOSS | MAJOR
IOI MALL PUCHONG (NEW WING) PHASE 2 | PUCHONG | INVERTER(COM1-1) | GR2569071128 | 2032 | GRID LOSS | MAJOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 1 - TERA | BN2461065466 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 10 - TERA | 6T2469039407 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 11 - TERA | BN2461066739 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 12 - TERA | BN2461066801 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 2 - TERA | BN2461066770 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 21 R1-TERA | 6T2599057796 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 3 R1 - TERA | BN2521059950 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 4 - TERA | 6T2479017517 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 5 - TERA | BN2461066760 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 6 - TERA | BN2461066754 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 7 - TERA | 6T2479017524 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 8 - TERA | BN2461065428 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
IOI MALL PUCHONG (OLD WING) | PUCHONG | INVERTER 9 - TERA | 6T2479017523 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
MARINE GOLD SDN BHD | RAWANG | DONGLE-HV2310773587 | HV2310773587 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
MARINE GOLD SDN BHD | RAWANG | DONGLE-HV2310776105 | HV2310776105 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
MARINE GOLD SDN BHD | RAWANG | DONGLE-HV2310776109 | HV2310776109 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
MARINE GOLD SDN BHD | RAWANG | DONGLE-TA2340291437 | TA2340291437 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
MARINE GOLD SDN BHD | RAWANG | DONGLE-TA2340293153 | TA2340293153 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
MARINE GOLD SDN BHD | RAWANG | DONGLE-TA2340293476 | TA2340293476 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
DONG SING FOOD LINK SDN BHD | SEMENYIH | INVERTER(COM2-1) | ES2570023845 | 2032 | GRID LOSS | MAJOR
BJC FOOD (MALAYSIA) SDN. BHD. | SHAH ALAM | 60KTL-M0(COM1-3) | ES2180084797 | 2062 | LOW INSULATION RESISTANCE | MAJOR
THOR SPECIALTIES | SHAH ALAM | DONGLE-BT2541519069 | BT2541519069 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
THP MEDICAL | SIMPANG AMPAT | VASOLAR INV 1 | 6T2279009011 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
THP MEDICAL | SIMPANG AMPAT | VASOLAR INV 2 | 6T2279008977 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
THP MEDICAL | SIMPANG AMPAT | VASOLAR INV 3 | 6T2279009018 | 2065 | UPGRADE FAILED OR VERSION MISMATCH | MINOR
BOILERMECH LOT 873 | SUBANG JAYA | LOGGER-102516002824 | 102516002824 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
KILANG BATU BATA | SUNGAI SIPUT | DONGLE-TA2510047367 | TA2510047367 | 999999999 | NETWORK CONNECTION ERROR | MAJOR
QL FARM SDN BHD | TAWAU | INVERTER 1 | ES2580051653 | 2032 | GRID LOSS | MAJOR
QL FARM SDN BHD | TAWAU | INVERTER 2 | ES2580051643 | 2032 | GRID LOSS | MAJOR
QL FARM SDN BHD | TAWAU | INVERTER3 | ES2490076207 | 2032 | GRID LOSS | MAJOR
QL FARM SDN BHD | TAWAU | LOGGER-102466853213 | 102466853213 | 999999999 | NETWORK CONNECTION ERROR | MAJOR