## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 53.52 | 1.02 | 925.92 | 216116.41 | 1.02 | 5 | 0.736 | 0.6624 | NORMAL | 38.59 | FALSE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 4.63 | 0.23 | 55.67 | 2303.16 | 0.23 | 5 | 0.736 | 0.6624 | UNDERPERFORMING | -68.75 | TRUE
MAJOR ENGINEERING LOT 10 | OFFLINE | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 0 | 0.89 | 63.92 | 2427.37 | 0.89 | 5 | 0.736 | 0.6624 | NORMAL | 20.92 | FALSE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 0 | 0.29 | 14.99 | 386.51 | 0.29 | 5 | 0.736 | 0.6624 | UNDERPERFORMING | -60.6 | TRUE
VINDA PHASE 4 (MSB 3-2) | NORMAL | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 183.42 | 1.25 | 2643.07 | 418878.44 | 1.25 | 5 | 0.736 | 0.6624 | NORMAL | 69.84 | FALSE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 37.2 | 0 | 0 | 0 | 181.43 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | OFFLINE | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 0 | 0 | 0 | 203308.09 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
THOR SPECIALTIES | OFFLINE | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 0 | 0 | 0 | 2908.54 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 0 | 0 | 0 | 0 | 355.36 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
WASCO PIPE SDN BHD (MILL) | FAULTY | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 164.99 | 0.68 | 581.97 | 8718.28 | 0.68 | 1 | 0.68 | 0.612 | NO COMPARISON REQUIRED | 0 | FALSE