## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 281.2 | 0.42 | 380.7 | 220458.91 | 0.42 | 5 | 0.292 | 0.2628 | NORMAL | 43.84 | FALSE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 16.21 | 0.09 | 20.99 | 2562.29 | 0.09 | 5 | 0.292 | 0.2628 | UNDERPERFORMING | -69.18 | TRUE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 30.49 | 0.44 | 31.46 | 2713.38 | 0.44 | 5 | 0.292 | 0.2628 | NORMAL | 50.68 | FALSE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 0.84 | 0.03 | 1.69 | 432.62 | 0.03 | 5 | 0.292 | 0.2628 | UNDERPERFORMING | -89.73 | TRUE
VINDA PHASE 4 (MSB 3-2) | NORMAL | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 661.96 | 0.48 | 1019.05 | 431114.84 | 0.48 | 5 | 0.292 | 0.2628 | NORMAL | 64.38 | FALSE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 220.1 | 0 | 0 | 0 | 181.43 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | FAULTY | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 904.2 | 0.38 | 904.99 | 230060.4 | 0.38 | 1 | 0.38 | 0.342 | NO COMPARISON REQUIRED | 0 | FALSE
THOR SPECIALTIES | OFFLINE | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 0 | 0 | 0 | 2908.54 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 0 | 0 | 0 | 0 | 355.36 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
WASCO PIPE SDN BHD (MILL) | FAULTY | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 464.94 | 0.73 | 619 | 11039.94 | 0.73 | 1 | 0.73 | 0.657 | NO COMPARISON REQUIRED | 0 | FALSE