## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
TS UNITED METAL | NORMAL | MALAYSIA | ALOR GAJAH | 2024-05-16 | 25.155 | 0 | 1.33 | 33.39 | 70057.41 | 1.33 | 1 | 1.33 | 1.197 | NO COMPARISON REQUIRED | 0 | FALSE
BIMB BDR PENAWAR - 1ST FLOOR | OFFLINE | MALAYSIA | BANDAR PENAWAR | 2025-04-28 | 15.47 | 0 | 0 | 0 | 48.19 | 0 | 2 | 1.26 | 1.134 | UNDERPERFORMING | -100 | TRUE
BIMB BDR PENAWAR - G FLOOR | NORMAL | MALAYSIA | BANDAR PENAWAR | 2025-04-29 | 15.47 | 0 | 2.52 | 38.94 | 1499.18 | 2.52 | 2 | 1.26 | 1.134 | NORMAL | 100 | FALSE
KOMPLEX PKNS BANGI | NORMAL | MALAYSIA | BANGI | 2024-09-04 | 379.08 | 0 | 1.82 | 689.37 | 442700.86 | 1.82 | 1 | 1.82 | 1.638 | NO COMPARISON REQUIRED | 0 | FALSE
JIANN LIH SAFETY PRODUCT | NORMAL | MALAYSIA | BANTING | 2024-03-21 | 475.605 | 0 | 1.52 | 721.16 | 824833.58 | 1.52 | 1 | 1.52 | 1.368 | NO COMPARISON REQUIRED | 0 | FALSE
C0102_QL BATANG KALI | NORMAL | MALAYSIA | BATANG KALI | 2022-02-24 | 526 | 0 | 3.7 | 1948.59 | 2946747.28 | 3.7 | 1 | 3.7 | 3.33 | NO COMPARISON REQUIRED | 0 | FALSE
BP PLASTICS BP9 | NORMAL | MALAYSIA | BATU PAHAT | 2025-07-22 | 2979.1 | 0 | 2.77 | 8244.49 | 3304265.15 | 2.77 | 3 | 2.7833 | 2.505 | NORMAL | -0.48 | FALSE
BP PLASTICS HQ | NORMAL | MALAYSIA | BATU PAHAT | 2025-01-16 | 1063.425 | 0 | 2.49 | 2650.79 | 1827704.9 | 2.49 | 3 | 2.7833 | 2.505 | UNDERPERFORMING | -10.54 | TRUE
CK PACKAGING AND PLASTIC INDUSTRIES | NORMAL | MALAYSIA | BATU PAHAT | 2026-01-19 | 138.88 | 0 | 3.09 | 428.67 | 59785.68 | 3.09 | 3 | 2.7833 | 2.505 | NORMAL | 11.02 | FALSE
GUH METER 1 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 210.6 | 0 | 4.46 | 939.17 | 537778.63 | 4.46 | 3 | 4.36 | 3.924 | NORMAL | 2.29 | FALSE
GUH METER 2 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 278.46 | 0 | 4.32 | 1201.81 | 670194.98 | 4.32 | 3 | 4.36 | 3.924 | NORMAL | -0.92 | FALSE
GUH METER 3 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-05-04 | 534.69 | 0 | 4.3 | 2299.15 | 1320758.79 | 4.3 | 3 | 4.36 | 3.924 | NORMAL | -1.38 | FALSE
TELEWIRING | OFFLINE | MALAYSIA | CHENG | 2024-05-16 | 25.155 | 0 | 0 | 0 | 65931.66 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
C0176_GETHA | OFFLINE | MALAYSIA | CHERAS | 2023-03-01 | 178.215 | 0 | 0 | 0 | 591895.09 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
C0172_ATRIA NORTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 130.8 | 0 | 1.14 | 149.3 | 392063.74 | 1.14 | 3 | 0.78333 | 0.705 | NORMAL | 45.53 | FALSE
C0172_ATRIA SOUTH | OFFLINE | MALAYSIA | DAMANSARA | 2023-06-06 | 287.76 | 0 | 0 | 0 | 858635.28 | 0 | 3 | 0.78333 | 0.705 | UNDERPERFORMING | -100 | TRUE
RESTORAN CHIMAEK (KFRY) | NORMAL | MALAYSIA | DAMANSARA | 2024-10-25 | 24.4 | 0 | 1.21 | 29.47 | 48719.71 | 1.21 | 3 | 0.78333 | 0.705 | NORMAL | 54.47 | FALSE
QL ENDAU DEEP SEA FISHING | NORMAL | MALAYSIA | ENDAU | 2025-09-04 | 897.76 | 0 | 2.38 | 2139.02 | 652991.34 | 2.38 | 1 | 2.38 | 2.142 | NO COMPARISON REQUIRED | 0 | FALSE
PROGUARD SAFETY MANUFACTURING SDN BHD | NORMAL | MALAYSIA | HULU LANGAT | 2022-12-30 | 202.195 | 0 | 1.56 | 315.51 | 576380.51 | 1.56 | 1 | 1.56 | 1.404 | NO COMPARISON REQUIRED | 0 | FALSE
GLASS PLASTIC PACKAGING | NORMAL | MALAYSIA | IPOH | 2025-04-19 | 704.94 | 0 | 3.44 | 2425.02 | 878941.74 | 3.44 | 3 | 3.3167 | 2.985 | NORMAL | 3.72 | FALSE
SWH INDUSTRIES (PLOT 132113) | FAULTY | MALAYSIA | IPOH | 2024-05-21 | 752.98 | 0 | 3.46 | 2603.46 | 1737656.5 | 3.46 | 3 | 3.3167 | 2.985 | NORMAL | 4.32 | FALSE
SWH INDUSTRIES (PLOT6311) | NORMAL | MALAYSIA | IPOH | 2025-01-15 | 204.96 | 0 | 3.05 | 624.52 | 339243.82 | 3.05 | 3 | 3.3167 | 2.985 | NORMAL | -8.04 | FALSE
PLEASURE LATEX | NORMAL | MALAYSIA | JERAM | 2023-07-25 | 520.3 | 0 | 0.72 | 374.61 | 1747734.64 | 0.72 | 2 | 0.36 | 0.324 | NORMAL | 100 | FALSE
PLEASURE LATEX PHASE 2 | OFFLINE | MALAYSIA | JERAM | 2024-12-20 | 1010.295 | 0 | 0 | 0 | 0 | 0 | 2 | 0.36 | 0.324 | UNDERPERFORMING | -100 | TRUE
FOX ONE LOT 14 | NORMAL | MALAYSIA | KAJANG | 2025-08-13 | 91.76 | 0 | 2.06 | 188.93 | 66979.47 | 2.06 | 9 | 1.6944 | 1.525 | NORMAL | 21.57 | FALSE
FOX ONE LOT 8 | NORMAL | MALAYSIA | KAJANG | 2026-01-28 | 91.76 | 0 | 2.08 | 190.61 | 28388.23 | 2.08 | 9 | 1.6944 | 1.525 | NORMAL | 22.75 | FALSE
IOI KNOWLEDGE VISION SDN BHD | NORMAL | MALAYSIA | KAJANG | 2025-06-19 | 71.92 | 0 | 2.37 | 170.68 | 83550.07 | 2.37 | 9 | 1.6944 | 1.525 | NORMAL | 39.87 | FALSE
IOI MAYANG DEVELOPMENT | NORMAL | MALAYSIA | KAJANG | 2025-07-18 | 71.92 | 0 | 1.28 | 92.09 | 53569.61 | 1.28 | 9 | 1.6944 | 1.525 | UNDERPERFORMING | -24.46 | TRUE
LKW FROZEN SDN BHD | NORMAL | MALAYSIA | KAJANG | 2024-05-12 | 54.99 | 0 | 1.17 | 64.56 | 97673.58 | 1.17 | 9 | 1.6944 | 1.525 | UNDERPERFORMING | -30.95 | TRUE
P.A. FOOD SDN. BHD. | NORMAL | MALAYSIA | KAJANG | 2024-05-07 | 25.155 | 0 | 1.87 | 47.07 | 64344.21 | 1.87 | 9 | 1.6944 | 1.525 | NORMAL | 10.36 | FALSE
UCS_BLOCK A | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 125 | 0 | 1.42 | 177.02 | 490443.3 | 1.42 | 9 | 1.6944 | 1.525 | UNDERPERFORMING | -16.2 | TRUE
UCS_BLOCK B | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 135 | 0 | 1.51 | 203.85 | 569573.94 | 1.51 | 9 | 1.6944 | 1.525 | UNDERPERFORMING | -10.89 | TRUE
UCS_BLOCK C | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 185.5 | 0 | 1.49 | 276.29 | 784486.27 | 1.49 | 9 | 1.6944 | 1.525 | UNDERPERFORMING | -12.07 | TRUE
FDP AND MTB INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KERLING | 2026-01-25 | 186 | 0 | 1.96 | 363.63 | 7216.5 | 1.96 | 1 | 1.96 | 1.764 | NO COMPARISON REQUIRED | 0 | FALSE
AMT PC DISTRIBUTORS SDN. BHD. | NORMAL | MALAYSIA | KLANG | 2024-01-04 | 88.335 | 0 | 0.59 | 52.27 | 256992.11 | 0.59 | 35 | 0.69571 | 0.62614 | UNDERPERFORMING | -15.2 | TRUE
ASHITA COMMUNICATION | OFFLINE | MALAYSIA | KLANG | 2025-11-03 | 91.76 | 0 | 0 | 0 | 0 | 0 | 35 | 0.69571 | 0.62614 | UNDERPERFORMING | -100 | TRUE
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 0 | 0.82 | 743.34 | 226998.17 | 0.82 | 35 | 0.69571 | 0.62614 | NORMAL | 17.86 | FALSE
ADVANCE VI TECH LOT 1629 | NORMAL | MALAYSIA | KLANG | 2024-10-27 | 240.13 | 0 | 0.94 | 225.78 | 410766.8 | 0.94 | 35 | 0.69571 | 0.62614 | NORMAL | 35.11 | FALSE
BUNCHO (M) SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-10-01 | 91.14 | 0 | 0.77 | 70.05 | 33182.82 | 0.77 | 35 | 0.69571 | 0.62614 | NORMAL | 10.68 | FALSE
HOON YUEN FURNITURE | NORMAL | MALAYSIA | KLANG | 2023-11-20 | 88.335 | 0 | 0.61 | 53.96 | 244023.96 | 0.61 | 35 | 0.69571 | 0.62614 | UNDERPERFORMING | -12.32 | TRUE
KCCCI 2FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 4.13 | 0 | 0.7 | 2.89 | 5220.14 | 0.7 | 35 | 0.69571 | 0.62614 | NORMAL | 0.62 | FALSE
KCCCI FIRST FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 15.34 | 0 | 0.76 | 11.71 | 21011.49 | 0.76 | 35 | 0.69571 | 0.62614 | NORMAL | 9.24 | FALSE
KCCCI GROUND FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 3.54 | 0 | 0.73 | 2.58 | 4471.33 | 0.73 | 35 | 0.69571 | 0.62614 | NORMAL | 4.93 | FALSE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 0 | 0.39 | 94.67 | 2995.87 | 0.39 | 35 | 0.69571 | 0.62614 | UNDERPERFORMING | -43.94 | TRUE
KAMMA KLANG ENTERPRISE | NORMAL | MALAYSIA | KLANG | 2023-03-28 | 88 | 0 | 0.82 | 72.15 | 334609.76 | 0.82 | 35 | 0.69571 | 0.62614 | NORMAL | 17.86 | FALSE
KWANG HUA PERSENDIRIAN METER 2-3-4-5-6 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 302.475 | 0 | 0.46 | 140.19 | 1112392.08 | 0.46 | 35 | 0.69571 | 0.62614 | UNDERPERFORMING | -33.88 | TRUE
LIAN TECK SENG LOT 11 | OFFLINE | MALAYSIA | KLANG | 2025-05-06 | 18.04 | 0 | 0 | 0 | 0 | 0 | 35 | 0.69571 | 0.62614 | UNDERPERFORMING | -100 | TRUE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 0 | 0.66 | 47.41 | 3067.76 | 0.66 | 35 | 0.69571 | 0.62614 | NORMAL | -5.13 | FALSE
MAJOR ENGINEERING LOT 8 | OFFLINE | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 0 | 0.43 | 22.61 | 515.48 | 0.43 | 35 | 0.69571 | 0.62614 | UNDERPERFORMING | -38.19 | TRUE
MEWAH OILS SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-12-01 | 220.1 | 0 | 1.11 | 244.15 | 23372.32 | 1.11 | 35 | 0.69571 | 0.62614 | NORMAL | 59.55 | FALSE
MIAW FRESH | OFFLINE | MALAYSIA | KLANG | 2024-05-31 | 24.57 | 0 | 0 | 0 | 57392.15 | 0 | 35 | 0.69571 | 0.62614 | UNDERPERFORMING | -100 | TRUE
MAXTWO ENGINEERING (FACTORY) | NORMAL | MALAYSIA | KLANG | 2025-04-21 | 35.38 | 0 | 0.64 | 22.78 | 35391.38 | 0.64 | 35 | 0.69571 | 0.62614 | NORMAL | -8.01 | FALSE
PKT THE SHIP | NORMAL | MALAYSIA | KLANG | 2025-01-21 | 1068.21 | 0 | 0.77 | 823.16 | 1241740.77 | 0.77 | 35 | 0.69571 | 0.62614 | NORMAL | 10.68 | FALSE
ROYAL KLANG CLUB | NORMAL | MALAYSIA | KLANG | 2025-07-14 | 91.76 | 0 | 0.83 | 76.34 | 85073.36 | 0.83 | 35 | 0.69571 | 0.62614 | NORMAL | 19.3 | FALSE
RS POLY INDUSTRY | NORMAL | MALAYSIA | KLANG | 2024-08-02 | 727.155 | 0 | 0.66 | 482.24 | 1428325.52 | 0.66 | 35 | 0.69571 | 0.62614 | NORMAL | -5.13 | FALSE
SIME KANSAI PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-09-17 | 123.825 | 0 | 0.73 | 90.53 | 99800.41 | 0.73 | 35 | 0.69571 | 0.62614 | NORMAL | 4.93 | FALSE
SJK (C) WU TECK | NORMAL | MALAYSIA | KLANG | 2025-12-25 | 71.92 | 0 | 0.96 | 69.33 | 38399.78 | 0.96 | 35 | 0.69571 | 0.62614 | NORMAL | 37.99 | FALSE
SJK （ C ） PIN HWA 1 | NORMAL | MALAYSIA | KLANG | 2025-09-23 | 183.52 | 0 | 0.7 | 128.8 | 108709.56 | 0.7 | 35 | 0.69571 | 0.62614 | NORMAL | 0.62 | FALSE
SM CHUNG CHUNG HUA (PSDN) KLANG | NORMAL | MALAYSIA | KLANG | 2022-02-14 | 420.195 | 0 | 0.82 | 345.36 | 315540.13 | 0.82 | 35 | 0.69571 | 0.62614 | NORMAL | 17.86 | FALSE
SP LOGISTICS SDN BHD | NORMAL | MALAYSIA | KLANG | 2024-06-14 | 90.675 | 0 | 0.86 | 77.73 | 197829.81 | 0.86 | 35 | 0.69571 | 0.62614 | NORMAL | 23.61 | FALSE
TOMEI | NORMAL | MALAYSIA | KLANG | 2024-11-07 | 215.28 | 0 | 1.12 | 240.72 | 342939.62 | 1.12 | 35 | 0.69571 | 0.62614 | NORMAL | 60.99 | FALSE
TEMBIKAR WEI KHING | NORMAL | MALAYSIA | KLANG | 2025-01-27 | 977.22 | 0 | 0.81 | 788.8 | 1121742.02 | 0.81 | 35 | 0.69571 | 0.62614 | NORMAL | 16.43 | FALSE
TONG SEH | NORMAL | MALAYSIA | KLANG | 2024-01-18 | 260.91 | 0 | 0.76 | 197.54 | 664157.68 | 0.76 | 35 | 0.69571 | 0.62614 | NORMAL | 9.24 | FALSE
UC BLASTING PAINTING | NORMAL | MALAYSIA | KLANG | 2024-05-08 | 219.96 | 0 | 0.86 | 188.61 | 560209.54 | 0.86 | 35 | 0.69571 | 0.62614 | NORMAL | 23.61 | FALSE
VINDA PHASE 4 (MSB 3-2) | NORMAL | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 0 | 0.76 | 1613.83 | 449294.15 | 0.76 | 35 | 0.69571 | 0.62614 | NORMAL | 9.24 | FALSE
VISKO INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KLANG | 2023-07-07 | 948.75 | 0 | 1.41 | 1334.45 | 3267296.24 | 1.41 | 35 | 0.69571 | 0.62614 | NORMAL | 102.67 | FALSE
VINDA PHASE 1 AND 2 (MSB 2) | NORMAL | MALAYSIA | KLANG | 2023-08-20 | 2561.65 | 0 | 0.61 | 1569.61 | 7218739.74 | 0.61 | 35 | 0.69571 | 0.62614 | UNDERPERFORMING | -12.32 | TRUE
VINDA PHASE 3 (MSB 3-1) | NORMAL | MALAYSIA | KLANG | 2024-06-28 | 1502.28 | 0 | 0.63 | 947.34 | 4755401.47 | 0.63 | 35 | 0.69571 | 0.62614 | NORMAL | -9.45 | FALSE
KWANG HUA PERSENDIRIAN METER 1 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 73.03 | 0 | 0.63 | 46.3 | 341456.34 | 0.63 | 35 | 0.69571 | 0.62614 | NORMAL | -9.45 | FALSE
APEX UNIPARTS | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 41.535 | 0 | 1.98 | 82.37 | 96229.48 | 1.98 | 3 | 1.9 | 1.71 | NORMAL | 4.21 | FALSE
KLUANG COFFEE POWDER | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 25.135 | 0 | 2.03 | 50.95 | 63655.53 | 2.03 | 3 | 1.9 | 1.71 | NORMAL | 6.84 | FALSE
SAWIPAC SDN BHD | NORMAL | MALAYSIA | KLUANG | 2025-09-04 | 44.28 | 0 | 1.69 | 74.67 | 32855.01 | 1.69 | 3 | 1.9 | 1.71 | UNDERPERFORMING | -11.05 | TRUE
CHYE JOO HIANG SDN. BHD. (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2025-02-22 | 25.83 | 0 | 4.39 | 113.45 | 41650.79 | 4.39 | 3 | 4.06 | 3.654 | NORMAL | 8.13 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 0 | 4.28 | 37.87 | 12475.93 | 4.28 | 3 | 4.06 | 3.654 | NORMAL | 5.42 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 2) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 0 | 3.51 | 31.04 | 11731.47 | 3.51 | 3 | 4.06 | 3.654 | UNDERPERFORMING | -13.55 | TRUE
SUCCESS ELECTRONIC LOT 3 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-29 | 251.72 | 0 | 1.07 | 268.68 | 88703.73 | 1.07 | 2 | 1.065 | 0.9585 | NORMAL | 0.47 | FALSE
SUCCESS ELECTRONIC LOT 7 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-31 | 395.56 | 0 | 1.06 | 417.66 | 115833.77 | 1.06 | 2 | 1.065 | 0.9585 | NORMAL | -0.47 | FALSE
QL AGROFOOD SDN BHD | NORMAL | MALAYSIA | KOTA KINABALU | 2025-06-25 | 409.92 | 0 | 1.96 | 802.31 | 284387.8 | 1.96 | 1 | 1.96 | 1.764 | NO COMPARISON REQUIRED | 0 | FALSE
KIARA BAY | NORMAL | MALAYSIA | KUALA LUMPUR | 2025-01-21 | 1004.18 | 0 | 1.38 | 1387.72 | 1368032.7 | 1.38 | 3 | 1.3067 | 1.176 | NORMAL | 5.61 | FALSE
MENARA PJD | NORMAL | MALAYSIA | KUALA LUMPUR | 2024-05-18 | 80.145 | 0 | 1.13 | 90.65 | 153138.91 | 1.13 | 3 | 1.3067 | 1.176 | UNDERPERFORMING | -13.52 | TRUE
TOA PAINT KEPONG WAREHOUSE | NORMAL | MALAYSIA | KUALA LUMPUR | 2023-11-02 | 25.74 | 0 | 1.41 | 36.22 | 77276.41 | 1.41 | 3 | 1.3067 | 1.176 | NORMAL | 7.91 | FALSE
QL ENDAU MARINE | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-08-01 | 430.28 | 0 | 2.28 | 981.82 | 491766.76 | 2.28 | 2 | 1.435 | 1.2915 | NORMAL | 58.89 | FALSE
TIMURIKAN TRENGGANU MARINE PRODUCTS SDN BHD | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-12-08 | 260.4 | 0 | 0.59 | 153.29 | 15763.52 | 0.59 | 2 | 1.435 | 1.2915 | UNDERPERFORMING | -58.89 | TRUE
AFI BRAKE MANUFACTURING SDN BHD | NORMAL | MALAYSIA | KUALA TERENGGANU | 2023-10-02 | 454.3 | 0 | 4.13 | 1876.63 | 1323573.79 | 4.13 | 3 | 2.7133 | 2.442 | NORMAL | 52.21 | FALSE
AFI METAL | NORMAL | MALAYSIA | KUALA TERENGGANU | 2024-03-14 | 55.35 | 0 | 4.01 | 221.97 | 124207.75 | 4.01 | 3 | 2.7133 | 2.442 | NORMAL | 47.79 | FALSE
REDANG LAGOON RESORT | OFFLINE | MALAYSIA | KUALA TERENGGANU | 2023-02-16 | 53.41 | 0 | 0 | 0 | 0 | 0 | 3 | 2.7133 | 2.442 | UNDERPERFORMING | -100 | TRUE
C0156_DENIM CODE | NORMAL | MALAYSIA | KULIM | 2022-09-04 | 86.445 | 0 | 3.62 | 312.6 | 376386.98 | 3.62 | 1 | 3.62 | 3.258 | NO COMPARISON REQUIRED | 0 | FALSE
ECO OILS - LAHAD DATU | NORMAL | MALAYSIA | LAHAD DATU | 2024-10-15 | 39.78 | 0 | 1.97 | 78.48 | 59661.34 | 1.97 | 1 | 1.97 | 1.773 | NO COMPARISON REQUIRED | 0 | FALSE
LUNAS JAYA PETROL SDN BHD | NORMAL | MALAYSIA | LUNAS | 2025-03-19 | 25.86 | 0 | 4.41 | 114.05 | 33127.65 | 4.41 | 1 | 4.41 | 3.969 | NO COMPARISON REQUIRED | 0 | FALSE
QL PAJAM PHASE 2 | NORMAL | MALAYSIA | MANTIN | 2025-08-05 | 566.68 | 0 | 1.93 | 1094.76 | 461514.22 | 1.93 | 1 | 1.93 | 1.737 | NO COMPARISON REQUIRED | 0 | FALSE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 220.1 | 0 | 0 | 0 | 181.43 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
FIBERTEX PHASE 2 | NORMAL | MALAYSIA | NILAI | 2024-08-30 | 1251.704 | 0 | 2.56 | 3204.05 | 3143460.11 | 2.56 | 2 | 2.24 | 2.016 | NORMAL | 14.29 | FALSE
WEIDA MARKETING SDN. BHD. | NORMAL | MALAYSIA | NILAI | 2022-12-01 | 500.31 | 0 | 1.92 | 961.49 | 1706978.07 | 1.92 | 2 | 2.24 | 2.016 | UNDERPERFORMING | -14.29 | TRUE
KLH SDN BHD | NORMAL | MALAYSIA | PADANG SERAI | 2024-09-05 | 265.005 | 0 | 3.92 | 1038.23 | 451937.85 | 3.92 | 1 | 3.92 | 3.528 | NO COMPARISON REQUIRED | 0 | FALSE
QL AGROVENTURE | FAULTY | MALAYSIA | PAPAR | 2022-05-19 | 418.965 | 0 | 0.14 | 60.15 | 1345024.41 | 0.14 | 1 | 0.14 | 0.126 | NO COMPARISON REQUIRED | 0 | FALSE
ECOOILS (PHASE 2) - P.GUDANG | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-13 | 38.61 | 0 | 1.73 | 66.94 | 41421.77 | 1.73 | 4 | 1.4825 | 1.3342 | NORMAL | 16.69 | FALSE
IOI PAN - CENTURY | NORMAL | MALAYSIA | PASIR GUDANG | 2023-05-31 | 116.815 | 0 | 2.2 | 256.78 | 273888.74 | 2.2 | 4 | 1.4825 | 1.3342 | NORMAL | 48.4 | FALSE
KISWIRE CORD PHASE 1 (DATA) | OFFLINE | MALAYSIA | PASIR GUDANG | 2023-10-24 | 1248.5 | 0 | 0 | 0 | 0 | 0 | 4 | 1.4825 | 1.3342 | UNDERPERFORMING | -100 | TRUE
KISWIRE CORD SDN BHD | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-03 | 4732.09 | 0 | 2 | 9464.83 | 5106313.2 | 2 | 4 | 1.4825 | 1.3342 | NORMAL | 34.91 | FALSE
KB AIS SDN. BHD. | NORMAL | MALAYSIA | PASIR MAS | 2022-07-23 | 49.05 | 0 | 3.58 | 175.37 | 233339.47 | 3.58 | 1 | 3.58 | 3.222 | NO COMPARISON REQUIRED | 0 | FALSE
BRC INDUSTRIES | NORMAL | MALAYSIA | PENANG | 2024-05-26 | 162.63 | 0 | 4.5 | 732.07 | 402926.89 | 4.5 | 3 | 3.8567 | 3.471 | NORMAL | 16.68 | FALSE
LEAN GIAP ENTERPRISE SDN BHD | NORMAL | MALAYSIA | PENANG | 2024-03-13 | 7.02 | 0 | 3.35 | 23.55 | 19870.63 | 3.35 | 3 | 3.8567 | 3.471 | UNDERPERFORMING | -13.14 | TRUE
PKT 12 WAVES | NORMAL | MALAYSIA | PENANG | 2025-02-05 | 1337.31 | 0 | 3.72 | 4975.96 | 1366837.87 | 3.72 | 3 | 3.8567 | 3.471 | NORMAL | -3.54 | FALSE
PENGERANG INDEPENDENT TERMINAL | FAULTY | MALAYSIA | PENGERANG | 2024-10-24 | 718.965 | 0 | 2.24 | 1607.64 | 1229611.3 | 2.24 | 1 | 2.24 | 2.016 | NO COMPARISON REQUIRED | 0 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 2) | NORMAL | MALAYSIA | PENGKALAN CHEPA | 2025-02-20 | 25.83 | 0 | 4.68 | 120.84 | 43413.59 | 4.68 | 1 | 4.68 | 4.212 | NO COMPARISON REQUIRED | 0 | FALSE
DURASAFE SDN. BHD. | NORMAL | MALAYSIA | PERAI | 2024-12-02 | 91.5 | 0 | 4.3 | 393.87 | 178043.86 | 4.3 | 3 | 4.1467 | 3.732 | NORMAL | 3.7 | FALSE
MULTI CHOICE (M) SDN BHD | NORMAL | MALAYSIA | PERAI | 2025-10-26 | 423.46 | 0 | 4.41 | 1869.23 | 206066.84 | 4.41 | 3 | 4.1467 | 3.732 | NORMAL | 6.35 | FALSE
TEONG HUAT MEDICAL | NORMAL | MALAYSIA | PERAI | 2025-11-26 | 349.32 | 0 | 3.73 | 1302.83 | 98121.67 | 3.73 | 3 | 4.1467 | 3.732 | UNDERPERFORMING | -10.05 | TRUE
GEMILITE SDN BERHAD | NORMAL | MALAYSIA | PETALING JAYA | 2025-02-20 | 39.36 | 0 | 0.98 | 38.39 | 53700.88 | 0.98 | 3 | 0.64667 | 0.582 | NORMAL | 51.55 | FALSE
MENARA PKNS PJ | OFFLINE | MALAYSIA | PETALING JAYA | 2026-02-11 | 112.32 | 0 | 0 | 0 | 2181.01 | 0 | 3 | 0.64667 | 0.582 | UNDERPERFORMING | -100 | TRUE
SUCCESS ELECTRONIC LOT 5 | NORMAL | MALAYSIA | PETALING JAYA | 2025-12-29 | 80.6 | 0 | 0.96 | 77.25 | 19624.93 | 0.96 | 3 | 0.64667 | 0.582 | NORMAL | 48.45 | FALSE
FUNGICULTURE | NORMAL | MALAYSIA | PORT KLANG | 2023-06-10 | 262.515 | 0 | 0.96 | 251.76 | 970045.23 | 0.96 | 6 | 0.915 | 0.8235 | NORMAL | 4.92 | FALSE
JY1(PHASE 1) | NORMAL | MALAYSIA | PORT KLANG | 2023-03-06 | 259.42 | 0 | 0.93 | 242.17 | 989640.2 | 0.93 | 6 | 0.915 | 0.8235 | NORMAL | 1.64 | FALSE
JY1(PHASE 2) | NORMAL | MALAYSIA | PORT KLANG | 2025-10-07 | 140.74 | 0 | 0.92 | 129.43 | 109576.99 | 0.92 | 6 | 0.915 | 0.8235 | NORMAL | 0.55 | FALSE
JY2 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-10 | 397.305 | 0 | 0.92 | 363.79 | 1491451.26 | 0.92 | 6 | 0.915 | 0.8235 | NORMAL | 0.55 | FALSE
JAYA NETS | NORMAL | MALAYSIA | PORT KLANG | 2024-07-15 | 99 | 0 | 0.79 | 78.5 | 205900.77 | 0.79 | 6 | 0.915 | 0.8235 | UNDERPERFORMING | -13.66 | TRUE
SJK (C) TSHING NIAN | NORMAL | MALAYSIA | PORT KLANG | 2026-02-02 | 48.36 | 0 | 0.97 | 47.05 | 13636.27 | 0.97 | 6 | 0.915 | 0.8235 | NORMAL | 6.01 | FALSE
AMEBA MGMT | NORMAL | MALAYSIA | PUCHONG | 2024-01-30 | 18.72 | 0 | 0.81 | 15.13 | 35944.07 | 0.81 | 6 | 0.93833 | 0.8445 | UNDERPERFORMING | -13.68 | TRUE
IOI MALL PUCHONG (NEW WING) | NORMAL | MALAYSIA | PUCHONG | 2025-01-14 | 544.275 | 0 | 0.99 | 541.41 | 903726.68 | 0.99 | 6 | 0.93833 | 0.8445 | NORMAL | 5.51 | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | FAULTY | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 0 | 0.81 | 1923.02 | 243945.15 | 0.81 | 6 | 0.93833 | 0.8445 | UNDERPERFORMING | -13.68 | TRUE
IOI MALL PUCHONG (OLD WING) | NORMAL | MALAYSIA | PUCHONG | 2025-04-25 | 2193.09 | 0 | 0.9 | 1966.84 | 2413300.6 | 0.9 | 6 | 0.93833 | 0.8445 | NORMAL | -4.09 | FALSE
MCC TECHNIQUE SDN BHD LOT 10 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 0 | 1.06 | 32.94 | 24691.4 | 1.06 | 6 | 0.93833 | 0.8445 | NORMAL | 12.97 | FALSE
MCC TECHNIQUE SDN BHD LOT 12 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 0 | 1.06 | 32.79 | 24358.41 | 1.06 | 6 | 0.93833 | 0.8445 | NORMAL | 12.97 | FALSE
BREMFIELD SDN BHD | NORMAL | MALAYSIA | PULAU INDAH | 2024-05-02 | 150.93 | 0 | 1.02 | 153.64 | 396045.19 | 1.02 | 3 | 0.92333 | 0.831 | NORMAL | 10.47 | FALSE
C0149_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-18 | 25.175 | 0 | 0.8 | 20.18 | 93019.66 | 0.8 | 3 | 0.92333 | 0.831 | UNDERPERFORMING | -13.36 | TRUE
C150_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-17 | 72.2 | 0 | 0.95 | 68.82 | 315976.91 | 0.95 | 3 | 0.92333 | 0.831 | NORMAL | 2.89 | FALSE
FUJI M1 | NORMAL | MALAYSIA | PUNCAK ALAM | 2023-12-23 | 265.005 | 0 | 0.46 | 122.88 | 740324.52 | 0.46 | 4 | 0.585 | 0.5265 | UNDERPERFORMING | -21.37 | TRUE
FUJI M2 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-04-18 | 264.42 | 0 | 0.57 | 151.9 | 588334.75 | 0.57 | 4 | 0.585 | 0.5265 | NORMAL | -2.56 | FALSE
FUJI M3 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-02-04 | 264.89 | 0 | 0.64 | 170.01 | 409842.34 | 0.64 | 4 | 0.585 | 0.5265 | NORMAL | 9.4 | FALSE
FUJI M4 | NORMAL | MALAYSIA | PUNCAK ALAM | 2025-12-12 | 133.92 | 0 | 0.67 | 89.06 | 68784.98 | 0.67 | 4 | 0.585 | 0.5265 | NORMAL | 14.53 | FALSE
IOI CITY MALL INC. FEEDER 1 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 3049.605 | 0 | 1.3 | 3975.74 | 5720018.82 | 1.3 | 3 | 1.3167 | 1.185 | NORMAL | -1.27 | FALSE
IOI CITY MALL INC. FEEDER 2 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 1019.07 | 0 | 1.34 | 1368.98 | 1754877.54 | 1.34 | 3 | 1.3167 | 1.185 | NORMAL | 1.77 | FALSE
IOI RESORT VILLA GOLF COURSE | NORMAL | MALAYSIA | PUTRAJAYA | 2024-03-12 | 250.38 | 0 | 1.31 | 328.22 | 486968.85 | 1.31 | 3 | 1.3167 | 1.185 | NORMAL | -0.51 | FALSE
MARINE GOLD SDN BHD | OFFLINE | MALAYSIA | RAWANG | 2023-10-28 | 148.5 | 0 | 0 | 0 | 0 | 0 | 6 | 0.89333 | 0.804 | UNDERPERFORMING | -100 | TRUE
SCENT PUR MANUFACTURING SDN BHD NO.35 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 0 | 1.17 | 14.45 | 27191.72 | 1.17 | 6 | 0.89333 | 0.804 | NORMAL | 30.97 | FALSE
SCENT PUR MANUFACTURING SDN BHD NO.37 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 0 | 1.14 | 14.14 | 26961.77 | 1.14 | 6 | 0.89333 | 0.804 | NORMAL | 27.61 | FALSE
WCS UNIT 6 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 21.06 | 0 | 0.96 | 20.13 | 53129.98 | 0.96 | 6 | 0.89333 | 0.804 | NORMAL | 7.46 | FALSE
WCS UNIT 7 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 16.38 | 0 | 0.96 | 15.75 | 41881.37 | 0.96 | 6 | 0.89333 | 0.804 | NORMAL | 7.46 | FALSE
WCS_HOME | NORMAL | MALAYSIA | RAWANG | 2024-09-13 | 8.85 | 0 | 1.13 | 9.99 | 17279.57 | 1.13 | 6 | 0.89333 | 0.804 | NORMAL | 26.49 | FALSE
BM COCO MARKETING | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 0 | 2.44 | 62.21 | 76453.66 | 2.44 | 3 | 2.58 | 2.322 | NORMAL | -5.43 | FALSE
BM COCO PALM | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 0 | 2.43 | 62.12 | 80995.69 | 2.43 | 3 | 2.58 | 2.322 | NORMAL | -5.81 | FALSE
CHONG HWA SBR RENGIT | NORMAL | MALAYSIA | RENGIT | 2024-05-28 | 25.155 | 0 | 2.87 | 72.3 | 57683.71 | 2.87 | 3 | 2.58 | 2.322 | NORMAL | 11.24 | FALSE
SUPERCOWBOY (SEGAMAT) | NORMAL | MALAYSIA | SEGAMAT | 2025-07-23 | 250.75 | 0 | 2.39 | 599.41 | 262278.55 | 2.39 | 1 | 2.39 | 2.151 | NO COMPARISON REQUIRED | 0 | FALSE
DONG SING FOOD LINK SDN BHD | FAULTY | MALAYSIA | SEMENYIH | 2025-12-08 | 71.92 | 0 | 0 | 0 | 27307.04 | 0 | 8 | 1.6525 | 1.4872 | UNDERPERFORMING | -100 | TRUE
FOX ONE MARKETING SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-01-06 | 91.5 | 0 | 1.97 | 180.46 | 117687.98 | 1.97 | 8 | 1.6525 | 1.4872 | NORMAL | 19.21 | FALSE
P.A FOOD SDN BHD 2ATKT | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 47.97 | 0 | 1.94 | 92.99 | 97622.89 | 1.94 | 8 | 1.6525 | 1.4872 | NORMAL | 17.4 | FALSE
P.A FOOD SDN BHD LOT 10 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 52.65 | 0 | 1.79 | 94.1 | 102503.48 | 1.79 | 8 | 1.6525 | 1.4872 | NORMAL | 8.32 | FALSE
P.A FOOD SDN BHD LOT 12 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 51.48 | 0 | 1.71 | 88.18 | 93712.73 | 1.71 | 8 | 1.6525 | 1.4872 | NORMAL | 3.48 | FALSE
P.A. FOOD WAREHOUSE NO. 9 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-28 | 21.06 | 0 | 1.79 | 37.7 | 41468.23 | 1.79 | 8 | 1.6525 | 1.4872 | NORMAL | 8.32 | FALSE
YAN JIAN 2 | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 63.86 | 0 | 2.08 | 132.66 | 55070.44 | 2.08 | 8 | 1.6525 | 1.4872 | NORMAL | 25.87 | FALSE
YAN JIAN 2A | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 74.4 | 0 | 1.94 | 144.25 | 73830.2 | 1.94 | 8 | 1.6525 | 1.4872 | NORMAL | 17.4 | FALSE
LYBASE SDN BHD | NORMAL | MALAYSIA | SENAI | 2024-11-04 | 400.14 | 0 | 1.83 | 733.74 | 420708.6 | 1.83 | 2 | 1.88 | 1.692 | NORMAL | -2.66 | FALSE
SUPERMICRO COMPUTER SDN BHD | NORMAL | MALAYSIA | SENAI | 2025-08-16 | 2550.85 | 0 | 1.93 | 4934.84 | 1639147.1 | 1.93 | 2 | 1.88 | 1.692 | NORMAL | 2.66 | FALSE
ENGE PLAS | NORMAL | MALAYSIA | SENAWANG | 2024-12-10 | 302.4 | 0 | 1 | 303.85 | 462474.52 | 1 | 1 | 1 | 0.9 | NO COMPARISON REQUIRED | 0 | FALSE
CIC CONTRACT SDN BHD | NORMAL | MALAYSIA | SERI KEMBANGAN | 2023-12-14 | 20.475 | 0 | 1.3 | 26.55 | 59505.19 | 1.3 | 1 | 1.3 | 1.17 | NO COMPARISON REQUIRED | 0 | FALSE
BJC FOOD (MALAYSIA) SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2023-01-10 | 320.46 | 0 | 0.54 | 173.65 | 1105096.89 | 0.54 | 14 | 0.87071 | 0.78364 | UNDERPERFORMING | -37.98 | TRUE
KUASA BAKTI (PETRON SETIA ALAM) | NORMAL | MALAYSIA | SHAH ALAM | 2025-08-27 | 44.64 | 0 | 0.87 | 38.79 | 30009.31 | 0.87 | 14 | 0.87071 | 0.78364 | NORMAL | -0.08 | FALSE
MARBACH ASIA PACIFIC LOT17 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.02 | 0 | 1.02 | 50.86 | 78561.81 | 1.02 | 14 | 0.87071 | 0.78364 | NORMAL | 17.15 | FALSE
MARBACH ASIA PACIFIC LOT 15 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.05 | 0 | 1.05 | 52.32 | 81221.46 | 1.05 | 14 | 0.87071 | 0.78364 | NORMAL | 20.59 | FALSE
MITSUI COPPER FOIL P3 | NORMAL | MALAYSIA | SHAH ALAM | 2025-06-26 | 706.33 | 0 | 0.91 | 640.14 | 739137.7 | 0.91 | 14 | 0.87071 | 0.78364 | NORMAL | 4.51 | FALSE
NEW AGE 160 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-17 | 166.67 | 0 | 1.03 | 171.04 | 282792.26 | 1.03 | 14 | 0.87071 | 0.78364 | NORMAL | 18.29 | FALSE
NEW AGE 510 | NORMAL | MALAYSIA | SHAH ALAM | 2024-11-18 | 127.92 | 0 | 1.03 | 132.05 | 250230.57 | 1.03 | 14 | 0.87071 | 0.78364 | NORMAL | 18.29 | FALSE
PKT 8 WAVES | NORMAL | MALAYSIA | SHAH ALAM | 2024-08-13 | 176.67 | 0 | 0.89 | 156.92 | 257492.88 | 0.89 | 14 | 0.87071 | 0.78364 | NORMAL | 2.21 | FALSE
QL MAXINCOME | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-05 | 79.3 | 0 | 1.06 | 84.2 | 111152.49 | 1.06 | 14 | 0.87071 | 0.78364 | NORMAL | 21.74 | FALSE
QL LOT 14 | NORMAL | MALAYSIA | SHAH ALAM | 2025-02-24 | 61.61 | 0 | 1.03 | 63.38 | 83843.76 | 1.03 | 14 | 0.87071 | 0.78364 | NORMAL | 18.29 | FALSE
QL LOT 16 | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-01 | 64.05 | 0 | 1.04 | 66.36 | 85704.49 | 1.04 | 14 | 0.87071 | 0.78364 | NORMAL | 19.44 | FALSE
SAN SOON SENG FOOD INDUSTRIES SDN BHD | NORMAL | MALAYSIA | SHAH ALAM | 2025-10-02 | 1292.7 | 0 | 0.92 | 1185.75 | 723416.94 | 0.92 | 14 | 0.87071 | 0.78364 | NORMAL | 5.66 | FALSE
SUCCESFUEL SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2024-10-22 | 90.86 | 0 | 0.8 | 72.93 | 160568.83 | 0.8 | 14 | 0.87071 | 0.78364 | NORMAL | -8.12 | FALSE
THOR SPECIALTIES | OFFLINE | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 0 | 0 | 0 | 2908.54 | 0 | 14 | 0.87071 | 0.78364 | UNDERPERFORMING | -100 | TRUE
FURUTEC | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-07-06 | 132.21 | 0 | 4.61 | 608.84 | 297176.68 | 4.61 | 3 | 4.6233 | 4.161 | NORMAL | -0.29 | FALSE
PERBADANAN PENGURUSAN VILLA RAINTREE II | NORMAL | MALAYSIA | SIMPANG AMPAT | 2025-04-18 | 25.83 | 0 | 4.61 | 119.05 | 36276.87 | 4.61 | 3 | 4.6233 | 4.161 | NORMAL | -0.29 | FALSE
THP MEDICAL | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-01-08 | 377.325 | 0 | 4.65 | 1755.7 | 1170266.5 | 4.65 | 3 | 4.6233 | 4.161 | NORMAL | 0.58 | FALSE
JEBSEN AND JESSEN MALAYSIA SDN BHD (MHE) | NORMAL | MALAYSIA | SIMPANG RENGGAM | 2025-05-24 | 184.76 | 0 | 1.81 | 334.38 | 165389.8 | 1.81 | 1 | 1.81 | 1.629 | NO COMPARISON REQUIRED | 0 | FALSE
ATS AIR SOLUTION | NORMAL | MALAYSIA | SUBANG JAYA | 2024-02-08 | 22.23 | 0 | 0.96 | 21.31 | 59376.07 | 0.96 | 2 | 0.48 | 0.432 | NORMAL | 100 | FALSE
BOILERMECH LOT 873 | OFFLINE | MALAYSIA | SUBANG JAYA | 2025-09-15 | 280.5 | 0 | 0 | 0 | 155517.23 | 0 | 2 | 0.48 | 0.432 | UNDERPERFORMING | -100 | TRUE
KILANG BATU BATA | NORMAL | MALAYSIA | SUNGAI SIPUT | 2025-06-27 | 545.505 | 0 | 3.99 | 2176.38 | 521835.76 | 3.99 | 1 | 3.99 | 3.591 | NO COMPARISON REQUIRED | 0 | FALSE
FARM FRESH TAIPING (FACTORY) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 190.125 | 0 | 4.35 | 826.25 | 478854.19 | 4.35 | 3 | 3.7933 | 3.414 | NORMAL | 14.67 | FALSE
FARM FRESH TAIPING (FARM) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 335.79 | 0 | 3.99 | 1339.03 | 732044.63 | 3.99 | 3 | 3.7933 | 3.414 | NORMAL | 5.18 | FALSE
QL FOODS | NORMAL | MALAYSIA | TAIPING | 2024-10-03 | 2061.225 | 0 | 3.04 | 6276.14 | 3457434.22 | 3.04 | 3 | 3.7933 | 3.414 | UNDERPERFORMING | -19.86 | TRUE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 0 | 0 | 0 | 0 | 355.36 | 0 | 5 | 2.08 | 1.872 | UNDERPERFORMING | -100 | TRUE
QL TAWAU FEEDMILL | NORMAL | MALAYSIA | TAWAU | 2025-11-05 | 317.2 | 0 | 3.13 | 992.16 | 56101.39 | 3.13 | 5 | 2.08 | 1.872 | NORMAL | 50.48 | FALSE
SABAH CHINESE HIGH SCHOOL (CANTEEN) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 26.91 | 0 | 1.65 | 44.35 | 13536.22 | 1.65 | 5 | 2.08 | 1.872 | UNDERPERFORMING | -20.67 | TRUE
SABAH CHINESE HIGH SCHOOL (CULTURE AND EDUCATION) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.768 | 0 | 1.69 | 160.16 | 33823.13 | 1.69 | 5 | 2.08 | 1.872 | UNDERPERFORMING | -18.75 | TRUE
SABAH CHINESE HIGH SCHOOL (TAK YUEN BUILDING) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.77 | 0 | 3.93 | 372.24 | 72480.7 | 3.93 | 5 | 2.08 | 1.872 | NORMAL | 88.94 | FALSE
CHAN KAH WHYE | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-01-20 | 14.75 | 0 | 1.08 | 15.94 | 22109.06 | 1.08 | 3 | 1.1633 | 1.047 | NORMAL | -7.16 | FALSE
DSG MALAYSIA SDN. BHD | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2022-11-24 | 2310.255 | 0 | 1.15 | 2647.75 | 6333534.43 | 1.15 | 3 | 1.1633 | 1.047 | NORMAL | -1.15 | FALSE
LAM SOON EDIBLE OILS | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-07-04 | 86.8 | 0 | 1.26 | 109.4 | 104512.99 | 1.26 | 3 | 1.1633 | 1.047 | NORMAL | 8.31 | FALSE
LAU AND TAN PHARMACY (1ST FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 12.375 | 0 | 0.81 | 10 | 48958.43 | 0.81 | 2 | 1.615 | 1.4535 | UNDERPERFORMING | -49.85 | TRUE
LAU AND TAN PHARMACY (G.FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 38.115 | 0 | 2.42 | 92.28 | 179329.38 | 2.42 | 2 | 1.615 | 1.4535 | NORMAL | 49.85 | FALSE
WASCO PIPE SDN BHD (COATING) | NORMAL | MALAYSIA | TUARAN | 2026-02-12 | 350.92 | 0 | 1.03 | 362.74 | 4425.33 | 1.03 | 2 | 1.345 | 1.2105 | UNDERPERFORMING | -23.42 | TRUE
WASCO PIPE SDN BHD (MILL) | OFFLINE | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 1.66 | 1409.84 | 16077.97 | 1.66 | 2 | 1.345 | 1.2105 | NORMAL | 23.42 | FALSE