## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 0 | 4.12 | 3743.4 | 230741.57 | 4.12 | 5 | 3.204 | 2.8836 | NORMAL | 28.59 | FALSE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 0 | 4.25 | 1022.68 | 4018.45 | 4.25 | 5 | 3.204 | 2.8836 | NORMAL | 32.65 | FALSE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 0 | 2.51 | 180.21 | 3247.97 | 2.51 | 5 | 3.204 | 2.8836 | UNDERPERFORMING | -21.66 | TRUE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 0 | 0.94 | 49.1 | 564.58 | 0.94 | 5 | 3.204 | 2.8836 | UNDERPERFORMING | -70.66 | TRUE
VINDA PHASE 4 (MSB 3-2) | FAULTY | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 0 | 4.2 | 8898.69 | 458192.84 | 4.2 | 5 | 3.204 | 2.8836 | NORMAL | 31.09 | FALSE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 220.1 | 0 | 0 | 0 | 181.43 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | FAULTY | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 0 | 2.97 | 7059.33 | 251004.48 | 2.97 | 1 | 2.97 | 2.673 | NO COMPARISON REQUIRED | 0 | FALSE
THOR SPECIALTIES | OFFLINE | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 0 | 0 | 0 | 2908.54 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 0 | 0 | 0 | 0 | 355.36 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
WASCO PIPE SDN BHD (MILL) | OFFLINE | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 2.54 | 2157.46 | 18235.43 | 2.54 | 1 | 2.54 | 2.286 | NO COMPARISON REQUIRED | 0 | FALSE