## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 0 | 3.87 | 3518.35 | 234259.92 | 3.87 | 5 | 2.812 | 2.5308 | NORMAL | 37.62 | FALSE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 0 | 3.97 | 954.08 | 4972.53 | 3.97 | 5 | 2.812 | 2.5308 | NORMAL | 41.18 | FALSE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 0 | 1.8 | 129.13 | 3377.1 | 1.8 | 5 | 2.812 | 2.5308 | UNDERPERFORMING | -35.99 | TRUE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 0 | 0.69 | 36.08 | 600.66 | 0.69 | 5 | 2.812 | 2.5308 | UNDERPERFORMING | -75.46 | TRUE
VINDA PHASE 4 (MSB 3-2) | FAULTY | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 0 | 3.73 | 7905.54 | 466098.38 | 3.73 | 5 | 2.812 | 2.5308 | NORMAL | 32.65 | FALSE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 220.1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | OFFLINE | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 0 | 0 | 0 | 251004.48 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
THOR SPECIALTIES | OFFLINE | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
WASCO PIPE SDN BHD (MILL) | OFFLINE | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 0.24 | 200.9 | 18436.33 | 0.24 | 1 | 0.24 | 0.216 | NO COMPARISON REQUIRED | 0 | FALSE