## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 0 | 3.74 | 3398.77 | 237658.69 | 3.74 | 5 | 3.458 | 3.1122 | NORMAL | 8.16 | FALSE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 0 | 5.17 | 1244.55 | 6217.08 | 5.17 | 5 | 3.458 | 3.1122 | NORMAL | 49.51 | FALSE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 0 | 3.25 | 233.54 | 3610.64 | 3.25 | 5 | 3.458 | 3.1122 | NORMAL | -6.02 | FALSE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 0 | 1.28 | 66.83 | 667.49 | 1.28 | 5 | 3.458 | 3.1122 | UNDERPERFORMING | -62.98 | TRUE
VINDA PHASE 4 (MSB 3-2) | FAULTY | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 0 | 3.85 | 8162.03 | 474260.41 | 3.85 | 5 | 3.458 | 3.1122 | NORMAL | 11.34 | FALSE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 220.1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | OFFLINE | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 0 | 0 | 0 | 251004.48 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
THOR SPECIALTIES | OFFLINE | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 0 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
WASCO PIPE SDN BHD (MILL) | OFFLINE | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 2.84 | 2412.9 | 20849.23 | 2.84 | 1 | 2.84 | 2.556 | NO COMPARISON REQUIRED | 0 | FALSE