## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
TS UNITED METAL | NORMAL | MALAYSIA | ALOR GAJAH | 2024-05-16 | 25.155 | 10.14 | 3.13 | 78.77 | 67809.45 | 3.13 | 1 | 3.13 | 2.817 | NO COMPARISON REQUIRED | 0 | FALSE
BIMB BDR PENAWAR - 1ST FLOOR | OFFLINE | MALAYSIA | BANDAR PENAWAR | 2025-04-28 | 15.47 | 0 | 0 | 0 | 48.19 | 0 | 2 | 1.97 | 1.773 | UNDERPERFORMING | -100 | TRUE
BIMB BDR PENAWAR - G FLOOR | NORMAL | MALAYSIA | BANDAR PENAWAR | 2025-04-29 | 15.47 | 3.25 | 3.94 | 60.97 | 209.84 | 3.94 | 2 | 1.97 | 1.773 | NORMAL | 100 | FALSE
KOMPLEX PKNS BANGI | NORMAL | MALAYSIA | BANGI | 2024-09-04 | 379.08 | 30.71 | 3.84 | 1453.87 | 423471.42 | 3.84 | 1 | 3.84 | 3.456 | NO COMPARISON REQUIRED | 0 | FALSE
JIANN LIH SAFETY PRODUCT | NORMAL | MALAYSIA | BANTING | 2024-03-21 | 475.605 | 112.46 | 3.95 | 1877.39 | 787832.55 | 3.95 | 1 | 3.95 | 3.555 | NO COMPARISON REQUIRED | 0 | FALSE
C0102_QL BATANG KALI | OFFLINE | MALAYSIA | BATANG KALI | 2022-02-24 | 526 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
BP PLASTICS BP9 | NORMAL | MALAYSIA | BATU PAHAT | 2025-07-22 | 2979.1 | 482.98 | 3.51 | 10442.93 | 3066284.99 | 3.51 | 3 | 3.64 | 3.276 | NORMAL | -3.57 | FALSE
BP PLASTICS HQ | NORMAL | MALAYSIA | BATU PAHAT | 2025-01-16 | 1063.425 | 0 | 3.3 | 3510.07 | 1748449.38 | 3.3 | 3 | 3.64 | 3.276 | NORMAL | -9.34 | FALSE
CK PACKAGING AND PLASTIC INDUSTRIES | NORMAL | MALAYSIA | BATU PAHAT | 2026-01-19 | 138.88 | 0 | 4.11 | 571.11 | 48268.07 | 4.11 | 3 | 3.64 | 3.276 | NORMAL | 12.91 | FALSE
GUH METER 1 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 210.6 | 83.28 | 4.36 | 917.68 | 518926.95 | 4.36 | 3 | 4.28 | 3.852 | NORMAL | 1.87 | FALSE
GUH METER 2 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 278.46 | 105.01 | 4.26 | 1186.16 | 645818.7 | 4.26 | 3 | 4.28 | 3.852 | NORMAL | -0.47 | FALSE
GUH METER 3 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-05-04 | 534.69 | 197.95 | 4.22 | 2255.13 | 1274193.03 | 4.22 | 3 | 4.28 | 3.852 | NORMAL | -1.4 | FALSE
TELEWIRING | NORMAL | MALAYSIA | CHENG | 2024-05-16 | 25.155 | 6.41 | 2.69 | 67.62 | 64354.19 | 2.69 | 1 | 2.69 | 2.421 | NO COMPARISON REQUIRED | 0 | FALSE
C0176_GETHA | NORMAL | MALAYSIA | CHERAS | 2023-03-01 | 178.215 | 1.53 | 4 | 712.02 | 584897.35 | 4 | 1 | 4 | 3.6 | NO COMPARISON REQUIRED | 0 | FALSE
C0172_ATRIA NORTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 130.8 | 0 | 3.19 | 417.35 | 383461.6 | 3.19 | 3 | 3.32 | 2.988 | NORMAL | -3.92 | FALSE
C0172_ATRIA SOUTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 287.76 | 0.02 | 3.35 | 964.9 | 839426.36 | 3.35 | 3 | 3.32 | 2.988 | NORMAL | 0.9 | FALSE
RESTORAN CHIMAEK (KFRY) | NORMAL | MALAYSIA | DAMANSARA | 2024-10-25 | 24.4 | 0.11 | 3.42 | 83.33 | 46891.18 | 3.42 | 3 | 3.32 | 2.988 | NORMAL | 3.01 | FALSE
QL ENDAU DEEP SEA FISHING | NORMAL | MALAYSIA | ENDAU | 2025-09-04 | 897.76 | 151.83 | 3.07 | 2754.48 | 564413.62 | 3.07 | 1 | 3.07 | 2.763 | NO COMPARISON REQUIRED | 0 | FALSE
PROGUARD SAFETY MANUFACTURING SDN BHD | NORMAL | MALAYSIA | HULU LANGAT | 2022-12-30 | 202.195 | 9.84 | 2.87 | 580.37 | 563719.35 | 2.87 | 1 | 2.87 | 2.583 | NO COMPARISON REQUIRED | 0 | FALSE
GLASS PLASTIC PACKAGING | NORMAL | MALAYSIA | IPOH | 2025-04-19 | 704.94 | 208.5 | 3.82 | 2691.49 | 826191.27 | 3.82 | 3 | 3.8067 | 3.426 | NORMAL | 0.35 | FALSE
SWH INDUSTRIES (PLOT 132113) | NORMAL | MALAYSIA | IPOH | 2024-05-21 | 752.98 | 228.69 | 3.9 | 2934.72 | 1675369.9 | 3.9 | 3 | 3.8067 | 3.426 | NORMAL | 2.45 | FALSE
SWH INDUSTRIES (PLOT6311) | NORMAL | MALAYSIA | IPOH | 2025-01-15 | 204.96 | 80.53 | 3.7 | 758.38 | 322946.67 | 3.7 | 3 | 3.8067 | 3.426 | NORMAL | -2.8 | FALSE
PLEASURE LATEX | NORMAL | MALAYSIA | JERAM | 2023-07-25 | 520.3 | 218.21 | 3.91 | 2033.9 | 1708268.9 | 3.91 | 2 | 1.955 | 1.7595 | NORMAL | 100 | FALSE
PLEASURE LATEX PHASE 2 | OFFLINE | MALAYSIA | JERAM | 2024-12-20 | 1010.295 | 0 | 0 | 0 | 0 | 0 | 2 | 1.955 | 1.7595 | UNDERPERFORMING | -100 | TRUE
FOX ONE LOT 14 | NORMAL | MALAYSIA | KAJANG | 2025-08-13 | 91.76 | 17.36 | 4.82 | 441.89 | 59638.89 | 4.82 | 9 | 4.1256 | 3.713 | NORMAL | 16.83 | FALSE
FOX ONE LOT 8 | NORMAL | MALAYSIA | KAJANG | 2026-01-28 | 91.76 | 17.61 | 4.96 | 455.23 | 20917.89 | 4.96 | 9 | 4.1256 | 3.713 | NORMAL | 20.23 | FALSE
IOI KNOWLEDGE VISION SDN BHD | NORMAL | MALAYSIA | KAJANG | 2025-06-19 | 71.92 | 24.95 | 4.8 | 345.08 | 77435.44 | 4.8 | 9 | 4.1256 | 3.713 | NORMAL | 16.35 | FALSE
IOI MAYANG DEVELOPMENT | NORMAL | MALAYSIA | KAJANG | 2025-07-18 | 71.92 | 15.92 | 3.14 | 225.78 | 49289.24 | 3.14 | 9 | 4.1256 | 3.713 | UNDERPERFORMING | -23.89 | TRUE
LKW FROZEN SDN BHD | NORMAL | MALAYSIA | KAJANG | 2024-05-12 | 54.99 | 4.19 | 3.68 | 202.23 | 94043.09 | 3.68 | 9 | 4.1256 | 3.713 | UNDERPERFORMING | -10.8 | TRUE
P.A. FOOD SDN. BHD. | NORMAL | MALAYSIA | KAJANG | 2024-05-07 | 25.155 | 3.07 | 4.45 | 112.05 | 62485.41 | 4.45 | 9 | 4.1256 | 3.713 | NORMAL | 7.86 | FALSE
UCS_BLOCK A | OFFLINE | MALAYSIA | KAJANG | 2022-07-24 | 125 | 0 | 3.55 | 443.13 | 485528.78 | 3.55 | 9 | 4.1256 | 3.713 | UNDERPERFORMING | -13.95 | TRUE
UCS_BLOCK B | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 135 | 11.56 | 3.98 | 536.73 | 563368.57 | 3.98 | 9 | 4.1256 | 3.713 | NORMAL | -3.53 | FALSE
UCS_BLOCK C | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 185.5 | 15.75 | 3.75 | 696.18 | 776017.46 | 3.75 | 9 | 4.1256 | 3.713 | NORMAL | -9.1 | FALSE
FDP AND MTB INDUSTRIES SDN BHD | OFFLINE | MALAYSIA | KERLING | 2026-01-25 | 186 | 0 | 0 | 0 | 6803.17 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
AMT PC DISTRIBUTORS SDN. BHD. | NORMAL | MALAYSIA | KLANG | 2024-01-04 | 88.335 | 7.74 | 3.86 | 340.85 | 250534.27 | 3.86 | 32 | 3.4606 | 3.1146 | NORMAL | 11.54 | FALSE
ASHITA COMMUNICATION | OFFLINE | MALAYSIA | KLANG | 2025-11-03 | 91.76 | 0 | 0 | 0 | 0 | 0 | 32 | 3.4606 | 3.1146 | UNDERPERFORMING | -100 | TRUE
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 406.88 | 4.21 | 3824.28 | 158200.58 | 4.21 | 32 | 3.4606 | 3.1146 | NORMAL | 21.65 | FALSE
ADVANCE VI TECH LOT 1629 | NORMAL | MALAYSIA | KLANG | 2024-10-27 | 240.13 | 84.01 | 4.02 | 966.22 | 394351.22 | 4.02 | 32 | 3.4606 | 3.1146 | NORMAL | 16.16 | FALSE
BUNCHO (M) SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-10-01 | 91.14 | 42.66 | 4.07 | 370.98 | 26572.33 | 4.07 | 32 | 3.4606 | 3.1146 | NORMAL | 17.61 | FALSE
HOON YUEN FURNITURE | NORMAL | MALAYSIA | KLANG | 2023-11-20 | 88.335 | 34.46 | 3.84 | 339.07 | 238099.26 | 3.84 | 32 | 3.4606 | 3.1146 | NORMAL | 10.96 | FALSE
KCCCI 2FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 4.13 | 0.87 | 3.76 | 15.54 | 4931.55 | 3.76 | 32 | 3.4606 | 3.1146 | NORMAL | 8.65 | FALSE
KCCCI FIRST FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 15.34 | 4.26 | 4 | 61.43 | 19926.84 | 4 | 32 | 3.4606 | 3.1146 | NORMAL | 15.59 | FALSE
KCCCI GROUND FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 3.54 | 0.75 | 3.88 | 13.75 | 4227.74 | 3.88 | 32 | 3.4606 | 3.1146 | NORMAL | 12.12 | FALSE
KAMMA KLANG ENTERPRISE | NORMAL | MALAYSIA | KLANG | 2023-03-28 | 88 | 25.89 | 3.84 | 338.21 | 329016.96 | 3.84 | 32 | 3.4606 | 3.1146 | NORMAL | 10.96 | FALSE
KWANG HUA PERSENDIRIAN METER 2-3-4-5-6 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 302.475 | 36.57 | 2.79 | 844.14 | 1097063.65 | 2.79 | 32 | 3.4606 | 3.1146 | UNDERPERFORMING | -19.38 | TRUE
LIAN TECK SENG LOT 11 | OFFLINE | MALAYSIA | KLANG | 2025-05-06 | 18.04 | 0 | 0 | 0 | 0 | 0 | 32 | 3.4606 | 3.1146 | UNDERPERFORMING | -100 | TRUE
MEWAH OILS SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-12-01 | 220.1 | 81.42 | 3.24 | 713.95 | 6543.49 | 3.24 | 32 | 3.4606 | 3.1146 | NORMAL | -6.38 | FALSE
MIAW FRESH | NORMAL | MALAYSIA | KLANG | 2024-05-31 | 24.57 | 10.2 | 4.16 | 102.14 | 55614.91 | 4.16 | 32 | 3.4606 | 3.1146 | NORMAL | 20.21 | FALSE
MAXTWO ENGINEERING (FACTORY) | NORMAL | MALAYSIA | KLANG | 2025-04-21 | 35.38 | 15.05 | 4.22 | 149.17 | 32735.97 | 4.22 | 32 | 3.4606 | 3.1146 | NORMAL | 21.94 | FALSE
PKT THE SHIP | NORMAL | MALAYSIA | KLANG | 2025-01-21 | 1068.21 | 229.85 | 3.78 | 4038.09 | 1176778.66 | 3.78 | 32 | 3.4606 | 3.1146 | NORMAL | 9.23 | FALSE
ROYAL KLANG CLUB | NORMAL | MALAYSIA | KLANG | 2025-07-14 | 91.76 | 29 | 3.85 | 353.2 | 79405.56 | 3.85 | 32 | 3.4606 | 3.1146 | NORMAL | 11.25 | FALSE
RS POLY INDUSTRY | NORMAL | MALAYSIA | KLANG | 2024-08-02 | 727.155 | 242.67 | 3.99 | 2900.32 | 1374726.25 | 3.99 | 32 | 3.4606 | 3.1146 | NORMAL | 15.3 | FALSE
SIME KANSAI PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-09-17 | 123.825 | 22.07 | 3.95 | 488.77 | 90973.87 | 3.95 | 32 | 3.4606 | 3.1146 | NORMAL | 14.14 | FALSE
SJK (C) WU TECK | NORMAL | MALAYSIA | KLANG | 2025-12-25 | 71.92 | 24.23 | 4.41 | 316.96 | 32917 | 4.41 | 32 | 3.4606 | 3.1146 | NORMAL | 27.43 | FALSE
SJK （ C ） PIN HWA 1 | NORMAL | MALAYSIA | KLANG | 2025-09-23 | 183.52 | 3.46 | 3.52 | 645.92 | 94958.43 | 3.52 | 32 | 3.4606 | 3.1146 | NORMAL | 1.72 | FALSE
SM CHUNG CHUNG HUA (PSDN) KLANG | NORMAL | MALAYSIA | KLANG | 2022-02-14 | 420.195 | 142.08 | 3.76 | 1579.31 | 288054.77 | 3.76 | 32 | 3.4606 | 3.1146 | NORMAL | 8.65 | FALSE
SP LOGISTICS SDN BHD | NORMAL | MALAYSIA | KLANG | 2024-06-14 | 90.675 | 32.76 | 3.59 | 325.22 | 192791.07 | 3.59 | 32 | 3.4606 | 3.1146 | NORMAL | 3.74 | FALSE
TOMEI | NORMAL | MALAYSIA | KLANG | 2024-11-07 | 215.28 | 1.39 | 3.72 | 801.03 | 328853.74 | 3.72 | 32 | 3.4606 | 3.1146 | NORMAL | 7.5 | FALSE
TEMBIKAR WEI KHING | NORMAL | MALAYSIA | KLANG | 2025-01-27 | 977.22 | 373.37 | 4.06 | 3970.37 | 1056871.46 | 4.06 | 32 | 3.4606 | 3.1146 | NORMAL | 17.32 | FALSE
TONG SEH | NORMAL | MALAYSIA | KLANG | 2024-01-18 | 260.91 | 77.48 | 3.99 | 1040.41 | 645241.18 | 3.99 | 32 | 3.4606 | 3.1146 | NORMAL | 15.3 | FALSE
UC BLASTING PAINTING | OFFLINE | MALAYSIA | KLANG | 2024-05-08 | 219.96 | 0 | 0 | 0 | 543869.4 | 0 | 32 | 3.4606 | 3.1146 | UNDERPERFORMING | -100 | TRUE
VINDA PHASE 4 (MSB 3-2) | NORMAL | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 291.97 | 4.6 | 9749.25 | 262819.72 | 4.6 | 32 | 3.4606 | 3.1146 | NORMAL | 32.92 | FALSE
VISKO INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KLANG | 2023-07-07 | 948.75 | 326.12 | 2.65 | 2517.9 | 3193056.1 | 2.65 | 32 | 3.4606 | 3.1146 | UNDERPERFORMING | -23.42 | TRUE
VINDA PHASE 1 AND 2 (MSB 2) | NORMAL | MALAYSIA | KLANG | 2023-08-20 | 2561.65 | 227.83 | 3.73 | 9544.29 | 7044577.33 | 3.73 | 32 | 3.4606 | 3.1146 | NORMAL | 7.78 | FALSE
VINDA PHASE 3 (MSB 3-1) | NORMAL | MALAYSIA | KLANG | 2024-06-28 | 1502.28 | 133.63 | 3.77 | 5668.25 | 4644833.41 | 3.77 | 32 | 3.4606 | 3.1146 | NORMAL | 8.94 | FALSE
KWANG HUA PERSENDIRIAN METER 1 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 73.03 | 10.89 | 3.48 | 254.42 | 336843.68 | 3.48 | 32 | 3.4606 | 3.1146 | NORMAL | 0.56 | FALSE
APEX UNIPARTS | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 41.535 | 1.47 | 2.97 | 123.55 | 93138.73 | 2.97 | 3 | 3.2767 | 2.949 | NORMAL | -9.36 | FALSE
KLUANG COFFEE POWDER | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 25.135 | 1.01 | 3.38 | 84.86 | 61872.16 | 3.38 | 3 | 3.2767 | 2.949 | NORMAL | 3.15 | FALSE
SAWIPAC SDN BHD | NORMAL | MALAYSIA | KLUANG | 2025-09-04 | 44.28 | 1.9 | 3.48 | 154.02 | 30270.34 | 3.48 | 3 | 3.2767 | 2.949 | NORMAL | 6.21 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 1) | FAULTY | MALAYSIA | KOTA BHARU | 2025-02-22 | 25.83 | 0 | 0.41 | 10.63 | 38890.29 | 0.41 | 3 | 2.7467 | 2.472 | UNDERPERFORMING | -85.07 | TRUE
SWEE CHEONG WATCH SDN BHD (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 4.06 | 3.99 | 35.3 | 11612.52 | 3.99 | 3 | 2.7467 | 2.472 | NORMAL | 45.27 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 2) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 4.1 | 3.84 | 34.01 | 10918.94 | 3.84 | 3 | 2.7467 | 2.472 | NORMAL | 39.81 | FALSE
SUCCESS ELECTRONIC LOT 3 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-29 | 251.72 | 6.13 | 3.12 | 784.65 | 74325 | 3.12 | 2 | 2.915 | 2.6235 | NORMAL | 7.03 | FALSE
SUCCESS ELECTRONIC LOT 7 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-31 | 395.56 | 7.9 | 2.71 | 1071.79 | 96641.25 | 2.71 | 2 | 2.915 | 2.6235 | NORMAL | -7.03 | FALSE
QL AGROFOOD SDN BHD | NORMAL | MALAYSIA | KOTA KINABALU | 2025-06-25 | 409.92 | 31.18 | 3.03 | 1242.99 | 264239.6 | 3.03 | 1 | 3.03 | 2.727 | NO COMPARISON REQUIRED | 0 | FALSE
KIARA BAY | NORMAL | MALAYSIA | KUALA LUMPUR | 2025-01-21 | 1004.18 | 5.56 | 2.53 | 2537.04 | 1300281.21 | 2.53 | 3 | 1.8633 | 1.677 | NORMAL | 35.78 | FALSE
MENARA PJD | NORMAL | MALAYSIA | KUALA LUMPUR | 2024-05-18 | 80.145 | 0.09 | 3.06 | 245.6 | 150337.11 | 3.06 | 3 | 1.8633 | 1.677 | NORMAL | 64.22 | FALSE
TOA PAINT KEPONG WAREHOUSE | OFFLINE | MALAYSIA | KUALA LUMPUR | 2023-11-02 | 25.74 | 0 | 0 | 0 | 75562.85 | 0 | 3 | 1.8633 | 1.677 | UNDERPERFORMING | -100 | TRUE
QL ENDAU MARINE | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-08-01 | 430.28 | 66.86 | 3.06 | 1316.55 | 448001.48 | 3.06 | 2 | 1.865 | 1.6785 | NORMAL | 64.08 | FALSE
TIMURIKAN TRENGGANU MARINE PRODUCTS SDN BHD | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-12-08 | 260.4 | 18.03 | 0.67 | 173.41 | 11578.44 | 0.67 | 2 | 1.865 | 1.6785 | UNDERPERFORMING | -64.08 | TRUE
AFI BRAKE MANUFACTURING SDN BHD | NORMAL | MALAYSIA | KUALA TERENGGANU | 2023-10-02 | 454.3 | 94.66 | 4.1 | 1860.36 | 1284264.18 | 4.1 | 3 | 2.7233 | 2.451 | NORMAL | 50.55 | FALSE
AFI METAL | NORMAL | MALAYSIA | KUALA TERENGGANU | 2024-03-14 | 55.35 | 9.42 | 4.07 | 225.48 | 119559.46 | 4.07 | 3 | 2.7233 | 2.451 | NORMAL | 49.45 | FALSE
REDANG LAGOON RESORT | OFFLINE | MALAYSIA | KUALA TERENGGANU | 2023-02-16 | 53.41 | 0 | 0 | 0 | 0 | 0 | 3 | 2.7233 | 2.451 | UNDERPERFORMING | -100 | TRUE
C0156_DENIM CODE | NORMAL | MALAYSIA | KULIM | 2022-09-04 | 86.445 | 38.93 | 4.33 | 373.96 | 369433.81 | 4.33 | 1 | 4.33 | 3.897 | NO COMPARISON REQUIRED | 0 | FALSE
ECO OILS - LAHAD DATU | NORMAL | MALAYSIA | LAHAD DATU | 2024-10-15 | 39.78 | 1.74 | 3.45 | 137.3 | 57536.53 | 3.45 | 1 | 3.45 | 3.105 | NO COMPARISON REQUIRED | 0 | FALSE
LUNAS JAYA PETROL SDN BHD | NORMAL | MALAYSIA | LUNAS | 2025-03-19 | 25.86 | 10.43 | 4.24 | 109.75 | 30903.75 | 4.24 | 1 | 4.24 | 3.816 | NO COMPARISON REQUIRED | 0 | FALSE
QL PAJAM PHASE 2 | NORMAL | MALAYSIA | MANTIN | 2025-08-05 | 566.68 | 214.74 | 4.3 | 2439.33 | 419584.78 | 4.3 | 1 | 4.3 | 3.87 | NO COMPARISON REQUIRED | 0 | FALSE
FIBERTEX PHASE 2 | NORMAL | MALAYSIA | NILAI | 2024-08-30 | 1251.704 | 573.17 | 5.67 | 7100.09 | 3027634.73 | 5.67 | 2 | 4.85 | 4.365 | NORMAL | 16.91 | FALSE
WEIDA MARKETING SDN. BHD. | NORMAL | MALAYSIA | NILAI | 2022-12-01 | 500.31 | 160.57 | 4.03 | 2017.93 | 1671811.76 | 4.03 | 2 | 4.85 | 4.365 | UNDERPERFORMING | -16.91 | TRUE
KLH SDN BHD | NORMAL | MALAYSIA | PADANG SERAI | 2024-09-05 | 265.005 | 53.28 | 4.38 | 1160.95 | 429964.36 | 4.38 | 1 | 4.38 | 3.942 | NO COMPARISON REQUIRED | 0 | FALSE
QL AGROVENTURE | NORMAL | MALAYSIA | PAPAR | 2022-05-19 | 418.965 | 39.11 | 1.62 | 677.22 | 1336264.21 | 1.62 | 1 | 1.62 | 1.458 | NO COMPARISON REQUIRED | 0 | FALSE
ECOOILS (PHASE 2) - P.GUDANG | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-13 | 38.61 | 2.47 | 2.67 | 102.93 | 39757.96 | 2.67 | 4 | 2.5025 | 2.2523 | NORMAL | 6.69 | FALSE
IOI PAN - CENTURY | NORMAL | MALAYSIA | PASIR GUDANG | 2023-05-31 | 116.815 | 9.49 | 3.66 | 427.94 | 267286.88 | 3.66 | 4 | 2.5025 | 2.2523 | NORMAL | 46.25 | FALSE
KISWIRE CORD PHASE 1 (DATA) | OFFLINE | MALAYSIA | PASIR GUDANG | 2023-10-24 | 1248.5 | 0 | 0 | 0 | 0 | 0 | 4 | 2.5025 | 2.2523 | UNDERPERFORMING | -100 | TRUE
KISWIRE CORD SDN BHD | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-03 | 4732.09 | 403.2 | 3.68 | 17410.26 | 4834482.06 | 3.68 | 4 | 2.5025 | 2.2523 | NORMAL | 47.05 | FALSE
KB AIS SDN. BHD. | NORMAL | MALAYSIA | PASIR MAS | 2022-07-23 | 49.05 | 3.46 | 2.99 | 146.78 | 229603 | 2.99 | 1 | 2.99 | 2.691 | NO COMPARISON REQUIRED | 0 | FALSE
BRC INDUSTRIES | NORMAL | MALAYSIA | PENANG | 2024-05-26 | 162.63 | 65.46 | 4.64 | 754.47 | 388875.77 | 4.64 | 3 | 3.8133 | 3.432 | NORMAL | 21.68 | FALSE
LEAN GIAP ENTERPRISE SDN BHD | NORMAL | MALAYSIA | PENANG | 2024-03-13 | 7.02 | 2.59 | 3.76 | 26.42 | 19320.49 | 3.76 | 3 | 3.8133 | 3.432 | NORMAL | -1.4 | FALSE
PKT 12 WAVES | NORMAL | MALAYSIA | PENANG | 2025-02-05 | 1337.31 | 509.44 | 3.04 | 4068.98 | 1270176.81 | 3.04 | 3 | 3.8133 | 3.432 | UNDERPERFORMING | -20.28 | TRUE
PENGERANG INDEPENDENT TERMINAL | NORMAL | MALAYSIA | PENGERANG | 2024-10-24 | 718.965 | 105.38 | 4.25 | 3053.45 | 1176309.09 | 4.25 | 1 | 4.25 | 3.825 | NO COMPARISON REQUIRED | 0 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 2) | NORMAL | MALAYSIA | PENGKALAN CHEPA | 2025-02-20 | 25.83 | 14.17 | 4.68 | 120.89 | 40647.22 | 4.68 | 1 | 4.68 | 4.212 | NO COMPARISON REQUIRED | 0 | FALSE
DURASAFE SDN. BHD. | NORMAL | MALAYSIA | PERAI | 2024-12-02 | 91.5 | 31.79 | 4.71 | 430.73 | 169924.21 | 4.71 | 3 | 4.54 | 4.086 | NORMAL | 3.74 | FALSE
MULTI CHOICE (M) SDN BHD | NORMAL | MALAYSIA | PERAI | 2025-10-26 | 423.46 | 146.92 | 4.86 | 2057.31 | 167617.28 | 4.86 | 3 | 4.54 | 4.086 | NORMAL | 7.05 | FALSE
TEONG HUAT MEDICAL | NORMAL | MALAYSIA | PERAI | 2025-11-26 | 349.32 | 115.42 | 4.05 | 1416.44 | 71312.95 | 4.05 | 3 | 4.54 | 4.086 | UNDERPERFORMING | -10.79 | TRUE
GEMILITE SDN BERHAD | NORMAL | MALAYSIA | PETALING JAYA | 2025-02-20 | 39.36 | 1.12 | 4.19 | 165.1 | 50841.24 | 4.19 | 3 | 2.1267 | 1.914 | NORMAL | 97.02 | FALSE
MENARA PKNS PJ | OFFLINE | MALAYSIA | PETALING JAYA | 2026-02-11 | 112.32 | 0 | 0 | 0 | 2181.01 | 0 | 3 | 2.1267 | 1.914 | UNDERPERFORMING | -100 | TRUE
SUCCESS ELECTRONIC LOT 5 | NORMAL | MALAYSIA | PETALING JAYA | 2025-12-29 | 80.6 | 1.77 | 2.19 | 176.44 | 16410.9 | 2.19 | 3 | 2.1267 | 1.914 | NORMAL | 2.98 | FALSE
FUNGICULTURE | NORMAL | MALAYSIA | PORT KLANG | 2023-06-10 | 262.515 | 103.46 | 4.05 | 1063.55 | 952719.3 | 4.05 | 6 | 3.7867 | 3.408 | NORMAL | 6.95 | FALSE
JY1 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-06 | 259.42 | 100.35 | 3.76 | 976.68 | 972244.61 | 3.76 | 6 | 3.7867 | 3.408 | NORMAL | -0.7 | FALSE
JY1(2) | NORMAL | MALAYSIA | PORT KLANG | 2025-10-07 | 140.74 | 51.67 | 3.83 | 538.93 | 100228.55 | 3.83 | 6 | 3.7867 | 3.408 | NORMAL | 1.14 | FALSE
JY2 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-10 | 397.305 | 143.76 | 3.72 | 1476.41 | 1465042.18 | 3.72 | 6 | 3.7867 | 3.408 | NORMAL | -1.76 | FALSE
JAYA NETS | NORMAL | MALAYSIA | PORT KLANG | 2024-07-15 | 99 | 30.48 | 3.09 | 306.1 | 199834.01 | 3.09 | 6 | 3.7867 | 3.408 | UNDERPERFORMING | -18.4 | TRUE
SJK (C) TSHING NIAN | NORMAL | MALAYSIA | PORT KLANG | 2026-02-02 | 48.36 | 20.48 | 4.27 | 206.49 | 10075.16 | 4.27 | 6 | 3.7867 | 3.408 | NORMAL | 12.76 | FALSE
AMEBA MGMT | NORMAL | MALAYSIA | PUCHONG | 2024-01-30 | 18.72 | 5.85 | 3.75 | 70.21 | 34670.2 | 3.75 | 6 | 3.7683 | 3.3915 | NORMAL | -0.49 | FALSE
IOI MALL PUCHONG (NEW WING) | NORMAL | MALAYSIA | PUCHONG | 2025-01-14 | 544.275 | 96.02 | 3.94 | 2143.42 | 865944.01 | 3.94 | 6 | 3.7683 | 3.3915 | NORMAL | 4.56 | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | FAULTY | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 289.91 | 2.9 | 6900.19 | 166739.12 | 2.9 | 6 | 3.7683 | 3.3915 | UNDERPERFORMING | -23.04 | TRUE
IOI MALL PUCHONG (OLD WING) | FAULTY | MALAYSIA | PUCHONG | 2025-04-25 | 2193.09 | 290.89 | 3.5 | 7683.27 | 2269127.98 | 3.5 | 6 | 3.7683 | 3.3915 | NORMAL | -7.12 | FALSE
MCC TECHNIQUE SDN BHD LOT 10 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 10.74 | 4.25 | 131.71 | 22355.25 | 4.25 | 6 | 3.7683 | 3.3915 | NORMAL | 12.78 | FALSE
MCC TECHNIQUE SDN BHD LOT 12 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 11.31 | 4.27 | 132.42 | 22061.08 | 4.27 | 6 | 3.7683 | 3.3915 | NORMAL | 13.31 | FALSE
BREMFIELD SDN BHD | NORMAL | MALAYSIA | PULAU INDAH | 2024-05-02 | 150.93 | 45.19 | 3.07 | 463.75 | 385109.51 | 3.07 | 3 | 2.8533 | 2.568 | NORMAL | 7.59 | FALSE
C0149_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-18 | 25.175 | 6.72 | 2.72 | 68.48 | 91398.78 | 2.72 | 3 | 2.8533 | 2.568 | NORMAL | -4.67 | FALSE
C150_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-17 | 72.2 | 23.53 | 2.77 | 200.26 | 311424.35 | 2.77 | 3 | 2.8533 | 2.568 | NORMAL | -2.92 | FALSE
FUJI M1 | NORMAL | MALAYSIA | PUNCAK ALAM | 2023-12-23 | 265.005 | 9.18 | 3.12 | 826.38 | 723875.17 | 3.12 | 4 | 3.305 | 2.9745 | NORMAL | -5.6 | FALSE
FUJI M2 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-04-18 | 264.42 | 9.53 | 3.21 | 849.73 | 570766.86 | 3.21 | 4 | 3.305 | 2.9745 | NORMAL | -2.87 | FALSE
FUJI M3 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-02-04 | 264.89 | 9.39 | 3.02 | 800.07 | 394012.98 | 3.02 | 4 | 3.305 | 2.9745 | NORMAL | -8.62 | FALSE
FUJI M4 | NORMAL | MALAYSIA | PUNCAK ALAM | 2025-12-12 | 133.92 | 5.87 | 3.87 | 518.86 | 58835.36 | 3.87 | 4 | 3.305 | 2.9745 | NORMAL | 17.1 | FALSE
IOI CITY MALL INC. FEEDER 1 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 3049.605 | 589.74 | 4.1 | 12512.73 | 5509603.57 | 4.1 | 3 | 4.0867 | 3.678 | NORMAL | 0.33 | FALSE
IOI CITY MALL INC. FEEDER 2 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 1019.07 | 205.77 | 4.18 | 4260.52 | 1678450.97 | 4.18 | 3 | 4.0867 | 3.678 | NORMAL | 2.28 | FALSE
IOI RESORT VILLA GOLF COURSE | NORMAL | MALAYSIA | PUTRAJAYA | 2024-03-12 | 250.38 | 73.68 | 3.98 | 995.8 | 469257.04 | 3.98 | 3 | 4.0867 | 3.678 | NORMAL | -2.61 | FALSE
MARINE GOLD SDN BHD | OFFLINE | MALAYSIA | RAWANG | 2023-10-28 | 148.5 | 0 | 0 | 0 | 0 | 0 | 6 | 2.4217 | 2.1795 | UNDERPERFORMING | -100 | TRUE
SCENT PUR MANUFACTURING SDN BHD NO.35 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 0.79 | 3.22 | 39.95 | 26193.89 | 3.22 | 6 | 2.4217 | 2.1795 | NORMAL | 32.97 | FALSE
SCENT PUR MANUFACTURING SDN BHD NO.37 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 0.76 | 3.18 | 39.36 | 25977.65 | 3.18 | 6 | 2.4217 | 2.1795 | NORMAL | 31.31 | FALSE
WCS UNIT 6 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 21.06 | 0.43 | 2.78 | 58.64 | 51804.3 | 2.78 | 6 | 2.4217 | 2.1795 | NORMAL | 14.8 | FALSE
WCS UNIT 7 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 16.38 | 0.33 | 2.85 | 46.65 | 40833.67 | 2.85 | 6 | 2.4217 | 2.1795 | NORMAL | 17.69 | FALSE
WCS_HOME | NORMAL | MALAYSIA | RAWANG | 2024-09-13 | 8.85 | 0.25 | 2.5 | 22.1 | 16666.25 | 2.5 | 6 | 2.4217 | 2.1795 | NORMAL | 3.23 | FALSE
BM COCO MARKETING | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 1.82 | 3.3 | 84.32 | 74707.02 | 3.3 | 3 | 3.5767 | 3.219 | NORMAL | -7.74 | FALSE
BM COCO PALM | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 1.86 | 3.36 | 85.85 | 79233.41 | 3.36 | 3 | 3.5767 | 3.219 | NORMAL | -6.06 | FALSE
CHONG HWA SBR RENGIT | NORMAL | MALAYSIA | RENGIT | 2024-05-28 | 25.155 | 1.98 | 4.07 | 102.26 | 55552.19 | 4.07 | 3 | 3.5767 | 3.219 | NORMAL | 13.79 | FALSE
SUPERCOWBOY (SEGAMAT) | NORMAL | MALAYSIA | SEGAMAT | 2025-07-23 | 250.75 | 53.86 | 5.07 | 1272 | 242526.62 | 5.07 | 1 | 5.07 | 4.563 | NO COMPARISON REQUIRED | 0 | FALSE
DONG SING FOOD LINK SDN BHD | OFFLINE | MALAYSIA | SEMENYIH | 2025-12-08 | 71.92 | 14.28 | 3.9 | 280.64 | 26005.64 | 3.9 | 8 | 4.3125 | 3.8813 | NORMAL | -9.57 | FALSE
FOX ONE MARKETING SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-01-06 | 91.5 | 16.32 | 3.84 | 351.34 | 111176.12 | 3.84 | 8 | 4.3125 | 3.8813 | UNDERPERFORMING | -10.96 | TRUE
P.A FOOD SDN BHD 2ATKT | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 47.97 | 7.15 | 4.42 | 211.81 | 94102.47 | 4.42 | 8 | 4.3125 | 3.8813 | NORMAL | 2.49 | FALSE
P.A FOOD SDN BHD LOT 10 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 52.65 | 1.52 | 4.42 | 232.81 | 98474.95 | 4.42 | 8 | 4.3125 | 3.8813 | NORMAL | 2.49 | FALSE
P.A FOOD SDN BHD LOT 12 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 51.48 | 1.34 | 4.32 | 222.41 | 89930.99 | 4.32 | 8 | 4.3125 | 3.8813 | NORMAL | 0.17 | FALSE
P.A. FOOD WAREHOUSE NO. 9 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-28 | 21.06 | 3.08 | 4.43 | 93.37 | 39915.4 | 4.43 | 8 | 4.3125 | 3.8813 | NORMAL | 2.72 | FALSE
YAN JIAN 2 | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 63.86 | 1.69 | 4.64 | 296.07 | 49547.02 | 4.64 | 8 | 4.3125 | 3.8813 | NORMAL | 7.59 | FALSE
YAN JIAN 2A | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 74.4 | 2.28 | 4.53 | 337.19 | 67838.95 | 4.53 | 8 | 4.3125 | 3.8813 | NORMAL | 5.04 | FALSE
LYBASE SDN BHD | NORMAL | MALAYSIA | SENAI | 2024-11-04 | 400.14 | 30.8 | 2.68 | 1072.27 | 394300.96 | 2.68 | 2 | 2.265 | 2.0385 | NORMAL | 18.32 | FALSE
SUPERMICRO COMPUTER SDN BHD | NORMAL | MALAYSIA | SENAI | 2025-08-16 | 2550.85 | 203.51 | 1.85 | 4713.27 | 1504567.95 | 1.85 | 2 | 2.265 | 2.0385 | UNDERPERFORMING | -18.32 | TRUE
ENGE PLAS | NORMAL | MALAYSIA | SENAWANG | 2024-12-10 | 302.4 | 78.67 | 2.65 | 801.94 | 444189.7 | 2.65 | 1 | 2.65 | 2.385 | NO COMPARISON REQUIRED | 0 | FALSE
CIC CONTRACT SDN BHD | NORMAL | MALAYSIA | SERI KEMBANGAN | 2023-12-14 | 20.475 | 0.67 | 3.97 | 81.38 | 58002.22 | 3.97 | 1 | 3.97 | 3.573 | NO COMPARISON REQUIRED | 0 | FALSE
BJC FOOD (MALAYSIA) SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2023-01-10 | 320.46 | 65.9 | 3 | 960.95 | 1088241.34 | 3 | 13 | 3.5815 | 3.2234 | UNDERPERFORMING | -16.24 | TRUE
KUASA BAKTI (PETRON SETIA ALAM) | NORMAL | MALAYSIA | SHAH ALAM | 2025-08-27 | 44.64 | 0.17 | 3.53 | 157.74 | 26672.18 | 3.53 | 13 | 3.5815 | 3.2234 | NORMAL | -1.44 | FALSE
MARBACH ASIA PACIFIC LOT17 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.02 | 1.32 | 3.68 | 183.93 | 74923.73 | 3.68 | 13 | 3.5815 | 3.2234 | NORMAL | 2.75 | FALSE
MARBACH ASIA PACIFIC LOT 15 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.05 | 1.34 | 3.7 | 185.35 | 77433.55 | 3.7 | 13 | 3.5815 | 3.2234 | NORMAL | 3.31 | FALSE
MITSUI COPPER FOIL P3 | NORMAL | MALAYSIA | SHAH ALAM | 2025-06-26 | 706.33 | 98.68 | 4.5 | 3177.75 | 687656.73 | 4.5 | 13 | 3.5815 | 3.2234 | NORMAL | 25.64 | FALSE
NEW AGE 160 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-17 | 166.67 | 6.25 | 3.37 | 561.23 | 270648.99 | 3.37 | 13 | 3.5815 | 3.2234 | NORMAL | -5.91 | FALSE
NEW AGE 510 | NORMAL | MALAYSIA | SHAH ALAM | 2024-11-18 | 127.92 | 4.1 | 3.41 | 435.97 | 240835.75 | 3.41 | 13 | 3.5815 | 3.2234 | NORMAL | -4.79 | FALSE
PKT 8 WAVES | NORMAL | MALAYSIA | SHAH ALAM | 2024-08-13 | 176.67 | 33.83 | 4.31 | 761.44 | 245660.71 | 4.31 | 13 | 3.5815 | 3.2234 | NORMAL | 20.34 | FALSE
QL MAXINCOME | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-05 | 79.3 | 2.78 | 3.56 | 282.7 | 105362.29 | 3.56 | 13 | 3.5815 | 3.2234 | NORMAL | -0.6 | FALSE
QL LOT 14 | NORMAL | MALAYSIA | SHAH ALAM | 2025-02-24 | 61.61 | 2.05 | 3.52 | 216.86 | 79470.97 | 3.52 | 13 | 3.5815 | 3.2234 | NORMAL | -1.72 | FALSE
QL LOT 16 | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-01 | 64.05 | 2.19 | 3.52 | 225.68 | 81166.07 | 3.52 | 13 | 3.5815 | 3.2234 | NORMAL | -1.72 | FALSE
SAN SOON SENG FOOD INDUSTRIES SDN BHD | NORMAL | MALAYSIA | SHAH ALAM | 2025-10-02 | 1292.7 | 15.96 | 3.08 | 3979.9 | 627305.28 | 3.08 | 13 | 3.5815 | 3.2234 | UNDERPERFORMING | -14 | TRUE
SUCCESFUEL SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2024-10-22 | 90.86 | 0.4 | 3.38 | 306.83 | 153985.48 | 3.38 | 13 | 3.5815 | 3.2234 | NORMAL | -5.63 | FALSE
FURUTEC | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-07-06 | 132.21 | 52.81 | 4.59 | 606.77 | 285654.49 | 4.59 | 3 | 4.49 | 4.041 | NORMAL | 2.23 | FALSE
PERBADANAN PENGURUSAN VILLA RAINTREE II | NORMAL | MALAYSIA | SIMPANG AMPAT | 2025-04-18 | 25.83 | 11.86 | 4.45 | 114.85 | 34086.62 | 4.45 | 3 | 4.49 | 4.041 | NORMAL | -0.89 | FALSE
THP MEDICAL | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-01-08 | 377.325 | 149.02 | 4.43 | 1671.13 | 1137527.89 | 4.43 | 3 | 4.49 | 4.041 | NORMAL | -1.34 | FALSE
JEBSEN AND JESSEN MALAYSIA SDN BHD (MHE) | NORMAL | MALAYSIA | SIMPANG RENGGAM | 2025-05-24 | 184.76 | 4.04 | 1.91 | 353.03 | 151369.51 | 1.91 | 1 | 1.91 | 1.719 | NO COMPARISON REQUIRED | 0 | FALSE
ATS AIR SOLUTION | NORMAL | MALAYSIA | SUBANG JAYA | 2024-02-08 | 22.23 | 3.86 | 3.73 | 82.89 | 57830.81 | 3.73 | 2 | 3.76 | 3.384 | NORMAL | -0.8 | FALSE
BOILERMECH LOT 873 | NORMAL | MALAYSIA | SUBANG JAYA | 2025-09-15 | 280.5 | 91.59 | 3.79 | 1063.55 | 144828.27 | 3.79 | 2 | 3.76 | 3.384 | NORMAL | 0.8 | FALSE
KILANG BATU BATA | NORMAL | MALAYSIA | SUNGAI SIPUT | 2025-06-27 | 545.505 | 97.81 | 3.37 | 1840.06 | 490279.19 | 3.37 | 1 | 3.37 | 3.033 | NO COMPARISON REQUIRED | 0 | FALSE
FARM FRESH TAIPING (FACTORY) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 190.125 | 60.99 | 3.99 | 758.31 | 461784.7 | 3.99 | 3 | 4.0333 | 3.63 | NORMAL | -1.07 | FALSE
FARM FRESH TAIPING (FARM) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 335.79 | 99.48 | 3.8 | 1276.99 | 703802.68 | 3.8 | 3 | 4.0333 | 3.63 | NORMAL | -5.79 | FALSE
QL FOODS | NORMAL | MALAYSIA | TAIPING | 2024-10-03 | 1704.105 | 797.84 | 4.31 | 7337.44 | 3299963.06 | 4.31 | 3 | 4.0333 | 3.63 | NORMAL | 6.86 | FALSE
QL TAWAU FEEDMILL | OFFLINE | MALAYSIA | TAWAU | 2025-11-05 | 317.2 | 0 | 1.38 | 437.62 | 41209.96 | 1.38 | 4 | 2.545 | 2.2905 | UNDERPERFORMING | -45.78 | TRUE
SABAH CHINESE HIGH SCHOOL (CANTEEN) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 26.91 | 3.69 | 1.97 | 52.94 | 12534.87 | 1.97 | 4 | 2.545 | 2.2905 | UNDERPERFORMING | -22.59 | TRUE
SABAH CHINESE HIGH SCHOOL (CULTURE AND EDUCATION) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.768 | 0 | 1.88 | 178.54 | 30887 | 1.88 | 4 | 2.545 | 2.2905 | UNDERPERFORMING | -26.13 | TRUE
SABAH CHINESE HIGH SCHOOL (TAK YUEN BUILDING) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.77 | 11.05 | 4.95 | 469.51 | 68007.19 | 4.95 | 4 | 2.545 | 2.2905 | NORMAL | 94.5 | FALSE
CHAN KAH WHYE | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-01-20 | 14.75 | 2.14 | 4.09 | 60.35 | 21060.81 | 4.09 | 3 | 3.6633 | 3.297 | NORMAL | 11.65 | FALSE
DSG MALAYSIA SDN. BHD | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2022-11-24 | 2310.255 | 808.98 | 2.66 | 6148.5 | 6243099.8 | 2.66 | 3 | 3.6633 | 3.297 | UNDERPERFORMING | -27.39 | TRUE
LAM SOON EDIBLE OILS | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-07-04 | 86.8 | 33.8 | 4.24 | 368.16 | 97239.32 | 4.24 | 3 | 3.6633 | 3.297 | NORMAL | 15.74 | FALSE
LAU AND TAN PHARMACY (1ST FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 12.375 | 2.72 | 0.71 | 8.83 | 48014.04 | 0.71 | 2 | 1.675 | 1.5075 | UNDERPERFORMING | -57.61 | TRUE
LAU AND TAN PHARMACY (G.FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 38.115 | 11.71 | 2.64 | 100.54 | 176948.51 | 2.64 | 2 | 1.675 | 1.5075 | NORMAL | 57.61 | FALSE
WASCO PIPE SDN BHD (COATING) | OFFLINE | MALAYSIA | TUARAN | 2026-02-12 | 350.92 | 0 | 0 | 0 | 1450.14 | 0 | 2 | 0 | 0 | NORMAL |  | FALSE
WASCO PIPE SDN BHD (MILL) | OFFLINE | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 0 | 0 | 5.05 | 0 | 2 | 0 | 0 | NORMAL |  | FALSE