## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
TS UNITED METAL | NORMAL | MALAYSIA | ALOR GAJAH | 2024-05-16 | 25.155 | 10.95 | 2.23 | 56.07 | 68283.33 | 2.23 | 1 | 2.23 | 2.007 | NO COMPARISON REQUIRED | 0 | FALSE
BIMB BDR PENAWAR - 1ST FLOOR | OFFLINE | MALAYSIA | BANDAR PENAWAR | 2025-04-28 | 15.47 | 0 | 0 | 0 | 48.19 | 0 | 2 | 1.025 | 0.9225 | UNDERPERFORMING | -100 | TRUE
BIMB BDR PENAWAR - G FLOOR | NORMAL | MALAYSIA | BANDAR PENAWAR | 2025-04-29 | 15.47 | 10.89 | 2.05 | 31.79 | 479.68 | 2.05 | 2 | 1.025 | 0.9225 | NORMAL | 100 | FALSE
KOMPLEX PKNS BANGI | NORMAL | MALAYSIA | BANGI | 2024-09-04 | 379.08 | 117.23 | 1.27 | 481.12 | 427006.88 | 1.27 | 1 | 1.27 | 1.143 | NO COMPARISON REQUIRED | 0 | FALSE
JIANN LIH SAFETY PRODUCT | NORMAL | MALAYSIA | BANTING | 2024-03-21 | 475.605 | 137.15 | 1.57 | 747.18 | 794995.74 | 1.57 | 1 | 1.57 | 1.413 | NO COMPARISON REQUIRED | 0 | FALSE
C0102_QL BATANG KALI | NORMAL | MALAYSIA | BATANG KALI | 2022-02-24 | 526 | 503.9 | 3.62 | 1905.4 | 2878589.45 | 3.62 | 1 | 3.62 | 3.258 | NO COMPARISON REQUIRED | 0 | FALSE
BP PLASTICS BP9 | NORMAL | MALAYSIA | BATU PAHAT | 2025-07-22 | 2979.1 | 2064.44 | 1.82 | 5436.03 | 3112709.32 | 1.82 | 3 | 1.61 | 1.449 | NORMAL | 13.04 | FALSE
BP PLASTICS HQ | OFFLINE | MALAYSIA | BATU PAHAT | 2025-01-16 | 1063.425 | 0 | 1.11 | 1183.52 | 1763157.24 | 1.11 | 3 | 1.61 | 1.449 | UNDERPERFORMING | -31.06 | TRUE
CK PACKAGING AND PLASTIC INDUSTRIES | NORMAL | MALAYSIA | BATU PAHAT | 2026-01-19 | 138.88 | 92.83 | 1.9 | 264.46 | 50437.43 | 1.9 | 3 | 1.61 | 1.449 | NORMAL | 18.01 | FALSE
GUH METER 1 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 210.6 | 155.22 | 1.8 | 378.16 | 523447.3 | 1.8 | 3 | 1.7833 | 1.605 | NORMAL | 0.93 | FALSE
GUH METER 2 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 278.46 | 202.01 | 1.77 | 492.51 | 651626.08 | 1.77 | 3 | 1.7833 | 1.605 | NORMAL | -0.75 | FALSE
GUH METER 3 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-05-04 | 534.69 | 384.57 | 1.78 | 951.96 | 1285269.1 | 1.78 | 3 | 1.7833 | 1.605 | NORMAL | -0.19 | FALSE
TELEWIRING | NORMAL | MALAYSIA | CHENG | 2024-05-16 | 25.155 | 7.43 | 1.89 | 47.6 | 64796.45 | 1.89 | 1 | 1.89 | 1.701 | NO COMPARISON REQUIRED | 0 | FALSE
C0176_GETHA | NORMAL | MALAYSIA | CHERAS | 2023-03-01 | 178.215 | 114.73 | 1.61 | 287.48 | 587069.08 | 1.61 | 1 | 1.61 | 1.449 | NO COMPARISON REQUIRED | 0 | FALSE
C0172_ATRIA NORTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 130.8 | 59.87 | 1.09 | 143.1 | 384969.49 | 1.09 | 3 | 1.15 | 1.035 | NORMAL | -5.22 | FALSE
C0172_ATRIA SOUTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 287.76 | 138 | 1.15 | 332.33 | 842886.72 | 1.15 | 3 | 1.15 | 1.035 | NORMAL | 0 | FALSE
RESTORAN CHIMAEK (KFRY) | NORMAL | MALAYSIA | DAMANSARA | 2024-10-25 | 24.4 | 11.14 | 1.21 | 29.53 | 47224.26 | 1.21 | 3 | 1.15 | 1.035 | NORMAL | 5.22 | FALSE
QL ENDAU DEEP SEA FISHING | NORMAL | MALAYSIA | ENDAU | 2025-09-04 | 897.76 | 597.86 | 1.69 | 1513.7 | 583316.48 | 1.69 | 1 | 1.69 | 1.521 | NO COMPARISON REQUIRED | 0 | FALSE
PROGUARD SAFETY MANUFACTURING SDN BHD | NORMAL | MALAYSIA | HULU LANGAT | 2022-12-30 | 202.195 | 95.01 | 1.53 | 310.14 | 565970.11 | 1.53 | 1 | 1.53 | 1.377 | NO COMPARISON REQUIRED | 0 | FALSE
GLASS PLASTIC PACKAGING | NORMAL | MALAYSIA | IPOH | 2025-04-19 | 704.94 | 494.92 | 1.53 | 1079.95 | 837275.62 | 1.53 | 3 | 1.5933 | 1.434 | NORMAL | -3.97 | FALSE
SWH INDUSTRIES (PLOT 132113) | NORMAL | MALAYSIA | IPOH | 2024-05-21 | 752.98 | 487.95 | 1.67 | 1260.54 | 1687899.15 | 1.67 | 3 | 1.5933 | 1.434 | NORMAL | 4.81 | FALSE
SWH INDUSTRIES (PLOT6311) | NORMAL | MALAYSIA | IPOH | 2025-01-15 | 204.96 | 148.21 | 1.58 | 324.13 | 326478.92 | 1.58 | 3 | 1.5933 | 1.434 | NORMAL | -0.84 | FALSE
PLEASURE LATEX | NORMAL | MALAYSIA | JERAM | 2023-07-25 | 520.3 | 207.54 | 0.97 | 505.36 | 1716128.63 | 0.97 | 2 | 0.485 | 0.4365 | NORMAL | 100 | FALSE
PLEASURE LATEX PHASE 2 | OFFLINE | MALAYSIA | JERAM | 2024-12-20 | 1010.295 | 0 | 0 | 0 | 0 | 0 | 2 | 0.485 | 0.4365 | UNDERPERFORMING | -100 | TRUE
FOX ONE LOT 14 | NORMAL | MALAYSIA | KAJANG | 2025-08-13 | 91.76 | 76.54 | 2.03 | 186.13 | 60782.73 | 2.03 | 9 | 1.7311 | 1.558 | NORMAL | 17.27 | FALSE
FOX ONE LOT 8 | NORMAL | MALAYSIA | KAJANG | 2026-01-28 | 91.76 | 77 | 2.01 | 184.52 | 22085.02 | 2.01 | 9 | 1.7311 | 1.558 | NORMAL | 16.11 | FALSE
IOI KNOWLEDGE VISION SDN BHD | NORMAL | MALAYSIA | KAJANG | 2025-06-19 | 71.92 | 51.03 | 2.18 | 156.6 | 78484.69 | 2.18 | 9 | 1.7311 | 1.558 | NORMAL | 25.93 | FALSE
IOI MAYANG DEVELOPMENT | NORMAL | MALAYSIA | KAJANG | 2025-07-18 | 71.92 | 21.95 | 1.15 | 82.4 | 50037.35 | 1.15 | 9 | 1.7311 | 1.558 | UNDERPERFORMING | -33.57 | TRUE
LKW FROZEN SDN BHD | NORMAL | MALAYSIA | KAJANG | 2024-05-12 | 54.99 | 37.05 | 1.68 | 92.5 | 94703.84 | 1.68 | 9 | 1.7311 | 1.558 | NORMAL | -2.95 | FALSE
P.A. FOOD SDN. BHD. | NORMAL | MALAYSIA | KAJANG | 2024-05-07 | 25.155 | 9.28 | 1.64 | 41.35 | 62773.97 | 1.64 | 9 | 1.7311 | 1.558 | NORMAL | -5.26 | FALSE
UCS_BLOCK A | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 125 | 81.71 | 1.57 | 196.13 | 486893.97 | 1.57 | 9 | 1.7311 | 1.558 | NORMAL | -9.31 | FALSE
UCS_BLOCK B | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 135 | 50.69 | 1.67 | 225.02 | 564904.84 | 1.67 | 9 | 1.7311 | 1.558 | NORMAL | -3.53 | FALSE
UCS_BLOCK C | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 185.5 | 75.24 | 1.65 | 305.94 | 778140.39 | 1.65 | 9 | 1.7311 | 1.558 | NORMAL | -4.69 | FALSE
FDP AND MTB INDUSTRIES SDN BHD | OFFLINE | MALAYSIA | KERLING | 2026-01-25 | 186 | 0 | 0 | 0 | 6803.17 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
AMT PC DISTRIBUTORS SDN. BHD. | NORMAL | MALAYSIA | KLANG | 2024-01-04 | 88.335 | 41.92 | 1 | 87.99 | 251817.6 | 1 | 34 | 1.0068 | 0.90609 | NORMAL | -0.67 | FALSE
ASHITA COMMUNICATION | OFFLINE | MALAYSIA | KLANG | 2025-11-03 | 91.76 | 0 | 0 | 0 | 0 | 0 | 34 | 1.0068 | 0.90609 | UNDERPERFORMING | -100 | TRUE
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 371.39 | 1.16 | 1054.29 | 172351.55 | 1.16 | 34 | 1.0068 | 0.90609 | NORMAL | 15.22 | FALSE
ADVANCE VI TECH LOT 1629 | NORMAL | MALAYSIA | KLANG | 2024-10-27 | 240.13 | 87.66 | 1.03 | 246.52 | 397379.44 | 1.03 | 34 | 1.0068 | 0.90609 | NORMAL | 2.31 | FALSE
BUNCHO (M) SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-10-01 | 91.14 | 34.3 | 0.99 | 90.14 | 27881.44 | 0.99 | 34 | 1.0068 | 0.90609 | NORMAL | -1.67 | FALSE
HOON YUEN FURNITURE | NORMAL | MALAYSIA | KLANG | 2023-11-20 | 88.335 | 30.34 | 0.96 | 84.56 | 239253.49 | 0.96 | 34 | 1.0068 | 0.90609 | NORMAL | -4.65 | FALSE
KCCCI 2FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 4.13 | 1.44 | 1.13 | 4.66 | 4987.1 | 1.13 | 34 | 1.0068 | 0.90609 | NORMAL | 12.24 | FALSE
KCCCI FIRST FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 15.34 | 5.74 | 1.16 | 17.84 | 20141.38 | 1.16 | 34 | 1.0068 | 0.90609 | NORMAL | 15.22 | FALSE
KCCCI GROUND FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 3.54 | 1.26 | 1.02 | 3.62 | 4274.24 | 1.02 | 34 | 1.0068 | 0.90609 | NORMAL | 1.31 | FALSE
KAMMA KLANG ENTERPRISE | NORMAL | MALAYSIA | KLANG | 2023-03-28 | 88 | 27.94 | 0.98 | 86.67 | 330071.7 | 0.98 | 34 | 1.0068 | 0.90609 | NORMAL | -2.66 | FALSE
KWANG HUA PERSENDIRIAN METER 2-3-4-5-6 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 302.475 | 89.94 | 0.89 | 270.55 | 1100092.55 | 0.89 | 34 | 1.0068 | 0.90609 | UNDERPERFORMING | -11.6 | TRUE
LIAN TECK SENG LOT 11 | OFFLINE | MALAYSIA | KLANG | 2025-05-06 | 18.04 | 0 | 0 | 0 | 0 | 0 | 34 | 1.0068 | 0.90609 | UNDERPERFORMING | -100 | TRUE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 0 | 0.94 | 67.85 | 305.87 | 0.94 | 34 | 1.0068 | 0.90609 | NORMAL | -6.63 | FALSE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 1.67 | 0.17 | 8.6 | 30.57 | 0.17 | 34 | 1.0068 | 0.90609 | UNDERPERFORMING | -83.11 | TRUE
MEWAH OILS SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-12-01 | 220.1 | 51.51 | 1.28 | 281.09 | 9835.21 | 1.28 | 34 | 1.0068 | 0.90609 | NORMAL | 27.14 | FALSE
MIAW FRESH | NORMAL | MALAYSIA | KLANG | 2024-05-31 | 24.57 | 10.51 | 1.08 | 26.47 | 55979.17 | 1.08 | 34 | 1.0068 | 0.90609 | NORMAL | 7.27 | FALSE
MAXTWO ENGINEERING (FACTORY) | NORMAL | MALAYSIA | KLANG | 2025-04-21 | 35.38 | 13.95 | 1.07 | 37.91 | 33249.3 | 1.07 | 34 | 1.0068 | 0.90609 | NORMAL | 6.28 | FALSE
PKT THE SHIP | NORMAL | MALAYSIA | KLANG | 2025-01-21 | 1068.21 | 315.78 | 0.94 | 1001.93 | 1189174.01 | 0.94 | 34 | 1.0068 | 0.90609 | NORMAL | -6.63 | FALSE
ROYAL KLANG CLUB | NORMAL | MALAYSIA | KLANG | 2025-07-14 | 91.76 | 31.25 | 0.98 | 90.01 | 80547.01 | 0.98 | 34 | 1.0068 | 0.90609 | NORMAL | -2.66 | FALSE
RS POLY INDUSTRY | NORMAL | MALAYSIA | KLANG | 2024-08-02 | 727.155 | 287.53 | 1.02 | 743.5 | 1385707.59 | 1.02 | 34 | 1.0068 | 0.90609 | NORMAL | 1.31 | FALSE
SIME KANSAI PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-09-17 | 123.825 | 54.82 | 1.27 | 156.97 | 92730.97 | 1.27 | 34 | 1.0068 | 0.90609 | NORMAL | 26.15 | FALSE
SJK (C) WU TECK | NORMAL | MALAYSIA | KLANG | 2025-12-25 | 71.92 | 29.1 | 1.26 | 90.47 | 34007.54 | 1.26 | 34 | 1.0068 | 0.90609 | NORMAL | 25.15 | FALSE
SJK （ C ） PIN HWA 1 | NORMAL | MALAYSIA | KLANG | 2025-09-23 | 183.52 | 91.74 | 1.31 | 241.12 | 97784.89 | 1.31 | 34 | 1.0068 | 0.90609 | NORMAL | 30.12 | FALSE
SM CHUNG CHUNG HUA (PSDN) KLANG | NORMAL | MALAYSIA | KLANG | 2022-02-14 | 420.195 | 136.44 | 1.01 | 423.1 | 293279.15 | 1.01 | 34 | 1.0068 | 0.90609 | NORMAL | 0.32 | FALSE
SP LOGISTICS SDN BHD | NORMAL | MALAYSIA | KLANG | 2024-06-14 | 90.675 | 26.59 | 0.94 | 85.28 | 193910.82 | 0.94 | 34 | 1.0068 | 0.90609 | NORMAL | -6.63 | FALSE
TOMEI | NORMAL | MALAYSIA | KLANG | 2024-11-07 | 215.28 | 110.85 | 1.23 | 265.32 | 331068.38 | 1.23 | 34 | 1.0068 | 0.90609 | NORMAL | 22.17 | FALSE
TEMBIKAR WEI KHING | NORMAL | MALAYSIA | KLANG | 2025-01-27 | 977.22 | 356.55 | 1.06 | 1037.95 | 1063765.87 | 1.06 | 34 | 1.0068 | 0.90609 | NORMAL | 5.29 | FALSE
TONG SEH | NORMAL | MALAYSIA | KLANG | 2024-01-18 | 260.91 | 110.03 | 1.07 | 279.37 | 649092.78 | 1.07 | 34 | 1.0068 | 0.90609 | NORMAL | 6.28 | FALSE
UC BLASTING PAINTING | NORMAL | MALAYSIA | KLANG | 2024-05-08 | 219.96 | 72.96 | 1.07 | 236.06 | 547856.24 | 1.07 | 34 | 1.0068 | 0.90609 | NORMAL | 6.28 | FALSE
VINDA PHASE 4 (MSB 3-2) | FAULTY | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 1315.42 | 1.42 | 3016.36 | 302110.51 | 1.42 | 34 | 1.0068 | 0.90609 | NORMAL | 41.05 | FALSE
VISKO INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KLANG | 2023-07-07 | 948.75 | 475.67 | 1.37 | 1296.88 | 3208317.17 | 1.37 | 34 | 1.0068 | 0.90609 | NORMAL | 36.08 | FALSE
VINDA PHASE 1 AND 2 (MSB 2) | NORMAL | MALAYSIA | KLANG | 2023-08-20 | 2561.65 | 1254.16 | 1.16 | 2971.88 | 7080963.1 | 1.16 | 34 | 1.0068 | 0.90609 | NORMAL | 15.22 | FALSE
VINDA PHASE 3 (MSB 3-1) | NORMAL | MALAYSIA | KLANG | 2024-06-28 | 1502.28 | 784.21 | 1.18 | 1773.56 | 4667654.44 | 1.18 | 34 | 1.0068 | 0.90609 | NORMAL | 17.21 | FALSE
KWANG HUA PERSENDIRIAN METER 1 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 73.03 | 23.47 | 1.08 | 78.77 | 337747.33 | 1.08 | 34 | 1.0068 | 0.90609 | NORMAL | 7.27 | FALSE
APEX UNIPARTS | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 41.535 | 28.17 | 1.86 | 77.36 | 93747.75 | 1.86 | 3 | 1.8067 | 1.626 | NORMAL | 2.95 | FALSE
KLUANG COFFEE POWDER | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 25.135 | 22 | 1.77 | 44.6 | 62235.27 | 1.77 | 3 | 1.8067 | 1.626 | NORMAL | -2.03 | FALSE
SAWIPAC SDN BHD | NORMAL | MALAYSIA | KLUANG | 2025-09-04 | 44.28 | 24.68 | 1.79 | 79.41 | 30959.22 | 1.79 | 3 | 1.8067 | 1.626 | NORMAL | -0.92 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2025-02-22 | 25.83 | 20.83 | 2.55 | 65.93 | 39492.35 | 2.55 | 3 | 1.9233 | 1.731 | NORMAL | 32.58 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 6.38 | 1.66 | 14.73 | 11800.28 | 1.66 | 3 | 1.9233 | 1.731 | UNDERPERFORMING | -13.69 | TRUE
SWEE CHEONG WATCH SDN BHD (METER 2) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 6.42 | 1.56 | 13.82 | 11102.99 | 1.56 | 3 | 1.9233 | 1.731 | UNDERPERFORMING | -18.89 | TRUE
SUCCESS ELECTRONIC LOT 3 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-29 | 251.72 | 107.87 | 1.23 | 309.1 | 77155.14 | 1.23 | 2 | 1.235 | 1.1115 | NORMAL | -0.4 | FALSE
SUCCESS ELECTRONIC LOT 7 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-31 | 395.56 | 142.23 | 1.24 | 491.96 | 100088.89 | 1.24 | 2 | 1.235 | 1.1115 | NORMAL | 0.4 | FALSE
QL AGROFOOD SDN BHD | NORMAL | MALAYSIA | KOTA KINABALU | 2025-06-25 | 409.92 | 79.31 | 1.76 | 721.42 | 268880.45 | 1.76 | 1 | 1.76 | 1.584 | NO COMPARISON REQUIRED | 0 | FALSE
KIARA BAY | NORMAL | MALAYSIA | KUALA LUMPUR | 2025-01-21 | 1004.18 | 529.1 | 1.32 | 1321.02 | 1313402.4 | 1.32 | 3 | 1.3667 | 1.23 | NORMAL | -3.41 | FALSE
MENARA PJD | NORMAL | MALAYSIA | KUALA LUMPUR | 2024-05-18 | 80.145 | 40.76 | 1.36 | 109.39 | 150883.47 | 1.36 | 3 | 1.3667 | 1.23 | NORMAL | -0.49 | FALSE
TOA PAINT KEPONG WAREHOUSE | NORMAL | MALAYSIA | KUALA LUMPUR | 2023-11-02 | 25.74 | 14.85 | 1.42 | 36.5 | 75836.59 | 1.42 | 3 | 1.3667 | 1.23 | NORMAL | 3.9 | FALSE
QL ENDAU MARINE | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-08-01 | 430.28 | 315.7 | 1.98 | 850.39 | 457653.01 | 1.98 | 2 | 1.155 | 1.0395 | NORMAL | 71.43 | FALSE
TIMURIKAN TRENGGANU MARINE PRODUCTS SDN BHD | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-12-08 | 260.4 | 18.03 | 0.33 | 85.42 | 12477.28 | 0.33 | 2 | 1.155 | 1.0395 | UNDERPERFORMING | -71.43 | TRUE
AFI BRAKE MANUFACTURING SDN BHD | NORMAL | MALAYSIA | KUALA TERENGGANU | 2023-10-02 | 454.3 | 278.66 | 1.72 | 779.65 | 1292654.15 | 1.72 | 3 | 1.1233 | 1.011 | NORMAL | 53.12 | FALSE
AFI METAL | NORMAL | MALAYSIA | KUALA TERENGGANU | 2024-03-14 | 55.35 | 35.04 | 1.65 | 91.35 | 120554.05 | 1.65 | 3 | 1.1233 | 1.011 | NORMAL | 46.88 | FALSE
REDANG LAGOON RESORT | OFFLINE | MALAYSIA | KUALA TERENGGANU | 2023-02-16 | 53.41 | 0 | 0 | 0 | 0 | 0 | 3 | 1.1233 | 1.011 | UNDERPERFORMING | -100 | TRUE
C0156_DENIM CODE | NORMAL | MALAYSIA | KULIM | 2022-09-04 | 86.445 | 63.28 | 1.99 | 172.21 | 371208.84 | 1.99 | 1 | 1.99 | 1.791 | NO COMPARISON REQUIRED | 0 | FALSE
ECO OILS - LAHAD DATU | NORMAL | MALAYSIA | LAHAD DATU | 2024-10-15 | 39.78 | 22.74 | 1.78 | 70.93 | 58062.99 | 1.78 | 1 | 1.78 | 1.602 | NO COMPARISON REQUIRED | 0 | FALSE
LUNAS JAYA PETROL SDN BHD | NORMAL | MALAYSIA | LUNAS | 2025-03-19 | 25.86 | 18.65 | 1.87 | 48.38 | 31458.66 | 1.87 | 1 | 1.87 | 1.683 | NO COMPARISON REQUIRED | 0 | FALSE
QL PAJAM PHASE 2 | NORMAL | MALAYSIA | MANTIN | 2025-08-05 | 566.68 | 448.13 | 2.07 | 1175.13 | 427086.17 | 2.07 | 1 | 2.07 | 1.863 | NO COMPARISON REQUIRED | 0 | FALSE
FIBERTEX PHASE 2 | NORMAL | MALAYSIA | NILAI | 2024-08-30 | 1251.704 | 1054.58 | 2.59 | 3245.96 | 3048263.85 | 2.59 | 2 | 2.165 | 1.9485 | NORMAL | 19.63 | FALSE
WEIDA MARKETING SDN. BHD. | NORMAL | MALAYSIA | NILAI | 2022-12-01 | 500.31 | 310.07 | 1.74 | 869.56 | 1677704.19 | 1.74 | 2 | 2.165 | 1.9485 | UNDERPERFORMING | -19.63 | TRUE
KLH SDN BHD | NORMAL | MALAYSIA | PADANG SERAI | 2024-09-05 | 265.005 | 181.6 | 1.87 | 496.49 | 435499.68 | 1.87 | 1 | 1.87 | 1.683 | NO COMPARISON REQUIRED | 0 | FALSE
QL AGROVENTURE | NORMAL | MALAYSIA | PAPAR | 2022-05-19 | 418.965 | 66.12 | 0.81 | 340.49 | 1339126.58 | 0.81 | 1 | 0.81 | 0.729 | NO COMPARISON REQUIRED | 0 | FALSE
ECOOILS (PHASE 2) - P.GUDANG | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-13 | 38.61 | 6.23 | 1.08 | 41.89 | 40068.5 | 1.08 | 4 | 0.8575 | 0.77175 | NORMAL | 25.95 | FALSE
IOI PAN - CENTURY | NORMAL | MALAYSIA | PASIR GUDANG | 2023-05-31 | 116.815 | 47.9 | 1.27 | 148.63 | 268495.66 | 1.27 | 4 | 0.8575 | 0.77175 | NORMAL | 48.1 | FALSE
KISWIRE CORD PHASE 1 (DATA) | OFFLINE | MALAYSIA | PASIR GUDANG | 2023-10-24 | 1248.5 | 0 | 0 | 0 | 0 | 0 | 4 | 0.8575 | 0.77175 | UNDERPERFORMING | -100 | TRUE
KISWIRE CORD SDN BHD | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-03 | 4732.09 | 2824.83 | 1.08 | 5129.8 | 4885105.76 | 1.08 | 4 | 0.8575 | 0.77175 | NORMAL | 25.95 | FALSE
KB AIS SDN. BHD. | NORMAL | MALAYSIA | PASIR MAS | 2022-07-23 | 49.05 | 31.74 | 1.79 | 87.87 | 230432.78 | 1.79 | 1 | 1.79 | 1.611 | NO COMPARISON REQUIRED | 0 | FALSE
BRC INDUSTRIES | OFFLINE | MALAYSIA | PENANG | 2024-05-26 | 162.63 | 0 | 0 | 0 | 391932.1 | 0 | 3 | 0.78667 | 0.708 | UNDERPERFORMING | -100 | TRUE
LEAN GIAP ENTERPRISE SDN BHD | NORMAL | MALAYSIA | PENANG | 2024-03-13 | 7.02 | 3.85 | 1.07 | 7.54 | 19457.09 | 1.07 | 3 | 0.78667 | 0.708 | NORMAL | 36.02 | FALSE
PKT 12 WAVES | NORMAL | MALAYSIA | PENANG | 2025-02-05 | 1337.31 | 561.69 | 1.29 | 1719.68 | 1291810.7 | 1.29 | 3 | 0.78667 | 0.708 | NORMAL | 63.98 | FALSE
PENGERANG INDEPENDENT TERMINAL | NORMAL | MALAYSIA | PENGERANG | 2024-10-24 | 718.965 | 414.21 | 1.48 | 1067.62 | 1187514.38 | 1.48 | 1 | 1.48 | 1.332 | NO COMPARISON REQUIRED | 0 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 2) | NORMAL | MALAYSIA | PENGKALAN CHEPA | 2025-02-20 | 25.83 | 18.05 | 1.49 | 38.56 | 41252.31 | 1.49 | 1 | 1.49 | 1.341 | NO COMPARISON REQUIRED | 0 | FALSE
DURASAFE SDN. BHD. | NORMAL | MALAYSIA | PERAI | 2024-12-02 | 91.5 | 61.11 | 1.62 | 148.17 | 171824.23 | 1.62 | 3 | 1.4667 | 1.32 | NORMAL | 10.45 | FALSE
MULTI CHOICE (M) SDN BHD | NORMAL | MALAYSIA | PERAI | 2025-10-26 | 423.46 | 307.47 | 1.5 | 635.73 | 176427.89 | 1.5 | 3 | 1.4667 | 1.32 | NORMAL | 2.27 | FALSE
TEONG HUAT MEDICAL | NORMAL | MALAYSIA | PERAI | 2025-11-26 | 349.32 | 201.72 | 1.28 | 445.42 | 77613.4 | 1.28 | 3 | 1.4667 | 1.32 | UNDERPERFORMING | -12.73 | TRUE
GEMILITE SDN BERHAD | NORMAL | MALAYSIA | PETALING JAYA | 2025-02-20 | 39.36 | 20.77 | 1.35 | 53.17 | 51366.04 | 1.35 | 3 | 0.77333 | 0.696 | NORMAL | 74.57 | FALSE
MENARA PKNS PJ | OFFLINE | MALAYSIA | PETALING JAYA | 2026-02-11 | 112.32 | 0 | 0 | 0 | 2181.01 | 0 | 3 | 0.77333 | 0.696 | UNDERPERFORMING | -100 | TRUE
SUCCESS ELECTRONIC LOT 5 | NORMAL | MALAYSIA | PETALING JAYA | 2025-12-29 | 80.6 | 20.51 | 0.97 | 78.39 | 16963.08 | 0.97 | 3 | 0.77333 | 0.696 | NORMAL | 25.43 | FALSE
FUNGICULTURE | NORMAL | MALAYSIA | PORT KLANG | 2023-06-10 | 262.515 | 86.01 | 1 | 263.19 | 956054.62 | 1 | 6 | 0.975 | 0.8775 | NORMAL | 2.56 | FALSE
JY1 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-06 | 259.42 | 90.22 | 0.96 | 249.15 | 975613.84 | 0.96 | 6 | 0.975 | 0.8775 | NORMAL | -1.54 | FALSE
JY1(2) | NORMAL | MALAYSIA | PORT KLANG | 2025-10-07 | 140.74 | 49.96 | 0.97 | 135.91 | 102056.64 | 0.97 | 6 | 0.975 | 0.8775 | NORMAL | -0.51 | FALSE
JY2 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-10 | 397.305 | 140.7 | 1 | 398.21 | 1470178.16 | 1 | 6 | 0.975 | 0.8775 | NORMAL | 2.56 | FALSE
JAYA NETS | NORMAL | MALAYSIA | PORT KLANG | 2024-07-15 | 99 | 29.14 | 0.87 | 86.41 | 201022.94 | 0.87 | 6 | 0.975 | 0.8775 | UNDERPERFORMING | -10.77 | TRUE
SJK (C) TSHING NIAN | NORMAL | MALAYSIA | PORT KLANG | 2026-02-02 | 48.36 | 17.67 | 1.05 | 50.73 | 10730.5 | 1.05 | 6 | 0.975 | 0.8775 | NORMAL | 7.69 | FALSE
AMEBA MGMT | NORMAL | MALAYSIA | PUCHONG | 2024-01-30 | 18.72 | 6.8 | 1.2 | 22.38 | 34909.66 | 1.2 | 6 | 1.1417 | 1.0275 | NORMAL | 5.11 | FALSE
IOI MALL PUCHONG (NEW WING) | NORMAL | MALAYSIA | PUCHONG | 2025-01-14 | 544.275 | 250.54 | 1.43 | 780.93 | 873587.83 | 1.43 | 6 | 1.1417 | 1.0275 | NORMAL | 25.26 | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | OFFLINE | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 0 | 0 | 0 | 174530.9 | 0 | 6 | 1.1417 | 1.0275 | UNDERPERFORMING | -100 | TRUE
IOI MALL PUCHONG (OLD WING) | NORMAL | MALAYSIA | PUCHONG | 2025-04-25 | 2193.09 | 762.85 | 1.27 | 2794.13 | 2296755.02 | 1.27 | 6 | 1.1417 | 1.0275 | NORMAL | 11.24 | FALSE
MCC TECHNIQUE SDN BHD LOT 10 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 14.55 | 1.5 | 46.54 | 22794.12 | 1.5 | 6 | 1.1417 | 1.0275 | NORMAL | 31.39 | FALSE
MCC TECHNIQUE SDN BHD LOT 12 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 14.25 | 1.45 | 44.84 | 22492.12 | 1.45 | 6 | 1.1417 | 1.0275 | NORMAL | 27.01 | FALSE
BREMFIELD SDN BHD | NORMAL | MALAYSIA | PULAU INDAH | 2024-05-02 | 150.93 | 38.47 | 1.22 | 183.55 | 387206.76 | 1.22 | 3 | 1.1367 | 1.023 | NORMAL | 7.33 | FALSE
C0149_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-18 | 25.175 | 11.8 | 1.15 | 28.91 | 91707.89 | 1.15 | 3 | 1.1367 | 1.023 | NORMAL | 1.17 | FALSE
C150_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-17 | 72.2 | 33.1 | 1.04 | 75.43 | 312298.81 | 1.04 | 3 | 1.1367 | 1.023 | NORMAL | -8.5 | FALSE
FUJI M1 | NORMAL | MALAYSIA | PUNCAK ALAM | 2023-12-23 | 265.005 | 102.7 | 1.31 | 348.12 | 727317.96 | 1.31 | 4 | 1.405 | 1.2645 | NORMAL | -6.76 | FALSE
FUJI M2 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-04-18 | 264.42 | 107.9 | 1.39 | 367.52 | 574349.58 | 1.39 | 4 | 1.405 | 1.2645 | NORMAL | -1.07 | FALSE
FUJI M3 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-02-04 | 264.89 | 83.83 | 1.32 | 350.7 | 397128.69 | 1.32 | 4 | 1.405 | 1.2645 | NORMAL | -6.05 | FALSE
FUJI M4 | NORMAL | MALAYSIA | PUNCAK ALAM | 2025-12-12 | 133.92 | 68.38 | 1.6 | 214.89 | 60860.42 | 1.6 | 4 | 1.405 | 1.2645 | NORMAL | 13.88 | FALSE
IOI CITY MALL INC. FEEDER 1 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 3049.605 | 842.44 | 1.73 | 5268.06 | 5550082.56 | 1.73 | 3 | 1.7067 | 1.536 | NORMAL | 1.37 | FALSE
IOI CITY MALL INC. FEEDER 2 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 1019.07 | 286.89 | 1.73 | 1762.13 | 1692234.89 | 1.73 | 3 | 1.7067 | 1.536 | NORMAL | 1.37 | FALSE
IOI RESORT VILLA GOLF COURSE | NORMAL | MALAYSIA | PUTRAJAYA | 2024-03-12 | 250.38 | 79.34 | 1.66 | 415.95 | 472471.64 | 1.66 | 3 | 1.7067 | 1.536 | NORMAL | -2.73 | FALSE
MARINE GOLD SDN BHD | OFFLINE | MALAYSIA | RAWANG | 2023-10-28 | 148.5 | 0 | 0 | 0 | 0 | 0 | 6 | 1.4733 | 1.326 | UNDERPERFORMING | -100 | TRUE
SCENT PUR MANUFACTURING SDN BHD NO.35 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 5.91 | 1.97 | 24.38 | 26388.85 | 1.97 | 6 | 1.4733 | 1.326 | NORMAL | 33.71 | FALSE
SCENT PUR MANUFACTURING SDN BHD NO.37 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 3.91 | 1.93 | 23.91 | 26169.47 | 1.93 | 6 | 1.4733 | 1.326 | NORMAL | 31 | FALSE
WCS UNIT 6 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 21.06 | 5.94 | 1.61 | 33.99 | 52041.38 | 1.61 | 6 | 1.4733 | 1.326 | NORMAL | 9.28 | FALSE
WCS UNIT 7 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 16.38 | 4.69 | 1.63 | 26.71 | 41022.76 | 1.63 | 6 | 1.4733 | 1.326 | NORMAL | 10.63 | FALSE
WCS_HOME | NORMAL | MALAYSIA | RAWANG | 2024-09-13 | 8.85 | 3.07 | 1.7 | 15.08 | 16780.84 | 1.7 | 6 | 1.4733 | 1.326 | NORMAL | 15.38 | FALSE
BM COCO MARKETING | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 15.06 | 1.31 | 33.32 | 75080.68 | 1.31 | 3 | 1.3533 | 1.218 | NORMAL | -3.2 | FALSE
BM COCO PALM | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 16.6 | 1.29 | 32.82 | 79611.86 | 1.29 | 3 | 1.3533 | 1.218 | NORMAL | -4.68 | FALSE
CHONG HWA SBR RENGIT | NORMAL | MALAYSIA | RENGIT | 2024-05-28 | 25.155 | 17.97 | 1.46 | 36.73 | 55990.05 | 1.46 | 3 | 1.3533 | 1.218 | NORMAL | 7.88 | FALSE
SUPERCOWBOY (SEGAMAT) | NORMAL | MALAYSIA | SEGAMAT | 2025-07-23 | 250.75 | 73.62 | 1.6 | 401.01 | 246737.52 | 1.6 | 1 | 1.6 | 1.44 | NO COMPARISON REQUIRED | 0 | FALSE
DONG SING FOOD LINK SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-12-08 | 71.92 | 24.97 | 1.65 | 118.7 | 26782.15 | 1.65 | 8 | 1.83 | 1.647 | NORMAL | -9.84 | FALSE
FOX ONE MARKETING SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-01-06 | 91.5 | 51.81 | 1.7 | 155.75 | 112187.93 | 1.7 | 8 | 1.83 | 1.647 | NORMAL | -7.1 | FALSE
P.A FOOD SDN BHD 2ATKT | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 47.97 | 21.62 | 1.76 | 84.56 | 94651.27 | 1.76 | 8 | 1.83 | 1.647 | NORMAL | -3.83 | FALSE
P.A FOOD SDN BHD LOT 10 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 52.65 | 16.3 | 2.02 | 106.36 | 99159.11 | 2.02 | 8 | 1.83 | 1.647 | NORMAL | 10.38 | FALSE
P.A FOOD SDN BHD LOT 12 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 51.48 | 16.28 | 1.73 | 89.29 | 90550.19 | 1.73 | 8 | 1.83 | 1.647 | NORMAL | -5.46 | FALSE
P.A. FOOD WAREHOUSE NO. 9 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-28 | 21.06 | 8.77 | 1.6 | 33.75 | 40151.88 | 1.6 | 8 | 1.83 | 1.647 | UNDERPERFORMING | -12.57 | TRUE
YAN JIAN 2 | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 63.86 | 52.39 | 2.26 | 144.38 | 50492.78 | 2.26 | 8 | 1.83 | 1.647 | NORMAL | 23.5 | FALSE
YAN JIAN 2A | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 74.4 | 59.05 | 1.92 | 142.61 | 68848.55 | 1.92 | 8 | 1.83 | 1.647 | NORMAL | 4.92 | FALSE
LYBASE SDN BHD | NORMAL | MALAYSIA | SENAI | 2024-11-04 | 400.14 | 288.25 | 1.73 | 690.54 | 399878.31 | 1.73 | 2 | 1.51 | 1.359 | NORMAL | 14.57 | FALSE
SUPERMICRO COMPUTER SDN BHD | NORMAL | MALAYSIA | SENAI | 2025-08-16 | 2550.85 | 993.06 | 1.29 | 3277.93 | 1529162.55 | 1.29 | 2 | 1.51 | 1.359 | UNDERPERFORMING | -14.57 | TRUE
ENGE PLAS | NORMAL | MALAYSIA | SENAWANG | 2024-12-10 | 302.4 | 91.35 | 1.51 | 455.23 | 447092.35 | 1.51 | 1 | 1.51 | 1.359 | NO COMPARISON REQUIRED | 0 | FALSE
CIC CONTRACT SDN BHD | NORMAL | MALAYSIA | SERI KEMBANGAN | 2023-12-14 | 20.475 | 11.89 | 1.73 | 35.5 | 58266.03 | 1.73 | 1 | 1.73 | 1.557 | NO COMPARISON REQUIRED | 0 | FALSE
BJC FOOD (MALAYSIA) SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2023-01-10 | 320.46 | 95.21 | 0.97 | 309.34 | 1091421.1 | 0.97 | 14 | 1.2414 | 1.1173 | UNDERPERFORMING | -21.86 | TRUE
KUASA BAKTI (PETRON SETIA ALAM) | NORMAL | MALAYSIA | SHAH ALAM | 2025-08-27 | 44.64 | 17.64 | 1.35 | 60.44 | 27322.17 | 1.35 | 14 | 1.2414 | 1.1173 | NORMAL | 8.75 | FALSE
MARBACH ASIA PACIFIC LOT17 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.02 | 20.68 | 1.15 | 57.54 | 75592.23 | 1.15 | 14 | 1.2414 | 1.1173 | NORMAL | -7.36 | FALSE
MARBACH ASIA PACIFIC LOT 15 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.05 | 20.96 | 1.24 | 62.27 | 78132.64 | 1.24 | 14 | 1.2414 | 1.1173 | NORMAL | -0.12 | FALSE
MITSUI COPPER FOIL P3 | NORMAL | MALAYSIA | SHAH ALAM | 2025-06-26 | 706.33 | 261.74 | 1.3 | 921.02 | 697155.82 | 1.3 | 14 | 1.2414 | 1.1173 | NORMAL | 4.72 | FALSE
NEW AGE 160 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-17 | 166.67 | 69.21 | 1.41 | 234.89 | 273038.06 | 1.41 | 14 | 1.2414 | 1.1173 | NORMAL | 13.58 | FALSE
NEW AGE 510 | NORMAL | MALAYSIA | SHAH ALAM | 2024-11-18 | 127.92 | 53.5 | 1.34 | 172.05 | 242672.26 | 1.34 | 14 | 1.2414 | 1.1173 | NORMAL | 7.94 | FALSE
PKT 8 WAVES | NORMAL | MALAYSIA | SHAH ALAM | 2024-08-13 | 176.67 | 60.74 | 1.21 | 213.65 | 247804.55 | 1.21 | 14 | 1.2414 | 1.1173 | NORMAL | -2.53 | FALSE
QL MAXINCOME | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-05 | 79.3 | 30.97 | 1.18 | 93.46 | 106468.58 | 1.18 | 14 | 1.2414 | 1.1173 | NORMAL | -4.95 | FALSE
QL LOT 14 | NORMAL | MALAYSIA | SHAH ALAM | 2025-02-24 | 61.61 | 21.95 | 1.17 | 71.96 | 80294.78 | 1.17 | 14 | 1.2414 | 1.1173 | NORMAL | -5.75 | FALSE
QL LOT 16 | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-01 | 64.05 | 23.46 | 1.14 | 73.23 | 82018.51 | 1.14 | 14 | 1.2414 | 1.1173 | NORMAL | -8.17 | FALSE
SAN SOON SENG FOOD INDUSTRIES SDN BHD | NORMAL | MALAYSIA | SHAH ALAM | 2025-10-02 | 1292.7 | 643.68 | 1.33 | 1716.05 | 645290.69 | 1.33 | 14 | 1.2414 | 1.1173 | NORMAL | 7.13 | FALSE
SUCCESFUEL SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2024-10-22 | 90.86 | 34.31 | 1.29 | 117.07 | 155226.13 | 1.29 | 14 | 1.2414 | 1.1173 | NORMAL | 3.91 | FALSE
THOR SPECIALTIES | NORMAL | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 35.99 | 1.3 | 118.04 | 551.02 | 1.3 | 14 | 1.2414 | 1.1173 | NORMAL | 4.72 | FALSE
FURUTEC | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-07-06 | 132.21 | 34.18 | 1.41 | 186.36 | 288384.24 | 1.41 | 3 | 1.3367 | 1.203 | NORMAL | 5.49 | FALSE
PERBADANAN PENGURUSAN VILLA RAINTREE II | NORMAL | MALAYSIA | SIMPANG AMPAT | 2025-04-18 | 25.83 | 19.11 | 1.38 | 35.63 | 34611.94 | 1.38 | 3 | 1.3367 | 1.203 | NORMAL | 3.24 | FALSE
THP MEDICAL | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-01-08 | 377.325 | 0 | 1.22 | 461.71 | 1145037.82 | 1.22 | 3 | 1.3367 | 1.203 | NORMAL | -8.73 | FALSE
JEBSEN AND JESSEN MALAYSIA SDN BHD (MHE) | NORMAL | MALAYSIA | SIMPANG RENGGAM | 2025-05-24 | 184.76 | 101.87 | 1.69 | 312.4 | 154187.23 | 1.69 | 1 | 1.69 | 1.521 | NO COMPARISON REQUIRED | 0 | FALSE
ATS AIR SOLUTION | NORMAL | MALAYSIA | SUBANG JAYA | 2024-02-08 | 22.23 | 5.76 | 1.26 | 28.02 | 58123.55 | 1.26 | 2 | 1.35 | 1.215 | NORMAL | -6.67 | FALSE
BOILERMECH LOT 873 | NORMAL | MALAYSIA | SUBANG JAYA | 2025-09-15 | 280.5 | 126.76 | 1.44 | 404.95 | 147707.54 | 1.44 | 2 | 1.35 | 1.215 | NORMAL | 6.67 | FALSE
KILANG BATU BATA | NORMAL | MALAYSIA | SUNGAI SIPUT | 2025-06-27 | 545.505 | 324.75 | 1.54 | 837.86 | 498819.93 | 1.54 | 1 | 1.54 | 1.386 | NO COMPARISON REQUIRED | 0 | FALSE
FARM FRESH TAIPING (FACTORY) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 190.125 | 128.89 | 1.79 | 340.89 | 465397.88 | 1.79 | 3 | 1.8367 | 1.653 | NORMAL | -2.54 | FALSE
FARM FRESH TAIPING (FARM) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 335.79 | 216.43 | 1.68 | 564.78 | 709811.39 | 1.68 | 3 | 1.8367 | 1.653 | NORMAL | -8.53 | FALSE
QL FOODS | NORMAL | MALAYSIA | TAIPING | 2024-10-03 | 1704.105 | 816.88 | 2.04 | 3483.82 | 3331975.84 | 2.04 | 3 | 1.8367 | 1.653 | NORMAL | 11.07 | FALSE
QL TAWAU FEEDMILL | NORMAL | MALAYSIA | TAWAU | 2025-11-05 | 317.2 | 0.02 | 0.19 | 59.57 | 42147.8 | 0.19 | 4 | 0.5725 | 0.51525 | UNDERPERFORMING | -66.81 | TRUE
SABAH CHINESE HIGH SCHOOL (CANTEEN) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 26.91 | 5.94 | 1.07 | 28.68 | 12780.02 | 1.07 | 4 | 0.5725 | 0.51525 | NORMAL | 86.9 | FALSE
SABAH CHINESE HIGH SCHOOL (CULTURE AND EDUCATION) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.768 | 40.27 | 1.03 | 98.02 | 31680.14 | 1.03 | 4 | 0.5725 | 0.51525 | NORMAL | 79.91 | FALSE
SABAH CHINESE HIGH SCHOOL (TAK YUEN BUILDING) | OFFLINE | MALAYSIA | TAWAU | 2024-02-08 | 94.77 | 0 | 0 | 0 | 69019.19 | 0 | 4 | 0.5725 | 0.51525 | UNDERPERFORMING | -100 | TRUE
CHAN KAH WHYE | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-01-20 | 14.75 | 5.18 | 1.28 | 18.9 | 21265.33 | 1.28 | 3 | 1.12 | 1.008 | NORMAL | 14.29 | FALSE
DSG MALAYSIA SDN. BHD | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2022-11-24 | 2310.255 | 1063.03 | 1.07 | 2462.76 | 6262360.74 | 1.07 | 3 | 1.12 | 1.008 | NORMAL | -4.46 | FALSE
LAM SOON EDIBLE OILS | OFFLINE | MALAYSIA | TELOK PANGLIMA GARANG | 2025-07-04 | 86.8 | 0 | 1.01 | 87.6 | 98213.66 | 1.01 | 3 | 1.12 | 1.008 | NORMAL | -9.82 | FALSE
LAU AND TAN PHARMACY (1ST FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 12.375 | 6.68 | 1.48 | 18.34 | 48235.39 | 1.48 | 2 | 1.28 | 1.152 | NORMAL | 15.62 | FALSE
LAU AND TAN PHARMACY (G.FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 38.115 | 11.28 | 1.08 | 41.13 | 177457.45 | 1.08 | 2 | 1.28 | 1.152 | UNDERPERFORMING | -15.62 | TRUE
WASCO PIPE SDN BHD (COATING) | OFFLINE | MALAYSIA | TUARAN | 2026-02-12 | 350.92 | 0 | 0 | 0 | 1450.14 | 0 | 2 | 0 | 0 | NORMAL |  | FALSE
WASCO PIPE SDN BHD (MILL) | FAULTY | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 0 | 0 | 5.05 | 0 | 2 | 0 | 0 | NORMAL |  | FALSE