## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
TS UNITED METAL | NORMAL | MALAYSIA | ALOR GAJAH | 2024-05-16 | 25.155 | 7.11 | 2.94 | 73.9 | 68439.99 | 2.94 | 1 | 2.94 | 2.646 | NO COMPARISON REQUIRED | 0 | FALSE
BIMB BDR PENAWAR - 1ST FLOOR | OFFLINE | MALAYSIA | BANDAR PENAWAR | 2025-04-28 | 15.47 | 0 | 0 | 0 | 48.19 | 0 | 2 | 1.355 | 1.2195 | UNDERPERFORMING | -100 | TRUE
BIMB BDR PENAWAR - G FLOOR | NORMAL | MALAYSIA | BANDAR PENAWAR | 2025-04-29 | 15.47 | 12.52 | 2.71 | 41.93 | 568.17 | 2.71 | 2 | 1.355 | 1.2195 | NORMAL | 100 | FALSE
KOMPLEX PKNS BANGI | NORMAL | MALAYSIA | BANGI | 2024-09-04 | 379.08 | 105.4 | 1.66 | 628.32 | 428170.29 | 1.66 | 1 | 1.66 | 1.494 | NO COMPARISON REQUIRED | 0 | FALSE
JIANN LIH SAFETY PRODUCT | NORMAL | MALAYSIA | BANTING | 2024-03-21 | 475.605 | 391.27 | 2.76 | 1312.73 | 797222.58 | 2.76 | 1 | 2.76 | 2.484 | NO COMPARISON REQUIRED | 0 | FALSE
C0102_QL BATANG KALI | NORMAL | MALAYSIA | BATANG KALI | 2022-02-24 | 526 | 189.16 | 4.61 | 2424.74 | 2883965.31 | 4.61 | 1 | 4.61 | 4.149 | NO COMPARISON REQUIRED | 0 | FALSE
BP PLASTICS BP9 | NORMAL | MALAYSIA | BATU PAHAT | 2025-07-22 | 2979.1 | 2331.62 | 3.18 | 9459.57 | 3129123.28 | 3.18 | 3 | 2.4167 | 2.175 | NORMAL | 31.59 | FALSE
BP PLASTICS HQ | NORMAL | MALAYSIA | BATU PAHAT | 2025-01-16 | 1063.425 | 0 | 1.31 | 1393.91 | 1767589.33 | 1.31 | 3 | 2.4167 | 2.175 | UNDERPERFORMING | -45.79 | TRUE
CK PACKAGING AND PLASTIC INDUSTRIES | NORMAL | MALAYSIA | BATU PAHAT | 2026-01-19 | 138.88 | 122.31 | 2.76 | 383.8 | 51237.41 | 2.76 | 3 | 2.4167 | 2.175 | NORMAL | 14.21 | FALSE
GUH METER 1 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 210.6 | 151.99 | 2.45 | 516.55 | 524590.91 | 2.45 | 3 | 2.5233 | 2.271 | NORMAL | -2.91 | FALSE
GUH METER 2 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 278.46 | 217.82 | 2.56 | 713.86 | 653147.24 | 2.56 | 3 | 2.5233 | 2.271 | NORMAL | 1.45 | FALSE
GUH METER 3 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-05-04 | 534.69 | 392.32 | 2.56 | 1370.83 | 1288198.04 | 2.56 | 3 | 2.5233 | 2.271 | NORMAL | 1.45 | FALSE
TELEWIRING | NORMAL | MALAYSIA | CHENG | 2024-05-16 | 25.155 | 6.6 | 2.36 | 59.47 | 64917.42 | 2.36 | 1 | 2.36 | 2.124 | NO COMPARISON REQUIRED | 0 | FALSE
C0176_GETHA | NORMAL | MALAYSIA | CHERAS | 2023-03-01 | 178.215 | 129.02 | 2.37 | 422.09 | 588012.32 | 2.37 | 1 | 2.37 | 2.133 | NO COMPARISON REQUIRED | 0 | FALSE
C0172_ATRIA NORTH | OFFLINE | MALAYSIA | DAMANSARA | 2023-06-06 | 130.8 | 0 | 0.47 | 61.13 | 385353.19 | 0.47 | 3 | 1.7067 | 1.536 | UNDERPERFORMING | -72.46 | TRUE
C0172_ATRIA SOUTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 287.76 | 74.6 | 2.19 | 630.66 | 844242.13 | 2.19 | 3 | 1.7067 | 1.536 | NORMAL | 28.32 | FALSE
RESTORAN CHIMAEK (KFRY) | NORMAL | MALAYSIA | DAMANSARA | 2024-10-25 | 24.4 | 20.71 | 2.46 | 60.04 | 47350.67 | 2.46 | 3 | 1.7067 | 1.536 | NORMAL | 44.14 | FALSE
QL ENDAU DEEP SEA FISHING | NORMAL | MALAYSIA | ENDAU | 2025-09-04 | 897.76 | 668.8 | 2.9 | 2607.92 | 588419.55 | 2.9 | 1 | 2.9 | 2.61 | NO COMPARISON REQUIRED | 0 | FALSE
PROGUARD SAFETY MANUFACTURING SDN BHD | NORMAL | MALAYSIA | HULU LANGAT | 2022-12-30 | 202.195 | 126.07 | 2.05 | 415.36 | 566908.72 | 2.05 | 1 | 2.05 | 1.845 | NO COMPARISON REQUIRED | 0 | FALSE
GLASS PLASTIC PACKAGING | NORMAL | MALAYSIA | IPOH | 2025-04-19 | 704.94 | 497.61 | 2.4 | 1695.31 | 840647.86 | 2.4 | 3 | 2.2767 | 2.049 | NORMAL | 5.42 | FALSE
SWH INDUSTRIES (PLOT 132113) | NORMAL | MALAYSIA | IPOH | 2024-05-21 | 752.98 | 535.29 | 2.32 | 1744.21 | 1692047.06 | 2.32 | 3 | 2.2767 | 2.049 | NORMAL | 1.9 | FALSE
SWH INDUSTRIES (PLOT6311) | NORMAL | MALAYSIA | IPOH | 2025-01-15 | 204.96 | 147.75 | 2.11 | 431.69 | 327582.05 | 2.11 | 3 | 2.2767 | 2.049 | NORMAL | -7.32 | FALSE
PLEASURE LATEX | NORMAL | MALAYSIA | JERAM | 2023-07-25 | 520.3 | 130.75 | 2.02 | 1050.22 | 1718636.04 | 2.02 | 2 | 1.01 | 0.909 | NORMAL | 100 | FALSE
PLEASURE LATEX PHASE 2 | OFFLINE | MALAYSIA | JERAM | 2024-12-20 | 1010.295 | 0 | 0 | 0 | 0 | 0 | 2 | 1.01 | 0.909 | UNDERPERFORMING | -100 | TRUE
FOX ONE LOT 14 | NORMAL | MALAYSIA | KAJANG | 2025-08-13 | 91.76 | 71.54 | 2.98 | 273.88 | 61346.65 | 2.98 | 9 | 2.4022 | 2.162 | NORMAL | 24.05 | FALSE
FOX ONE LOT 8 | NORMAL | MALAYSIA | KAJANG | 2026-01-28 | 91.76 | 73.19 | 3.05 | 279.58 | 22658.65 | 3.05 | 9 | 2.4022 | 2.162 | NORMAL | 26.97 | FALSE
IOI KNOWLEDGE VISION SDN BHD | NORMAL | MALAYSIA | KAJANG | 2025-06-19 | 71.92 | 58.05 | 2.88 | 207.26 | 78912.23 | 2.88 | 9 | 2.4022 | 2.162 | NORMAL | 19.89 | FALSE
IOI MAYANG DEVELOPMENT | NORMAL | MALAYSIA | KAJANG | 2025-07-18 | 71.92 | 28.44 | 1.64 | 117.97 | 50318.91 | 1.64 | 9 | 2.4022 | 2.162 | UNDERPERFORMING | -31.73 | TRUE
LKW FROZEN SDN BHD | NORMAL | MALAYSIA | KAJANG | 2024-05-12 | 54.99 | 42.44 | 2.27 | 124.64 | 94966.96 | 2.27 | 9 | 2.4022 | 2.162 | NORMAL | -5.5 | FALSE
P.A. FOOD SDN. BHD. | NORMAL | MALAYSIA | KAJANG | 2024-05-07 | 25.155 | 4.78 | 2.22 | 55.92 | 62910.53 | 2.22 | 9 | 2.4022 | 2.162 | NORMAL | -7.59 | FALSE
UCS_BLOCK A | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 125 | 84.65 | 2.12 | 265.43 | 487457.91 | 2.12 | 9 | 2.4022 | 2.162 | UNDERPERFORMING | -11.75 | TRUE
UCS_BLOCK B | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 135 | 73.86 | 2.21 | 298.42 | 565566.31 | 2.21 | 9 | 2.4022 | 2.162 | NORMAL | -8 | FALSE
UCS_BLOCK C | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 185.5 | 62.45 | 2.25 | 417.13 | 779037.65 | 2.25 | 9 | 2.4022 | 2.162 | NORMAL | -6.34 | FALSE
FDP AND MTB INDUSTRIES SDN BHD | OFFLINE | MALAYSIA | KERLING | 2026-01-25 | 186 | 0 | 0 | 0 | 6803.17 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
AMT PC DISTRIBUTORS SDN. BHD. | NORMAL | MALAYSIA | KLANG | 2024-01-04 | 88.335 | 67.72 | 2.89 | 254.89 | 252323.1 | 2.89 | 35 | 2.2049 | 1.9844 | NORMAL | 31.07 | FALSE
ASHITA COMMUNICATION | OFFLINE | MALAYSIA | KLANG | 2025-11-03 | 91.76 | 0 | 0 | 0 | 0 | 0 | 35 | 2.2049 | 1.9844 | UNDERPERFORMING | -100 | TRUE
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 507.88 | 2.56 | 2325.78 | 177190.57 | 2.56 | 35 | 2.2049 | 1.9844 | NORMAL | 16.11 | FALSE
ADVANCE VI TECH LOT 1629 | OFFLINE | MALAYSIA | KLANG | 2024-10-27 | 240.13 | 0 | 1.63 | 391.38 | 398300.62 | 1.63 | 35 | 2.2049 | 1.9844 | UNDERPERFORMING | -26.07 | TRUE
BUNCHO (M) SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-10-01 | 91.14 | 62.28 | 2.31 | 210.89 | 28357.01 | 2.31 | 35 | 2.2049 | 1.9844 | NORMAL | 4.77 | FALSE
HOON YUEN FURNITURE | NORMAL | MALAYSIA | KLANG | 2023-11-20 | 88.335 | 35.78 | 2.22 | 196.47 | 239686.96 | 2.22 | 35 | 2.2049 | 1.9844 | NORMAL | 0.69 | FALSE
KCCCI 2FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 4.13 | 0.87 | 2.72 | 11.22 | 5008.72 | 2.72 | 35 | 2.2049 | 1.9844 | NORMAL | 23.36 | FALSE
KCCCI FIRST FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 15.34 | 3.44 | 2.76 | 42.4 | 20224.74 | 2.76 | 35 | 2.2049 | 1.9844 | NORMAL | 25.18 | FALSE
KCCCI GROUND FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 3.54 | 0.75 | 2.57 | 9.11 | 4292.98 | 2.57 | 35 | 2.2049 | 1.9844 | NORMAL | 16.56 | FALSE
KOSSAN PAINT SDN BHD | OFFLINE | MALAYSIA | KLANG | 2026-04-23 | 269.08 | 0 | 0.05 | 14.3 | 14.3 | 0.05 | 35 | 2.2049 | 1.9844 | UNDERPERFORMING | -97.73 | TRUE
KAMMA KLANG ENTERPRISE | NORMAL | MALAYSIA | KLANG | 2023-03-28 | 88 | 66.01 | 2.55 | 224.52 | 330488.49 | 2.55 | 35 | 2.2049 | 1.9844 | NORMAL | 15.65 | FALSE
KWANG HUA PERSENDIRIAN METER 2-3-4-5-6 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 302.475 | 39.07 | 1.98 | 600.16 | 1101297.72 | 1.98 | 35 | 2.2049 | 1.9844 | UNDERPERFORMING | -10.2 | TRUE
LIAN TECK SENG LOT 11 | OFFLINE | MALAYSIA | KLANG | 2025-05-06 | 18.04 | 0 | 0 | 0 | 0 | 0 | 35 | 2.2049 | 1.9844 | UNDERPERFORMING | -100 | TRUE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 18.96 | 1.9 | 136.6 | 595.52 | 1.9 | 35 | 2.2049 | 1.9844 | UNDERPERFORMING | -13.83 | TRUE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 2.78 | 0.2 | 10.24 | 54.06 | 0.2 | 35 | 2.2049 | 1.9844 | UNDERPERFORMING | -90.93 | TRUE
MEWAH OILS SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-12-01 | 220.1 | 150.42 | 2.62 | 576.78 | 10825.24 | 2.62 | 35 | 2.2049 | 1.9844 | NORMAL | 18.83 | FALSE
MIAW FRESH | NORMAL | MALAYSIA | KLANG | 2024-05-31 | 24.57 | 6.36 | 2.6 | 64 | 56113.45 | 2.6 | 35 | 2.2049 | 1.9844 | NORMAL | 17.92 | FALSE
MAXTWO ENGINEERING (FACTORY) | OFFLINE | MALAYSIA | KLANG | 2025-04-21 | 35.38 | 0 | 2.15 | 75.97 | 33416.66 | 2.15 | 35 | 2.2049 | 1.9844 | NORMAL | -2.49 | FALSE
PKT THE SHIP | NORMAL | MALAYSIA | KLANG | 2025-01-21 | 1068.21 | 309.89 | 2.44 | 2605.36 | 1193857.12 | 2.44 | 35 | 2.2049 | 1.9844 | NORMAL | 10.66 | FALSE
ROYAL KLANG CLUB | NORMAL | MALAYSIA | KLANG | 2025-07-14 | 91.76 | 53.13 | 1.94 | 178.18 | 80935.26 | 1.94 | 35 | 2.2049 | 1.9844 | UNDERPERFORMING | -12.01 | TRUE
RS POLY INDUSTRY | NORMAL | MALAYSIA | KLANG | 2024-08-02 | 727.155 | 178.92 | 2.31 | 1681.39 | 1389525.73 | 2.31 | 35 | 2.2049 | 1.9844 | NORMAL | 4.77 | FALSE
SIME KANSAI PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-09-17 | 123.825 | 35.68 | 2.85 | 352.93 | 93433.12 | 2.85 | 35 | 2.2049 | 1.9844 | NORMAL | 29.26 | FALSE
SJK (C) WU TECK | NORMAL | MALAYSIA | KLANG | 2025-12-25 | 71.92 | 24.76 | 2.42 | 174.38 | 34341.32 | 2.42 | 35 | 2.2049 | 1.9844 | NORMAL | 9.76 | FALSE
SJK （ C ） PIN HWA 1 | NORMAL | MALAYSIA | KLANG | 2025-09-23 | 183.52 | 144.44 | 2.83 | 518.96 | 98814.8 | 2.83 | 35 | 2.2049 | 1.9844 | NORMAL | 28.35 | FALSE
SM CHUNG CHUNG HUA (PSDN) KLANG | NORMAL | MALAYSIA | KLANG | 2022-02-14 | 420.195 | 103.93 | 2.25 | 943.97 | 295132.85 | 2.25 | 35 | 2.2049 | 1.9844 | NORMAL | 2.05 | FALSE
SP LOGISTICS SDN BHD | NORMAL | MALAYSIA | KLANG | 2024-06-14 | 90.675 | 25.6 | 2.23 | 202.4 | 194308.21 | 2.23 | 35 | 2.2049 | 1.9844 | NORMAL | 1.14 | FALSE
TOMEI | NORMAL | MALAYSIA | KLANG | 2024-11-07 | 215.28 | 178.22 | 2.34 | 503.49 | 332170.85 | 2.34 | 35 | 2.2049 | 1.9844 | NORMAL | 6.13 | FALSE
TEMBIKAR WEI KHING | NORMAL | MALAYSIA | KLANG | 2025-01-27 | 977.22 | 250.31 | 2.5 | 2438.27 | 1069003.77 | 2.5 | 35 | 2.2049 | 1.9844 | NORMAL | 13.39 | FALSE
TONG SEH | NORMAL | MALAYSIA | KLANG | 2024-01-18 | 260.91 | 61.27 | 2.57 | 670.8 | 650467.15 | 2.57 | 35 | 2.2049 | 1.9844 | NORMAL | 16.56 | FALSE
UC BLASTING PAINTING | NORMAL | MALAYSIA | KLANG | 2024-05-08 | 219.96 | 163.1 | 2.69 | 590.71 | 548940.83 | 2.69 | 35 | 2.2049 | 1.9844 | NORMAL | 22 | FALSE
VINDA PHASE 4 (MSB 3-2) | FAULTY | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 923.36 | 3.45 | 7319.42 | 316597.44 | 3.45 | 35 | 2.2049 | 1.9844 | NORMAL | 56.47 | FALSE
VISKO INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KLANG | 2023-07-07 | 948.75 | 653.39 | 2.54 | 2405.83 | 3212759.25 | 2.54 | 35 | 2.2049 | 1.9844 | NORMAL | 15.2 | FALSE
VINDA PHASE 1 AND 2 (MSB 2) | NORMAL | MALAYSIA | KLANG | 2023-08-20 | 2561.65 | 797.82 | 2.78 | 7118.97 | 7095119.56 | 2.78 | 35 | 2.2049 | 1.9844 | NORMAL | 26.09 | FALSE
VINDA PHASE 3 (MSB 3-1) | NORMAL | MALAYSIA | KLANG | 2024-06-28 | 1502.28 | 441.59 | 2.84 | 4267.48 | 4676169.74 | 2.84 | 35 | 2.2049 | 1.9844 | NORMAL | 28.81 | FALSE
KWANG HUA PERSENDIRIAN METER 1 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 73.03 | 11.37 | 2.48 | 181.44 | 338112.36 | 2.48 | 35 | 2.2049 | 1.9844 | NORMAL | 12.48 | FALSE
APEX UNIPARTS | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 41.535 | 7.25 | 2.36 | 98.22 | 93961.51 | 2.36 | 3 | 2.4633 | 2.217 | NORMAL | -4.19 | FALSE
KLUANG COFFEE POWDER | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 25.135 | 7.04 | 2.48 | 62.24 | 62352.03 | 2.48 | 3 | 2.4633 | 2.217 | NORMAL | 0.68 | FALSE
SAWIPAC SDN BHD | NORMAL | MALAYSIA | KLUANG | 2025-09-04 | 44.28 | 28.37 | 2.55 | 112.96 | 31165.86 | 2.55 | 3 | 2.4633 | 2.217 | NORMAL | 3.52 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2025-02-22 | 25.83 | 19.98 | 3.71 | 95.82 | 39670.85 | 3.71 | 3 | 3.0433 | 2.739 | NORMAL | 21.91 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 6.51 | 2.74 | 24.25 | 11858.67 | 2.74 | 3 | 3.0433 | 2.739 | NORMAL | -9.97 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 2) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 6.6 | 2.68 | 23.74 | 11161.23 | 2.68 | 3 | 3.0433 | 2.739 | UNDERPERFORMING | -11.94 | TRUE
SUCCESS ELECTRONIC LOT 3 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-29 | 251.72 | 113.79 | 2.09 | 526.87 | 78219.89 | 2.09 | 2 | 2.03 | 1.827 | NORMAL | 2.96 | FALSE
SUCCESS ELECTRONIC LOT 7 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-31 | 395.56 | 196.09 | 1.97 | 779.77 | 101621.31 | 1.97 | 2 | 2.03 | 1.827 | NORMAL | -2.96 | FALSE
QL AGROFOOD SDN BHD | NORMAL | MALAYSIA | KOTA KINABALU | 2025-06-25 | 409.92 | 250.09 | 2.3 | 942.53 | 270319.83 | 2.3 | 1 | 2.3 | 2.07 | NO COMPARISON REQUIRED | 0 | FALSE
KIARA BAY | NORMAL | MALAYSIA | KUALA LUMPUR | 2025-01-21 | 1004.18 | 146.21 | 2.12 | 2128.46 | 1318504.79 | 2.12 | 3 | 2.2633 | 2.037 | NORMAL | -6.33 | FALSE
MENARA PJD | NORMAL | MALAYSIA | KUALA LUMPUR | 2024-05-18 | 80.145 | 17.51 | 2.28 | 182.95 | 151307.04 | 2.28 | 3 | 2.2633 | 2.037 | NORMAL | 0.74 | FALSE
TOA PAINT KEPONG WAREHOUSE | NORMAL | MALAYSIA | KUALA LUMPUR | 2023-11-02 | 25.74 | 19.46 | 2.39 | 61.42 | 75965.7 | 2.39 | 3 | 2.2633 | 2.037 | NORMAL | 5.6 | FALSE
QL ENDAU MARINE | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-08-01 | 430.28 | 332.38 | 3 | 1290.01 | 460077.74 | 3 | 2 | 1.71 | 1.539 | NORMAL | 75.44 | FALSE
TIMURIKAN TRENGGANU MARINE PRODUCTS SDN BHD | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-12-08 | 260.4 | 18.04 | 0.42 | 109.47 | 12703.75 | 0.42 | 2 | 1.71 | 1.539 | UNDERPERFORMING | -75.44 | TRUE
AFI BRAKE MANUFACTURING SDN BHD | NORMAL | MALAYSIA | KUALA TERENGGANU | 2023-10-02 | 454.3 | 284.51 | 2.6 | 1181.7 | 1295164.9 | 2.6 | 3 | 1.72 | 1.548 | NORMAL | 51.16 | FALSE
AFI METAL | NORMAL | MALAYSIA | KUALA TERENGGANU | 2024-03-14 | 55.35 | 35.44 | 2.56 | 141.92 | 120852.39 | 2.56 | 3 | 1.72 | 1.548 | NORMAL | 48.84 | FALSE
REDANG LAGOON RESORT | OFFLINE | MALAYSIA | KUALA TERENGGANU | 2023-02-16 | 53.41 | 0 | 0 | 0 | 0 | 0 | 3 | 1.72 | 1.548 | UNDERPERFORMING | -100 | TRUE
C0156_DENIM CODE | NORMAL | MALAYSIA | KULIM | 2022-09-04 | 86.445 | 21.87 | 2.37 | 204.61 | 371666.77 | 2.37 | 1 | 2.37 | 2.133 | NO COMPARISON REQUIRED | 0 | FALSE
ECO OILS - LAHAD DATU | NORMAL | MALAYSIA | LAHAD DATU | 2024-10-15 | 39.78 | 4.4 | 1.77 | 70.25 | 58201.44 | 1.77 | 1 | 1.77 | 1.593 | NO COMPARISON REQUIRED | 0 | FALSE
LUNAS JAYA PETROL SDN BHD | NORMAL | MALAYSIA | LUNAS | 2025-03-19 | 25.86 | 18.68 | 2.1 | 54.38 | 31598.18 | 2.1 | 1 | 2.1 | 1.89 | NO COMPARISON REQUIRED | 0 | FALSE
QL PAJAM PHASE 2 | NORMAL | MALAYSIA | MANTIN | 2025-08-05 | 566.68 | 410.17 | 1.91 | 1084.61 | 429795.2 | 1.91 | 1 | 1.91 | 1.719 | NO COMPARISON REQUIRED | 0 | FALSE
FIBERTEX PHASE 2 | NORMAL | MALAYSIA | NILAI | 2024-08-30 | 1251.704 | 402.53 | 3.21 | 4018.89 | 3056168.58 | 3.21 | 2 | 2.75 | 2.475 | NORMAL | 16.73 | FALSE
WEIDA MARKETING SDN. BHD. | NORMAL | MALAYSIA | NILAI | 2022-12-01 | 500.31 | 92.44 | 2.29 | 1144.7 | 1679958.57 | 2.29 | 2 | 2.75 | 2.475 | UNDERPERFORMING | -16.73 | TRUE
KLH SDN BHD | NORMAL | MALAYSIA | PADANG SERAI | 2024-09-05 | 265.005 | 193.37 | 2.43 | 642.9 | 436949.44 | 2.43 | 1 | 2.43 | 2.187 | NO COMPARISON REQUIRED | 0 | FALSE
QL AGROVENTURE | NORMAL | MALAYSIA | PAPAR | 2022-05-19 | 418.965 | 62.2 | 1.01 | 422.54 | 1339834.37 | 1.01 | 1 | 1.01 | 0.909 | NO COMPARISON REQUIRED | 0 | FALSE
ECOOILS (PHASE 2) - P.GUDANG | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-13 | 38.61 | 11.81 | 1.75 | 67.54 | 40168.41 | 1.75 | 4 | 1.5575 | 1.4018 | NORMAL | 12.36 | FALSE
IOI PAN - CENTURY | NORMAL | MALAYSIA | PASIR GUDANG | 2023-05-31 | 116.815 | 86.84 | 2.6 | 303.38 | 268952.99 | 2.6 | 4 | 1.5575 | 1.4018 | NORMAL | 66.93 | FALSE
KISWIRE CORD PHASE 1 (DATA) | OFFLINE | MALAYSIA | PASIR GUDANG | 2023-10-24 | 1248.5 | 0 | 0 | 0 | 0 | 0 | 4 | 1.5575 | 1.4018 | UNDERPERFORMING | -100 | TRUE
KISWIRE CORD SDN BHD | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-03 | 4732.09 | 506.74 | 1.88 | 8888.38 | 4899566.75 | 1.88 | 4 | 1.5575 | 1.4018 | NORMAL | 20.71 | FALSE
KB AIS SDN. BHD. | NORMAL | MALAYSIA | PASIR MAS | 2022-07-23 | 49.05 | 30.91 | 2.69 | 131.98 | 230701.09 | 2.69 | 1 | 2.69 | 2.421 | NO COMPARISON REQUIRED | 0 | FALSE
BRC INDUSTRIES | NORMAL | MALAYSIA | PENANG | 2024-05-26 | 162.63 | 120.52 | 1.87 | 304.19 | 393016.04 | 1.87 | 3 | 1.8767 | 1.689 | NORMAL | -0.36 | FALSE
LEAN GIAP ENTERPRISE SDN BHD | NORMAL | MALAYSIA | PENANG | 2024-03-13 | 7.02 | 4.59 | 1.89 | 13.26 | 19492.81 | 1.89 | 3 | 1.8767 | 1.689 | NORMAL | 0.71 | FALSE
PKT 12 WAVES | NORMAL | MALAYSIA | PENANG | 2025-02-05 | 1337.31 | 481.96 | 1.87 | 2500.96 | 1297637.03 | 1.87 | 3 | 1.8767 | 1.689 | NORMAL | -0.36 | FALSE
PENGERANG INDEPENDENT TERMINAL | FAULTY | MALAYSIA | PENGERANG | 2024-10-24 | 718.965 | 498.47 | 2.75 | 1974.4 | 1190867.31 | 2.75 | 1 | 2.75 | 2.475 | NO COMPARISON REQUIRED | 0 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 2) | NORMAL | MALAYSIA | PENGKALAN CHEPA | 2025-02-20 | 25.83 | 20.72 | 2.62 | 67.73 | 41430.19 | 2.62 | 1 | 2.62 | 2.358 | NO COMPARISON REQUIRED | 0 | FALSE
DURASAFE SDN. BHD. | NORMAL | MALAYSIA | PERAI | 2024-12-02 | 91.5 | 61.06 | 1.9 | 173.56 | 172312.39 | 1.9 | 3 | 1.9733 | 1.776 | NORMAL | -3.72 | FALSE
MULTI CHOICE (M) SDN BHD | NORMAL | MALAYSIA | PERAI | 2025-10-26 | 423.46 | 307.58 | 2.51 | 1061.2 | 178921.85 | 2.51 | 3 | 1.9733 | 1.776 | NORMAL | 27.2 | FALSE
TEONG HUAT MEDICAL | NORMAL | MALAYSIA | PERAI | 2025-11-26 | 349.32 | 216.63 | 1.51 | 528.29 | 79176.43 | 1.51 | 3 | 1.9733 | 1.776 | UNDERPERFORMING | -23.48 | TRUE
GEMILITE SDN BERHAD | NORMAL | MALAYSIA | PETALING JAYA | 2025-02-20 | 39.36 | 30.7 | 2.82 | 110.92 | 51583.92 | 2.82 | 3 | 1.3967 | 1.257 | NORMAL | 101.91 | FALSE
MENARA PKNS PJ | OFFLINE | MALAYSIA | PETALING JAYA | 2026-02-11 | 112.32 | 0 | 0 | 0 | 2181.01 | 0 | 3 | 1.3967 | 1.257 | UNDERPERFORMING | -100 | TRUE
SUCCESS ELECTRONIC LOT 5 | NORMAL | MALAYSIA | PETALING JAYA | 2025-12-29 | 80.6 | 23.94 | 1.37 | 110.7 | 17183.33 | 1.37 | 3 | 1.3967 | 1.257 | NORMAL | -1.91 | FALSE
FUNGICULTURE | NORMAL | MALAYSIA | PORT KLANG | 2023-06-10 | 262.515 | 177.95 | 2.37 | 621.05 | 957257.26 | 2.37 | 6 | 2.3317 | 2.0985 | NORMAL | 1.64 | FALSE
JY1 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-06 | 259.42 | 185.19 | 2.22 | 575.24 | 976739.19 | 2.22 | 6 | 2.3317 | 2.0985 | NORMAL | -4.79 | FALSE
JY1(2) | NORMAL | MALAYSIA | PORT KLANG | 2025-10-07 | 140.74 | 103.34 | 2.24 | 315.82 | 102665.28 | 2.24 | 6 | 2.3317 | 2.0985 | NORMAL | -3.93 | FALSE
JY2 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-10 | 397.305 | 285.17 | 2.29 | 911.15 | 1471930.33 | 2.29 | 6 | 2.3317 | 2.0985 | NORMAL | -1.79 | FALSE
JAYA NETS | NORMAL | MALAYSIA | PORT KLANG | 2024-07-15 | 99 | 61.97 | 2.24 | 221.27 | 201437.67 | 2.24 | 6 | 2.3317 | 2.0985 | NORMAL | -3.93 | FALSE
SJK (C) TSHING NIAN | NORMAL | MALAYSIA | PORT KLANG | 2026-02-02 | 48.36 | 40.42 | 2.63 | 127.16 | 10975.9 | 2.63 | 6 | 2.3317 | 2.0985 | NORMAL | 12.79 | FALSE
AMEBA MGMT | NORMAL | MALAYSIA | PUCHONG | 2024-01-30 | 18.72 | 3.57 | 2.34 | 43.77 | 35000.61 | 2.34 | 6 | 1.9783 | 1.7805 | NORMAL | 18.28 | FALSE
IOI MALL PUCHONG (NEW WING) | NORMAL | MALAYSIA | PUCHONG | 2025-01-14 | 544.275 | 407.41 | 2.51 | 1366.56 | 876417.37 | 2.51 | 6 | 1.9783 | 1.7805 | NORMAL | 26.87 | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | OFFLINE | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 0 | 0 | 0 | 174530.9 | 0 | 6 | 1.9783 | 1.7805 | UNDERPERFORMING | -100 | TRUE
IOI MALL PUCHONG (OLD WING) | NORMAL | MALAYSIA | PUCHONG | 2025-04-25 | 2193.09 | 1585.7 | 2.31 | 5063.67 | 2307117.09 | 2.31 | 6 | 1.9783 | 1.7805 | NORMAL | 16.76 | FALSE
MCC TECHNIQUE SDN BHD LOT 10 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 7.37 | 2.41 | 74.68 | 22950.44 | 2.41 | 6 | 1.9783 | 1.7805 | NORMAL | 21.82 | FALSE
MCC TECHNIQUE SDN BHD LOT 12 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 7.31 | 2.3 | 71.33 | 22649.67 | 2.3 | 6 | 1.9783 | 1.7805 | NORMAL | 16.26 | FALSE
BREMFIELD SDN BHD | NORMAL | MALAYSIA | PULAU INDAH | 2024-05-02 | 150.93 | 104.57 | 2.36 | 355.73 | 387847.51 | 2.36 | 3 | 2.18 | 1.962 | NORMAL | 8.26 | FALSE
C0149_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-18 | 25.175 | 13.57 | 2.18 | 54.94 | 91796.62 | 2.18 | 3 | 2.18 | 1.962 | NORMAL | 0 | FALSE
C150_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-17 | 72.2 | 39.02 | 2 | 144.64 | 312548.59 | 2 | 3 | 2.18 | 1.962 | NORMAL | -8.26 | FALSE
FUJI M1 | NORMAL | MALAYSIA | PUNCAK ALAM | 2023-12-23 | 265.005 | 174.73 | 2.3 | 609.72 | 728539.3 | 2.3 | 4 | 2.3075 | 2.0768 | NORMAL | -0.33 | FALSE
FUJI M2 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-04-18 | 264.42 | 182.07 | 2.41 | 637.62 | 575619.63 | 2.41 | 4 | 2.3075 | 2.0768 | NORMAL | 4.44 | FALSE
FUJI M3 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-02-04 | 264.89 | 120.42 | 1.95 | 517.53 | 398204.34 | 1.95 | 4 | 2.3075 | 2.0768 | UNDERPERFORMING | -15.49 | TRUE
FUJI M4 | NORMAL | MALAYSIA | PUNCAK ALAM | 2025-12-12 | 133.92 | 91.56 | 2.57 | 344.6 | 61592.9 | 2.57 | 4 | 2.3075 | 2.0768 | NORMAL | 11.38 | FALSE
IOI CITY MALL INC. FEEDER 1 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 3049.605 | 2165.1 | 2.55 | 7776.49 | 5565345.2 | 2.55 | 3 | 2.5367 | 2.283 | NORMAL | 0.53 | FALSE
IOI CITY MALL INC. FEEDER 2 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 1019.07 | 730.92 | 2.58 | 2624.25 | 1697399.65 | 2.58 | 3 | 2.5367 | 2.283 | NORMAL | 1.71 | FALSE
IOI RESORT VILLA GOLF COURSE | NORMAL | MALAYSIA | PUTRAJAYA | 2024-03-12 | 250.38 | 164.87 | 2.48 | 620.51 | 473673.64 | 2.48 | 3 | 2.5367 | 2.283 | NORMAL | -2.23 | FALSE
MARINE GOLD SDN BHD | OFFLINE | MALAYSIA | RAWANG | 2023-10-28 | 148.5 | 0 | 0 | 0 | 0 | 0 | 6 | 2.0283 | 1.8255 | UNDERPERFORMING | -100 | TRUE
SCENT PUR MANUFACTURING SDN BHD NO.35 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 9.7 | 2.5 | 31.02 | 26458.67 | 2.5 | 6 | 2.0283 | 1.8255 | NORMAL | 23.25 | FALSE
SCENT PUR MANUFACTURING SDN BHD NO.37 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 9.62 | 2.46 | 30.54 | 26238.3 | 2.46 | 6 | 2.0283 | 1.8255 | NORMAL | 21.28 | FALSE
WCS UNIT 6 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 21.06 | 14.56 | 2.47 | 51.99 | 52143.58 | 2.47 | 6 | 2.0283 | 1.8255 | NORMAL | 21.77 | FALSE
WCS UNIT 7 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 16.38 | 11.02 | 2.55 | 41.75 | 41103.74 | 2.55 | 6 | 2.0283 | 1.8255 | NORMAL | 25.72 | FALSE
WCS_HOME | NORMAL | MALAYSIA | RAWANG | 2024-09-13 | 8.85 | 6 | 2.19 | 19.37 | 16825.45 | 2.19 | 6 | 2.0283 | 1.8255 | NORMAL | 7.97 | FALSE
BM COCO MARKETING | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 5.13 | 2.1 | 53.67 | 75203.13 | 2.1 | 3 | 2.27 | 2.043 | NORMAL | -7.49 | FALSE
BM COCO PALM | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 5.31 | 2.06 | 52.66 | 79737.25 | 2.06 | 3 | 2.27 | 2.043 | NORMAL | -9.25 | FALSE
CHONG HWA SBR RENGIT | NORMAL | MALAYSIA | RENGIT | 2024-05-28 | 25.155 | 21.67 | 2.65 | 66.6 | 56141.83 | 2.65 | 3 | 2.27 | 2.043 | NORMAL | 16.74 | FALSE
SUPERCOWBOY (SEGAMAT) | NORMAL | MALAYSIA | SEGAMAT | 2025-07-23 | 250.75 | 59.03 | 2.65 | 665.32 | 248167.13 | 2.65 | 1 | 2.65 | 2.385 | NO COMPARISON REQUIRED | 0 | FALSE
DONG SING FOOD LINK SDN BHD | OFFLINE | MALAYSIA | SEMENYIH | 2025-12-08 | 71.92 | 0 | 2.04 | 146.79 | 27071.35 | 2.04 | 8 | 2.3775 | 2.1397 | UNDERPERFORMING | -14.2 | TRUE
FOX ONE MARKETING SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-01-06 | 91.5 | 49.74 | 2.39 | 218.72 | 112645.74 | 2.39 | 8 | 2.3775 | 2.1397 | NORMAL | 0.53 | FALSE
P.A FOOD SDN BHD 2ATKT | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 47.97 | 36.22 | 2.54 | 121.71 | 94912.31 | 2.54 | 8 | 2.3775 | 2.1397 | NORMAL | 6.83 | FALSE
P.A FOOD SDN BHD LOT 10 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 52.65 | 37.43 | 2.57 | 135.56 | 99434.22 | 2.57 | 8 | 2.3775 | 2.1397 | NORMAL | 8.1 | FALSE
P.A FOOD SDN BHD LOT 12 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 51.48 | 34.7 | 2.31 | 118.92 | 90818.41 | 2.31 | 8 | 2.3775 | 2.1397 | NORMAL | -2.84 | FALSE
P.A. FOOD WAREHOUSE NO. 9 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-28 | 21.06 | 16.95 | 2.48 | 52.15 | 40266.85 | 2.48 | 8 | 2.3775 | 2.1397 | NORMAL | 4.31 | FALSE
YAN JIAN 2 | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 63.86 | 51.39 | 2.5 | 159.94 | 50854.89 | 2.5 | 8 | 2.3775 | 2.1397 | NORMAL | 5.15 | FALSE
YAN JIAN 2A | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 74.4 | 60.49 | 2.19 | 162.83 | 69253.46 | 2.19 | 8 | 2.3775 | 2.1397 | NORMAL | -7.89 | FALSE
LYBASE SDN BHD | NORMAL | MALAYSIA | SENAI | 2024-11-04 | 400.14 | 147.41 | 2.24 | 894.63 | 401766.67 | 2.24 | 2 | 2 | 1.8 | NORMAL | 12 | FALSE
SUPERMICRO COMPUTER SDN BHD | NORMAL | MALAYSIA | SENAI | 2025-08-16 | 2550.85 | 1045.3 | 1.76 | 4485.72 | 1538343.16 | 1.76 | 2 | 2 | 1.8 | UNDERPERFORMING | -12 | TRUE
ENGE PLAS | NORMAL | MALAYSIA | SENAWANG | 2024-12-10 | 302.4 | 211.37 | 2.55 | 770.41 | 448479.36 | 2.55 | 1 | 2.55 | 2.295 | NO COMPARISON REQUIRED | 0 | FALSE
CIC CONTRACT SDN BHD | NORMAL | MALAYSIA | SERI KEMBANGAN | 2023-12-14 | 20.475 | 4.9 | 2.74 | 56.01 | 58383.2 | 2.74 | 1 | 2.74 | 2.466 | NO COMPARISON REQUIRED | 0 | FALSE
BJC FOOD (MALAYSIA) SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2023-01-10 | 320.46 | 192.42 | 1.94 | 622.63 | 1092749.21 | 1.94 | 14 | 2.6529 | 2.3876 | UNDERPERFORMING | -26.87 | TRUE
KUASA BAKTI (PETRON SETIA ALAM) | NORMAL | MALAYSIA | SHAH ALAM | 2025-08-27 | 44.64 | 35.72 | 2.98 | 132.83 | 27566.09 | 2.98 | 14 | 2.6529 | 2.3876 | NORMAL | 12.33 | FALSE
MARBACH ASIA PACIFIC LOT17 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.02 | 38.91 | 2.59 | 129.59 | 75868.3 | 2.59 | 14 | 2.6529 | 2.3876 | NORMAL | -2.37 | FALSE
MARBACH ASIA PACIFIC LOT 15 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.05 | 38.82 | 2.76 | 138.16 | 78412.16 | 2.76 | 14 | 2.6529 | 2.3876 | NORMAL | 4.04 | FALSE
MITSUI COPPER FOIL P3 | NORMAL | MALAYSIA | SHAH ALAM | 2025-06-26 | 706.33 | 473.92 | 2.8 | 1977.58 | 701018.61 | 2.8 | 14 | 2.6529 | 2.3876 | NORMAL | 5.55 | FALSE
NEW AGE 160 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-17 | 166.67 | 123.12 | 2.8 | 465.99 | 273929.63 | 2.8 | 14 | 2.6529 | 2.3876 | NORMAL | 5.55 | FALSE
NEW AGE 510 | NORMAL | MALAYSIA | SHAH ALAM | 2024-11-18 | 127.92 | 95.93 | 2.69 | 344.27 | 243374.81 | 2.69 | 14 | 2.6529 | 2.3876 | NORMAL | 1.4 | FALSE
PKT 8 WAVES | NORMAL | MALAYSIA | SHAH ALAM | 2024-08-13 | 176.67 | 44.89 | 3.11 | 549.94 | 248746.86 | 3.11 | 14 | 2.6529 | 2.3876 | NORMAL | 17.23 | FALSE
QL MAXINCOME | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-05 | 79.3 | 61.55 | 2.41 | 191.48 | 106890.23 | 2.41 | 14 | 2.6529 | 2.3876 | NORMAL | -9.15 | FALSE
QL LOT 14 | NORMAL | MALAYSIA | SHAH ALAM | 2025-02-24 | 61.61 | 46.7 | 2.4 | 147.69 | 80622.91 | 2.4 | 14 | 2.6529 | 2.3876 | NORMAL | -9.53 | FALSE
QL LOT 16 | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-01 | 64.05 | 48.86 | 2.38 | 152.33 | 82352.99 | 2.38 | 14 | 2.6529 | 2.3876 | UNDERPERFORMING | -10.29 | TRUE
SAN SOON SENG FOOD INDUSTRIES SDN BHD | NORMAL | MALAYSIA | SHAH ALAM | 2025-10-02 | 1292.7 | 1038.16 | 2.84 | 3670.8 | 652419.34 | 2.84 | 14 | 2.6529 | 2.3876 | NORMAL | 7.05 | FALSE
SUCCESFUEL SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2024-10-22 | 90.86 | 71.55 | 2.81 | 255.74 | 155717.83 | 2.81 | 14 | 2.6529 | 2.3876 | NORMAL | 5.92 | FALSE
THOR SPECIALTIES | NORMAL | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 72.55 | 2.63 | 239.81 | 1044.28 | 2.63 | 14 | 2.6529 | 2.3876 | NORMAL | -0.86 | FALSE
FURUTEC | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-07-06 | 132.21 | 101.44 | 2.13 | 281.23 | 289088.35 | 2.13 | 3 | 2.1833 | 1.965 | NORMAL | -2.44 | FALSE
PERBADANAN PENGURUSAN VILLA RAINTREE II | NORMAL | MALAYSIA | SIMPANG AMPAT | 2025-04-18 | 25.83 | 18.43 | 2.33 | 60.27 | 34762.05 | 2.33 | 3 | 2.1833 | 1.965 | NORMAL | 6.72 | FALSE
THP MEDICAL | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-01-08 | 377.325 | 279.24 | 2.09 | 788.03 | 1147149.09 | 2.09 | 3 | 2.1833 | 1.965 | NORMAL | -4.27 | FALSE
JEBSEN AND JESSEN MALAYSIA SDN BHD (MHE) | NORMAL | MALAYSIA | SIMPANG RENGGAM | 2025-05-24 | 184.76 | 149.31 | 2.81 | 518.3 | 155158.6 | 2.81 | 1 | 2.81 | 2.529 | NO COMPARISON REQUIRED | 0 | FALSE
ATS AIR SOLUTION | NORMAL | MALAYSIA | SUBANG JAYA | 2024-02-08 | 22.23 | 16.82 | 2.48 | 55.08 | 58233.93 | 2.48 | 2 | 2.48 | 2.232 | NORMAL | 0 | FALSE
BOILERMECH LOT 873 | NORMAL | MALAYSIA | SUBANG JAYA | 2025-09-15 | 280.5 | 73.56 | 2.48 | 695.82 | 149093.43 | 2.48 | 2 | 2.48 | 2.232 | NORMAL | 0 | FALSE
KILANG BATU BATA | NORMAL | MALAYSIA | SUNGAI SIPUT | 2025-06-27 | 545.505 | 159.25 | 1.92 | 1050.02 | 501279.61 | 1.92 | 1 | 1.92 | 1.728 | NO COMPARISON REQUIRED | 0 | FALSE
FARM FRESH TAIPING (FACTORY) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 190.125 | 125.13 | 2.71 | 514.91 | 466524.22 | 2.71 | 3 | 2.32 | 2.088 | NORMAL | 16.81 | FALSE
FARM FRESH TAIPING (FARM) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 335.79 | 210.34 | 2.57 | 861.97 | 711698.24 | 2.57 | 3 | 2.32 | 2.088 | NORMAL | 10.78 | FALSE
QL FOODS | NORMAL | MALAYSIA | TAIPING | 2024-10-03 | 1704.105 | 186.79 | 1.68 | 2868.09 | 3340440.09 | 1.68 | 3 | 2.32 | 2.088 | UNDERPERFORMING | -27.59 | TRUE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1.04 | 0.936 | UNDERPERFORMING | -100 | TRUE
QL TAWAU FEEDMILL | NORMAL | MALAYSIA | TAWAU | 2025-11-05 | 317.2 | 222.56 | 2.78 | 882.48 | 43618.35 | 2.78 | 5 | 1.04 | 0.936 | NORMAL | 167.31 | FALSE
SABAH CHINESE HIGH SCHOOL (CANTEEN) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 26.91 | 6.14 | 1.21 | 32.69 | 12838.72 | 1.21 | 5 | 1.04 | 0.936 | NORMAL | 16.35 | FALSE
SABAH CHINESE HIGH SCHOOL (CULTURE AND EDUCATION) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.768 | 13.17 | 1.21 | 114.87 | 31883.72 | 1.21 | 5 | 1.04 | 0.936 | NORMAL | 16.35 | FALSE
SABAH CHINESE HIGH SCHOOL (TAK YUEN BUILDING) | OFFLINE | MALAYSIA | TAWAU | 2024-02-08 | 94.77 | 0 | 0 | 0 | 69019.19 | 0 | 5 | 1.04 | 0.936 | UNDERPERFORMING | -100 | TRUE
CHAN KAH WHYE | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-01-20 | 14.75 | 10.5 | 2.41 | 35.58 | 21330.5 | 2.41 | 3 | 2.3433 | 2.109 | NORMAL | 2.84 | FALSE
DSG MALAYSIA SDN. BHD | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2022-11-24 | 2310.255 | 481.91 | 1.99 | 4608.15 | 6270543.63 | 1.99 | 3 | 2.3433 | 2.109 | UNDERPERFORMING | -15.08 | TRUE
LAM SOON EDIBLE OILS | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-07-04 | 86.8 | 31.54 | 2.63 | 228.19 | 98808.59 | 2.63 | 3 | 2.3433 | 2.109 | NORMAL | 12.23 | FALSE
LAU AND TAN PHARMACY (1ST FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 12.375 | 7 | 2.54 | 31.41 | 48302.84 | 2.54 | 2 | 2.125 | 1.9125 | NORMAL | 19.53 | FALSE
LAU AND TAN PHARMACY (G.FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 38.115 | 13.24 | 1.71 | 65.02 | 177596.21 | 1.71 | 2 | 2.125 | 1.9125 | UNDERPERFORMING | -19.53 | TRUE
WASCO PIPE SDN BHD (COATING) | OFFLINE | MALAYSIA | TUARAN | 2026-02-12 | 350.92 | 0 | 0 | 0 | 1450.14 | 0 | 2 | 0 | 0 | NORMAL |  | FALSE
WASCO PIPE SDN BHD (MILL) | OFFLINE | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 0 | 0 | 5.05 | 0 | 2 | 0 | 0 | NORMAL |  | FALSE