## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
TS UNITED METAL | NORMAL | MALAYSIA | ALOR GAJAH | 2024-05-16 | 25.155 | 9.1 | 3.19 | 80.37 | 68575.78 | 3.19 | 1 | 3.19 | 2.871 | NO COMPARISON REQUIRED | 0 | FALSE
BIMB BDR PENAWAR - 1ST FLOOR | OFFLINE | MALAYSIA | BANDAR PENAWAR | 2025-04-28 | 15.47 | 0 | 0 | 0 | 48.19 | 0 | 2 | 1.42 | 1.278 | UNDERPERFORMING | -100 | TRUE
BIMB BDR PENAWAR - G FLOOR | NORMAL | MALAYSIA | BANDAR PENAWAR | 2025-04-29 | 15.47 | 11.48 | 2.84 | 43.86 | 642.78 | 2.84 | 2 | 1.42 | 1.278 | NORMAL | 100 | FALSE
KOMPLEX PKNS BANGI | NORMAL | MALAYSIA | BANGI | 2024-09-04 | 379.08 | 77.24 | 3.06 | 1158.16 | 429689.18 | 3.06 | 1 | 3.06 | 2.754 | NO COMPARISON REQUIRED | 0 | FALSE
JIANN LIH SAFETY PRODUCT | NORMAL | MALAYSIA | BANTING | 2024-03-21 | 475.605 | 94.44 | 3.18 | 1510.83 | 799787.44 | 3.18 | 1 | 3.18 | 2.862 | NO COMPARISON REQUIRED | 0 | FALSE
C0102_QL BATANG KALI | NORMAL | MALAYSIA | BATANG KALI | 2022-02-24 | 526 | 756.09 | 5.83 | 3064.6 | 2889375.71 | 5.83 | 1 | 5.83 | 5.247 | NO COMPARISON REQUIRED | 0 | FALSE
BP PLASTICS BP9 | NORMAL | MALAYSIA | BATU PAHAT | 2025-07-22 | 2979.1 | 493.41 | 2.88 | 8565.79 | 3143419.26 | 2.88 | 3 | 2.7867 | 2.508 | NORMAL | 3.35 | FALSE
BP PLASTICS HQ | NORMAL | MALAYSIA | BATU PAHAT | 2025-01-16 | 1063.425 | 807.96 | 2.58 | 2745.74 | 1773692.27 | 2.58 | 3 | 2.7867 | 2.508 | NORMAL | -7.42 | FALSE
CK PACKAGING AND PLASTIC INDUSTRIES | NORMAL | MALAYSIA | BATU PAHAT | 2026-01-19 | 138.88 | 104.79 | 2.9 | 403.22 | 51975.29 | 2.9 | 3 | 2.7867 | 2.508 | NORMAL | 4.07 | FALSE
GUH METER 1 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 210.6 | 26.97 | 2.33 | 491.51 | 525575.72 | 2.33 | 3 | 2.2867 | 2.058 | NORMAL | 1.9 | FALSE
GUH METER 2 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 278.46 | 33.05 | 2.26 | 630.25 | 654404.24 | 2.26 | 3 | 2.2867 | 2.058 | NORMAL | -1.17 | FALSE
GUH METER 3 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-05-04 | 534.69 | 61.75 | 2.27 | 1212.14 | 1290600.96 | 2.27 | 3 | 2.2867 | 2.058 | NORMAL | -0.73 | FALSE
TELEWIRING | NORMAL | MALAYSIA | CHENG | 2024-05-16 | 25.155 | 5.23 | 2.45 | 61.59 | 65013.92 | 2.45 | 1 | 2.45 | 2.205 | NO COMPARISON REQUIRED | 0 | FALSE
C0176_GETHA | NORMAL | MALAYSIA | CHERAS | 2023-03-01 | 178.215 | 123.89 | 2.81 | 500.7 | 588761.97 | 2.81 | 1 | 2.81 | 2.529 | NO COMPARISON REQUIRED | 0 | FALSE
C0172_ATRIA NORTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 130.8 | 19.59 | 2.68 | 350.2 | 386145.26 | 2.68 | 3 | 2.7567 | 2.481 | NORMAL | -2.78 | FALSE
C0172_ATRIA SOUTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 287.76 | 187.39 | 2.81 | 807.4 | 845547.97 | 2.81 | 3 | 2.7567 | 2.481 | NORMAL | 1.93 | FALSE
RESTORAN CHIMAEK (KFRY) | NORMAL | MALAYSIA | DAMANSARA | 2024-10-25 | 24.4 | 20.2 | 2.78 | 67.85 | 47463.91 | 2.78 | 3 | 2.7567 | 2.481 | NORMAL | 0.85 | FALSE
QL ENDAU DEEP SEA FISHING | NORMAL | MALAYSIA | ENDAU | 2025-09-04 | 897.76 | 155.97 | 0.96 | 859.29 | 591353.14 | 0.96 | 1 | 0.96 | 0.864 | NO COMPARISON REQUIRED | 0 | FALSE
PROGUARD SAFETY MANUFACTURING SDN BHD | NORMAL | MALAYSIA | HULU LANGAT | 2022-12-30 | 202.195 | 127.25 | 2.47 | 499.66 | 567753.89 | 2.47 | 1 | 2.47 | 2.223 | NO COMPARISON REQUIRED | 0 | FALSE
GLASS PLASTIC PACKAGING | NORMAL | MALAYSIA | IPOH | 2025-04-19 | 704.94 | 262.05 | 2.68 | 1885.75 | 844124.22 | 2.68 | 3 | 2.81 | 2.529 | NORMAL | -4.63 | FALSE
SWH INDUSTRIES (PLOT 132113) | NORMAL | MALAYSIA | IPOH | 2024-05-21 | 752.98 | 224.12 | 2.9 | 2185.61 | 1695947.1 | 2.9 | 3 | 2.81 | 2.529 | NORMAL | 3.2 | FALSE
SWH INDUSTRIES (PLOT6311) | NORMAL | MALAYSIA | IPOH | 2025-01-15 | 204.96 | 149.87 | 2.85 | 585.16 | 328641.14 | 2.85 | 3 | 2.81 | 2.529 | NORMAL | 1.42 | FALSE
PLEASURE LATEX | NORMAL | MALAYSIA | JERAM | 2023-07-25 | 520.3 | 164.08 | 2.75 | 1432.82 | 1721235.04 | 2.75 | 2 | 1.375 | 1.2375 | NORMAL | 100 | FALSE
PLEASURE LATEX PHASE 2 | OFFLINE | MALAYSIA | JERAM | 2024-12-20 | 1010.295 | 0 | 0 | 0 | 0 | 0 | 2 | 1.375 | 1.2375 | UNDERPERFORMING | -100 | TRUE
FOX ONE LOT 14 | NORMAL | MALAYSIA | KAJANG | 2025-08-13 | 91.76 | 15.76 | 3.19 | 293.14 | 61837.9 | 3.19 | 9 | 2.7078 | 2.437 | NORMAL | 17.81 | FALSE
FOX ONE LOT 8 | NORMAL | MALAYSIA | KAJANG | 2026-01-28 | 91.76 | 15.9 | 3.13 | 287.64 | 23150.89 | 3.13 | 9 | 2.7078 | 2.437 | NORMAL | 15.59 | FALSE
IOI KNOWLEDGE VISION SDN BHD | NORMAL | MALAYSIA | KAJANG | 2025-06-19 | 71.92 | 55.04 | 3.54 | 254.41 | 79331.95 | 3.54 | 9 | 2.7078 | 2.437 | NORMAL | 30.73 | FALSE
IOI MAYANG DEVELOPMENT | NORMAL | MALAYSIA | KAJANG | 2025-07-18 | 71.92 | 14.47 | 2.24 | 161.44 | 50628.77 | 2.24 | 9 | 2.7078 | 2.437 | UNDERPERFORMING | -17.28 | TRUE
LKW FROZEN SDN BHD | NORMAL | MALAYSIA | KAJANG | 2024-05-12 | 54.99 | 36.32 | 2.58 | 141.77 | 95197.93 | 2.58 | 9 | 2.7078 | 2.437 | NORMAL | -4.72 | FALSE
P.A. FOOD SDN. BHD. | NORMAL | MALAYSIA | KAJANG | 2024-05-07 | 25.155 | 21.26 | 2.91 | 73.09 | 63035.56 | 2.91 | 9 | 2.7078 | 2.437 | NORMAL | 7.47 | FALSE
UCS_BLOCK A | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 125 | 21.52 | 2.22 | 277.98 | 487902.79 | 2.22 | 9 | 2.7078 | 2.437 | UNDERPERFORMING | -18.01 | TRUE
UCS_BLOCK B | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 135 | 24.14 | 2.25 | 304.1 | 566074.71 | 2.25 | 9 | 2.7078 | 2.437 | UNDERPERFORMING | -16.91 | TRUE
UCS_BLOCK C | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 185.5 | 32.71 | 2.31 | 429 | 779732.25 | 2.31 | 9 | 2.7078 | 2.437 | UNDERPERFORMING | -14.69 | TRUE
FDP AND MTB INDUSTRIES SDN BHD | OFFLINE | MALAYSIA | KERLING | 2026-01-25 | 186 | 0 | 0 | 0 | 6803.17 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
AMT PC DISTRIBUTORS SDN. BHD. | NORMAL | MALAYSIA | KLANG | 2024-01-04 | 88.335 | 15.9 | 2.75 | 242.59 | 252692.14 | 2.75 | 35 | 2.3369 | 2.1032 | NORMAL | 17.68 | FALSE
ASHITA COMMUNICATION | OFFLINE | MALAYSIA | KLANG | 2025-11-03 | 91.76 | 0 | 0 | 0 | 0 | 0 | 35 | 2.3369 | 2.1032 | UNDERPERFORMING | -100 | TRUE
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 264.77 | 2.45 | 2230.11 | 181237.74 | 2.45 | 35 | 2.3369 | 2.1032 | NORMAL | 4.84 | FALSE
ADVANCE VI TECH LOT 1629 | OFFLINE | MALAYSIA | KLANG | 2024-10-27 | 240.13 | 0 | 2.33 | 558.96 | 399620.98 | 2.33 | 35 | 2.3369 | 2.1032 | NORMAL | -0.29 | FALSE
BUNCHO (M) SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-10-01 | 91.14 | 22.18 | 2.18 | 199.06 | 28760.49 | 2.18 | 35 | 2.3369 | 2.1032 | NORMAL | -6.71 | FALSE
HOON YUEN FURNITURE | NORMAL | MALAYSIA | KLANG | 2023-11-20 | 88.335 | 61.25 | 2.28 | 201.33 | 240068.74 | 2.28 | 35 | 2.3369 | 2.1032 | NORMAL | -2.43 | FALSE
KCCCI 2FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 4.13 | 0.94 | 3.13 | 12.91 | 5030 | 3.13 | 35 | 2.3369 | 2.1032 | NORMAL | 33.94 | FALSE
KCCCI FIRST FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 15.34 | 11.37 | 3.19 | 48.89 | 20306.78 | 3.19 | 35 | 2.3369 | 2.1032 | NORMAL | 36.51 | FALSE
KCCCI GROUND FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 3.54 | 0.87 | 2.95 | 10.45 | 4311.69 | 2.95 | 35 | 2.3369 | 2.1032 | NORMAL | 26.24 | FALSE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 19 | 0.53 | 126.9 | 222.76 | 0.53 | 35 | 2.3369 | 2.1032 | UNDERPERFORMING | -77.32 | TRUE
KAMMA KLANG ENTERPRISE | NORMAL | MALAYSIA | KLANG | 2023-03-28 | 88 | 15.66 | 2.56 | 225.37 | 330911.74 | 2.56 | 35 | 2.3369 | 2.1032 | NORMAL | 9.55 | FALSE
KWANG HUA PERSENDIRIAN METER 2-3-4-5-6 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 302.475 | 41.39 | 2.1 | 634.31 | 1102340.22 | 2.1 | 35 | 2.3369 | 2.1032 | UNDERPERFORMING | -10.14 | TRUE
LIAN TECK SENG LOT 11 | OFFLINE | MALAYSIA | KLANG | 2025-05-06 | 18.04 | 0 | 0 | 0 | 0 | 0 | 35 | 2.3369 | 2.1032 | UNDERPERFORMING | -100 | TRUE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 54.02 | 2.19 | 157.17 | 870.41 | 2.19 | 35 | 2.3369 | 2.1032 | NORMAL | -6.28 | FALSE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 2.28 | 0.24 | 12.29 | 78.83 | 0.24 | 35 | 2.3369 | 2.1032 | UNDERPERFORMING | -89.73 | TRUE
MEWAH OILS SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-12-01 | 220.1 | 165.3 | 2.44 | 536.31 | 11868.67 | 2.44 | 35 | 2.3369 | 2.1032 | NORMAL | 4.41 | FALSE
MIAW FRESH | NORMAL | MALAYSIA | KLANG | 2024-05-31 | 24.57 | 7.38 | 2.41 | 59.29 | 56224.27 | 2.41 | 35 | 2.3369 | 2.1032 | NORMAL | 3.13 | FALSE
MAXTWO ENGINEERING (FACTORY) | NORMAL | MALAYSIA | KLANG | 2025-04-21 | 35.38 | 25.3 | 2.59 | 91.8 | 33615.04 | 2.59 | 35 | 2.3369 | 2.1032 | NORMAL | 10.83 | FALSE
PKT THE SHIP | NORMAL | MALAYSIA | KLANG | 2025-01-21 | 1068.21 | 196.53 | 2.6 | 2779.85 | 1198559.34 | 2.6 | 35 | 2.3369 | 2.1032 | NORMAL | 11.26 | FALSE
ROYAL KLANG CLUB | NORMAL | MALAYSIA | KLANG | 2025-07-14 | 91.76 | 19.24 | 2.38 | 218.2 | 81342.11 | 2.38 | 35 | 2.3369 | 2.1032 | NORMAL | 1.85 | FALSE
RS POLY INDUSTRY | NORMAL | MALAYSIA | KLANG | 2024-08-02 | 727.155 | 276.18 | 2.14 | 1558.59 | 1392754.54 | 2.14 | 35 | 2.3369 | 2.1032 | NORMAL | -8.42 | FALSE
SIME KANSAI PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-09-17 | 123.825 | 25.31 | 2.69 | 332.82 | 93993.78 | 2.69 | 35 | 2.3369 | 2.1032 | NORMAL | 15.11 | FALSE
SJK (C) WU TECK | NORMAL | MALAYSIA | KLANG | 2025-12-25 | 71.92 | 51.8 | 3.29 | 236.85 | 34761.47 | 3.29 | 35 | 2.3369 | 2.1032 | NORMAL | 40.79 | FALSE
SJK （ C ） PIN HWA 1 | NORMAL | MALAYSIA | KLANG | 2025-09-23 | 183.52 | 34.62 | 3.14 | 577.09 | 99735.5 | 3.14 | 35 | 2.3369 | 2.1032 | NORMAL | 34.37 | FALSE
SM CHUNG CHUNG HUA (PSDN) KLANG | NORMAL | MALAYSIA | KLANG | 2022-02-14 | 420.195 | 80.01 | 2.84 | 1195.33 | 297199.54 | 2.84 | 35 | 2.3369 | 2.1032 | NORMAL | 21.53 | FALSE
SP LOGISTICS SDN BHD | NORMAL | MALAYSIA | KLANG | 2024-06-14 | 90.675 | 21.68 | 2.3 | 208.42 | 194693.99 | 2.3 | 35 | 2.3369 | 2.1032 | NORMAL | -1.58 | FALSE
TOMEI | NORMAL | MALAYSIA | KLANG | 2024-11-07 | 215.28 | 164.8 | 2.54 | 546.67 | 333127.43 | 2.54 | 35 | 2.3369 | 2.1032 | NORMAL | 8.69 | FALSE
TEMBIKAR WEI KHING | NORMAL | MALAYSIA | KLANG | 2025-01-27 | 977.22 | 232.19 | 2.28 | 2226.82 | 1073467.32 | 2.28 | 35 | 2.3369 | 2.1032 | NORMAL | -2.43 | FALSE
TONG SEH | NORMAL | MALAYSIA | KLANG | 2024-01-18 | 260.91 | 170.54 | 2.26 | 590.91 | 651612.98 | 2.26 | 35 | 2.3369 | 2.1032 | NORMAL | -3.29 | FALSE
UC BLASTING PAINTING | NORMAL | MALAYSIA | KLANG | 2024-05-08 | 219.96 | 66.99 | 2.92 | 642.41 | 550076.35 | 2.92 | 35 | 2.3369 | 2.1032 | NORMAL | 24.95 | FALSE
VINDA PHASE 4 (MSB 3-2) | NORMAL | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 563.44 | 3.39 | 7191.79 | 328043.84 | 3.39 | 35 | 2.3369 | 2.1032 | NORMAL | 45.07 | FALSE
VISKO INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KLANG | 2023-07-07 | 948.75 | 421.96 | 2.89 | 2742.37 | 3217653.34 | 2.89 | 35 | 2.3369 | 2.1032 | NORMAL | 23.67 | FALSE
VINDA PHASE 1 AND 2 (MSB 2) | NORMAL | MALAYSIA | KLANG | 2023-08-20 | 2561.65 | 570.72 | 2.43 | 6235.85 | 7105619.78 | 2.43 | 35 | 2.3369 | 2.1032 | NORMAL | 3.99 | FALSE
VINDA PHASE 3 (MSB 3-1) | NORMAL | MALAYSIA | KLANG | 2024-06-28 | 1502.28 | 329.68 | 2.75 | 4131.29 | 4682780.79 | 2.75 | 35 | 2.3369 | 2.1032 | NORMAL | 17.68 | FALSE
KWANG HUA PERSENDIRIAN METER 1 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 73.03 | 12.27 | 2.63 | 192.33 | 338425.72 | 2.63 | 35 | 2.3369 | 2.1032 | NORMAL | 12.54 | FALSE
APEX UNIPARTS | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 41.535 | 12.05 | 2.43 | 100.78 | 94132.27 | 2.43 | 3 | 2.4533 | 2.208 | NORMAL | -0.95 | FALSE
KLUANG COFFEE POWDER | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 25.135 | 8.01 | 2.41 | 60.53 | 62443.44 | 2.41 | 3 | 2.4533 | 2.208 | NORMAL | -1.77 | FALSE
SAWIPAC SDN BHD | NORMAL | MALAYSIA | KLUANG | 2025-09-04 | 44.28 | 22.52 | 2.52 | 111.64 | 31341.07 | 2.52 | 3 | 2.4533 | 2.208 | NORMAL | 2.72 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2025-02-22 | 25.83 | 17.59 | 3.66 | 94.46 | 39818.06 | 3.66 | 3 | 2.5233 | 2.271 | NORMAL | 45.05 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 1.53 | 2.01 | 17.75 | 11900.34 | 2.01 | 3 | 2.5233 | 2.271 | UNDERPERFORMING | -20.34 | TRUE
SWEE CHEONG WATCH SDN BHD (METER 2) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 1.3 | 1.9 | 16.79 | 11201.62 | 1.9 | 3 | 2.5233 | 2.271 | UNDERPERFORMING | -24.7 | TRUE
SUCCESS ELECTRONIC LOT 3 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-29 | 251.72 | 47.31 | 2.27 | 570.33 | 79245.47 | 2.27 | 2 | 2.255 | 2.0295 | NORMAL | 0.67 | FALSE
SUCCESS ELECTRONIC LOT 7 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-31 | 395.56 | 75.17 | 2.24 | 887.97 | 103155.07 | 2.24 | 2 | 2.255 | 2.0295 | NORMAL | -0.67 | FALSE
QL AGROFOOD SDN BHD | NORMAL | MALAYSIA | KOTA KINABALU | 2025-06-25 | 409.92 | 217.61 | 2.47 | 1011.39 | 271698.24 | 2.47 | 1 | 2.47 | 2.223 | NO COMPARISON REQUIRED | 0 | FALSE
KIARA BAY | NORMAL | MALAYSIA | KUALA LUMPUR | 2025-01-21 | 1004.18 | 735.03 | 2.73 | 2742.28 | 1323098.3 | 2.73 | 3 | 2.8 | 2.52 | NORMAL | -2.5 | FALSE
MENARA PJD | NORMAL | MALAYSIA | KUALA LUMPUR | 2024-05-18 | 80.145 | 61.46 | 2.93 | 234.8 | 151701.47 | 2.93 | 3 | 2.8 | 2.52 | NORMAL | 4.64 | FALSE
TOA PAINT KEPONG WAREHOUSE | NORMAL | MALAYSIA | KUALA LUMPUR | 2023-11-02 | 25.74 | 4.73 | 2.74 | 70.54 | 76080.27 | 2.74 | 3 | 2.8 | 2.52 | NORMAL | -2.14 | FALSE
QL ENDAU MARINE | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-08-01 | 430.28 | 60.12 | 0.98 | 419.75 | 461528.66 | 0.98 | 2 | 0.715 | 0.6435 | NORMAL | 37.06 | FALSE
TIMURIKAN TRENGGANU MARINE PRODUCTS SDN BHD | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-12-08 | 260.4 | 18.04 | 0.45 | 118.24 | 12915.89 | 0.45 | 2 | 0.715 | 0.6435 | UNDERPERFORMING | -37.06 | TRUE
AFI BRAKE MANUFACTURING SDN BHD | NORMAL | MALAYSIA | KUALA TERENGGANU | 2023-10-02 | 454.3 | 264.16 | 2.39 | 1086.47 | 1297125.81 | 2.39 | 3 | 1.5767 | 1.419 | NORMAL | 51.59 | FALSE
AFI METAL | NORMAL | MALAYSIA | KUALA TERENGGANU | 2024-03-14 | 55.35 | 32.88 | 2.34 | 129.62 | 121082.93 | 2.34 | 3 | 1.5767 | 1.419 | NORMAL | 48.41 | FALSE
REDANG LAGOON RESORT | OFFLINE | MALAYSIA | KUALA TERENGGANU | 2023-02-16 | 53.41 | 0 | 0 | 0 | 0 | 0 | 3 | 1.5767 | 1.419 | UNDERPERFORMING | -100 | TRUE
C0156_DENIM CODE | NORMAL | MALAYSIA | KULIM | 2022-09-04 | 86.445 | 21.57 | 2.75 | 237.62 | 372059.73 | 2.75 | 1 | 2.75 | 2.475 | NO COMPARISON REQUIRED | 0 | FALSE
ECO OILS - LAHAD DATU | NORMAL | MALAYSIA | LAHAD DATU | 2024-10-15 | 39.78 | 19.89 | 2.89 | 115 | 58340.08 | 2.89 | 1 | 2.89 | 2.601 | NO COMPARISON REQUIRED | 0 | FALSE
LUNAS JAYA PETROL SDN BHD | NORMAL | MALAYSIA | LUNAS | 2025-03-19 | 25.86 | 19.47 | 2.65 | 68.43 | 31724.06 | 2.65 | 1 | 2.65 | 2.385 | NO COMPARISON REQUIRED | 0 | FALSE
QL PAJAM PHASE 2 | NORMAL | MALAYSIA | MANTIN | 2025-08-05 | 566.68 | 401.31 | 2.97 | 1684.43 | 432457.88 | 2.97 | 1 | 2.97 | 2.673 | NO COMPARISON REQUIRED | 0 | FALSE
FIBERTEX PHASE 2 | NORMAL | MALAYSIA | NILAI | 2024-08-30 | 1251.704 | 267.01 | 3.97 | 4975.5 | 3063652.23 | 3.97 | 2 | 3.415 | 3.0735 | NORMAL | 16.25 | FALSE
WEIDA MARKETING SDN. BHD. | NORMAL | MALAYSIA | NILAI | 2022-12-01 | 500.31 | 317.97 | 2.86 | 1428.43 | 1682119.98 | 2.86 | 2 | 3.415 | 3.0735 | UNDERPERFORMING | -16.25 | TRUE
KLH SDN BHD | NORMAL | MALAYSIA | PADANG SERAI | 2024-09-05 | 265.005 | 175.26 | 2.98 | 790.99 | 438153.43 | 2.98 | 1 | 2.98 | 2.682 | NO COMPARISON REQUIRED | 0 | FALSE
QL AGROVENTURE | NORMAL | MALAYSIA | PAPAR | 2022-05-19 | 418.965 | 58.2 | 0.96 | 402.81 | 1340408.99 | 0.96 | 1 | 0.96 | 0.864 | NO COMPARISON REQUIRED | 0 | FALSE
ECOOILS (PHASE 2) - P.GUDANG | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-13 | 38.61 | 8.99 | 1.37 | 52.73 | 40237.68 | 1.37 | 4 | 1.3625 | 1.2263 | NORMAL | 0.55 | FALSE
IOI PAN - CENTURY | NORMAL | MALAYSIA | PASIR GUDANG | 2023-05-31 | 116.815 | 33.14 | 2.21 | 257.89 | 269272.75 | 2.21 | 4 | 1.3625 | 1.2263 | NORMAL | 62.2 | FALSE
KISWIRE CORD PHASE 1 (DATA) | OFFLINE | MALAYSIA | PASIR GUDANG | 2023-10-24 | 1248.5 | 0 | 0 | 0 | 0 | 0 | 4 | 1.3625 | 1.2263 | UNDERPERFORMING | -100 | TRUE
KISWIRE CORD SDN BHD | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-03 | 4732.09 | 1059.52 | 1.87 | 8835.44 | 4911642.03 | 1.87 | 4 | 1.3625 | 1.2263 | NORMAL | 37.25 | FALSE
KB AIS SDN. BHD. | NORMAL | MALAYSIA | PASIR MAS | 2022-07-23 | 49.05 | 23.76 | 2.61 | 128.11 | 230913.19 | 2.61 | 1 | 2.61 | 2.349 | NO COMPARISON REQUIRED | 0 | FALSE
BRC INDUSTRIES | NORMAL | MALAYSIA | PENANG | 2024-05-26 | 162.63 | 113.36 | 2.43 | 394.58 | 393806.34 | 2.43 | 3 | 2.2533 | 2.028 | NORMAL | 7.84 | FALSE
LEAN GIAP ENTERPRISE SDN BHD | NORMAL | MALAYSIA | PENANG | 2024-03-13 | 7.02 | 4.65 | 2.17 | 15.21 | 19524.56 | 2.17 | 3 | 2.2533 | 2.028 | NORMAL | -3.7 | FALSE
PKT 12 WAVES | NORMAL | MALAYSIA | PENANG | 2025-02-05 | 1337.31 | 529.27 | 2.16 | 2887.49 | 1302837.44 | 2.16 | 3 | 2.2533 | 2.028 | NORMAL | -4.14 | FALSE
PENGERANG INDEPENDENT TERMINAL | FAULTY | MALAYSIA | PENGERANG | 2024-10-24 | 718.965 | 389.8 | 2.94 | 2114.06 | 1193914.11 | 2.94 | 1 | 2.94 | 2.646 | NO COMPARISON REQUIRED | 0 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 2) | NORMAL | MALAYSIA | PENGKALAN CHEPA | 2025-02-20 | 25.83 | 19.48 | 2.79 | 71.94 | 41579.99 | 2.79 | 1 | 2.79 | 2.511 | NO COMPARISON REQUIRED | 0 | FALSE
DURASAFE SDN. BHD. | NORMAL | MALAYSIA | PERAI | 2024-12-02 | 91.5 | 46.75 | 2.42 | 221.17 | 172752.3 | 2.42 | 3 | 2.3033 | 2.073 | NORMAL | 5.07 | FALSE
MULTI CHOICE (M) SDN BHD | NORMAL | MALAYSIA | PERAI | 2025-10-26 | 423.46 | 91.86 | 2.24 | 947.51 | 180872.15 | 2.24 | 3 | 2.3033 | 2.073 | NORMAL | -2.75 | FALSE
TEONG HUAT MEDICAL | NORMAL | MALAYSIA | PERAI | 2025-11-26 | 349.32 | 110.44 | 2.25 | 784.72 | 80688.54 | 2.25 | 3 | 2.3033 | 2.073 | NORMAL | -2.32 | FALSE
GEMILITE SDN BERHAD | NORMAL | MALAYSIA | PETALING JAYA | 2025-02-20 | 39.36 | 7.73 | 2.58 | 101.67 | 51737.79 | 2.58 | 3 | 1.4667 | 1.32 | NORMAL | 75.91 | FALSE
MENARA PKNS PJ | OFFLINE | MALAYSIA | PETALING JAYA | 2026-02-11 | 112.32 | 0 | 0 | 0 | 2181.01 | 0 | 3 | 1.4667 | 1.32 | UNDERPERFORMING | -100 | TRUE
SUCCESS ELECTRONIC LOT 5 | NORMAL | MALAYSIA | PETALING JAYA | 2025-12-29 | 80.6 | 15.01 | 1.82 | 146.97 | 17425.72 | 1.82 | 3 | 1.4667 | 1.32 | NORMAL | 24.09 | FALSE
FUNGICULTURE | NORMAL | MALAYSIA | PORT KLANG | 2023-06-10 | 262.515 | 34.56 | 2.49 | 652.57 | 958525.36 | 2.49 | 6 | 2.3583 | 2.1225 | NORMAL | 5.58 | FALSE
JY1 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-06 | 259.42 | 59.57 | 2.36 | 612.5 | 977916.84 | 2.36 | 6 | 2.3583 | 2.1225 | NORMAL | 0.07 | FALSE
JY1(PHASE 2) | NORMAL | MALAYSIA | PORT KLANG | 2025-10-07 | 140.74 | 29.35 | 2.33 | 328.18 | 103286.96 | 2.33 | 6 | 2.3583 | 2.1225 | NORMAL | -1.2 | FALSE
JY2 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-10 | 397.305 | 84.8 | 2.36 | 939.15 | 1473730.88 | 2.36 | 6 | 2.3583 | 2.1225 | NORMAL | 0.07 | FALSE
JAYA NETS | NORMAL | MALAYSIA | PORT KLANG | 2024-07-15 | 99 | 58.46 | 2.1 | 207.63 | 201834.69 | 2.1 | 6 | 2.3583 | 2.1225 | UNDERPERFORMING | -10.95 | TRUE
SJK (C) TSHING NIAN | NORMAL | MALAYSIA | PORT KLANG | 2026-02-02 | 48.36 | 7.56 | 2.51 | 121.35 | 11220.18 | 2.51 | 6 | 2.3583 | 2.1225 | NORMAL | 6.43 | FALSE
AMEBA MGMT | NORMAL | MALAYSIA | PUCHONG | 2024-01-30 | 18.72 | 14.83 | 2.46 | 45.97 | 35085.58 | 2.46 | 6 | 2.2233 | 2.001 | NORMAL | 10.64 | FALSE
IOI MALL PUCHONG (NEW WING) | NORMAL | MALAYSIA | PUCHONG | 2025-01-14 | 544.275 | 376.96 | 2.87 | 1560.51 | 879016.1 | 2.87 | 6 | 2.2233 | 2.001 | NORMAL | 29.09 | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | OFFLINE | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 0 | 0 | 0 | 174530.9 | 0 | 6 | 2.2233 | 2.001 | UNDERPERFORMING | -100 | TRUE
IOI MALL PUCHONG (OLD WING) | NORMAL | MALAYSIA | PUCHONG | 2025-04-25 | 2193.09 | 1498.8 | 2.67 | 5847.39 | 2316782.05 | 2.67 | 6 | 2.2233 | 2.001 | NORMAL | 20.09 | FALSE
MCC TECHNIQUE SDN BHD LOT 10 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 6.11 | 2.72 | 84.17 | 23104.24 | 2.72 | 6 | 2.2233 | 2.001 | NORMAL | 22.34 | FALSE
MCC TECHNIQUE SDN BHD LOT 12 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 6.15 | 2.62 | 81.19 | 22803.96 | 2.62 | 6 | 2.2233 | 2.001 | NORMAL | 17.84 | FALSE
BREMFIELD SDN BHD | NORMAL | MALAYSIA | PULAU INDAH | 2024-05-02 | 150.93 | 43.61 | 2.54 | 384.09 | 388546.04 | 2.54 | 3 | 2.2667 | 2.04 | NORMAL | 12.06 | FALSE
C0149_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-18 | 25.175 | 3.26 | 2.22 | 55.78 | 91896.05 | 2.22 | 3 | 2.2667 | 2.04 | NORMAL | -2.06 | FALSE
C150_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-17 | 72.2 | 9.65 | 2.04 | 147.47 | 312834.71 | 2.04 | 3 | 2.2667 | 2.04 | UNDERPERFORMING | -10 | TRUE
FUJI M1 | NORMAL | MALAYSIA | PUNCAK ALAM | 2023-12-23 | 265.005 | 60.62 | 2.32 | 613.75 | 729631.99 | 2.32 | 4 | 2.4425 | 2.1982 | NORMAL | -5.02 | FALSE
FUJI M2 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-04-18 | 264.42 | 63.33 | 2.46 | 650.07 | 576764.56 | 2.46 | 4 | 2.4425 | 2.1982 | NORMAL | 0.72 | FALSE
FUJI M3 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-02-04 | 264.89 | 66.31 | 2.11 | 558.23 | 399207.05 | 2.11 | 4 | 2.4425 | 2.1982 | UNDERPERFORMING | -13.61 | TRUE
FUJI M4 | NORMAL | MALAYSIA | PUNCAK ALAM | 2025-12-12 | 133.92 | 37.14 | 2.88 | 385.99 | 62269.67 | 2.88 | 4 | 2.4425 | 2.1982 | NORMAL | 17.91 | FALSE
IOI CITY MALL INC. FEEDER 1 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 3049.605 | 578.5 | 2.8 | 8530.83 | 5580903.24 | 2.8 | 3 | 2.76 | 2.484 | NORMAL | 1.45 | FALSE
IOI CITY MALL INC. FEEDER 2 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 1019.07 | 198.74 | 2.79 | 2848.14 | 1702643.01 | 2.79 | 3 | 2.76 | 2.484 | NORMAL | 1.09 | FALSE
IOI RESORT VILLA GOLF COURSE | NORMAL | MALAYSIA | PUTRAJAYA | 2024-03-12 | 250.38 | 46.87 | 2.69 | 672.32 | 474865.94 | 2.69 | 3 | 2.76 | 2.484 | NORMAL | -2.54 | FALSE
MARINE GOLD SDN BHD | OFFLINE | MALAYSIA | RAWANG | 2023-10-28 | 148.5 | 0 | 0 | 0 | 0 | 0 | 6 | 2.1917 | 1.9725 | UNDERPERFORMING | -100 | TRUE
SCENT PUR MANUFACTURING SDN BHD NO.35 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 8.87 | 2.96 | 36.71 | 26525.55 | 2.96 | 6 | 2.1917 | 1.9725 | NORMAL | 35.06 | FALSE
SCENT PUR MANUFACTURING SDN BHD NO.37 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 8.78 | 2.92 | 36.19 | 26304.3 | 2.92 | 6 | 2.1917 | 1.9725 | NORMAL | 33.23 | FALSE
WCS UNIT 6 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 21.06 | 13 | 2.35 | 49.51 | 52226.6 | 2.35 | 6 | 2.1917 | 1.9725 | NORMAL | 7.22 | FALSE
WCS UNIT 7 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 16.38 | 9.8 | 2.38 | 38.99 | 41168.3 | 2.38 | 6 | 2.1917 | 1.9725 | NORMAL | 8.59 | FALSE
WCS_HOME | NORMAL | MALAYSIA | RAWANG | 2024-09-13 | 8.85 | 6 | 2.54 | 22.48 | 16864.09 | 2.54 | 6 | 2.1917 | 1.9725 | NORMAL | 15.89 | FALSE
BM COCO MARKETING | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 3.08 | 2.11 | 53.92 | 75306.62 | 2.11 | 3 | 2.22 | 1.998 | NORMAL | -4.95 | FALSE
BM COCO PALM | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 2.99 | 2.09 | 53.38 | 79842 | 2.09 | 3 | 2.22 | 1.998 | NORMAL | -5.86 | FALSE
CHONG HWA SBR RENGIT | NORMAL | MALAYSIA | RENGIT | 2024-05-28 | 25.155 | 3.45 | 2.46 | 61.78 | 56261.96 | 2.46 | 3 | 2.22 | 1.998 | NORMAL | 10.81 | FALSE
SUPERCOWBOY (SEGAMAT) | NORMAL | MALAYSIA | SEGAMAT | 2025-07-23 | 250.75 | 16 | 2.8 | 701.1 | 249329.64 | 2.8 | 1 | 2.8 | 2.52 | NO COMPARISON REQUIRED | 0 | FALSE
DONG SING FOOD LINK SDN BHD | FAULTY | MALAYSIA | SEMENYIH | 2025-12-08 | 71.92 | 0 | 1.35 | 97.31 | 27307.04 | 1.35 | 8 | 2.8963 | 2.6066 | UNDERPERFORMING | -53.39 | TRUE
FOX ONE MARKETING SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-01-06 | 91.5 | 15.03 | 2.54 | 232.25 | 113034.08 | 2.54 | 8 | 2.8963 | 2.6066 | UNDERPERFORMING | -12.3 | TRUE
P.A FOOD SDN BHD 2ATKT | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 47.97 | 7.61 | 2.94 | 140.88 | 95142.83 | 2.94 | 8 | 2.8963 | 2.6066 | NORMAL | 1.51 | FALSE
P.A FOOD SDN BHD LOT 10 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 52.65 | 36.24 | 3.38 | 177.73 | 99718.29 | 3.38 | 8 | 2.8963 | 2.6066 | NORMAL | 16.7 | FALSE
P.A FOOD SDN BHD LOT 12 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 51.48 | 36.66 | 2.98 | 153.65 | 91088.84 | 2.98 | 8 | 2.8963 | 2.6066 | NORMAL | 2.89 | FALSE
P.A. FOOD WAREHOUSE NO. 9 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-28 | 21.06 | 3.15 | 2.99 | 63.01 | 40369.91 | 2.99 | 8 | 2.8963 | 2.6066 | NORMAL | 3.24 | FALSE
YAN JIAN 2 | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 63.86 | 48.91 | 3.7 | 236.42 | 51246.21 | 3.7 | 8 | 2.8963 | 2.6066 | NORMAL | 27.75 | FALSE
YAN JIAN 2A | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 74.4 | 57.35 | 3.29 | 244.63 | 69685.26 | 3.29 | 8 | 2.8963 | 2.6066 | NORMAL | 13.6 | FALSE
LYBASE SDN BHD | NORMAL | MALAYSIA | SENAI | 2024-11-04 | 400.14 | 51.04 | 2.12 | 849.31 | 402842.58 | 2.12 | 2 | 1.955 | 1.7595 | NORMAL | 8.44 | FALSE
SUPERMICRO COMPUTER SDN BHD | NORMAL | MALAYSIA | SENAI | 2025-08-16 | 2550.85 | 325.09 | 1.79 | 4566.96 | 1544270.46 | 1.79 | 2 | 1.955 | 1.7595 | NORMAL | -8.44 | FALSE
ENGE PLAS | NORMAL | MALAYSIA | SENAWANG | 2024-12-10 | 302.4 | 195.87 | 2.14 | 646.76 | 449534.02 | 2.14 | 1 | 2.14 | 1.926 | NO COMPARISON REQUIRED | 0 | FALSE
CIC CONTRACT SDN BHD | NORMAL | MALAYSIA | SERI KEMBANGAN | 2023-12-14 | 20.475 | 3.99 | 2.63 | 53.78 | 58481.32 | 2.63 | 1 | 2.63 | 2.367 | NO COMPARISON REQUIRED | 0 | FALSE
BJC FOOD (MALAYSIA) SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2023-01-10 | 320.46 | 196.34 | 1.77 | 567.97 | 1093840.35 | 1.77 | 14 | 2.845 | 2.5605 | UNDERPERFORMING | -37.79 | TRUE
KUASA BAKTI (PETRON SETIA ALAM) | NORMAL | MALAYSIA | SHAH ALAM | 2025-08-27 | 44.64 | 13.55 | 2.85 | 127.14 | 27758.55 | 2.85 | 14 | 2.845 | 2.5605 | NORMAL | 0.18 | FALSE
MARBACH ASIA PACIFIC LOT17 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.02 | 12 | 2.81 | 140.39 | 76102.04 | 2.81 | 14 | 2.845 | 2.5605 | NORMAL | -1.23 | FALSE
MARBACH ASIA PACIFIC LOT 15 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.05 | 12.29 | 3.02 | 151.22 | 78654.39 | 3.02 | 14 | 2.845 | 2.5605 | NORMAL | 6.15 | FALSE
MITSUI COPPER FOIL P3 | NORMAL | MALAYSIA | SHAH ALAM | 2025-06-26 | 706.33 | 552.89 | 2.99 | 2109.95 | 704700.14 | 2.99 | 14 | 2.845 | 2.5605 | NORMAL | 5.1 | FALSE
NEW AGE 160 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-17 | 166.67 | 131.18 | 3.03 | 505.36 | 274700.59 | 3.03 | 14 | 2.845 | 2.5605 | NORMAL | 6.5 | FALSE
NEW AGE 510 | NORMAL | MALAYSIA | SHAH ALAM | 2024-11-18 | 127.92 | 94.65 | 3.13 | 400.65 | 243992.46 | 3.13 | 14 | 2.845 | 2.5605 | NORMAL | 10.02 | FALSE
PKT 8 WAVES | NORMAL | MALAYSIA | SHAH ALAM | 2024-08-13 | 176.67 | 58.12 | 3.27 | 578.13 | 249707.83 | 3.27 | 14 | 2.845 | 2.5605 | NORMAL | 14.94 | FALSE
QL MAXINCOME | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-05 | 79.3 | 58.12 | 2.96 | 234.84 | 107274.47 | 2.96 | 14 | 2.845 | 2.5605 | NORMAL | 4.04 | FALSE
QL LOT 14 | NORMAL | MALAYSIA | SHAH ALAM | 2025-02-24 | 61.61 | 43.05 | 2.96 | 182.59 | 80919.69 | 2.96 | 14 | 2.845 | 2.5605 | NORMAL | 4.04 | FALSE
QL LOT 16 | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-01 | 64.05 | 46.02 | 2.93 | 187.81 | 82657.04 | 2.93 | 14 | 2.845 | 2.5605 | NORMAL | 2.99 | FALSE
SAN SOON SENG FOOD INDUSTRIES SDN BHD | NORMAL | MALAYSIA | SHAH ALAM | 2025-10-02 | 1292.7 | 406.03 | 2.95 | 3817.6 | 658239.19 | 2.95 | 14 | 2.845 | 2.5605 | NORMAL | 3.69 | FALSE
SUCCESFUEL SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2024-10-22 | 90.86 | 22.65 | 2.83 | 257.02 | 156117 | 2.83 | 14 | 2.845 | 2.5605 | NORMAL | -0.53 | FALSE
THOR SPECIALTIES | NORMAL | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 67.84 | 2.33 | 212.55 | 1447.06 | 2.33 | 14 | 2.845 | 2.5605 | UNDERPERFORMING | -18.1 | TRUE
FURUTEC | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-07-06 | 132.21 | 73.37 | 2.37 | 312.8 | 289723.22 | 2.37 | 3 | 2.3933 | 2.154 | NORMAL | -0.97 | FALSE
PERBADANAN PENGURUSAN VILLA RAINTREE II | NORMAL | MALAYSIA | SIMPANG AMPAT | 2025-04-18 | 25.83 | 19.43 | 2.46 | 63.62 | 34881.2 | 2.46 | 3 | 2.3933 | 2.154 | NORMAL | 2.79 | FALSE
THP MEDICAL | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-01-08 | 377.325 | 264.35 | 2.35 | 886.22 | 1148930.4 | 2.35 | 3 | 2.3933 | 2.154 | NORMAL | -1.81 | FALSE
JEBSEN AND JESSEN MALAYSIA SDN BHD (MHE) | NORMAL | MALAYSIA | SIMPANG RENGGAM | 2025-05-24 | 184.76 | 53.63 | 3.08 | 568.89 | 155959.2 | 3.08 | 1 | 3.08 | 2.772 | NO COMPARISON REQUIRED | 0 | FALSE
ATS AIR SOLUTION | NORMAL | MALAYSIA | SUBANG JAYA | 2024-02-08 | 22.23 | 15.73 | 2.78 | 61.8 | 58332.3 | 2.78 | 2 | 2.59 | 2.331 | NORMAL | 7.34 | FALSE
BOILERMECH LOT 873 | NORMAL | MALAYSIA | SUBANG JAYA | 2025-09-15 | 280.5 | 206.83 | 2.4 | 672.97 | 150169.03 | 2.4 | 2 | 2.59 | 2.331 | NORMAL | -7.34 | FALSE
KILANG BATU BATA | NORMAL | MALAYSIA | SUNGAI SIPUT | 2025-06-27 | 545.505 | 351.44 | 2.62 | 1429.25 | 503784.76 | 2.62 | 1 | 2.62 | 2.358 | NO COMPARISON REQUIRED | 0 | FALSE
FARM FRESH TAIPING (FACTORY) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 190.125 | 134.24 | 3.09 | 588.07 | 467556.31 | 3.09 | 3 | 3.0167 | 2.715 | NORMAL | 2.43 | FALSE
FARM FRESH TAIPING (FARM) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 335.79 | 224.85 | 2.9 | 974.43 | 713393.84 | 2.9 | 3 | 3.0167 | 2.715 | NORMAL | -3.87 | FALSE
QL FOODS | NORMAL | MALAYSIA | TAIPING | 2024-10-03 | 1704.105 | 514.93 | 3.06 | 5214.92 | 3349057.5 | 3.06 | 3 | 3.0167 | 2.715 | NORMAL | 1.44 | FALSE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 0 | 0 | 0 | 232.17 | 354.01 | 0 | 5 | 1.24 | 1.116 | UNDERPERFORMING | -100 | TRUE
QL TAWAU FEEDMILL | NORMAL | MALAYSIA | TAWAU | 2025-11-05 | 317.2 | 187.81 | 3.23 | 1023.34 | 45085.93 | 3.23 | 5 | 1.24 | 1.116 | NORMAL | 160.48 | FALSE
SABAH CHINESE HIGH SCHOOL (CANTEEN) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 26.91 | 4.82 | 1.3 | 35.11 | 12888.76 | 1.3 | 5 | 1.24 | 1.116 | NORMAL | 4.84 | FALSE
SABAH CHINESE HIGH SCHOOL (CULTURE AND EDUCATION) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.768 | 54.09 | 1.67 | 158.53 | 32099.38 | 1.67 | 5 | 1.24 | 1.116 | NORMAL | 34.68 | FALSE
SABAH CHINESE HIGH SCHOOL (TAK YUEN BUILDING) | OFFLINE | MALAYSIA | TAWAU | 2024-02-08 | 94.77 | 0 | 0 | 0 | 69019.19 | 0 | 5 | 1.24 | 1.116 | UNDERPERFORMING | -100 | TRUE
CHAN KAH WHYE | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-01-20 | 14.75 | 10.74 | 2.88 | 42.53 | 21407.52 | 2.88 | 3 | 1.5867 | 1.428 | NORMAL | 81.51 | FALSE
DSG MALAYSIA SDN. BHD | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2022-11-24 | 2310.255 | 285.69 | 1.88 | 4351.11 | 6278118.97 | 1.88 | 3 | 1.5867 | 1.428 | NORMAL | 18.49 | FALSE
LAM SOON EDIBLE OILS | OFFLINE | MALAYSIA | TELOK PANGLIMA GARANG | 2025-07-04 | 86.8 | 0 | 0 | 0 | 99007.75 | 0 | 3 | 1.5867 | 1.428 | UNDERPERFORMING | -100 | TRUE
LAU AND TAN PHARMACY (1ST FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 12.375 | 0.68 | 0.45 | 5.52 | 48333.48 | 0.45 | 2 | 1.01 | 0.909 | UNDERPERFORMING | -55.45 | TRUE
LAU AND TAN PHARMACY (G.FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 38.115 | 11.96 | 1.57 | 59.79 | 177711.83 | 1.57 | 2 | 1.01 | 0.909 | NORMAL | 55.45 | FALSE
WASCO PIPE SDN BHD (COATING) | OFFLINE | MALAYSIA | TUARAN | 2026-02-12 | 350.92 | 0 | 0 | 0 | 1450.14 | 0 | 2 | 0 | 0 | NORMAL |  | FALSE
WASCO PIPE SDN BHD (MILL) | OFFLINE | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 0 | 0 | 5.05 | 0 | 2 | 0 | 0 | NORMAL |  | FALSE