## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
TS UNITED METAL | NORMAL | MALAYSIA | ALOR GAJAH | 2024-05-16 | 25.155 | 0.91 | 2.85 | 71.77 | 68893.01 | 2.85 | 1 | 2.85 | 2.565 | NO COMPARISON REQUIRED | 0 | FALSE
BIMB BDR PENAWAR - 1ST FLOOR | OFFLINE | MALAYSIA | BANDAR PENAWAR | 2025-04-28 | 15.47 | 0 | 0 | 0 | 48.19 | 0 | 2 | 1.765 | 1.5885 | UNDERPERFORMING | -100 | TRUE
BIMB BDR PENAWAR - G FLOOR | NORMAL | MALAYSIA | BANDAR PENAWAR | 2025-04-29 | 15.47 | 9.59 | 3.53 | 54.54 | 857.17 | 3.53 | 2 | 1.765 | 1.5885 | NORMAL | 100 | FALSE
KOMPLEX PKNS BANGI | NORMAL | MALAYSIA | BANGI | 2024-09-04 | 379.08 | 140.93 | 2.12 | 804.34 | 433061.68 | 2.12 | 1 | 2.12 | 1.908 | NO COMPARISON REQUIRED | 0 | FALSE
JIANN LIH SAFETY PRODUCT | NORMAL | MALAYSIA | BANTING | 2024-03-21 | 475.605 | 176.06 | 3.59 | 1705.16 | 806187.29 | 3.59 | 1 | 3.59 | 3.231 | NO COMPARISON REQUIRED | 0 | FALSE
C0102_QL BATANG KALI | NORMAL | MALAYSIA | BATANG KALI | 2022-02-24 | 526 | 718.35 | 6.81 | 3582.46 | 2903118.48 | 6.81 | 1 | 6.81 | 6.129 | NO COMPARISON REQUIRED | 0 | FALSE
BP PLASTICS BP9 | NORMAL | MALAYSIA | BATU PAHAT | 2025-07-22 | 2979.1 | 429.59 | 2.69 | 8003.73 | 3175141.58 | 2.69 | 3 | 2.5867 | 2.328 | NORMAL | 3.99 | FALSE
BP PLASTICS HQ | OFFLINE | MALAYSIA | BATU PAHAT | 2025-01-16 | 1063.425 | 0 | 2.63 | 2801.27 | 1784762.97 | 2.63 | 3 | 2.5867 | 2.328 | NORMAL | 1.68 | FALSE
CK PACKAGING AND PLASTIC INDUSTRIES | NORMAL | MALAYSIA | BATU PAHAT | 2026-01-19 | 138.88 | 13.4 | 2.44 | 339.28 | 53396.52 | 2.44 | 3 | 2.5867 | 2.328 | NORMAL | -5.67 | FALSE
GUH METER 1 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 210.6 | 154.22 | 3.41 | 718.6 | 528695.35 | 3.41 | 3 | 3.3167 | 2.985 | NORMAL | 2.81 | FALSE
GUH METER 2 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 278.46 | 195.08 | 3.28 | 914.36 | 658377.3 | 3.28 | 3 | 3.3167 | 2.985 | NORMAL | -1.11 | FALSE
GUH METER 3 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-05-04 | 534.69 | 370.37 | 3.26 | 1742.04 | 1298206.13 | 3.26 | 3 | 3.3167 | 2.985 | NORMAL | -1.71 | FALSE
TELEWIRING | NORMAL | MALAYSIA | CHENG | 2024-05-16 | 25.155 | 1.2 | 2.49 | 62.55 | 65279.68 | 2.49 | 1 | 2.49 | 2.241 | NO COMPARISON REQUIRED | 0 | FALSE
C0176_GETHA | NORMAL | MALAYSIA | CHERAS | 2023-03-01 | 178.215 | 117.74 | 3.2 | 569.41 | 590961.66 | 3.2 | 1 | 3.2 | 2.88 | NO COMPARISON REQUIRED | 0 | FALSE
C0172_ATRIA NORTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 130.8 | 88.38 | 3.23 | 422.72 | 387545.54 | 3.23 | 3 | 3.4967 | 3.147 | NORMAL | -7.63 | FALSE
C0172_ATRIA SOUTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 287.76 | 72.89 | 3.34 | 961.14 | 848734.06 | 3.34 | 3 | 3.4967 | 3.147 | NORMAL | -4.48 | FALSE
RESTORAN CHIMAEK (KFRY) | NORMAL | MALAYSIA | DAMANSARA | 2024-10-25 | 24.4 | 17.06 | 3.92 | 95.65 | 47764.94 | 3.92 | 3 | 3.4967 | 3.147 | NORMAL | 12.11 | FALSE
QL ENDAU DEEP SEA FISHING | NORMAL | MALAYSIA | ENDAU | 2025-09-04 | 897.76 | 538.57 | 3.91 | 3512.13 | 605544.05 | 3.91 | 1 | 3.91 | 3.519 | NO COMPARISON REQUIRED | 0 | FALSE
PROGUARD SAFETY MANUFACTURING SDN BHD | NORMAL | MALAYSIA | HULU LANGAT | 2022-12-30 | 202.195 | 119.46 | 2.33 | 470.37 | 569722.62 | 2.33 | 1 | 2.33 | 2.097 | NO COMPARISON REQUIRED | 0 | FALSE
GLASS PLASTIC PACKAGING | NORMAL | MALAYSIA | IPOH | 2025-04-19 | 704.94 | 12.86 | 2.71 | 1910.01 | 852362.83 | 2.71 | 3 | 2.9433 | 2.649 | NORMAL | -7.93 | FALSE
SWH INDUSTRIES (PLOT 132113) | NORMAL | MALAYSIA | IPOH | 2024-05-21 | 752.98 | 3.62 | 3.16 | 2378.4 | 1706011.67 | 3.16 | 3 | 2.9433 | 2.649 | NORMAL | 7.36 | FALSE
SWH INDUSTRIES (PLOT6311) | NORMAL | MALAYSIA | IPOH | 2025-01-15 | 204.96 | 7.91 | 2.96 | 606.22 | 331232.92 | 2.96 | 3 | 2.9433 | 2.649 | NORMAL | 0.57 | FALSE
PLEASURE LATEX | NORMAL | MALAYSIA | JERAM | 2023-07-25 | 520.3 | 345.39 | 3.01 | 1566.85 | 1727474.45 | 3.01 | 2 | 1.505 | 1.3545 | NORMAL | 100 | FALSE
PLEASURE LATEX PHASE 2 | OFFLINE | MALAYSIA | JERAM | 2024-12-20 | 1010.295 | 0 | 0 | 0 | 0 | 0 | 2 | 1.505 | 1.3545 | UNDERPERFORMING | -100 | TRUE
FOX ONE LOT 14 | NORMAL | MALAYSIA | KAJANG | 2025-08-13 | 91.76 | 69.32 | 3.77 | 345.78 | 63100.53 | 3.77 | 9 | 2.2978 | 2.068 | NORMAL | 64.07 | FALSE
FOX ONE LOT 8 | NORMAL | MALAYSIA | KAJANG | 2026-01-28 | 91.76 | 71.65 | 3.9 | 358.11 | 24448.93 | 3.9 | 9 | 2.2978 | 2.068 | NORMAL | 69.73 | FALSE
IOI KNOWLEDGE VISION SDN BHD | NORMAL | MALAYSIA | KAJANG | 2025-06-19 | 71.92 | 52.57 | 3.83 | 275.26 | 80368.74 | 3.83 | 9 | 2.2978 | 2.068 | NORMAL | 66.68 | FALSE
IOI MAYANG DEVELOPMENT | NORMAL | MALAYSIA | KAJANG | 2025-07-18 | 71.92 | 36.08 | 2.72 | 195.3 | 51349.27 | 2.72 | 9 | 2.2978 | 2.068 | NORMAL | 18.38 | FALSE
LKW FROZEN SDN BHD | NORMAL | MALAYSIA | KAJANG | 2024-05-12 | 54.99 | 32.9 | 3.22 | 176.84 | 95805.07 | 3.22 | 9 | 2.2978 | 2.068 | NORMAL | 40.14 | FALSE
P.A. FOOD SDN. BHD. | NORMAL | MALAYSIA | KAJANG | 2024-05-07 | 25.155 | 19.28 | 3.24 | 81.56 | 63358.88 | 3.24 | 9 | 2.2978 | 2.068 | NORMAL | 41.01 | FALSE
UCS_BLOCK A | OFFLINE | MALAYSIA | KAJANG | 2022-07-24 | 125 | 0 | 0 | 0 | 488881.12 | 0 | 9 | 2.2978 | 2.068 | UNDERPERFORMING | -100 | TRUE
UCS_BLOCK B | FAULTY | MALAYSIA | KAJANG | 2022-07-24 | 135 | 0 | 0 | 0 | 567206.12 | 0 | 9 | 2.2978 | 2.068 | UNDERPERFORMING | -100 | TRUE
UCS_BLOCK C | FAULTY | MALAYSIA | KAJANG | 2022-07-24 | 185.5 | 0 | 0 | 0 | 781235.44 | 0 | 9 | 2.2978 | 2.068 | UNDERPERFORMING | -100 | TRUE
FDP AND MTB INDUSTRIES SDN BHD | OFFLINE | MALAYSIA | KERLING | 2026-01-25 | 186 | 0 | 0 | 0 | 6803.17 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
AMT PC DISTRIBUTORS SDN. BHD. | NORMAL | MALAYSIA | KLANG | 2024-01-04 | 88.335 | 61.39 | 3.32 | 293.03 | 253757.61 | 3.32 | 35 | 2.7083 | 2.4375 | NORMAL | 22.59 | FALSE
ASHITA COMMUNICATION | OFFLINE | MALAYSIA | KLANG | 2025-11-03 | 91.76 | 0 | 0 | 0 | 0 | 0 | 35 | 2.7083 | 2.4375 | UNDERPERFORMING | -100 | TRUE
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 633.46 | 3.23 | 2937.68 | 192533.84 | 3.23 | 35 | 2.7083 | 2.4375 | NORMAL | 19.26 | FALSE
ADVANCE VI TECH LOT 1629 | OFFLINE | MALAYSIA | KLANG | 2024-10-27 | 240.13 | 0 | 2.62 | 628.74 | 402311.48 | 2.62 | 35 | 2.7083 | 2.4375 | NORMAL | -3.26 | FALSE
BUNCHO (M) SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-10-01 | 91.14 | 68.61 | 3.11 | 283.43 | 29881.47 | 3.11 | 35 | 2.7083 | 2.4375 | NORMAL | 14.83 | FALSE
HOON YUEN FURNITURE | NORMAL | MALAYSIA | KLANG | 2023-11-20 | 88.335 | 50.93 | 3.05 | 269.13 | 241088.42 | 3.05 | 35 | 2.7083 | 2.4375 | NORMAL | 12.62 | FALSE
KCCCI 2FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 4.13 | 1.1 | 3 | 12.38 | 5076.68 | 3 | 35 | 2.7083 | 2.4375 | NORMAL | 10.77 | FALSE
KCCCI FIRST FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 15.34 | 6.76 | 2.97 | 45.59 | 20481.84 | 2.97 | 35 | 2.7083 | 2.4375 | NORMAL | 9.66 | FALSE
KCCCI GROUND FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 3.54 | 0.98 | 2.81 | 9.96 | 4351.4 | 2.81 | 35 | 2.7083 | 2.4375 | NORMAL | 3.76 | FALSE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 38.04 | 0.77 | 185.33 | 896.34 | 0.77 | 35 | 2.7083 | 2.4375 | UNDERPERFORMING | -71.57 | TRUE
KAMMA KLANG ENTERPRISE | NORMAL | MALAYSIA | KLANG | 2023-03-28 | 88 | 62.97 | 2.86 | 251.36 | 331815.08 | 2.86 | 35 | 2.7083 | 2.4375 | NORMAL | 5.6 | FALSE
KWANG HUA PERSENDIRIAN METER 2-3-4-5-6 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 302.475 | 64.7 | 2.31 | 698.97 | 1104801.51 | 2.31 | 35 | 2.7083 | 2.4375 | UNDERPERFORMING | -14.71 | TRUE
LIAN TECK SENG LOT 11 | OFFLINE | MALAYSIA | KLANG | 2025-05-06 | 18.04 | 0 | 0 | 0 | 0 | 0 | 35 | 2.7083 | 2.4375 | UNDERPERFORMING | -100 | TRUE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 21.35 | 2.56 | 183.9 | 1467.87 | 2.56 | 35 | 2.7083 | 2.4375 | NORMAL | -5.48 | FALSE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 4.97 | 0.81 | 42.32 | 195.84 | 0.81 | 35 | 2.7083 | 2.4375 | UNDERPERFORMING | -70.09 | TRUE
MEWAH OILS SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-12-01 | 220.1 | 143.39 | 3.17 | 697.58 | 14798.82 | 3.17 | 35 | 2.7083 | 2.4375 | NORMAL | 17.05 | FALSE
MIAW FRESH | NORMAL | MALAYSIA | KLANG | 2024-05-31 | 24.57 | 18.04 | 3.18 | 78.22 | 56537.3 | 3.18 | 35 | 2.7083 | 2.4375 | NORMAL | 17.42 | FALSE
MAXTWO ENGINEERING (FACTORY) | NORMAL | MALAYSIA | KLANG | 2025-04-21 | 35.38 | 25.2 | 3.33 | 117.82 | 34073.92 | 3.33 | 35 | 2.7083 | 2.4375 | NORMAL | 22.96 | FALSE
PKT THE SHIP | NORMAL | MALAYSIA | KLANG | 2025-01-21 | 1068.21 | 318.52 | 2.85 | 3049.05 | 1208878.14 | 2.85 | 35 | 2.7083 | 2.4375 | NORMAL | 5.23 | FALSE
ROYAL KLANG CLUB | NORMAL | MALAYSIA | KLANG | 2025-07-14 | 91.76 | 58.37 | 2.6 | 238.39 | 82315.21 | 2.6 | 35 | 2.7083 | 2.4375 | NORMAL | -4 | FALSE
RS POLY INDUSTRY | NORMAL | MALAYSIA | KLANG | 2024-08-02 | 727.155 | 481.64 | 3.18 | 2308.89 | 1401911.66 | 3.18 | 35 | 2.7083 | 2.4375 | NORMAL | 17.42 | FALSE
SIME KANSAI PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-09-17 | 123.825 | 42.77 | 3.31 | 409.25 | 95453.86 | 3.31 | 35 | 2.7083 | 2.4375 | NORMAL | 22.22 | FALSE
SJK (C) WU TECK | NORMAL | MALAYSIA | KLANG | 2025-12-25 | 71.92 | 10.87 | 3.53 | 253.97 | 35597.77 | 3.53 | 35 | 2.7083 | 2.4375 | NORMAL | 30.34 | FALSE
SJK （ C ） PIN HWA 1 | NORMAL | MALAYSIA | KLANG | 2025-09-23 | 183.52 | 80.01 | 3.52 | 645.22 | 102031 | 3.52 | 35 | 2.7083 | 2.4375 | NORMAL | 29.97 | FALSE
SM CHUNG CHUNG HUA (PSDN) KLANG | NORMAL | MALAYSIA | KLANG | 2022-02-14 | 420.195 | 311.92 | 3.16 | 1325.95 | 301776.28 | 3.16 | 35 | 2.7083 | 2.4375 | NORMAL | 16.68 | FALSE
SP LOGISTICS SDN BHD | FAULTY | MALAYSIA | KLANG | 2024-06-14 | 90.675 | 16.24 | 0.79 | 71.3 | 195064.71 | 0.79 | 35 | 2.7083 | 2.4375 | UNDERPERFORMING | -70.83 | TRUE
TOMEI | NORMAL | MALAYSIA | KLANG | 2024-11-07 | 215.28 | 149.98 | 3.11 | 669.31 | 335562.69 | 3.11 | 35 | 2.7083 | 2.4375 | NORMAL | 14.83 | FALSE
TEMBIKAR WEI KHING | NORMAL | MALAYSIA | KLANG | 2025-01-27 | 977.22 | 675.36 | 2.87 | 2802.26 | 1085476.87 | 2.87 | 35 | 2.7083 | 2.4375 | NORMAL | 5.97 | FALSE
TONG SEH | NORMAL | MALAYSIA | KLANG | 2024-01-18 | 260.91 | 119.31 | 2.81 | 734.03 | 654685.33 | 2.81 | 35 | 2.7083 | 2.4375 | NORMAL | 3.76 | FALSE
UC BLASTING PAINTING | NORMAL | MALAYSIA | KLANG | 2024-05-08 | 219.96 | 53.32 | 3.44 | 755.93 | 552590.3 | 3.44 | 35 | 2.7083 | 2.4375 | NORMAL | 27.02 | FALSE
VINDA PHASE 4 (MSB 3-2) | NORMAL | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 1837.71 | 4.21 | 8920.15 | 359879.54 | 4.21 | 35 | 2.7083 | 2.4375 | NORMAL | 55.45 | FALSE
VISKO INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KLANG | 2023-07-07 | 948.75 | 604.15 | 3.21 | 3042.8 | 3229883.84 | 3.21 | 35 | 2.7083 | 2.4375 | NORMAL | 18.53 | FALSE
VINDA PHASE 1 AND 2 (MSB 2) | NORMAL | MALAYSIA | KLANG | 2023-08-20 | 2561.65 | 797.48 | 2.79 | 7134.69 | 7133618.79 | 2.79 | 35 | 2.7083 | 2.4375 | NORMAL | 3.02 | FALSE
VINDA PHASE 3 (MSB 3-1) | NORMAL | MALAYSIA | KLANG | 2024-06-28 | 1502.28 | 1063.19 | 3.43 | 5158.14 | 4701303.66 | 3.43 | 35 | 2.7083 | 2.4375 | NORMAL | 26.65 | FALSE
KWANG HUA PERSENDIRIAN METER 1 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 73.03 | 19.92 | 2.88 | 210.29 | 339159.89 | 2.88 | 35 | 2.7083 | 2.4375 | NORMAL | 6.34 | FALSE
APEX UNIPARTS | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 41.535 | 3.1 | 2.35 | 97.54 | 94574.27 | 2.35 | 3 | 2.5567 | 2.301 | NORMAL | -8.08 | FALSE
KLUANG COFFEE POWDER | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 25.135 | 1.82 | 2.59 | 65.2 | 62714.87 | 2.59 | 3 | 2.5567 | 2.301 | NORMAL | 1.3 | FALSE
SAWIPAC SDN BHD | NORMAL | MALAYSIA | KLUANG | 2025-09-04 | 44.28 | 4.87 | 2.73 | 120.77 | 31828.07 | 2.73 | 3 | 2.5567 | 2.301 | NORMAL | 6.78 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2025-02-22 | 25.83 | 16.62 | 4.34 | 112.01 | 40216.88 | 4.34 | 3 | 3.5367 | 3.183 | NORMAL | 22.71 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 6.6 | 3.2 | 28.31 | 12023.61 | 3.2 | 3 | 3.5367 | 3.183 | NORMAL | -9.52 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 2) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 6.6 | 3.07 | 27.2 | 11320.67 | 3.07 | 3 | 3.5367 | 3.183 | UNDERPERFORMING | -13.2 | TRUE
SUCCESS ELECTRONIC LOT 3 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-29 | 251.72 | 102.51 | 2.85 | 716.35 | 80265.07 | 2.85 | 2 | 2.795 | 2.5155 | NORMAL | 1.97 | FALSE
SUCCESS ELECTRONIC LOT 7 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-31 | 395.56 | 70.58 | 2.74 | 1083.49 | 105557.17 | 2.74 | 2 | 2.795 | 2.5155 | NORMAL | -1.97 | FALSE
QL AGROFOOD SDN BHD | NORMAL | MALAYSIA | KOTA KINABALU | 2025-06-25 | 409.92 | 168.84 | 2.71 | 1112.11 | 274243.37 | 2.71 | 1 | 2.71 | 2.439 | NO COMPARISON REQUIRED | 0 | FALSE
KIARA BAY | NORMAL | MALAYSIA | KUALA LUMPUR | 2025-01-21 | 1004.18 | 682.88 | 3.13 | 3147.57 | 1333741.41 | 3.13 | 3 | 2.2367 | 2.013 | NORMAL | 39.94 | FALSE
MENARA PJD | OFFLINE | MALAYSIA | KUALA LUMPUR | 2024-05-18 | 80.145 | 0 | 0 | 0 | 151771.3 | 0 | 3 | 2.2367 | 2.013 | UNDERPERFORMING | -100 | TRUE
TOA PAINT KEPONG WAREHOUSE | NORMAL | MALAYSIA | KUALA LUMPUR | 2023-11-02 | 25.74 | 16.55 | 3.58 | 92.06 | 76362.86 | 3.58 | 3 | 2.2367 | 2.013 | NORMAL | 60.06 | FALSE
QL ENDAU MARINE | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-08-01 | 430.28 | 312.59 | 3.99 | 1718.08 | 468272.49 | 3.99 | 2 | 2.25 | 2.025 | NORMAL | 77.33 | FALSE
TIMURIKAN TRENGGANU MARINE PRODUCTS SDN BHD | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-12-08 | 260.4 | 18.04 | 0.51 | 133.97 | 13534.85 | 0.51 | 2 | 2.25 | 2.025 | UNDERPERFORMING | -77.33 | TRUE
AFI BRAKE MANUFACTURING SDN BHD | NORMAL | MALAYSIA | KUALA TERENGGANU | 2023-10-02 | 454.3 | 201.06 | 2.17 | 983.57 | 1302403.76 | 2.17 | 3 | 1.4333 | 1.29 | NORMAL | 51.4 | FALSE
AFI METAL | NORMAL | MALAYSIA | KUALA TERENGGANU | 2024-03-14 | 55.35 | 24.85 | 2.13 | 117.82 | 121712.83 | 2.13 | 3 | 1.4333 | 1.29 | NORMAL | 48.6 | FALSE
REDANG LAGOON RESORT | OFFLINE | MALAYSIA | KUALA TERENGGANU | 2023-02-16 | 53.41 | 0 | 0 | 0 | 0 | 0 | 3 | 1.4333 | 1.29 | UNDERPERFORMING | -100 | TRUE
C0156_DENIM CODE | NORMAL | MALAYSIA | KULIM | 2022-09-04 | 86.445 | 7.3 | 2.75 | 237.37 | 373129.54 | 2.75 | 1 | 2.75 | 2.475 | NO COMPARISON REQUIRED | 0 | FALSE
ECO OILS - LAHAD DATU | NORMAL | MALAYSIA | LAHAD DATU | 2024-10-15 | 39.78 | 2.14 | 1.94 | 76.98 | 58630.16 | 1.94 | 1 | 1.94 | 1.746 | NO COMPARISON REQUIRED | 0 | FALSE
LUNAS JAYA PETROL SDN BHD | NORMAL | MALAYSIA | LUNAS | 2025-03-19 | 25.86 | 20.77 | 2.8 | 72.52 | 32061.24 | 2.8 | 1 | 2.8 | 2.52 | NO COMPARISON REQUIRED | 0 | FALSE
QL PAJAM PHASE 2 | NORMAL | MALAYSIA | MANTIN | 2025-08-05 | 566.68 | 449.41 | 3.35 | 1897.24 | 440686.41 | 3.35 | 1 | 3.35 | 3.015 | NO COMPARISON REQUIRED | 0 | FALSE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 0 | 0 | 0 | 0 | 181.43 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
FIBERTEX PHASE 2 | NORMAL | MALAYSIA | NILAI | 2024-08-30 | 1251.704 | 1141.94 | 4.49 | 5619.5 | 3086743.21 | 4.49 | 2 | 3.87 | 3.483 | NORMAL | 16.02 | FALSE
WEIDA MARKETING SDN. BHD. | NORMAL | MALAYSIA | NILAI | 2022-12-01 | 500.31 | 325.22 | 3.25 | 1623.9 | 1688792.76 | 3.25 | 2 | 3.87 | 3.483 | UNDERPERFORMING | -16.02 | TRUE
KLH SDN BHD | NORMAL | MALAYSIA | PADANG SERAI | 2024-09-05 | 265.005 | 183.07 | 3.16 | 837.68 | 441500.37 | 3.16 | 1 | 3.16 | 2.844 | NO COMPARISON REQUIRED | 0 | FALSE
QL AGROVENTURE | FAULTY | MALAYSIA | PAPAR | 2022-05-19 | 418.965 | 0 | 0.68 | 286.96 | 1341774.75 | 0.68 | 1 | 0.68 | 0.612 | NO COMPARISON REQUIRED | 0 | FALSE
ECOOILS (PHASE 2) - P.GUDANG | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-13 | 38.61 | 9.56 | 1.5 | 58.01 | 40502.65 | 1.5 | 4 | 1.545 | 1.3905 | NORMAL | -2.91 | FALSE
IOI PAN - CENTURY | NORMAL | MALAYSIA | PASIR GUDANG | 2023-05-31 | 116.815 | 34.64 | 2.3 | 268.51 | 270363.5 | 2.3 | 4 | 1.545 | 1.3905 | NORMAL | 48.87 | FALSE
KISWIRE CORD PHASE 1 (DATA) | OFFLINE | MALAYSIA | PASIR GUDANG | 2023-10-24 | 1248.5 | 0 | 0 | 0 | 0 | 0 | 4 | 1.545 | 1.3905 | UNDERPERFORMING | -100 | TRUE
KISWIRE CORD SDN BHD | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-03 | 4732.09 | 1360.39 | 2.38 | 11241.93 | 4959490.94 | 2.38 | 4 | 1.545 | 1.3905 | NORMAL | 54.05 | FALSE
KB AIS SDN. BHD. | NORMAL | MALAYSIA | PASIR MAS | 2022-07-23 | 49.05 | 15.85 | 2.45 | 120.37 | 231418.33 | 2.45 | 1 | 2.45 | 2.205 | NO COMPARISON REQUIRED | 0 | FALSE
BRC INDUSTRIES | NORMAL | MALAYSIA | PENANG | 2024-05-26 | 162.63 | 35.96 | 3.41 | 554.04 | 394656.85 | 3.41 | 3 | 2.6967 | 2.427 | NORMAL | 26.45 | FALSE
LEAN GIAP ENTERPRISE SDN BHD | NORMAL | MALAYSIA | PENANG | 2024-03-13 | 7.02 | 1.34 | 2.22 | 15.6 | 19607.04 | 2.22 | 3 | 2.6967 | 2.427 | UNDERPERFORMING | -17.68 | TRUE
PKT 12 WAVES | NORMAL | MALAYSIA | PENANG | 2025-02-05 | 1337.31 | 575.94 | 2.46 | 3283.31 | 1317231.68 | 2.46 | 3 | 2.6967 | 2.427 | NORMAL | -8.78 | FALSE
PENGERANG INDEPENDENT TERMINAL | FAULTY | MALAYSIA | PENGERANG | 2024-10-24 | 718.965 | 235.19 | 2.16 | 1553.48 | 1202024.62 | 2.16 | 1 | 2.16 | 1.944 | NO COMPARISON REQUIRED | 0 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 2) | NORMAL | MALAYSIA | PENGKALAN CHEPA | 2025-02-20 | 25.83 | 20.6 | 3.58 | 92.56 | 41977.33 | 3.58 | 1 | 3.58 | 3.222 | NO COMPARISON REQUIRED | 0 | FALSE
DURASAFE SDN. BHD. | NORMAL | MALAYSIA | PERAI | 2024-12-02 | 91.5 | 34.63 | 3.41 | 311.63 | 174062.02 | 3.41 | 3 | 3.39 | 3.051 | NORMAL | 0.59 | FALSE
MULTI CHOICE (M) SDN BHD | NORMAL | MALAYSIA | PERAI | 2025-10-26 | 423.46 | 100.56 | 3.65 | 1544.68 | 187226.67 | 3.65 | 3 | 3.39 | 3.051 | NORMAL | 7.67 | FALSE
TEONG HUAT MEDICAL | NORMAL | MALAYSIA | PERAI | 2025-11-26 | 349.32 | 74.27 | 3.11 | 1085.69 | 85122.23 | 3.11 | 3 | 3.39 | 3.051 | NORMAL | -8.26 | FALSE
GEMILITE SDN BERHAD | NORMAL | MALAYSIA | PETALING JAYA | 2025-02-20 | 39.36 | 7.42 | 3.47 | 136.55 | 52202.82 | 3.47 | 3 | 1.97 | 1.773 | NORMAL | 76.14 | FALSE
MENARA PKNS PJ | OFFLINE | MALAYSIA | PETALING JAYA | 2026-02-11 | 112.32 | 0 | 0 | 0 | 2181.01 | 0 | 3 | 1.97 | 1.773 | UNDERPERFORMING | -100 | TRUE
SUCCESS ELECTRONIC LOT 5 | NORMAL | MALAYSIA | PETALING JAYA | 2025-12-29 | 80.6 | 13.96 | 2.44 | 196.88 | 17831.87 | 2.44 | 3 | 1.97 | 1.773 | NORMAL | 23.86 | FALSE
FUNGICULTURE | NORMAL | MALAYSIA | PORT KLANG | 2023-06-10 | 262.515 | 128.9 | 2.78 | 728.7 | 961338.35 | 2.78 | 6 | 2.5533 | 2.298 | NORMAL | 8.88 | FALSE
JY1 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-06 | 259.42 | 110.17 | 2.38 | 618.26 | 980610.44 | 2.38 | 6 | 2.5533 | 2.298 | NORMAL | -6.79 | FALSE
JY1(PHASE 2) | NORMAL | MALAYSIA | PORT KLANG | 2025-10-07 | 140.74 | 68.57 | 2.39 | 336.2 | 104729.49 | 2.39 | 6 | 2.5533 | 2.298 | NORMAL | -6.4 | FALSE
JY2 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-10 | 397.305 | 161.36 | 2.42 | 961.57 | 1477809.14 | 2.42 | 6 | 2.5533 | 2.298 | NORMAL | -5.22 | FALSE
JAYA NETS | NORMAL | MALAYSIA | PORT KLANG | 2024-07-15 | 99 | 53.27 | 2.42 | 239.45 | 202817.33 | 2.42 | 6 | 2.5533 | 2.298 | NORMAL | -5.22 | FALSE
SJK (C) TSHING NIAN | NORMAL | MALAYSIA | PORT KLANG | 2026-02-02 | 48.36 | 37.84 | 2.93 | 141.46 | 11784.74 | 2.93 | 6 | 2.5533 | 2.298 | NORMAL | 14.75 | FALSE
AMEBA MGMT | NORMAL | MALAYSIA | PUCHONG | 2024-01-30 | 18.72 | 4 | 3.15 | 58.9 | 35291.24 | 3.15 | 6 | 2.6983 | 2.4285 | NORMAL | 16.74 | FALSE
IOI MALL PUCHONG (NEW WING) | NORMAL | MALAYSIA | PUCHONG | 2025-01-14 | 544.275 | 337.27 | 3.27 | 1780.74 | 885347.57 | 3.27 | 6 | 2.6983 | 2.4285 | NORMAL | 21.19 | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | OFFLINE | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 0 | 0 | 0 | 174530.9 | 0 | 6 | 2.6983 | 2.4285 | UNDERPERFORMING | -100 | TRUE
IOI MALL PUCHONG (OLD WING) | NORMAL | MALAYSIA | PUCHONG | 2025-04-25 | 2193.09 | 976.9 | 2.98 | 6538.54 | 2339765.32 | 2.98 | 6 | 2.6983 | 2.4285 | NORMAL | 10.44 | FALSE
MCC TECHNIQUE SDN BHD LOT 10 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 20.97 | 3.45 | 106.83 | 23487.88 | 3.45 | 6 | 2.6983 | 2.4285 | NORMAL | 27.86 | FALSE
MCC TECHNIQUE SDN BHD LOT 12 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 21.25 | 3.34 | 103.48 | 23181.44 | 3.34 | 6 | 2.6983 | 2.4285 | NORMAL | 23.78 | FALSE
BREMFIELD SDN BHD | NORMAL | MALAYSIA | PULAU INDAH | 2024-05-02 | 150.93 | 97.08 | 3.32 | 500.64 | 390532.92 | 3.32 | 3 | 3.02 | 2.718 | NORMAL | 9.93 | FALSE
C0149_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-18 | 25.175 | 15.06 | 2.99 | 75.17 | 92176.53 | 2.99 | 3 | 3.02 | 2.718 | NORMAL | -0.99 | FALSE
C150_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-17 | 72.2 | 44.79 | 2.75 | 198.35 | 313623.05 | 2.75 | 3 | 3.02 | 2.718 | NORMAL | -8.94 | FALSE
FUJI M1 | NORMAL | MALAYSIA | PUNCAK ALAM | 2023-12-23 | 265.005 | 153.46 | 2.95 | 782.38 | 732337.84 | 2.95 | 4 | 3.0125 | 2.7113 | NORMAL | -2.07 | FALSE
FUJI M2 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-04-18 | 264.42 | 159.23 | 3.12 | 824.27 | 579582.64 | 3.12 | 4 | 3.0125 | 2.7113 | NORMAL | 3.57 | FALSE
FUJI M3 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-02-04 | 264.89 | 120.44 | 2.56 | 678.97 | 401779.62 | 2.56 | 4 | 3.0125 | 2.7113 | UNDERPERFORMING | -15.02 | TRUE
FUJI M4 | NORMAL | MALAYSIA | PUNCAK ALAM | 2025-12-12 | 133.92 | 94.18 | 3.42 | 457.4 | 63799.96 | 3.42 | 4 | 3.0125 | 2.7113 | NORMAL | 13.53 | FALSE
IOI CITY MALL INC. FEEDER 1 | OFFLINE | MALAYSIA | PUTRAJAYA | 2024-11-07 | 3049.605 | 2039.01 | 0 | 0 | 5606630.92 | 0 | 3 | 2.2667 | 2.04 | UNDERPERFORMING | -100 | TRUE
IOI CITY MALL INC. FEEDER 2 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 1019.07 | 680.57 | 3.53 | 3596.37 | 1715181.7 | 3.53 | 3 | 2.2667 | 2.04 | NORMAL | 55.74 | FALSE
IOI RESORT VILLA GOLF COURSE | NORMAL | MALAYSIA | PUTRAJAYA | 2024-03-12 | 250.38 | 157.08 | 3.27 | 818.15 | 477772.78 | 3.27 | 3 | 2.2667 | 2.04 | NORMAL | 44.26 | FALSE
MARINE GOLD SDN BHD | OFFLINE | MALAYSIA | RAWANG | 2023-10-28 | 148.5 | 0 | 0 | 0 | 0 | 0 | 6 | 2.495 | 2.2455 | UNDERPERFORMING | -100 | TRUE
SCENT PUR MANUFACTURING SDN BHD NO.35 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 8.47 | 3.3 | 40.86 | 26679.01 | 3.3 | 6 | 2.495 | 2.2455 | NORMAL | 32.26 | FALSE
SCENT PUR MANUFACTURING SDN BHD NO.37 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 8.47 | 3.26 | 40.38 | 26455.62 | 3.26 | 6 | 2.495 | 2.2455 | NORMAL | 30.66 | FALSE
WCS UNIT 6 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 21.06 | 5.13 | 2.78 | 58.56 | 52436.62 | 2.78 | 6 | 2.495 | 2.2455 | NORMAL | 11.42 | FALSE
WCS UNIT 7 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 16.38 | 4.11 | 2.83 | 46.41 | 41334.07 | 2.83 | 6 | 2.495 | 2.2455 | NORMAL | 13.43 | FALSE
WCS_HOME | NORMAL | MALAYSIA | RAWANG | 2024-09-13 | 8.85 | 5.81 | 2.8 | 24.8 | 16957.26 | 2.8 | 6 | 2.495 | 2.2455 | NORMAL | 12.22 | FALSE
BM COCO MARKETING | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 1.89 | 1.86 | 47.35 | 75504.38 | 1.86 | 3 | 2.06 | 1.854 | NORMAL | -9.71 | FALSE
BM COCO PALM | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 2.05 | 1.8 | 46.04 | 80038.56 | 1.8 | 3 | 2.06 | 1.854 | UNDERPERFORMING | -12.62 | TRUE
CHONG HWA SBR RENGIT | NORMAL | MALAYSIA | RENGIT | 2024-05-28 | 25.155 | 2.08 | 2.52 | 63.32 | 56507.34 | 2.52 | 3 | 2.06 | 1.854 | NORMAL | 22.33 | FALSE
SUPERCOWBOY (SEGAMAT) | NORMAL | MALAYSIA | SEGAMAT | 2025-07-23 | 250.75 | 11.8 | 2.13 | 534.09 | 252178.87 | 2.13 | 1 | 2.13 | 1.917 | NO COMPARISON REQUIRED | 0 | FALSE
DONG SING FOOD LINK SDN BHD | FAULTY | MALAYSIA | SEMENYIH | 2025-12-08 | 71.92 | 0 | 0 | 0 | 27307.04 | 0 | 8 | 2.8475 | 2.5627 | UNDERPERFORMING | -100 | TRUE
FOX ONE MARKETING SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-01-06 | 91.5 | 48.87 | 3.02 | 276.05 | 114052.85 | 3.02 | 8 | 2.8475 | 2.5627 | NORMAL | 6.06 | FALSE
P.A FOOD SDN BHD 2ATKT | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 47.97 | 34.54 | 3.56 | 170.97 | 95757.49 | 3.56 | 8 | 2.8475 | 2.5627 | NORMAL | 25.02 | FALSE
P.A FOOD SDN BHD LOT 10 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 52.65 | 35.63 | 3.07 | 161.45 | 100391.75 | 3.07 | 8 | 2.8475 | 2.5627 | NORMAL | 7.81 | FALSE
P.A FOOD SDN BHD LOT 12 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 51.48 | 35.55 | 2.7 | 139.02 | 91734.6 | 2.7 | 8 | 2.8475 | 2.5627 | NORMAL | -5.18 | FALSE
P.A. FOOD WAREHOUSE NO. 9 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-28 | 21.06 | 15.62 | 3.61 | 76.03 | 40638.91 | 3.61 | 8 | 2.8475 | 2.5627 | NORMAL | 26.78 | FALSE
YAN JIAN 2 | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 63.86 | 46.32 | 3.56 | 227.63 | 52157.26 | 3.56 | 8 | 2.8475 | 2.5627 | NORMAL | 25.02 | FALSE
YAN JIAN 2A | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 74.4 | 54.66 | 3.26 | 242.22 | 70710.13 | 3.26 | 8 | 2.8475 | 2.5627 | NORMAL | 14.49 | FALSE
LYBASE SDN BHD | NORMAL | MALAYSIA | SENAI | 2024-11-04 | 400.14 | 32.03 | 2.46 | 982.67 | 407192.4 | 2.46 | 2 | 2.3 | 2.07 | NORMAL | 6.96 | FALSE
SUPERMICRO COMPUTER SDN BHD | NORMAL | MALAYSIA | SENAI | 2025-08-16 | 2550.85 | 37.54 | 2.14 | 5468.17 | 1564257.25 | 2.14 | 2 | 2.3 | 2.07 | NORMAL | -6.96 | FALSE
ENGE PLAS | NORMAL | MALAYSIA | SENAWANG | 2024-12-10 | 302.4 | 80.55 | 2.73 | 826.24 | 452815.74 | 2.73 | 1 | 2.73 | 2.457 | NO COMPARISON REQUIRED | 0 | FALSE
CIC CONTRACT SDN BHD | NORMAL | MALAYSIA | SERI KEMBANGAN | 2023-12-14 | 20.475 | 3.43 | 3.6 | 73.74 | 58748.36 | 3.6 | 1 | 3.6 | 3.24 | NO COMPARISON REQUIRED | 0 | FALSE
BJC FOOD (MALAYSIA) SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2023-01-10 | 320.46 | 44.46 | 2.37 | 758.48 | 1096436.98 | 2.37 | 14 | 3.4257 | 3.0831 | UNDERPERFORMING | -30.82 | TRUE
KUASA BAKTI (PETRON SETIA ALAM) | NORMAL | MALAYSIA | SHAH ALAM | 2025-08-27 | 44.64 | 10.56 | 3.39 | 151.13 | 28315.54 | 3.39 | 14 | 3.4257 | 3.0831 | NORMAL | -1.04 | FALSE
MARBACH ASIA PACIFIC LOT17 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.02 | 37.78 | 3.37 | 168.56 | 76689.01 | 3.37 | 14 | 3.4257 | 3.0831 | NORMAL | -1.63 | FALSE
MARBACH ASIA PACIFIC LOT 15 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.05 | 37.59 | 3.6 | 179.97 | 79265.16 | 3.6 | 14 | 3.4257 | 3.0831 | NORMAL | 5.09 | FALSE
MITSUI COPPER FOIL P3 | NORMAL | MALAYSIA | SHAH ALAM | 2025-06-26 | 706.33 | 567.31 | 3.45 | 2437.67 | 713092.65 | 3.45 | 14 | 3.4257 | 3.0831 | NORMAL | 0.71 | FALSE
NEW AGE 160 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-17 | 166.67 | 77.89 | 3.73 | 621.05 | 276675.92 | 3.73 | 14 | 3.4257 | 3.0831 | NORMAL | 8.88 | FALSE
NEW AGE 510 | NORMAL | MALAYSIA | SHAH ALAM | 2024-11-18 | 127.92 | 42.09 | 3.68 | 470.53 | 245524.36 | 3.68 | 14 | 3.4257 | 3.0831 | NORMAL | 7.42 | FALSE
PKT 8 WAVES | NORMAL | MALAYSIA | SHAH ALAM | 2024-08-13 | 176.67 | 114.51 | 3.54 | 624.94 | 251476.54 | 3.54 | 14 | 3.4257 | 3.0831 | NORMAL | 3.34 | FALSE
QL MAXINCOME | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-05 | 79.3 | 59.18 | 3.48 | 276.06 | 108247.14 | 3.48 | 14 | 3.4257 | 3.0831 | NORMAL | 1.58 | FALSE
QL LOT 14 | NORMAL | MALAYSIA | SHAH ALAM | 2025-02-24 | 61.61 | 46.04 | 3.41 | 210.17 | 81613.58 | 3.41 | 14 | 3.4257 | 3.0831 | NORMAL | -0.46 | FALSE
QL LOT 16 | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-01 | 64.05 | 47.53 | 3.33 | 213.52 | 83403.26 | 3.33 | 14 | 3.4257 | 3.0831 | NORMAL | -2.79 | FALSE
SAN SOON SENG FOOD INDUSTRIES SDN BHD | NORMAL | MALAYSIA | SHAH ALAM | 2025-10-02 | 1292.7 | 216.3 | 3.96 | 5122.06 | 673945.73 | 3.96 | 14 | 3.4257 | 3.0831 | NORMAL | 15.6 | FALSE
SUCCESFUEL SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2024-10-22 | 90.86 | 24.97 | 3.29 | 298.99 | 157198.61 | 3.29 | 14 | 3.4257 | 3.0831 | NORMAL | -3.96 | FALSE
THOR SPECIALTIES | NORMAL | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 19.28 | 3.36 | 306.68 | 2454.21 | 3.36 | 14 | 3.4257 | 3.0831 | NORMAL | -1.92 | FALSE
FURUTEC | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-07-06 | 132.21 | 97.09 | 3.65 | 481.95 | 291667.76 | 3.65 | 3 | 3.4867 | 3.138 | NORMAL | 4.68 | FALSE
PERBADANAN PENGURUSAN VILLA RAINTREE II | NORMAL | MALAYSIA | SIMPANG AMPAT | 2025-04-18 | 25.83 | 20.43 | 3.22 | 83.22 | 35241.82 | 3.22 | 3 | 3.4867 | 3.138 | NORMAL | -7.65 | FALSE
THP MEDICAL | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-01-08 | 377.325 | 108.53 | 3.59 | 1353.92 | 1154434.76 | 3.59 | 3 | 3.4867 | 3.138 | NORMAL | 2.96 | FALSE
JEBSEN AND JESSEN MALAYSIA SDN BHD (MHE) | NORMAL | MALAYSIA | SIMPANG RENGGAM | 2025-05-24 | 184.76 | 31.82 | 3.01 | 555.75 | 158013.03 | 3.01 | 1 | 3.01 | 2.709 | NO COMPARISON REQUIRED | 0 | FALSE
ATS AIR SOLUTION | NORMAL | MALAYSIA | SUBANG JAYA | 2024-02-08 | 22.23 | 14.96 | 3.21 | 71.44 | 58581.91 | 3.21 | 2 | 3.015 | 2.7135 | NORMAL | 6.47 | FALSE
BOILERMECH LOT 873 | NORMAL | MALAYSIA | SUBANG JAYA | 2025-09-15 | 280.5 | 104.74 | 2.82 | 789.84 | 152227.42 | 2.82 | 2 | 3.015 | 2.7135 | NORMAL | -6.47 | FALSE
KILANG BATU BATA | NORMAL | MALAYSIA | SUNGAI SIPUT | 2025-06-27 | 545.505 | 349.2 | 3.17 | 1726.72 | 510067.05 | 3.17 | 1 | 3.17 | 2.853 | NO COMPARISON REQUIRED | 0 | FALSE
FARM FRESH TAIPING (FACTORY) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 190.125 | 146.85 | 3.47 | 660.64 | 470163.79 | 3.47 | 3 | 3.5267 | 3.174 | NORMAL | -1.61 | FALSE
FARM FRESH TAIPING (FARM) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 335.79 | 195.88 | 3.18 | 1069.27 | 717717.29 | 3.18 | 3 | 3.5267 | 3.174 | NORMAL | -9.83 | FALSE
QL FOODS | NORMAL | MALAYSIA | TAIPING | 2024-10-03 | 1704.105 | 1345.28 | 3.93 | 6703.98 | 3375149.53 | 3.93 | 3 | 3.5267 | 3.174 | NORMAL | 11.44 | FALSE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 0 | 0 | 0 | 0 | 355.36 | 0 | 5 | 1.156 | 1.0404 | UNDERPERFORMING | -100 | TRUE
QL TAWAU FEEDMILL | NORMAL | MALAYSIA | TAWAU | 2025-11-05 | 317.2 | 161.38 | 2.62 | 830.97 | 46927.1 | 2.62 | 5 | 1.156 | 1.0404 | NORMAL | 126.64 | FALSE
SABAH CHINESE HIGH SCHOOL (CANTEEN) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 26.91 | 5.15 | 1.65 | 44.34 | 13012.59 | 1.65 | 5 | 1.156 | 1.0404 | NORMAL | 42.73 | FALSE
SABAH CHINESE HIGH SCHOOL (CULTURE AND EDUCATION) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.768 | 19.24 | 1.51 | 143.38 | 32392.47 | 1.51 | 5 | 1.156 | 1.0404 | NORMAL | 30.62 | FALSE
SABAH CHINESE HIGH SCHOOL (TAK YUEN BUILDING) | OFFLINE | MALAYSIA | TAWAU | 2024-02-08 | 94.77 | 0 | 0 | 0 | 69019.19 | 0 | 5 | 1.156 | 1.0404 | UNDERPERFORMING | -100 | TRUE
CHAN KAH WHYE | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-01-20 | 14.75 | 4.17 | 3.41 | 50.31 | 21580.68 | 3.41 | 3 | 1.8467 | 1.662 | NORMAL | 84.66 | FALSE
DSG MALAYSIA SDN. BHD | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2022-11-24 | 2310.255 | 338.85 | 2.13 | 4913.36 | 6293773.9 | 2.13 | 3 | 1.8467 | 1.662 | NORMAL | 15.34 | FALSE
LAM SOON EDIBLE OILS | OFFLINE | MALAYSIA | TELOK PANGLIMA GARANG | 2025-07-04 | 86.8 | 0 | 0 | 0 | 100010.01 | 0 | 3 | 1.8467 | 1.662 | UNDERPERFORMING | -100 | TRUE
LAU AND TAN PHARMACY (1ST FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 12.375 | 6.09 | 2.17 | 26.81 | 48469.48 | 2.17 | 2 | 2 | 1.8 | NORMAL | 8.5 | FALSE
LAU AND TAN PHARMACY (G.FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 38.115 | 14.96 | 1.83 | 69.67 | 178041.74 | 1.83 | 2 | 2 | 1.8 | NORMAL | -8.5 | FALSE
WASCO PIPE SDN BHD (COATING) | NORMAL | MALAYSIA | TUARAN | 2026-02-12 | 350.92 | 147.79 | 1.41 | 494.61 | 1944.75 | 1.41 | 2 | 1.005 | 0.9045 | NORMAL | 40.3 | FALSE
WASCO PIPE SDN BHD (MILL) | NORMAL | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 203.05 | 0.6 | 510.43 | 515.48 | 0.6 | 2 | 1.005 | 0.9045 | UNDERPERFORMING | -40.3 | TRUE