## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
TS UNITED METAL | NORMAL | MALAYSIA | ALOR GAJAH | 2024-05-16 | 25.155 | 0 | 5.49 | 138 | 70438.07 | 5.49 | 1 | 5.49 | 4.941 | NO COMPARISON REQUIRED | 0 | FALSE
BIMB BDR PENAWAR - 1ST FLOOR | OFFLINE | MALAYSIA | BANDAR PENAWAR | 2025-04-28 | 15.47 | 0 | 0 | 0 | 0 | 0 | 2 | 1.04 | 0.936 | UNDERPERFORMING | -100 | TRUE
BIMB BDR PENAWAR - G FLOOR | NORMAL | MALAYSIA | BANDAR PENAWAR | 2025-04-29 | 15.47 | 0 | 2.08 | 32.17 | 1687.54 | 2.08 | 2 | 1.04 | 0.936 | NORMAL | 100 | FALSE
KOMPLEX PKNS BANGI | NORMAL | MALAYSIA | BANGI | 2024-09-04 | 379.08 | 0 | 2.43 | 919.52 | 446571.62 | 2.43 | 1 | 2.43 | 2.187 | NO COMPARISON REQUIRED | 0 | FALSE
JIANN LIH SAFETY PRODUCT | NORMAL | MALAYSIA | BANTING | 2024-03-21 | 475.605 | 0 | 4.16 | 1979.88 | 832518.42 | 4.16 | 1 | 4.16 | 3.744 | NO COMPARISON REQUIRED | 0 | FALSE
C0102_QL BATANG KALI | NORMAL | MALAYSIA | BATANG KALI | 2022-02-24 | 526 | 0 | 7 | 3681.25 | 2962972.72 | 7 | 1 | 7 | 6.3 | NO COMPARISON REQUIRED | 0 | FALSE
BP PLASTICS BP9 | FAULTY | MALAYSIA | BATU PAHAT | 2025-07-22 | 2979.1 | 0 | 2.96 | 8812.38 | 3346869.93 | 2.96 | 3 | 3.9033 | 3.513 | UNDERPERFORMING | -24.17 | TRUE
BP PLASTICS HQ | NORMAL | MALAYSIA | BATU PAHAT | 2025-01-16 | 1063.425 | 0 | 4.35 | 4620.77 | 1844682.52 | 4.35 | 3 | 3.9033 | 3.513 | NORMAL | 11.44 | FALSE
CK PACKAGING AND PLASTIC INDUSTRIES | NORMAL | MALAYSIA | BATU PAHAT | 2026-01-19 | 138.88 | 0 | 4.4 | 610.55 | 62413.38 | 4.4 | 3 | 3.9033 | 3.513 | NORMAL | 12.72 | FALSE
GUH METER 1 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 210.6 | 0 | 4.06 | 855.22 | 541253.53 | 4.06 | 3 | 3.9733 | 3.576 | NORMAL | 2.18 | FALSE
GUH METER 2 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 278.46 | 0 | 3.91 | 1087.66 | 674619.69 | 3.91 | 3 | 3.9733 | 3.576 | NORMAL | -1.59 | FALSE
GUH METER 3 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-05-04 | 534.69 | 0 | 3.95 | 2112.91 | 1329265.63 | 3.95 | 3 | 3.9733 | 3.576 | NORMAL | -0.59 | FALSE
TELEWIRING | OFFLINE | MALAYSIA | CHENG | 2024-05-16 | 25.155 | 0 | 0 | 0 | 65931.66 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
C0176_GETHA | OFFLINE | MALAYSIA | CHERAS | 2023-03-01 | 178.215 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
C0172_ATRIA NORTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 130.8 | 0 | 3.36 | 439.6 | 393717.09 | 3.36 | 3 | 2.4733 | 2.226 | NORMAL | 35.85 | FALSE
C0172_ATRIA SOUTH | OFFLINE | MALAYSIA | DAMANSARA | 2023-06-06 | 287.76 | 0 | 0 | 0 | 0 | 0 | 3 | 2.4733 | 2.226 | UNDERPERFORMING | -100 | TRUE
RESTORAN CHIMAEK (KFRY) | NORMAL | MALAYSIA | DAMANSARA | 2024-10-25 | 24.4 | 0 | 4.06 | 99.13 | 49097.82 | 4.06 | 3 | 2.4733 | 2.226 | NORMAL | 64.15 | FALSE
QL ENDAU DEEP SEA FISHING | NORMAL | MALAYSIA | ENDAU | 2025-09-04 | 897.76 | 0 | 3.39 | 3041.28 | 667425.03 | 3.39 | 1 | 3.39 | 3.051 | NO COMPARISON REQUIRED | 0 | FALSE
PROGUARD SAFETY MANUFACTURING SDN BHD | NORMAL | MALAYSIA | HULU LANGAT | 2022-12-30 | 202.195 | 0 | 3.01 | 609.51 | 578846.24 | 3.01 | 1 | 3.01 | 2.709 | NO COMPARISON REQUIRED | 0 | FALSE
GLASS PLASTIC PACKAGING | NORMAL | MALAYSIA | IPOH | 2025-04-19 | 704.94 | 0 | 2.74 | 1929.22 | 888466.18 | 2.74 | 3 | 2.91 | 2.619 | NORMAL | -5.84 | FALSE
SWH INDUSTRIES (PLOT 132113) | FAULTY | MALAYSIA | IPOH | 2024-05-21 | 752.98 | 0 | 3.11 | 2339.52 | 1749468.85 | 3.11 | 3 | 2.91 | 2.619 | NORMAL | 6.87 | FALSE
SWH INDUSTRIES (PLOT6311) | NORMAL | MALAYSIA | IPOH | 2025-01-15 | 204.96 | 0 | 2.88 | 590.52 | 342087.2 | 2.88 | 3 | 2.91 | 2.619 | NORMAL | -1.03 | FALSE
PLEASURE LATEX | NORMAL | MALAYSIA | JERAM | 2023-07-25 | 520.3 | 0 | 4.38 | 2280.03 | 1756838.52 | 4.38 | 2 | 2.19 | 1.971 | NORMAL | 100 | FALSE
PLEASURE LATEX PHASE 2 | OFFLINE | MALAYSIA | JERAM | 2024-12-20 | 1010.295 | 0 | 0 | 0 | 0 | 0 | 2 | 2.19 | 1.971 | UNDERPERFORMING | -100 | TRUE
FOX ONE LOT 14 | NORMAL | MALAYSIA | KAJANG | 2025-08-13 | 91.76 | 0 | 3.42 | 313.76 | 68518.56 | 3.42 | 9 | 3.2633 | 2.937 | NORMAL | 4.8 | FALSE
FOX ONE LOT 8 | NORMAL | MALAYSIA | KAJANG | 2026-01-28 | 91.76 | 0 | 3.38 | 309.71 | 29944.29 | 3.38 | 9 | 3.2633 | 2.937 | NORMAL | 3.58 | FALSE
IOI KNOWLEDGE VISION SDN BHD | NORMAL | MALAYSIA | KAJANG | 2025-06-19 | 71.92 | 0 | 4.04 | 290.72 | 84715.08 | 4.04 | 9 | 3.2633 | 2.937 | NORMAL | 23.8 | FALSE
IOI MAYANG DEVELOPMENT | NORMAL | MALAYSIA | KAJANG | 2025-07-18 | 71.92 | 0 | 3.06 | 220.12 | 54484.54 | 3.06 | 9 | 3.2633 | 2.937 | NORMAL | -6.23 | FALSE
LKW FROZEN SDN BHD | NORMAL | MALAYSIA | KAJANG | 2024-05-12 | 54.99 | 0 | 3.12 | 171.65 | 98388.3 | 3.12 | 9 | 3.2633 | 2.937 | NORMAL | -4.39 | FALSE
P.A. FOOD SDN. BHD. | NORMAL | MALAYSIA | KAJANG | 2024-05-07 | 25.155 | 0 | 3.11 | 78.27 | 64718 | 3.11 | 9 | 3.2633 | 2.937 | NORMAL | -4.7 | FALSE
UCS_BLOCK A | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 125 | 0 | 2.99 | 373.92 | 492032.61 | 2.99 | 9 | 3.2633 | 2.937 | NORMAL | -8.38 | FALSE
UCS_BLOCK B | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 135 | 0 | 3.17 | 428.03 | 571408.51 | 3.17 | 9 | 3.2633 | 2.937 | NORMAL | -2.86 | FALSE
UCS_BLOCK C | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 185.5 | 0 | 3.08 | 571.06 | 786966.33 | 3.08 | 9 | 3.2633 | 2.937 | NORMAL | -5.62 | FALSE
FDP AND MTB INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KERLING | 2026-01-25 | 186 | 0 | 4.03 | 749.82 | 10431.35 | 4.03 | 1 | 4.03 | 3.627 | NO COMPARISON REQUIRED | 0 | FALSE
AMT PC DISTRIBUTORS SDN. BHD. | NORMAL | MALAYSIA | KLANG | 2024-01-04 | 88.335 | 0 | 4.72 | 416.54 | 258361.53 | 4.72 | 35 | 3.9366 | 3.5429 | NORMAL | 19.9 | FALSE
ASHITA COMMUNICATION | OFFLINE | MALAYSIA | KLANG | 2025-11-03 | 91.76 | 0 | 0 | 0 | 0 | 0 | 35 | 3.9366 | 3.5429 | UNDERPERFORMING | -100 | TRUE
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 0 | 4.81 | 4368.46 | 242027.15 | 4.81 | 35 | 3.9366 | 3.5429 | NORMAL | 22.19 | FALSE
ADVANCE VI TECH LOT 1629 | NORMAL | MALAYSIA | KLANG | 2024-10-27 | 240.13 | 0 | 4.83 | 1160.28 | 414582.64 | 4.83 | 35 | 3.9366 | 3.5429 | NORMAL | 22.7 | FALSE
BUNCHO (M) SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-10-01 | 91.14 | 0 | 4.62 | 420.73 | 34632.39 | 4.62 | 35 | 3.9366 | 3.5429 | NORMAL | 17.36 | FALSE
HOON YUEN FURNITURE | NORMAL | MALAYSIA | KLANG | 2023-11-20 | 88.335 | 0 | 4.07 | 359.73 | 245321.61 | 4.07 | 35 | 3.9366 | 3.5429 | NORMAL | 3.39 | FALSE
KCCCI 2FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 4.13 | 0 | 4.37 | 18.04 | 5283.17 | 4.37 | 35 | 3.9366 | 3.5429 | NORMAL | 11.01 | FALSE
KCCCI FIRST FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 15.34 | 0 | 4.36 | 66.85 | 21247.38 | 4.36 | 35 | 3.9366 | 3.5429 | NORMAL | 10.76 | FALSE
KCCCI GROUND FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 3.54 | 0 | 4.42 | 15.64 | 4525.66 | 4.42 | 35 | 3.9366 | 3.5429 | NORMAL | 12.28 | FALSE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 0 | 4.87 | 1171.58 | 7388.66 | 4.87 | 35 | 3.9366 | 3.5429 | NORMAL | 23.71 | FALSE
KAMMA KLANG ENTERPRISE | NORMAL | MALAYSIA | KLANG | 2023-03-28 | 88 | 0 | 4.24 | 372.72 | 335872.95 | 4.24 | 35 | 3.9366 | 3.5429 | NORMAL | 7.71 | FALSE
KWANG HUA PERSENDIRIAN METER 2-3-4-5-6 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 302.475 | 0 | 3.18 | 963.28 | 1115748.23 | 3.18 | 35 | 3.9366 | 3.5429 | UNDERPERFORMING | -19.22 | TRUE
LIAN TECK SENG LOT 11 | OFFLINE | MALAYSIA | KLANG | 2025-05-06 | 18.04 | 0 | 0 | 0 | 0 | 0 | 35 | 3.9366 | 3.5429 | UNDERPERFORMING | -100 | TRUE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 0 | 3.43 | 246.59 | 3857.23 | 3.43 | 35 | 3.9366 | 3.5429 | UNDERPERFORMING | -12.87 | TRUE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 0 | 1.58 | 82.41 | 749.9 | 1.58 | 35 | 3.9366 | 3.5429 | UNDERPERFORMING | -59.86 | TRUE
MEWAH OILS SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-12-01 | 220.1 | 0 | 5.12 | 1126.18 | 26982.99 | 5.12 | 35 | 3.9366 | 3.5429 | NORMAL | 30.06 | FALSE
MIAW FRESH | OFFLINE | MALAYSIA | KLANG | 2024-05-31 | 24.57 | 0 | 0 | 0 | 57392.15 | 0 | 35 | 3.9366 | 3.5429 | UNDERPERFORMING | -100 | TRUE
MAXTWO ENGINEERING (FACTORY) | NORMAL | MALAYSIA | KLANG | 2025-04-21 | 35.38 | 0 | 4.55 | 160.92 | 35950.2 | 4.55 | 35 | 3.9366 | 3.5429 | NORMAL | 15.58 | FALSE
PKT THE SHIP | NORMAL | MALAYSIA | KLANG | 2025-01-21 | 1068.21 | 0 | 3.88 | 4141.58 | 1256258.77 | 3.88 | 35 | 3.9366 | 3.5429 | NORMAL | -1.44 | FALSE
ROYAL KLANG CLUB | NORMAL | MALAYSIA | KLANG | 2025-07-14 | 91.76 | 0 | 3.99 | 366.03 | 86402.06 | 3.99 | 35 | 3.9366 | 3.5429 | NORMAL | 1.36 | FALSE
RS POLY INDUSTRY | NORMAL | MALAYSIA | KLANG | 2024-08-02 | 727.155 | 0 | 4.5 | 3274.02 | 1440443.94 | 4.5 | 35 | 3.9366 | 3.5429 | NORMAL | 14.31 | FALSE
SIME KANSAI PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-09-17 | 123.825 | 0 | 4.56 | 564.43 | 101745.79 | 4.56 | 35 | 3.9366 | 3.5429 | NORMAL | 15.84 | FALSE
SJK (C) WU TECK | NORMAL | MALAYSIA | KLANG | 2025-12-25 | 71.92 | 0 | 4.69 | 337.26 | 39593.21 | 4.69 | 35 | 3.9366 | 3.5429 | NORMAL | 19.14 | FALSE
SJK （ C ） PIN HWA 1 | NORMAL | MALAYSIA | KLANG | 2025-09-23 | 183.52 | 0 | 4.74 | 869.21 | 111424.37 | 4.74 | 35 | 3.9366 | 3.5429 | NORMAL | 20.41 | FALSE
SM CHUNG CHUNG HUA (PSDN) KLANG | NORMAL | MALAYSIA | KLANG | 2022-02-14 | 420.195 | 0 | 4.08 | 1715.17 | 321488.79 | 4.08 | 35 | 3.9366 | 3.5429 | NORMAL | 3.64 | FALSE
SP LOGISTICS SDN BHD | NORMAL | MALAYSIA | KLANG | 2024-06-14 | 90.675 | 0 | 4.24 | 384.69 | 199166.19 | 4.24 | 35 | 3.9366 | 3.5429 | NORMAL | 7.71 | FALSE
TOMEI | NORMAL | MALAYSIA | KLANG | 2024-11-07 | 215.28 | 0 | 3.45 | 743.5 | 345903.97 | 3.45 | 35 | 3.9366 | 3.5429 | UNDERPERFORMING | -12.36 | TRUE
TEMBIKAR WEI KHING | NORMAL | MALAYSIA | KLANG | 2025-01-27 | 977.22 | 0 | 4.75 | 4645.11 | 1138161.95 | 4.75 | 35 | 3.9366 | 3.5429 | NORMAL | 20.66 | FALSE
TONG SEH | NORMAL | MALAYSIA | KLANG | 2024-01-18 | 260.91 | 0 | 4.55 | 1185.89 | 668191.06 | 4.55 | 35 | 3.9366 | 3.5429 | NORMAL | 15.58 | FALSE
UC BLASTING PAINTING | NORMAL | MALAYSIA | KLANG | 2024-05-08 | 219.96 | 0 | 4.75 | 1043.88 | 563803.86 | 4.75 | 35 | 3.9366 | 3.5429 | NORMAL | 20.66 | FALSE
VINDA PHASE 4 (MSB 3-2) | FAULTY | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 0 | 4.91 | 10413.63 | 484674.04 | 4.91 | 35 | 3.9366 | 3.5429 | NORMAL | 24.73 | FALSE
VISKO INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KLANG | 2023-07-07 | 948.75 | 0 | 4.5 | 4265.78 | 3282127.98 | 4.5 | 35 | 3.9366 | 3.5429 | NORMAL | 14.31 | FALSE
VINDA PHASE 1 AND 2 (MSB 2) | NORMAL | MALAYSIA | KLANG | 2023-08-20 | 2561.65 | 0 | 4.45 | 11403.97 | 7256565.9 | 4.45 | 35 | 3.9366 | 3.5429 | NORMAL | 13.04 | FALSE
VINDA PHASE 3 (MSB 3-1) | NORMAL | MALAYSIA | KLANG | 2024-06-28 | 1502.28 | 0 | 4.5 | 6756.59 | 4777904.97 | 4.5 | 35 | 3.9366 | 3.5429 | NORMAL | 14.31 | FALSE
KWANG HUA PERSENDIRIAN METER 1 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 73.03 | 0 | 4.07 | 297.45 | 342486.92 | 4.07 | 35 | 3.9366 | 3.5429 | NORMAL | 3.39 | FALSE
APEX UNIPARTS | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 41.535 | 0 | 3.36 | 139.63 | 96820.78 | 3.36 | 3 | 3.3567 | 3.021 | NORMAL | 0.1 | FALSE
KLUANG COFFEE POWDER | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 25.135 | 0 | 3.58 | 89.92 | 64020.99 | 3.58 | 3 | 3.3567 | 3.021 | NORMAL | 6.65 | FALSE
SAWIPAC SDN BHD | NORMAL | MALAYSIA | KLUANG | 2025-09-04 | 44.28 | 0 | 3.13 | 138.4 | 33428.26 | 3.13 | 3 | 3.3567 | 3.021 | NORMAL | -6.75 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2025-02-22 | 25.83 | 0 | 4.55 | 117.57 | 41981.46 | 4.55 | 3 | 3.5567 | 3.201 | NORMAL | 27.93 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 0 | 3.29 | 29.16 | 12592.66 | 3.29 | 3 | 3.5567 | 3.201 | NORMAL | -7.5 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 2) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 0 | 2.83 | 25.06 | 11834.23 | 2.83 | 3 | 3.5567 | 3.201 | UNDERPERFORMING | -20.43 | TRUE
SUCCESS ELECTRONIC LOT 3 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-29 | 251.72 | 0 | 3.43 | 862.8 | 91463.07 | 3.43 | 2 | 3.335 | 3.0015 | NORMAL | 2.85 | FALSE
SUCCESS ELECTRONIC LOT 7 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-31 | 395.56 | 0 | 3.24 | 1280.27 | 119219.11 | 3.24 | 2 | 3.335 | 3.0015 | NORMAL | -2.85 | FALSE
QL AGROFOOD SDN BHD | NORMAL | MALAYSIA | KOTA KINABALU | 2025-06-25 | 409.92 | 0 | 1.63 | 666.41 | 287182 | 1.63 | 1 | 1.63 | 1.467 | NO COMPARISON REQUIRED | 0 | FALSE
KIARA BAY | NORMAL | MALAYSIA | KUALA LUMPUR | 2025-01-21 | 1004.18 | 0 | 2.41 | 2419.83 | 1380126.5 | 2.41 | 3 | 3.1967 | 2.877 | UNDERPERFORMING | -24.61 | TRUE
MENARA PJD | NORMAL | MALAYSIA | KUALA LUMPUR | 2024-05-18 | 80.145 | 0 | 3.66 | 293.44 | 154304.99 | 3.66 | 3 | 3.1967 | 2.877 | NORMAL | 14.49 | FALSE
TOA PAINT KEPONG WAREHOUSE | NORMAL | MALAYSIA | KUALA LUMPUR | 2023-11-02 | 25.74 | 0 | 3.52 | 90.65 | 77613.13 | 3.52 | 3 | 3.1967 | 2.877 | NORMAL | 10.11 | FALSE
QL ENDAU MARINE | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-08-01 | 430.28 | 0 | 3.41 | 1466.06 | 498728.34 | 3.41 | 2 | 2.055 | 1.8495 | NORMAL | 65.94 | FALSE
TIMURIKAN TRENGGANU MARINE PRODUCTS SDN BHD | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-12-08 | 260.4 | 0 | 0.7 | 181.01 | 16551 | 0.7 | 2 | 2.055 | 1.8495 | UNDERPERFORMING | -65.94 | TRUE
AFI BRAKE MANUFACTURING SDN BHD | NORMAL | MALAYSIA | KUALA TERENGGANU | 2023-10-02 | 454.3 | 0 | 3.88 | 1763.82 | 1329955.13 | 3.88 | 3 | 1.32 | 1.188 | NORMAL | 193.94 | FALSE
AFI METAL | OFFLINE | MALAYSIA | KUALA TERENGGANU | 2024-03-14 | 55.35 | 0 | 0.08 | 4.34 | 124762.05 | 0.08 | 3 | 1.32 | 1.188 | UNDERPERFORMING | -93.94 | TRUE
REDANG LAGOON RESORT | OFFLINE | MALAYSIA | KUALA TERENGGANU | 2023-02-16 | 53.41 | 0 | 0 | 0 | 0 | 0 | 3 | 1.32 | 1.188 | UNDERPERFORMING | -100 | TRUE
C0156_DENIM CODE | NORMAL | MALAYSIA | KULIM | 2022-09-04 | 86.445 | 0 | 3.57 | 308.56 | 377667.67 | 3.57 | 1 | 3.57 | 3.213 | NO COMPARISON REQUIRED | 0 | FALSE
ECO OILS - LAHAD DATU | NORMAL | MALAYSIA | LAHAD DATU | 2024-10-15 | 39.78 | 0 | 2.76 | 109.8 | 60029.35 | 2.76 | 1 | 2.76 | 2.484 | NO COMPARISON REQUIRED | 0 | FALSE
LUNAS JAYA PETROL SDN BHD | NORMAL | MALAYSIA | LUNAS | 2025-03-19 | 25.86 | 0 | 3.58 | 92.65 | 33532.67 | 3.58 | 1 | 3.58 | 3.222 | NO COMPARISON REQUIRED | 0 | FALSE
QL PAJAM PHASE 2 | NORMAL | MALAYSIA | MANTIN | 2025-08-05 | 566.68 | 0 | 3.83 | 2169.61 | 468422.89 | 3.83 | 1 | 3.83 | 3.447 | NO COMPARISON REQUIRED | 0 | FALSE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 220.1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
FIBERTEX PHASE 2 | NORMAL | MALAYSIA | NILAI | 2024-08-30 | 1251.704 | 0 | 5.2 | 6507.16 | 3168359.88 | 5.2 | 2 | 4.535 | 4.0815 | NORMAL | 14.66 | FALSE
WEIDA MARKETING SDN. BHD. | NORMAL | MALAYSIA | NILAI | 2022-12-01 | 500.31 | 0 | 3.87 | 1936.81 | 1714079.03 | 3.87 | 2 | 4.535 | 4.0815 | UNDERPERFORMING | -14.66 | TRUE
KLH SDN BHD | NORMAL | MALAYSIA | PADANG SERAI | 2024-09-05 | 265.005 | 0 | 3.23 | 855.55 | 455583.04 | 3.23 | 1 | 3.23 | 2.907 | NO COMPARISON REQUIRED | 0 | FALSE
QL AGROVENTURE | FAULTY | MALAYSIA | PAPAR | 2022-05-19 | 418.965 | 0 | 0.49 | 205.11 | 1346571.03 | 0.49 | 1 | 0.49 | 0.441 | NO COMPARISON REQUIRED | 0 | FALSE
ECOOILS (PHASE 2) - P.GUDANG | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-13 | 38.61 | 0 | 1.6 | 61.78 | 41705.59 | 1.6 | 4 | 1.4325 | 1.2893 | NORMAL | 11.69 | FALSE
IOI PAN - CENTURY | NORMAL | MALAYSIA | PASIR GUDANG | 2023-05-31 | 116.815 | 0 | 2.13 | 248.66 | 275022.78 | 2.13 | 4 | 1.4325 | 1.2893 | NORMAL | 48.69 | FALSE
KISWIRE CORD PHASE 1 (DATA) | OFFLINE | MALAYSIA | PASIR GUDANG | 2023-10-24 | 1248.5 | 0 | 0 | 0 | 0 | 0 | 4 | 1.4325 | 1.2893 | UNDERPERFORMING | -100 | TRUE
KISWIRE CORD SDN BHD | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-03 | 4732.09 | 0 | 2 | 9481.24 | 5154642.29 | 2 | 4 | 1.4325 | 1.2893 | NORMAL | 39.62 | FALSE
KB AIS SDN. BHD. | NORMAL | MALAYSIA | PASIR MAS | 2022-07-23 | 49.05 | 0 | 3.01 | 147.41 | 233876.93 | 3.01 | 1 | 3.01 | 2.709 | NO COMPARISON REQUIRED | 0 | FALSE
BRC INDUSTRIES | NORMAL | MALAYSIA | PENANG | 2024-05-26 | 162.63 | 0 | 3.67 | 596.19 | 404265.4 | 3.67 | 3 | 3.3233 | 2.991 | NORMAL | 10.43 | FALSE
LEAN GIAP ENTERPRISE SDN BHD | NORMAL | MALAYSIA | PENANG | 2024-03-13 | 7.02 | 0 | 3.25 | 22.81 | 19959.27 | 3.25 | 3 | 3.3233 | 2.991 | NORMAL | -2.21 | FALSE
PKT 12 WAVES | NORMAL | MALAYSIA | PENANG | 2025-02-05 | 1337.31 | 0 | 3.05 | 4078.39 | 1383896.97 | 3.05 | 3 | 3.3233 | 2.991 | NORMAL | -8.22 | FALSE
PENGERANG INDEPENDENT TERMINAL | FAULTY | MALAYSIA | PENGERANG | 2024-10-24 | 718.965 | 0 | 3.93 | 2824.42 | 1241051.31 | 3.93 | 1 | 3.93 | 3.537 | NO COMPARISON REQUIRED | 0 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 2) | NORMAL | MALAYSIA | PENGKALAN CHEPA | 2025-02-20 | 25.83 | 0 | 4.04 | 104.43 | 43801.55 | 4.04 | 1 | 4.04 | 3.636 | NO COMPARISON REQUIRED | 0 | FALSE
DURASAFE SDN. BHD. | NORMAL | MALAYSIA | PERAI | 2024-12-02 | 91.5 | 0 | 4.06 | 371.27 | 179542.66 | 4.06 | 3 | 3.8267 | 3.444 | NORMAL | 6.1 | FALSE
MULTI CHOICE (M) SDN BHD | NORMAL | MALAYSIA | PERAI | 2025-10-26 | 423.46 | 0 | 4.34 | 1838.96 | 213062.81 | 4.34 | 3 | 3.8267 | 3.444 | NORMAL | 13.41 | FALSE
TEONG HUAT MEDICAL | NORMAL | MALAYSIA | PERAI | 2025-11-26 | 349.32 | 0 | 3.08 | 1076.56 | 102961.09 | 3.08 | 3 | 3.8267 | 3.444 | UNDERPERFORMING | -19.51 | TRUE
GEMILITE SDN BERHAD | NORMAL | MALAYSIA | PETALING JAYA | 2025-02-20 | 39.36 | 0 | 4.31 | 169.68 | 54272.33 | 4.31 | 3 | 2.4833 | 2.235 | NORMAL | 73.56 | FALSE
MENARA PKNS PJ | OFFLINE | MALAYSIA | PETALING JAYA | 2026-02-11 | 112.32 | 0 | 0 | 0 | 2181.01 | 0 | 3 | 2.4833 | 2.235 | UNDERPERFORMING | -100 | TRUE
SUCCESS ELECTRONIC LOT 5 | NORMAL | MALAYSIA | PETALING JAYA | 2025-12-29 | 80.6 | 0 | 3.14 | 253.24 | 20188.44 | 3.14 | 3 | 2.4833 | 2.235 | NORMAL | 26.44 | FALSE
FUNGICULTURE | NORMAL | MALAYSIA | PORT KLANG | 2023-06-10 | 262.515 | 0 | 4.44 | 1166.16 | 974100.25 | 4.44 | 6 | 4.3317 | 3.8985 | NORMAL | 2.5 | FALSE
JY1(PHASE 1) | NORMAL | MALAYSIA | PORT KLANG | 2023-03-06 | 259.42 | 0 | 4.57 | 1186.15 | 993751.24 | 4.57 | 6 | 4.3317 | 3.8985 | NORMAL | 5.5 | FALSE
JY1(PHASE 2) | NORMAL | MALAYSIA | PORT KLANG | 2025-10-07 | 140.74 | 0 | 4.45 | 626.37 | 111764.69 | 4.45 | 6 | 4.3317 | 3.8985 | NORMAL | 2.73 | FALSE
JY2 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-10 | 397.305 | 0 | 4.41 | 1750.52 | 1497631.9 | 4.41 | 6 | 4.3317 | 3.8985 | NORMAL | 1.81 | FALSE
JAYA NETS | NORMAL | MALAYSIA | PORT KLANG | 2024-07-15 | 99 | 0 | 4.27 | 423.08 | 207347.51 | 4.27 | 6 | 4.3317 | 3.8985 | NORMAL | -1.42 | FALSE
SJK (C) TSHING NIAN | FAULTY | MALAYSIA | PORT KLANG | 2026-02-02 | 48.36 | 0 | 3.85 | 186.07 | 14390.18 | 3.85 | 6 | 4.3317 | 3.8985 | UNDERPERFORMING | -11.12 | TRUE
AMEBA MGMT | NORMAL | MALAYSIA | PUCHONG | 2024-01-30 | 18.72 | 0 | 4.29 | 80.4 | 36219.26 | 4.29 | 6 | 4.0417 | 3.6375 | NORMAL | 6.14 | FALSE
IOI MALL PUCHONG (NEW WING) | NORMAL | MALAYSIA | PUCHONG | 2025-01-14 | 544.275 | 0 | 4.29 | 2335.8 | 912053.27 | 4.29 | 6 | 4.0417 | 3.6375 | NORMAL | 6.14 | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | FAULTY | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 0.06 | 3.53 | 8395.02 | 259399.5 | 3.53 | 6 | 4.0417 | 3.6375 | UNDERPERFORMING | -12.66 | TRUE
IOI MALL PUCHONG (OLD WING) | NORMAL | MALAYSIA | PUCHONG | 2025-04-25 | 2193.09 | 0 | 3.26 | 7150.85 | 2442217.37 | 3.26 | 6 | 4.0417 | 3.6375 | UNDERPERFORMING | -19.34 | TRUE
MCC TECHNIQUE SDN BHD LOT 10 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 0 | 4.47 | 138.65 | 25184.13 | 4.47 | 6 | 4.0417 | 3.6375 | NORMAL | 10.6 | FALSE
MCC TECHNIQUE SDN BHD LOT 12 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 0 | 4.41 | 136.59 | 24843.93 | 4.41 | 6 | 4.0417 | 3.6375 | NORMAL | 9.11 | FALSE
BREMFIELD SDN BHD | NORMAL | MALAYSIA | PULAU INDAH | 2024-05-02 | 150.93 | 0 | 4.66 | 703.56 | 398379.19 | 4.66 | 3 | 4.3267 | 3.894 | NORMAL | 7.7 | FALSE
C0149_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-18 | 25.175 | 0 | 3.98 | 100.3 | 93356.78 | 3.98 | 3 | 4.3267 | 3.894 | NORMAL | -8.01 | FALSE
C150_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-17 | 72.2 | 0 | 4.34 | 313.24 | 316959.16 | 4.34 | 3 | 4.3267 | 3.894 | NORMAL | 0.31 | FALSE
FUJI M1 | NORMAL | MALAYSIA | PUNCAK ALAM | 2023-12-23 | 265.005 | 0 | 3.74 | 992.4 | 743845.34 | 3.74 | 4 | 3.845 | 3.4605 | NORMAL | -2.73 | FALSE
FUJI M2 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-04-18 | 264.42 | 0 | 3.89 | 1027.95 | 591979.68 | 3.89 | 4 | 3.845 | 3.4605 | NORMAL | 1.17 | FALSE
FUJI M3 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-02-04 | 264.89 | 0 | 3.37 | 891.92 | 413107.73 | 3.37 | 4 | 3.845 | 3.4605 | UNDERPERFORMING | -12.35 | TRUE
FUJI M4 | NORMAL | MALAYSIA | PUNCAK ALAM | 2025-12-12 | 133.92 | 0 | 4.38 | 586.45 | 70775.73 | 4.38 | 4 | 3.845 | 3.4605 | NORMAL | 13.91 | FALSE
IOI CITY MALL INC. FEEDER 1 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 3049.605 | 0 | 3.9 | 11903.49 | 5766764.2 | 3.9 | 3 | 3.85 | 3.465 | NORMAL | 1.3 | FALSE
IOI CITY MALL INC. FEEDER 2 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 1019.07 | 0 | 3.97 | 4044.31 | 1770946.37 | 3.97 | 3 | 3.85 | 3.465 | NORMAL | 3.12 | FALSE
IOI RESORT VILLA GOLF COURSE | NORMAL | MALAYSIA | PUTRAJAYA | 2024-03-12 | 250.38 | 0 | 3.68 | 920.91 | 490705.97 | 3.68 | 3 | 3.85 | 3.465 | NORMAL | -4.42 | FALSE
MARINE GOLD SDN BHD | OFFLINE | MALAYSIA | RAWANG | 2023-10-28 | 148.5 | 0 | 0 | 0 | 0 | 0 | 6 | 3.16 | 2.844 | UNDERPERFORMING | -100 | TRUE
SCENT PUR MANUFACTURING SDN BHD NO.35 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 0 | 4.1 | 50.82 | 27392.04 | 4.1 | 6 | 3.16 | 2.844 | NORMAL | 29.75 | FALSE
SCENT PUR MANUFACTURING SDN BHD NO.37 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 0 | 4.04 | 50.02 | 27159.5 | 4.04 | 6 | 3.16 | 2.844 | NORMAL | 27.85 | FALSE
WCS UNIT 6 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 21.06 | 0 | 3.48 | 73.34 | 53411.16 | 3.48 | 6 | 3.16 | 2.844 | NORMAL | 10.13 | FALSE
WCS UNIT 7 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 16.38 | 0 | 3.55 | 58.12 | 42105.01 | 3.55 | 6 | 3.16 | 2.844 | NORMAL | 12.34 | FALSE
WCS_HOME | NORMAL | MALAYSIA | RAWANG | 2024-09-13 | 8.85 | 0 | 3.79 | 33.53 | 17404.59 | 3.79 | 6 | 3.16 | 2.844 | NORMAL | 19.94 | FALSE
BM COCO MARKETING | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 0 | 2.9 | 74.05 | 76832.34 | 2.9 | 3 | 3.0833 | 2.775 | NORMAL | -5.95 | FALSE
BM COCO PALM | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 0 | 2.91 | 74.27 | 81380.13 | 2.91 | 3 | 3.0833 | 2.775 | NORMAL | -5.62 | FALSE
CHONG HWA SBR RENGIT | NORMAL | MALAYSIA | RENGIT | 2024-05-28 | 25.155 | 0 | 3.44 | 86.44 | 58144.45 | 3.44 | 3 | 3.0833 | 2.775 | NORMAL | 11.57 | FALSE
SUPERCOWBOY (SEGAMAT) | NORMAL | MALAYSIA | SEGAMAT | 2025-07-23 | 250.75 | 0 | 3.45 | 865.27 | 266376.3 | 3.45 | 1 | 3.45 | 3.105 | NO COMPARISON REQUIRED | 0 | FALSE
DONG SING FOOD LINK SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-12-08 | 71.92 | 0 | 1.97 | 141.7 | 27448.74 | 1.97 | 8 | 3.435 | 3.0915 | UNDERPERFORMING | -42.65 | TRUE
FOX ONE MARKETING SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-01-06 | 91.5 | 0 | 3.3 | 301.95 | 119172.57 | 3.3 | 8 | 3.435 | 3.0915 | NORMAL | -3.93 | FALSE
P.A FOOD SDN BHD 2ATKT | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 47.97 | 0 | 3.21 | 154.22 | 98359.71 | 3.21 | 8 | 3.435 | 3.0915 | NORMAL | -6.55 | FALSE
P.A FOOD SDN BHD LOT 10 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 52.65 | 0 | 3.75 | 197.65 | 103291.71 | 3.75 | 8 | 3.435 | 3.0915 | NORMAL | 9.17 | FALSE
P.A FOOD SDN BHD LOT 12 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 51.48 | 0 | 3.66 | 188.16 | 94467.04 | 3.66 | 8 | 3.435 | 3.0915 | NORMAL | 6.55 | FALSE
P.A. FOOD WAREHOUSE NO. 9 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-28 | 21.06 | 0 | 3.26 | 68.71 | 41791.69 | 3.26 | 8 | 3.435 | 3.0915 | NORMAL | -5.09 | FALSE
YAN JIAN 2 | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 63.86 | 0 | 4.36 | 278.23 | 56167.82 | 4.36 | 8 | 3.435 | 3.0915 | NORMAL | 26.93 | FALSE
YAN JIAN 2A | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 74.4 | 0 | 3.97 | 295.24 | 75007.95 | 3.97 | 8 | 3.435 | 3.0915 | NORMAL | 15.57 | FALSE
LYBASE SDN BHD | NORMAL | MALAYSIA | SENAI | 2024-11-04 | 400.14 | 0 | 2.32 | 929.32 | 425649.35 | 2.32 | 2 | 2.2 | 1.98 | NORMAL | 5.45 | FALSE
SUPERMICRO COMPUTER SDN BHD | NORMAL | MALAYSIA | SENAI | 2025-08-16 | 2550.85 | 0 | 2.08 | 5296.93 | 1665698.91 | 2.08 | 2 | 2.2 | 1.98 | NORMAL | -5.45 | FALSE
ENGE PLAS | NORMAL | MALAYSIA | SENAWANG | 2024-12-10 | 302.4 | 0 | 3.66 | 1105.96 | 466108.81 | 3.66 | 1 | 3.66 | 3.294 | NO COMPARISON REQUIRED | 0 | FALSE
CIC CONTRACT SDN BHD | NORMAL | MALAYSIA | SERI KEMBANGAN | 2023-12-14 | 20.475 | 0 | 3.82 | 78.2 | 59803.95 | 3.82 | 1 | 3.82 | 3.438 | NO COMPARISON REQUIRED | 0 | FALSE
BJC FOOD (MALAYSIA) SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2023-01-10 | 320.46 | 0 | 3.42 | 1095.49 | 1108806.5 | 3.42 | 14 | 4.0043 | 3.6039 | UNDERPERFORMING | -14.59 | TRUE
KUASA BAKTI (PETRON SETIA ALAM) | NORMAL | MALAYSIA | SHAH ALAM | 2025-08-27 | 44.64 | 0 | 4.38 | 195.49 | 30664.18 | 4.38 | 14 | 4.0043 | 3.6039 | NORMAL | 9.38 | FALSE
MARBACH ASIA PACIFIC LOT17 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.02 | 0 | 4.32 | 216.33 | 79285.34 | 4.32 | 14 | 4.0043 | 3.6039 | NORMAL | 7.88 | FALSE
MARBACH ASIA PACIFIC LOT 15 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.05 | 0 | 4.43 | 221.72 | 81974.43 | 4.43 | 14 | 4.0043 | 3.6039 | NORMAL | 10.63 | FALSE
MITSUI COPPER FOIL P3 | NORMAL | MALAYSIA | SHAH ALAM | 2025-06-26 | 706.33 | 0 | 4.65 | 3281.74 | 750185.67 | 4.65 | 14 | 4.0043 | 3.6039 | NORMAL | 16.13 | FALSE
NEW AGE 160 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-17 | 166.67 | 0 | 4.27 | 712.38 | 285164.28 | 4.27 | 14 | 4.0043 | 3.6039 | NORMAL | 6.64 | FALSE
NEW AGE 510 | NORMAL | MALAYSIA | SHAH ALAM | 2024-11-18 | 127.92 | 0 | 4.38 | 560.53 | 252085.93 | 4.38 | 14 | 4.0043 | 3.6039 | NORMAL | 9.38 | FALSE
PKT 8 WAVES | NORMAL | MALAYSIA | SHAH ALAM | 2024-08-13 | 176.67 | 0 | 4.69 | 828.15 | 260212.71 | 4.69 | 14 | 4.0043 | 3.6039 | NORMAL | 17.12 | FALSE
QL MAXINCOME | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-05 | 79.3 | 0 | 4.4 | 348.95 | 112314.9 | 4.4 | 14 | 4.0043 | 3.6039 | NORMAL | 9.88 | FALSE
QL LOT 14 | NORMAL | MALAYSIA | SHAH ALAM | 2025-02-24 | 61.61 | 0 | 4.38 | 269.64 | 84735.56 | 4.38 | 14 | 4.0043 | 3.6039 | NORMAL | 9.38 | FALSE
QL LOT 16 | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-01 | 64.05 | 0 | 4.21 | 269.75 | 86624.9 | 4.21 | 14 | 4.0043 | 3.6039 | NORMAL | 5.14 | FALSE
SAN SOON SENG FOOD INDUSTRIES SDN BHD | NORMAL | MALAYSIA | SHAH ALAM | 2025-10-02 | 1292.7 | 0 | 4.15 | 5366.5 | 743058.99 | 4.15 | 14 | 4.0043 | 3.6039 | NORMAL | 3.64 | FALSE
SUCCESFUEL SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2024-10-22 | 90.86 | 0 | 4.38 | 398.03 | 161853.36 | 4.38 | 14 | 4.0043 | 3.6039 | NORMAL | 9.38 | FALSE
THOR SPECIALTIES | OFFLINE | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 0 | 0 | 0 | 0 | 0 | 14 | 4.0043 | 3.6039 | UNDERPERFORMING | -100 | TRUE
FURUTEC | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-07-06 | 132.21 | 0 | 3.43 | 453.88 | 299202.74 | 3.43 | 3 | 3.3867 | 3.048 | NORMAL | 1.28 | FALSE
PERBADANAN PENGURUSAN VILLA RAINTREE II | NORMAL | MALAYSIA | SIMPANG AMPAT | 2025-04-18 | 25.83 | 0 | 3.07 | 79.27 | 36628.59 | 3.07 | 3 | 3.3867 | 3.048 | NORMAL | -9.35 | FALSE
THP MEDICAL | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-01-08 | 377.325 | 0 | 3.66 | 1379.63 | 1176191.6 | 3.66 | 3 | 3.3867 | 3.048 | NORMAL | 8.07 | FALSE
JEBSEN AND JESSEN MALAYSIA SDN BHD (MHE) | NORMAL | MALAYSIA | SIMPANG RENGGAM | 2025-05-24 | 184.76 | 0 | 3.11 | 574.05 | 168088.22 | 3.11 | 1 | 3.11 | 2.799 | NO COMPARISON REQUIRED | 0 | FALSE
ATS AIR SOLUTION | NORMAL | MALAYSIA | SUBANG JAYA | 2024-02-08 | 22.23 | 0 | 4.18 | 92.91 | 59687.92 | 4.18 | 2 | 2.09 | 1.881 | NORMAL | 100 | FALSE
BOILERMECH LOT 873 | OFFLINE | MALAYSIA | SUBANG JAYA | 2025-09-15 | 280.5 | 0 | 0 | 0 | 0 | 0 | 2 | 2.09 | 1.881 | UNDERPERFORMING | -100 | TRUE
KILANG BATU BATA | NORMAL | MALAYSIA | SUNGAI SIPUT | 2025-06-27 | 545.505 | 0 | 2.18 | 1187.91 | 524788.87 | 2.18 | 1 | 2.18 | 1.962 | NO COMPARISON REQUIRED | 0 | FALSE
FARM FRESH TAIPING (FACTORY) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 190.125 | 0 | 4.15 | 789.84 | 481835.09 | 4.15 | 3 | 3.8567 | 3.471 | NORMAL | 7.61 | FALSE
FARM FRESH TAIPING (FARM) | OFFLINE | MALAYSIA | TAIPING | 2024-06-14 | 335.79 | 0 | 3.93 | 1318.34 | 736970.37 | 3.93 | 3 | 3.8567 | 3.471 | NORMAL | 1.9 | FALSE
QL FOODS | NORMAL | MALAYSIA | TAIPING | 2024-10-03 | 2061.225 | 0 | 3.49 | 7195.08 | 3488478.67 | 3.49 | 3 | 3.8567 | 3.471 | NORMAL | -9.51 | FALSE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 0 | 0 | 0 | 0 | 0 | 0 | 5 | 1.95 | 1.755 | UNDERPERFORMING | -100 | TRUE
QL TAWAU FEEDMILL | NORMAL | MALAYSIA | TAWAU | 2025-11-05 | 317.2 | 0 | 3.07 | 974.45 | 59335.49 | 3.07 | 5 | 1.95 | 1.755 | NORMAL | 57.44 | FALSE
SABAH CHINESE HIGH SCHOOL (CANTEEN) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 26.91 | 0 | 1.78 | 47.92 | 13706.39 | 1.78 | 5 | 1.95 | 1.755 | NORMAL | -8.72 | FALSE
SABAH CHINESE HIGH SCHOOL (CULTURE AND EDUCATION) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.768 | 0 | 1.87 | 176.76 | 34314.46 | 1.87 | 5 | 1.95 | 1.755 | NORMAL | -4.1 | FALSE
SABAH CHINESE HIGH SCHOOL (TAK YUEN BUILDING) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.77 | 0 | 3.03 | 287.03 | 73285.18 | 3.03 | 5 | 1.95 | 1.755 | NORMAL | 55.38 | FALSE
CHAN KAH WHYE | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-01-20 | 14.75 | 0 | 4.06 | 59.95 | 22341.06 | 4.06 | 3 | 3.9 | 3.51 | NORMAL | 4.1 | FALSE
DSG MALAYSIA SDN. BHD | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2022-11-24 | 2310.255 | 0 | 2.91 | 6721.27 | 6354698.09 | 2.91 | 3 | 3.9 | 3.51 | UNDERPERFORMING | -25.38 | TRUE
LAM SOON EDIBLE OILS | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-07-04 | 86.8 | 0 | 4.73 | 410.21 | 105946.11 | 4.73 | 3 | 3.9 | 3.51 | NORMAL | 21.28 | FALSE
LAU AND TAN PHARMACY (1ST FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 12.375 | 0 | 3.77 | 46.67 | 49143.76 | 3.77 | 2 | 3.33 | 2.997 | NORMAL | 13.21 | FALSE
LAU AND TAN PHARMACY (G.FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 38.115 | 0 | 2.89 | 110.15 | 179762.21 | 2.89 | 2 | 3.33 | 2.997 | UNDERPERFORMING | -13.21 | TRUE
WASCO PIPE SDN BHD (COATING) | NORMAL | MALAYSIA | TUARAN | 2026-02-12 | 350.92 | 0 | 0.84 | 294.27 | 5823.22 | 0.84 | 2 | 1.23 | 1.107 | UNDERPERFORMING | -31.71 | TRUE
WASCO PIPE SDN BHD (MILL) | OFFLINE | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 1.62 | 1380.07 | 22229.3 | 1.62 | 2 | 1.23 | 1.107 | NORMAL | 31.71 | FALSE