## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 0 | 5.3 | 4815.72 | 251070.13 | 5.3 | 5 | 4.43 | 3.987 | NORMAL | 19.64 | FALSE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 0 | 6.09 | 1463.94 | 10038.02 | 6.09 | 5 | 4.43 | 3.987 | NORMAL | 37.47 | FALSE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 0 | 3.61 | 259.63 | 4362.47 | 3.61 | 5 | 4.43 | 3.987 | UNDERPERFORMING | -18.51 | TRUE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 0 | 0.71 | 36.78 | 844.02 | 0.71 | 5 | 4.43 | 3.987 | UNDERPERFORMING | -83.97 | TRUE
VINDA PHASE 4 (MSB 3-2) | NORMAL | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 0 | 6.44 | 13652.71 | 509021.65 | 6.44 | 5 | 4.43 | 3.987 | NORMAL | 45.37 | FALSE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 220.1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | NORMAL | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 0 | 3.88 | 9228.83 | 291118.64 | 3.88 | 1 | 3.88 | 3.492 | NO COMPARISON REQUIRED | 0 | FALSE
THOR SPECIALTIES | NORMAL | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 0 | 3.94 | 359.04 | 3267.58 | 3.94 | 1 | 3.94 | 3.546 | NO COMPARISON REQUIRED | 0 | FALSE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 533.82 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
WASCO PIPE SDN BHD (MILL) | NORMAL | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 2.71 | 2301.29 | 26347.56 | 2.71 | 1 | 2.71 | 2.439 | NO COMPARISON REQUIRED | 0 | FALSE