## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 0 | 2.34 | 2129.95 | 253200.08 | 2.34 | 5 | 2.37 | 2.133 | NORMAL | -1.27 | FALSE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 0 | 3.19 | 768.55 | 10806.57 | 3.19 | 5 | 2.37 | 2.133 | NORMAL | 34.6 | FALSE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 0 | 2.12 | 152.16 | 4514.63 | 2.12 | 5 | 2.37 | 2.133 | UNDERPERFORMING | -10.55 | TRUE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 0 | 1.04 | 54.14 | 898.16 | 1.04 | 5 | 2.37 | 2.133 | UNDERPERFORMING | -56.12 | TRUE
VINDA PHASE 4 (MSB 3-2) | NORMAL | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 0 | 3.16 | 6694.43 | 515716.08 | 3.16 | 5 | 2.37 | 2.133 | NORMAL | 33.33 | FALSE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 220.1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | NORMAL | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 0 | 1.48 | 3513.18 | 294631.82 | 1.48 | 1 | 1.48 | 1.332 | NO COMPARISON REQUIRED | 0 | FALSE
THOR SPECIALTIES | NORMAL | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 0 | 1.86 | 169.93 | 3437.51 | 1.86 | 1 | 1.86 | 1.674 | NO COMPARISON REQUIRED | 0 | FALSE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 533.82 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
WASCO PIPE SDN BHD (MILL) | NORMAL | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 2.93 | 2493.64 | 28841.22 | 2.93 | 1 | 2.93 | 2.637 | NO COMPARISON REQUIRED | 0 | FALSE