## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
TS UNITED METAL | NORMAL | MALAYSIA | ALOR GAJAH | 2024-05-16 | 25.155 | 0 | 3.08 | 77.38 | 70895.89 | 3.08 | 1 | 3.08 | 2.772 | NO COMPARISON REQUIRED | 0 | FALSE
BIMB BDR PENAWAR - 1ST FLOOR | OFFLINE | MALAYSIA | BANDAR PENAWAR | 2025-04-28 | 15.47 | 0 | 0 | 0 | 0 | 0 | 2 | 0.26 | 0.234 | UNDERPERFORMING | -100 | TRUE
BIMB BDR PENAWAR - G FLOOR | NORMAL | MALAYSIA | BANDAR PENAWAR | 2025-04-29 | 15.47 | 0 | 0.52 | 8.07 | 1818.36 | 0.52 | 2 | 0.26 | 0.234 | NORMAL | 100 | FALSE
KOMPLEX PKNS BANGI | NORMAL | MALAYSIA | BANGI | 2024-09-04 | 379.08 | 0 | 2.28 | 866.09 | 450078.19 | 2.28 | 1 | 2.28 | 2.052 | NO COMPARISON REQUIRED | 0 | FALSE
JIANN LIH SAFETY PRODUCT | NORMAL | MALAYSIA | BANTING | 2024-03-21 | 475.605 | 0 | 2.57 | 1223.32 | 839225.78 | 2.57 | 1 | 2.57 | 2.313 | NO COMPARISON REQUIRED | 0 | FALSE
C0102_QL BATANG KALI | NORMAL | MALAYSIA | BATANG KALI | 2022-02-24 | 526 | 0 | 5.09 | 2679.46 | 2978142.52 | 5.09 | 1 | 5.09 | 4.581 | NO COMPARISON REQUIRED | 0 | FALSE
BP PLASTICS BP9 | FAULTY | MALAYSIA | BATU PAHAT | 2025-07-22 | 2979.1 | 0 | 1.09 | 3260.07 | 3366764.4 | 1.09 | 3 | 1.4067 | 1.266 | UNDERPERFORMING | -22.51 | TRUE
BP PLASTICS HQ | NORMAL | MALAYSIA | BATU PAHAT | 2025-01-16 | 1063.425 | 0 | 1.61 | 1708.52 | 1855339.76 | 1.61 | 3 | 1.4067 | 1.266 | NORMAL | 14.45 | FALSE
CK PACKAGING AND PLASTIC INDUSTRIES | NORMAL | MALAYSIA | BATU PAHAT | 2026-01-19 | 138.88 | 0 | 1.52 | 211.03 | 63817.75 | 1.52 | 3 | 1.4067 | 1.266 | NORMAL | 8.06 | FALSE
GUH METER 1 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 210.6 | 0 | 2.02 | 424.92 | 544428.22 | 2.02 | 3 | 1.9467 | 1.752 | NORMAL | 3.77 | FALSE
GUH METER 2 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 278.46 | 0 | 1.9 | 530.14 | 678631.5 | 1.9 | 3 | 1.9467 | 1.752 | NORMAL | -2.4 | FALSE
GUH METER 3 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-05-04 | 534.69 | 0 | 1.92 | 1028.64 | 1337023.63 | 1.92 | 3 | 1.9467 | 1.752 | NORMAL | -1.37 | FALSE
TELEWIRING | NORMAL | MALAYSIA | CHENG | 2024-05-16 | 25.155 | 0 | 2.88 | 72.41 | 66219.85 | 2.88 | 1 | 2.88 | 2.592 | NO COMPARISON REQUIRED | 0 | FALSE
C0176_GETHA | OFFLINE | MALAYSIA | CHERAS | 2023-03-01 | 178.215 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
C0172_ATRIA NORTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 130.8 | 0 | 2.37 | 309.36 | 395219.09 | 2.37 | 3 | 1.7467 | 1.572 | NORMAL | 35.69 | FALSE
C0172_ATRIA SOUTH | OFFLINE | MALAYSIA | DAMANSARA | 2023-06-06 | 287.76 | 0 | 0 | 0 | 0 | 0 | 3 | 1.7467 | 1.572 | UNDERPERFORMING | -100 | TRUE
RESTORAN CHIMAEK (KFRY) | NORMAL | MALAYSIA | DAMANSARA | 2024-10-25 | 24.4 | 0 | 2.87 | 69.99 | 49439.02 | 2.87 | 3 | 1.7467 | 1.572 | NORMAL | 64.31 | FALSE
QL ENDAU DEEP SEA FISHING | NORMAL | MALAYSIA | ENDAU | 2025-09-04 | 897.76 | 0 | 1.85 | 1662.29 | 679285.25 | 1.85 | 1 | 1.85 | 1.665 | NO COMPARISON REQUIRED | 0 | FALSE
PROGUARD SAFETY MANUFACTURING SDN BHD | NORMAL | MALAYSIA | HULU LANGAT | 2022-12-30 | 202.195 | 0 | 1.9 | 383.42 | 580861.14 | 1.9 | 1 | 1.9 | 1.71 | NO COMPARISON REQUIRED | 0 | FALSE
GLASS PLASTIC PACKAGING | NORMAL | MALAYSIA | IPOH | 2025-04-19 | 704.94 | 0 | 3.34 | 2355.87 | 899785.42 | 3.34 | 3 | 3.2533 | 2.928 | NORMAL | 2.66 | FALSE
SWH INDUSTRIES (PLOT 132113) | FAULTY | MALAYSIA | IPOH | 2024-05-21 | 752.98 | 0 | 3.28 | 2473.34 | 1761763.36 | 3.28 | 3 | 3.2533 | 2.928 | NORMAL | 0.82 | FALSE
SWH INDUSTRIES (PLOT6311) | NORMAL | MALAYSIA | IPOH | 2025-01-15 | 204.96 | 0 | 3.14 | 643.23 | 345249.67 | 3.14 | 3 | 3.2533 | 2.928 | NORMAL | -3.48 | FALSE
PLEASURE LATEX | NORMAL | MALAYSIA | JERAM | 2023-07-25 | 520.3 | 0 | 2.89 | 1503.3 | 1764561.8 | 2.89 | 2 | 1.445 | 1.3005 | NORMAL | 100 | FALSE
PLEASURE LATEX PHASE 2 | OFFLINE | MALAYSIA | JERAM | 2024-12-20 | 1010.295 | 0 | 0 | 0 | 0 | 0 | 2 | 1.445 | 1.3005 | UNDERPERFORMING | -100 | TRUE
FOX ONE LOT 14 | NORMAL | MALAYSIA | KAJANG | 2025-08-13 | 91.76 | 0 | 2.48 | 227.5 | 69742.26 | 2.48 | 9 | 2.2644 | 2.038 | NORMAL | 9.52 | FALSE
FOX ONE LOT 8 | NORMAL | MALAYSIA | KAJANG | 2026-01-28 | 91.76 | 0 | 2.51 | 229.88 | 31184.57 | 2.51 | 9 | 2.2644 | 2.038 | NORMAL | 10.84 | FALSE
IOI KNOWLEDGE VISION SDN BHD | NORMAL | MALAYSIA | KAJANG | 2025-06-19 | 71.92 | 0 | 2.52 | 180.95 | 85762.88 | 2.52 | 9 | 2.2644 | 2.038 | NORMAL | 11.29 | FALSE
IOI MAYANG DEVELOPMENT | NORMAL | MALAYSIA | KAJANG | 2025-07-18 | 71.92 | 0 | 2.2 | 157.9 | 55216.06 | 2.2 | 9 | 2.2644 | 2.038 | NORMAL | -2.85 | FALSE
LKW FROZEN SDN BHD | NORMAL | MALAYSIA | KAJANG | 2024-05-12 | 54.99 | 0 | 2.12 | 116.49 | 98997.37 | 2.12 | 9 | 2.2644 | 2.038 | NORMAL | -6.38 | FALSE
P.A. FOOD SDN. BHD. | NORMAL | MALAYSIA | KAJANG | 2024-05-07 | 25.155 | 0 | 2.34 | 58.74 | 65040.2 | 2.34 | 9 | 2.2644 | 2.038 | NORMAL | 3.34 | FALSE
UCS_BLOCK A | OFFLINE | MALAYSIA | KAJANG | 2022-07-24 | 125 | 0 | 1.98 | 248.01 | 493357.09 | 1.98 | 9 | 2.2644 | 2.038 | UNDERPERFORMING | -12.56 | TRUE
UCS_BLOCK B | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 135 | 0 | 2.15 | 290.43 | 573002.81 | 2.15 | 9 | 2.2644 | 2.038 | NORMAL | -5.05 | FALSE
UCS_BLOCK C | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 185.5 | 0 | 2.08 | 385.48 | 789098.89 | 2.08 | 9 | 2.2644 | 2.038 | NORMAL | -8.15 | FALSE
FDP AND MTB INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KERLING | 2026-01-25 | 186 | 0 | 3.67 | 682.33 | 13572.12 | 3.67 | 1 | 3.67 | 3.303 | NO COMPARISON REQUIRED | 0 | FALSE
AMT PC DISTRIBUTORS SDN. BHD. | NORMAL | MALAYSIA | KLANG | 2024-01-04 | 88.335 | 0 | 2.6 | 229.45 | 259697.57 | 2.6 | 35 | 2.1006 | 1.8905 | NORMAL | 23.78 | FALSE
ASHITA COMMUNICATION | OFFLINE | MALAYSIA | KLANG | 2025-11-03 | 91.76 | 0 | 0 | 0 | 0 | 0 | 35 | 2.1006 | 1.8905 | UNDERPERFORMING | -100 | TRUE
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 0 | 2.37 | 2154.49 | 255354.57 | 2.37 | 35 | 2.1006 | 1.8905 | NORMAL | 12.83 | FALSE
ADVANCE VI TECH LOT 1629 | NORMAL | MALAYSIA | KLANG | 2024-10-27 | 240.13 | 0 | 2.34 | 561.02 | 417955.19 | 2.34 | 35 | 2.1006 | 1.8905 | NORMAL | 11.4 | FALSE
BUNCHO (M) SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-10-01 | 91.14 | 0 | 2.4 | 219.11 | 35940.45 | 2.4 | 35 | 2.1006 | 1.8905 | NORMAL | 14.25 | FALSE
HOON YUEN FURNITURE | NORMAL | MALAYSIA | KLANG | 2023-11-20 | 88.335 | 0 | 2.22 | 196.4 | 246506.71 | 2.22 | 35 | 2.1006 | 1.8905 | NORMAL | 5.69 | FALSE
KCCCI 2FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 4.13 | 0 | 2.11 | 8.71 | 5338.24 | 2.11 | 35 | 2.1006 | 1.8905 | NORMAL | 0.45 | FALSE
KCCCI FIRST FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 15.34 | 0 | 2.22 | 34.02 | 21452.53 | 2.22 | 35 | 2.1006 | 1.8905 | NORMAL | 5.69 | FALSE
KCCCI GROUND FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 3.54 | 0 | 2.17 | 7.68 | 4573.19 | 2.17 | 35 | 2.1006 | 1.8905 | NORMAL | 3.31 | FALSE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 0 | 3 | 722.23 | 11528.8 | 3 | 35 | 2.1006 | 1.8905 | NORMAL | 42.82 | FALSE
KAMMA KLANG ENTERPRISE | NORMAL | MALAYSIA | KLANG | 2023-03-28 | 88 | 0 | 2.19 | 193.12 | 337019.79 | 2.19 | 35 | 2.1006 | 1.8905 | NORMAL | 4.26 | FALSE
KWANG HUA PERSENDIRIAN METER 2-3-4-5-6 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 302.475 | 0 | 1.55 | 469.4 | 1118693.69 | 1.55 | 35 | 2.1006 | 1.8905 | UNDERPERFORMING | -26.21 | TRUE
LIAN TECK SENG LOT 11 | OFFLINE | MALAYSIA | KLANG | 2025-05-06 | 18.04 | 0 | 0 | 0 | 0 | 0 | 35 | 2.1006 | 1.8905 | UNDERPERFORMING | -100 | TRUE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 0 | 1.94 | 139.34 | 4653.97 | 1.94 | 35 | 2.1006 | 1.8905 | NORMAL | -7.64 | FALSE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 0 | 0.87 | 45.06 | 943.22 | 0.87 | 35 | 2.1006 | 1.8905 | UNDERPERFORMING | -58.58 | TRUE
MEWAH OILS SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-12-01 | 220.1 | 0 | 2.94 | 647.11 | 30213.73 | 2.94 | 35 | 2.1006 | 1.8905 | NORMAL | 39.96 | FALSE
MIAW FRESH | OFFLINE | MALAYSIA | KLANG | 2024-05-31 | 24.57 | 0 | 0 | 0 | 57463.87 | 0 | 35 | 2.1006 | 1.8905 | UNDERPERFORMING | -100 | TRUE
MAXTWO ENGINEERING (FACTORY) | NORMAL | MALAYSIA | KLANG | 2025-04-21 | 35.38 | 0 | 2.58 | 91.32 | 36486.39 | 2.58 | 35 | 2.1006 | 1.8905 | NORMAL | 22.82 | FALSE
PKT THE SHIP | NORMAL | MALAYSIA | KLANG | 2025-01-21 | 1068.21 | 0 | 2.12 | 2266.15 | 1269342.9 | 2.12 | 35 | 2.1006 | 1.8905 | NORMAL | 0.92 | FALSE
ROYAL KLANG CLUB | NORMAL | MALAYSIA | KLANG | 2025-07-14 | 91.76 | 0 | 2.26 | 207.82 | 87546.56 | 2.26 | 35 | 2.1006 | 1.8905 | NORMAL | 7.59 | FALSE
RS POLY INDUSTRY | NORMAL | MALAYSIA | KLANG | 2024-08-02 | 727.155 | 0 | 2.54 | 1845.96 | 1450861.64 | 2.54 | 35 | 2.1006 | 1.8905 | NORMAL | 20.92 | FALSE
SIME KANSAI PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-09-17 | 123.825 | 0 | 2.2 | 271.9 | 103427 | 2.2 | 35 | 2.1006 | 1.8905 | NORMAL | 4.73 | FALSE
SJK (C) WU TECK | NORMAL | MALAYSIA | KLANG | 2025-12-25 | 71.92 | 0 | 2.48 | 178.26 | 40651.72 | 2.48 | 35 | 2.1006 | 1.8905 | NORMAL | 18.06 | FALSE
SJK （ C ） PIN HWA 1 | NORMAL | MALAYSIA | KLANG | 2025-09-23 | 183.52 | 0 | 2.48 | 454.73 | 114167.32 | 2.48 | 35 | 2.1006 | 1.8905 | NORMAL | 18.06 | FALSE
SM CHUNG CHUNG HUA (PSDN) KLANG | NORMAL | MALAYSIA | KLANG | 2022-02-14 | 420.195 | 0 | 2.18 | 914.58 | 326833.61 | 2.18 | 35 | 2.1006 | 1.8905 | NORMAL | 3.78 | FALSE
SP LOGISTICS SDN BHD | NORMAL | MALAYSIA | KLANG | 2024-06-14 | 90.675 | 0 | 2.07 | 187.85 | 200302.19 | 2.07 | 35 | 2.1006 | 1.8905 | NORMAL | -1.46 | FALSE
TOMEI | NORMAL | MALAYSIA | KLANG | 2024-11-07 | 215.28 | 0 | 2.34 | 504.2 | 348311.83 | 2.34 | 35 | 2.1006 | 1.8905 | NORMAL | 11.4 | FALSE
TEMBIKAR WEI KHING | NORMAL | MALAYSIA | KLANG | 2025-01-27 | 977.22 | 0 | 2.36 | 2303.5 | 1152228.62 | 2.36 | 35 | 2.1006 | 1.8905 | NORMAL | 12.35 | FALSE
TONG SEH | NORMAL | MALAYSIA | KLANG | 2024-01-18 | 260.91 | 0 | 2.23 | 581.91 | 671761.37 | 2.23 | 35 | 2.1006 | 1.8905 | NORMAL | 6.16 | FALSE
UC BLASTING PAINTING | NORMAL | MALAYSIA | KLANG | 2024-05-08 | 219.96 | 0 | 2.35 | 516.46 | 566777.71 | 2.35 | 35 | 2.1006 | 1.8905 | NORMAL | 11.87 | FALSE
VINDA PHASE 4 (MSB 3-2) | NORMAL | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 0 | 3 | 6362.46 | 522078.54 | 3 | 35 | 2.1006 | 1.8905 | NORMAL | 42.82 | FALSE
VISKO INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KLANG | 2023-07-07 | 948.75 | 0 | 2.61 | 2478.85 | 3295434.32 | 2.61 | 35 | 2.1006 | 1.8905 | NORMAL | 24.25 | FALSE
VINDA PHASE 1 AND 2 (MSB 2) | NORMAL | MALAYSIA | KLANG | 2023-08-20 | 2561.65 | 0 | 2.43 | 6212.88 | 7293447.14 | 2.43 | 35 | 2.1006 | 1.8905 | NORMAL | 15.68 | FALSE
VINDA PHASE 3 (MSB 3-1) | NORMAL | MALAYSIA | KLANG | 2024-06-28 | 1502.28 | 0 | 2.45 | 3682.82 | 4799844.87 | 2.45 | 35 | 2.1006 | 1.8905 | NORMAL | 16.63 | FALSE
KWANG HUA PERSENDIRIAN METER 1 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 73.03 | 0 | 1.92 | 139.98 | 343384.21 | 1.92 | 35 | 2.1006 | 1.8905 | NORMAL | -8.6 | FALSE
APEX UNIPARTS | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 41.535 | 0 | 1.39 | 57.61 | 97303.94 | 1.39 | 3 | 1.3867 | 1.248 | NORMAL | 0.24 | FALSE
KLUANG COFFEE POWDER | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 25.135 | 0 | 1.39 | 35.06 | 64305.46 | 1.39 | 3 | 1.3867 | 1.248 | NORMAL | 0.24 | FALSE
SAWIPAC SDN BHD | NORMAL | MALAYSIA | KLUANG | 2025-09-04 | 44.28 | 0 | 1.38 | 61.08 | 33902.73 | 1.38 | 3 | 1.3867 | 1.248 | NORMAL | -0.48 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2025-02-22 | 25.83 | 0 | 4.83 | 124.75 | 42518.13 | 4.83 | 3 | 4.3867 | 3.948 | NORMAL | 10.11 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 0 | 4.49 | 39.78 | 12763.42 | 4.49 | 3 | 4.3867 | 3.948 | NORMAL | 2.36 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 2) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 0 | 3.84 | 33.97 | 11978.22 | 3.84 | 3 | 4.3867 | 3.948 | UNDERPERFORMING | -12.46 | TRUE
SUCCESS ELECTRONIC LOT 3 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-29 | 251.72 | 0 | 2.86 | 718.79 | 94481.41 | 2.86 | 2 | 2.385 | 2.1465 | NORMAL | 19.92 | FALSE
SUCCESS ELECTRONIC LOT 7 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-31 | 395.56 | 0 | 1.91 | 755.81 | 123637.89 | 1.91 | 2 | 2.385 | 2.1465 | UNDERPERFORMING | -19.92 | TRUE
QL AGROFOOD SDN BHD | NORMAL | MALAYSIA | KOTA KINABALU | 2025-06-25 | 409.92 | 0 | 1.23 | 504.18 | 290632.03 | 1.23 | 1 | 1.23 | 1.107 | NO COMPARISON REQUIRED | 0 | FALSE
KIARA BAY | NORMAL | MALAYSIA | KUALA LUMPUR | 2025-01-21 | 1004.18 | 0 | 2.68 | 2687.56 | 1392108.58 | 2.68 | 3 | 2.47 | 2.223 | NORMAL | 8.5 | FALSE
MENARA PJD | NORMAL | MALAYSIA | KUALA LUMPUR | 2024-05-18 | 80.145 | 0 | 2.6 | 208.06 | 155277.09 | 2.6 | 3 | 2.47 | 2.223 | NORMAL | 5.26 | FALSE
TOA PAINT KEPONG WAREHOUSE | OFFLINE | MALAYSIA | KUALA LUMPUR | 2023-11-02 | 25.74 | 0 | 2.13 | 54.88 | 78243.03 | 2.13 | 3 | 2.47 | 2.223 | UNDERPERFORMING | -13.77 | TRUE
QL ENDAU MARINE | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-08-01 | 430.28 | 0 | 1.86 | 799.39 | 504732 | 1.86 | 2 | 1.28 | 1.152 | NORMAL | 45.31 | FALSE
TIMURIKAN TRENGGANU MARINE PRODUCTS SDN BHD | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-12-08 | 260.4 | 0 | 0.7 | 182.07 | 17334.81 | 0.7 | 2 | 1.28 | 1.152 | UNDERPERFORMING | -45.31 | TRUE
AFI BRAKE MANUFACTURING SDN BHD | NORMAL | MALAYSIA | KUALA TERENGGANU | 2023-10-02 | 454.3 | 0 | 2.79 | 1265.6 | 1336900.19 | 2.79 | 3 | 1.87 | 1.683 | NORMAL | 49.2 | FALSE
AFI METAL | NORMAL | MALAYSIA | KUALA TERENGGANU | 2024-03-14 | 55.35 | 0 | 2.82 | 156.19 | 125633.72 | 2.82 | 3 | 1.87 | 1.683 | NORMAL | 50.8 | FALSE
REDANG LAGOON RESORT | OFFLINE | MALAYSIA | KUALA TERENGGANU | 2023-02-16 | 53.41 | 0 | 0 | 0 | 0 | 0 | 3 | 1.87 | 1.683 | UNDERPERFORMING | -100 | TRUE
C0156_DENIM CODE | NORMAL | MALAYSIA | KULIM | 2022-09-04 | 86.445 | 0 | 3.09 | 267.07 | 378986.44 | 3.09 | 1 | 3.09 | 2.781 | NO COMPARISON REQUIRED | 0 | FALSE
ECO OILS - LAHAD DATU | NORMAL | MALAYSIA | LAHAD DATU | 2024-10-15 | 39.78 | 0 | 2.74 | 108.85 | 60407.06 | 2.74 | 1 | 2.74 | 2.466 | NO COMPARISON REQUIRED | 0 | FALSE
LUNAS JAYA PETROL SDN BHD | NORMAL | MALAYSIA | LUNAS | 2025-03-19 | 25.86 | 0 | 3.28 | 84.91 | 33926.11 | 3.28 | 1 | 3.28 | 2.952 | NO COMPARISON REQUIRED | 0 | FALSE
QL PAJAM PHASE 2 | NORMAL | MALAYSIA | MANTIN | 2025-08-05 | 566.68 | 0 | 4754.19 | 2694102.61 | 3167887.03 | 4754.19 | 1 | 4754.19 | 4278.771 | NO COMPARISON REQUIRED | 0 | FALSE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 220.1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
FIBERTEX PHASE 2 | NORMAL | MALAYSIA | NILAI | 2024-08-30 | 1251.704 | 0 | 2.77 | 3463.93 | 3188051.44 | 2.77 | 2 | 2.4 | 2.16 | NORMAL | 15.42 | FALSE
WEIDA MARKETING SDN. BHD. | NORMAL | MALAYSIA | NILAI | 2022-12-01 | 500.31 | 0 | 2.03 | 1014.43 | 1719924.73 | 2.03 | 2 | 2.4 | 2.16 | UNDERPERFORMING | -15.42 | TRUE
KLH SDN BHD | NORMAL | MALAYSIA | PADANG SERAI | 2024-09-05 | 265.005 | 0 | 2.78 | 736.49 | 459270.36 | 2.78 | 1 | 2.78 | 2.502 | NO COMPARISON REQUIRED | 0 | FALSE
QL AGROVENTURE | NORMAL | MALAYSIA | PAPAR | 2022-05-19 | 418.965 | 0 | 0.77 | 320.79 | 1348734.95 | 0.77 | 1 | 0.77 | 0.693 | NO COMPARISON REQUIRED | 0 | FALSE
ECOOILS (PHASE 2) - P.GUDANG | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-13 | 38.61 | 0 | 0.43 | 16.56 | 41904.68 | 0.43 | 4 | 0.3925 | 0.35325 | NORMAL | 9.55 | FALSE
IOI PAN - CENTURY | NORMAL | MALAYSIA | PASIR GUDANG | 2023-05-31 | 116.815 | 0 | 0.56 | 64.98 | 275814.62 | 0.56 | 4 | 0.3925 | 0.35325 | NORMAL | 42.68 | FALSE
KISWIRE CORD PHASE 1 (DATA) | OFFLINE | MALAYSIA | PASIR GUDANG | 2023-10-24 | 1248.5 | 0 | 0 | 0 | 0 | 0 | 4 | 0.3925 | 0.35325 | UNDERPERFORMING | -100 | TRUE
KISWIRE CORD SDN BHD | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-03 | 4732.09 | 0 | 0.58 | 2744.94 | 5187523.24 | 0.58 | 4 | 0.3925 | 0.35325 | NORMAL | 47.77 | FALSE
KB AIS SDN. BHD. | NORMAL | MALAYSIA | PASIR MAS | 2022-07-23 | 49.05 | 0 | 3.51 | 172.39 | 234608.48 | 3.51 | 1 | 3.51 | 3.159 | NO COMPARISON REQUIRED | 0 | FALSE
BRC INDUSTRIES | NORMAL | MALAYSIA | PENANG | 2024-05-26 | 162.63 | 0 | 2.45 | 397.93 | 407891.66 | 2.45 | 3 | 2.1867 | 1.968 | NORMAL | 12.04 | FALSE
LEAN GIAP ENTERPRISE SDN BHD | NORMAL | MALAYSIA | PENANG | 2024-03-13 | 7.02 | 0 | 2.01 | 14.09 | 20050.77 | 2.01 | 3 | 2.1867 | 1.968 | NORMAL | -8.08 | FALSE
PKT 12 WAVES | NORMAL | MALAYSIA | PENANG | 2025-02-05 | 1337.31 | 0 | 2.1 | 2805.22 | 1399193.22 | 2.1 | 3 | 2.1867 | 1.968 | NORMAL | -3.96 | FALSE
PENGERANG INDEPENDENT TERMINAL | FAULTY | MALAYSIA | PENGERANG | 2024-10-24 | 718.965 | 0 | 0.43 | 308.13 | 1246299.4 | 0.43 | 1 | 0.43 | 0.387 | NO COMPARISON REQUIRED | 0 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 2) | NORMAL | MALAYSIA | PENGKALAN CHEPA | 2025-02-20 | 25.83 | 0 | 4.84 | 125.06 | 44340.75 | 4.84 | 1 | 4.84 | 4.356 | NO COMPARISON REQUIRED | 0 | FALSE
DURASAFE SDN. BHD. | NORMAL | MALAYSIA | PERAI | 2024-12-02 | 91.5 | 0 | 2.36 | 215.93 | 180953.71 | 2.36 | 3 | 2.3433 | 2.109 | NORMAL | 0.71 | FALSE
MULTI CHOICE (M) SDN BHD | NORMAL | MALAYSIA | PERAI | 2025-10-26 | 423.46 | 0 | 2.24 | 949.71 | 219544.59 | 2.24 | 3 | 2.3433 | 2.109 | NORMAL | -4.41 | FALSE
TEONG HUAT MEDICAL | NORMAL | MALAYSIA | PERAI | 2025-11-26 | 349.32 | 0 | 2.43 | 848.49 | 108490.9 | 2.43 | 3 | 2.3433 | 2.109 | NORMAL | 3.7 | FALSE
GEMILITE SDN BERHAD | NORMAL | MALAYSIA | PETALING JAYA | 2025-02-20 | 39.36 | 0 | 2.43 | 95.8 | 54792.36 | 2.43 | 3 | 1.12 | 1.008 | NORMAL | 116.96 | FALSE
MENARA PKNS PJ | OFFLINE | MALAYSIA | PETALING JAYA | 2026-02-11 | 112.32 | 0 | 0 | 0 | 2181.01 | 0 | 3 | 1.12 | 1.008 | UNDERPERFORMING | -100 | TRUE
SUCCESS ELECTRONIC LOT 5 | NORMAL | MALAYSIA | PETALING JAYA | 2025-12-29 | 80.6 | 0 | 0.93 | 75.27 | 20943.86 | 0.93 | 3 | 1.12 | 1.008 | UNDERPERFORMING | -16.96 | TRUE
FUNGICULTURE | NORMAL | MALAYSIA | PORT KLANG | 2023-06-10 | 262.515 | 0 | 2.26 | 593.96 | 977633.14 | 2.26 | 6 | 2.225 | 2.0025 | NORMAL | 1.57 | FALSE
JY1(PHASE 1) | NORMAL | MALAYSIA | PORT KLANG | 2023-03-06 | 259.42 | 0 | 2.56 | 664.41 | 997375.88 | 2.56 | 6 | 2.225 | 2.0025 | NORMAL | 15.06 | FALSE
JY1(PHASE 2) | NORMAL | MALAYSIA | PORT KLANG | 2025-10-07 | 140.74 | 0 | 2.54 | 357.33 | 113679.75 | 2.54 | 6 | 2.225 | 2.0025 | NORMAL | 14.16 | FALSE
JY2 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-10 | 397.305 | 0 | 2.48 | 985.79 | 1502982.86 | 2.48 | 6 | 2.225 | 2.0025 | NORMAL | 11.46 | FALSE
JAYA NETS | NORMAL | MALAYSIA | PORT KLANG | 2024-07-15 | 99 | 0 | 2.25 | 223.1 | 208556.19 | 2.25 | 6 | 2.225 | 2.0025 | NORMAL | 1.12 | FALSE
SJK (C) TSHING NIAN | FAULTY | MALAYSIA | PORT KLANG | 2026-02-02 | 48.36 | 0 | 1.26 | 61.06 | 14758.83 | 1.26 | 6 | 2.225 | 2.0025 | UNDERPERFORMING | -43.37 | TRUE
AMEBA MGMT | NORMAL | MALAYSIA | PUCHONG | 2024-01-30 | 18.72 | 0 | 2.06 | 38.64 | 36445.75 | 2.06 | 6 | 2.1767 | 1.959 | NORMAL | -5.36 | FALSE
IOI MALL PUCHONG (NEW WING) | NORMAL | MALAYSIA | PUCHONG | 2025-01-14 | 544.275 | 0 | 2.3 | 1252.08 | 918836.14 | 2.3 | 6 | 2.1767 | 1.959 | NORMAL | 5.67 | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | NORMAL | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 0 | 2.24 | 5339.37 | 299971.19 | 2.24 | 6 | 2.1767 | 1.959 | NORMAL | 2.91 | FALSE
IOI MALL PUCHONG (OLD WING) | NORMAL | MALAYSIA | PUCHONG | 2025-04-25 | 2193.09 | 0 | 2.05 | 4487.9 | 2466705.85 | 2.05 | 6 | 2.1767 | 1.959 | NORMAL | -5.82 | FALSE
MCC TECHNIQUE SDN BHD LOT 10 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 0 | 2.21 | 68.38 | 25598.46 | 2.21 | 6 | 2.1767 | 1.959 | NORMAL | 1.53 | FALSE
MCC TECHNIQUE SDN BHD LOT 12 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 0 | 2.2 | 68.12 | 25254.37 | 2.2 | 6 | 2.1767 | 1.959 | NORMAL | 1.07 | FALSE
BREMFIELD SDN BHD | NORMAL | MALAYSIA | PULAU INDAH | 2024-05-02 | 150.93 | 0 | 2.72 | 411.17 | 400413.35 | 2.72 | 3 | 2.3567 | 2.121 | NORMAL | 15.42 | FALSE
C0149_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-18 | 25.175 | 0 | 1.99 | 50.04 | 93652.55 | 1.99 | 3 | 2.3567 | 2.121 | UNDERPERFORMING | -15.56 | TRUE
C150_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-17 | 72.2 | 0 | 2.36 | 170.75 | 317849.65 | 2.36 | 3 | 2.3567 | 2.121 | NORMAL | 0.14 | FALSE
FUJI M1 | NORMAL | MALAYSIA | PUNCAK ALAM | 2023-12-23 | 265.005 | 0 | 2.49 | 659.39 | 747178.86 | 2.49 | 4 | 2.675 | 2.4075 | NORMAL | -6.92 | FALSE
FUJI M2 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-04-18 | 264.42 | 0 | 2.57 | 679.74 | 595444.62 | 2.57 | 4 | 2.675 | 2.4075 | NORMAL | -3.93 | FALSE
FUJI M3 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-02-04 | 264.89 | 0 | 2.56 | 677.64 | 416299.49 | 2.56 | 4 | 2.675 | 2.4075 | NORMAL | -4.3 | FALSE
FUJI M4 | NORMAL | MALAYSIA | PUNCAK ALAM | 2025-12-12 | 133.92 | 0 | 3.08 | 412.09 | 72836.97 | 3.08 | 4 | 2.675 | 2.4075 | NORMAL | 15.14 | FALSE
IOI CITY MALL INC. FEEDER 1 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 3049.605 | 0 | 2.35 | 7154.49 | 5805580.7 | 2.35 | 3 | 2.36 | 2.124 | NORMAL | -0.42 | FALSE
IOI CITY MALL INC. FEEDER 2 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 1019.07 | 0 | 2.4 | 2449.81 | 1784014.61 | 2.4 | 3 | 2.36 | 2.124 | NORMAL | 1.69 | FALSE
IOI RESORT VILLA GOLF COURSE | NORMAL | MALAYSIA | PUTRAJAYA | 2024-03-12 | 250.38 | 0 | 2.33 | 583.98 | 493731.3 | 2.33 | 3 | 2.36 | 2.124 | NORMAL | -1.27 | FALSE
MARINE GOLD SDN BHD | OFFLINE | MALAYSIA | RAWANG | 2023-10-28 | 148.5 | 0 | 0 | 0 | 0 | 0 | 6 | 2.0283 | 1.8255 | UNDERPERFORMING | -100 | TRUE
SCENT PUR MANUFACTURING SDN BHD NO.35 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 0 | 2.47 | 30.66 | 27577.59 | 2.47 | 6 | 2.0283 | 1.8255 | NORMAL | 21.77 | FALSE
SCENT PUR MANUFACTURING SDN BHD NO.37 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 0 | 2.44 | 30.24 | 27343.13 | 2.44 | 6 | 2.0283 | 1.8255 | NORMAL | 20.3 | FALSE
WCS UNIT 6 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 21.06 | 0 | 2.28 | 48.09 | 53665.38 | 2.28 | 6 | 2.0283 | 1.8255 | NORMAL | 12.41 | FALSE
WCS UNIT 7 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 16.38 | 0 | 2.34 | 38.34 | 42306.92 | 2.34 | 6 | 2.0283 | 1.8255 | NORMAL | 15.37 | FALSE
WCS_HOME | NORMAL | MALAYSIA | RAWANG | 2024-09-13 | 8.85 | 0 | 2.64 | 23.34 | 17525.87 | 2.64 | 6 | 2.0283 | 1.8255 | NORMAL | 30.16 | FALSE
BM COCO MARKETING | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 0 | 1.05 | 26.74 | 77039.54 | 1.05 | 3 | 1.07 | 0.963 | NORMAL | -1.87 | FALSE
BM COCO PALM | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 0 | 1.04 | 26.55 | 81594.59 | 1.04 | 3 | 1.07 | 0.963 | NORMAL | -2.8 | FALSE
CHONG HWA SBR RENGIT | NORMAL | MALAYSIA | RENGIT | 2024-05-28 | 25.155 | 0 | 1.12 | 28.24 | 58376.45 | 1.12 | 3 | 1.07 | 0.963 | NORMAL | 4.67 | FALSE
SUPERCOWBOY (SEGAMAT) | NORMAL | MALAYSIA | SEGAMAT | 2025-07-23 | 250.75 | 0 | 2.34 | 587.25 | 269624.66 | 2.34 | 1 | 2.34 | 2.106 | NO COMPARISON REQUIRED | 0 | FALSE
DONG SING FOOD LINK SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-12-08 | 71.92 | 0 | 2.14 | 153.81 | 28309.24 | 2.14 | 8 | 2.3138 | 2.0824 | NORMAL | -7.51 | FALSE
FOX ONE MARKETING SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-01-06 | 91.5 | 0 | 2.36 | 216.08 | 120344.91 | 2.36 | 8 | 2.3138 | 2.0824 | NORMAL | 2 | FALSE
P.A FOOD SDN BHD 2ATKT | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 47.97 | 0 | 2.32 | 111.08 | 98953.72 | 2.32 | 8 | 2.3138 | 2.0824 | NORMAL | 0.27 | FALSE
P.A FOOD SDN BHD LOT 10 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 52.65 | 0 | 2.26 | 118.77 | 103963.83 | 2.26 | 8 | 2.3138 | 2.0824 | NORMAL | -2.32 | FALSE
P.A FOOD SDN BHD LOT 12 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 51.48 | 0 | 2.3 | 118.18 | 95128.12 | 2.3 | 8 | 2.3138 | 2.0824 | NORMAL | -0.59 | FALSE
P.A. FOOD WAREHOUSE NO. 9 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-28 | 21.06 | 0 | 2.3 | 48.34 | 42052.6 | 2.3 | 8 | 2.3138 | 2.0824 | NORMAL | -0.59 | FALSE
YAN JIAN 2 | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 63.86 | 0 | 2.43 | 154.95 | 57081.01 | 2.43 | 8 | 2.3138 | 2.0824 | NORMAL | 5.02 | FALSE
YAN JIAN 2A | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 74.4 | 0 | 2.4 | 178.41 | 76000.61 | 2.4 | 8 | 2.3138 | 2.0824 | NORMAL | 3.73 | FALSE
LYBASE SDN BHD | NORMAL | MALAYSIA | SENAI | 2024-11-04 | 400.14 | 0 | 0.83 | 331.25 | 429804.07 | 0.83 | 2 | 0.79 | 0.711 | NORMAL | 5.06 | FALSE
SUPERMICRO COMPUTER SDN BHD | NORMAL | MALAYSIA | SENAI | 2025-08-16 | 2550.85 | 0 | 0.75 | 1921 | 1688778.77 | 0.75 | 2 | 0.79 | 0.711 | NORMAL | -5.06 | FALSE
ENGE PLAS | NORMAL | MALAYSIA | SENAWANG | 2024-12-10 | 302.4 | 0 | 2.13 | 642.91 | 468974.29 | 2.13 | 1 | 2.13 | 1.917 | NO COMPARISON REQUIRED | 0 | FALSE
CIC CONTRACT SDN BHD | NORMAL | MALAYSIA | SERI KEMBANGAN | 2023-12-14 | 20.475 | 0 | 2.4 | 49.05 | 60057.01 | 2.4 | 1 | 2.4 | 2.16 | NO COMPARISON REQUIRED | 0 | FALSE
BJC FOOD (MALAYSIA) SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2023-01-10 | 320.46 | 0 | 1.67 | 535.83 | 1112009.58 | 1.67 | 14 | 2.4986 | 2.2487 | UNDERPERFORMING | -33.16 | TRUE
KUASA BAKTI (PETRON SETIA ALAM) | NORMAL | MALAYSIA | SHAH ALAM | 2025-08-27 | 44.64 | 0 | 2.51 | 112 | 31309.36 | 2.51 | 14 | 2.4986 | 2.2487 | NORMAL | 0.46 | FALSE
MARBACH ASIA PACIFIC LOT17 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.02 | 0 | 2.49 | 124.73 | 79998.03 | 2.49 | 14 | 2.4986 | 2.2487 | NORMAL | -0.34 | FALSE
MARBACH ASIA PACIFIC LOT 15 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.05 | 0 | 2.54 | 127.09 | 82709.73 | 2.54 | 14 | 2.4986 | 2.2487 | NORMAL | 1.66 | FALSE
MITSUI COPPER FOIL P3 | NORMAL | MALAYSIA | SHAH ALAM | 2025-06-26 | 706.33 | 0 | 2.18 | 1538.4 | 759586.55 | 2.18 | 14 | 2.4986 | 2.2487 | UNDERPERFORMING | -12.75 | TRUE
NEW AGE 160 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-17 | 166.67 | 0 | 2.7 | 450.38 | 287494.31 | 2.7 | 14 | 2.4986 | 2.2487 | NORMAL | 8.06 | FALSE
NEW AGE 510 | NORMAL | MALAYSIA | SHAH ALAM | 2024-11-18 | 127.92 | 0 | 2.75 | 352.24 | 253904.38 | 2.75 | 14 | 2.4986 | 2.2487 | NORMAL | 10.06 | FALSE
PKT 8 WAVES | NORMAL | MALAYSIA | SHAH ALAM | 2024-08-13 | 176.67 | 0 | 2.49 | 439.6 | 262755.67 | 2.49 | 14 | 2.4986 | 2.2487 | NORMAL | -0.34 | FALSE
QL MAXINCOME | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-05 | 79.3 | 0 | 2.55 | 201.96 | 113400.34 | 2.55 | 14 | 2.4986 | 2.2487 | NORMAL | 2.06 | FALSE
QL LOT 14 | NORMAL | MALAYSIA | SHAH ALAM | 2025-02-24 | 61.61 | 0 | 2.48 | 152.49 | 85564.32 | 2.48 | 14 | 2.4986 | 2.2487 | NORMAL | -0.74 | FALSE
QL LOT 16 | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-01 | 64.05 | 0 | 2.51 | 160.86 | 87477.76 | 2.51 | 14 | 2.4986 | 2.2487 | NORMAL | 0.46 | FALSE
SAN SOON SENG FOOD INDUSTRIES SDN BHD | NORMAL | MALAYSIA | SHAH ALAM | 2025-10-02 | 1292.7 | 0 | 3.2 | 4136.34 | 762915.32 | 3.2 | 14 | 2.4986 | 2.2487 | NORMAL | 28.07 | FALSE
SUCCESFUEL SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2024-10-22 | 90.86 | 0 | 2.48 | 225.14 | 163158.18 | 2.48 | 14 | 2.4986 | 2.2487 | NORMAL | -0.74 | FALSE
THOR SPECIALTIES | NORMAL | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 0 | 2.43 | 221.25 | 3658.76 | 2.43 | 14 | 2.4986 | 2.2487 | NORMAL | -2.74 | FALSE
FURUTEC | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-07-06 | 132.21 | 0 | 2.42 | 319.83 | 301126.31 | 2.42 | 3 | 2.4533 | 2.208 | NORMAL | -1.36 | FALSE
PERBADANAN PENGURUSAN VILLA RAINTREE II | NORMAL | MALAYSIA | SIMPANG AMPAT | 2025-04-18 | 25.83 | 0 | 2.52 | 65.04 | 36986.88 | 2.52 | 3 | 2.4533 | 2.208 | NORMAL | 2.72 | FALSE
THP MEDICAL | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-01-08 | 377.325 | 0 | 2.42 | 911.35 | 1181732.8 | 2.42 | 3 | 2.4533 | 2.208 | NORMAL | -1.36 | FALSE
JEBSEN AND JESSEN MALAYSIA SDN BHD (MHE) | NORMAL | MALAYSIA | SIMPANG RENGGAM | 2025-05-24 | 184.76 | 0 | 1.1 | 202.44 | 170081.17 | 1.1 | 1 | 1.1 | 0.99 | NO COMPARISON REQUIRED | 0 | FALSE
ATS AIR SOLUTION | NORMAL | MALAYSIA | SUBANG JAYA | 2024-02-08 | 22.23 | 0 | 2.2 | 48.88 | 59961.66 | 2.2 | 2 | 1.1 | 0.99 | NORMAL | 100 | FALSE
BOILERMECH LOT 873 | OFFLINE | MALAYSIA | SUBANG JAYA | 2025-09-15 | 280.5 | 0 | 0 | 0 | 155517.23 | 0 | 2 | 1.1 | 0.99 | UNDERPERFORMING | -100 | TRUE
KILANG BATU BATA | NORMAL | MALAYSIA | SUNGAI SIPUT | 2025-06-27 | 545.505 | 0 | 3.19 | 1742.13 | 538239.21 | 3.19 | 1 | 3.19 | 2.871 | NO COMPARISON REQUIRED | 0 | FALSE
FARM FRESH TAIPING (FACTORY) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 190.125 | 0 | 2.33 | 442.23 | 484536.77 | 2.33 | 3 | 2.3333 | 2.1 | NORMAL | -0.14 | FALSE
FARM FRESH TAIPING (FARM) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 335.79 | 0 | 2.21 | 742.75 | 741445.64 | 2.21 | 3 | 2.3333 | 2.1 | NORMAL | -5.29 | FALSE
QL FOODS | NORMAL | MALAYSIA | TAIPING | 2024-10-03 | 2061.225 | 0 | 2.46 | 5062.5 | 3518413.05 | 2.46 | 3 | 2.3333 | 2.1 | NORMAL | 5.43 | FALSE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 533.82 | 0 | 0 | 0 | 0 | 0 | 5 | 1.5 | 1.35 | UNDERPERFORMING | -100 | TRUE
QL TAWAU FEEDMILL | NORMAL | MALAYSIA | TAWAU | 2025-11-05 | 317.2 | 0 | 2.4 | 761.19 | 62407.8 | 2.4 | 5 | 1.5 | 1.35 | NORMAL | 60 | FALSE
SABAH CHINESE HIGH SCHOOL (CANTEEN) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 26.91 | 0 | 1.27 | 34.1 | 13872.43 | 1.27 | 5 | 1.5 | 1.35 | UNDERPERFORMING | -15.33 | TRUE
SABAH CHINESE HIGH SCHOOL (CULTURE AND EDUCATION) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.768 | 0 | 1.77 | 167.88 | 34936.26 | 1.77 | 5 | 1.5 | 1.35 | NORMAL | 18 | FALSE
SABAH CHINESE HIGH SCHOOL (TAK YUEN BUILDING) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.77 | 0 | 2.06 | 195.21 | 74405.22 | 2.06 | 5 | 1.5 | 1.35 | NORMAL | 37.33 | FALSE
CHAN KAH WHYE | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-01-20 | 14.75 | 0 | 2.38 | 35.08 | 22534.41 | 2.38 | 3 | 2.1967 | 1.977 | NORMAL | 8.35 | FALSE
DSG MALAYSIA SDN. BHD | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2022-11-24 | 2310.255 | 0 | 1.68 | 3874.41 | 6374018.1 | 1.68 | 3 | 2.1967 | 1.977 | UNDERPERFORMING | -23.52 | TRUE
LAM SOON EDIBLE OILS | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-07-04 | 86.8 | 0 | 2.53 | 219.38 | 107201.07 | 2.53 | 3 | 2.1967 | 1.977 | NORMAL | 15.17 | FALSE
LAU AND TAN PHARMACY (1ST FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 12.375 | 0 | 3.02 | 37.37 | 49296.06 | 3.02 | 2 | 2.645 | 2.3805 | NORMAL | 14.18 | FALSE
LAU AND TAN PHARMACY (G.FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 38.115 | 0 | 2.27 | 86.48 | 180185.55 | 2.27 | 2 | 2.645 | 2.3805 | UNDERPERFORMING | -14.18 | TRUE
WASCO PIPE SDN BHD (COATING) | NORMAL | MALAYSIA | TUARAN | 2026-02-12 | 350.92 | 0 | 0.35 | 122.45 | 7258.27 | 0.35 | 2 | 0.775 | 0.6975 | UNDERPERFORMING | -54.84 | TRUE
WASCO PIPE SDN BHD (MILL) | NORMAL | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 1.2 | 1020.76 | 29861.98 | 1.2 | 2 | 0.775 | 0.6975 | NORMAL | 54.84 | FALSE