## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 0 | 4.35 | 3951.07 | 259305.64 | 4.35 | 5 | 3.51 | 3.159 | NORMAL | 23.93 | FALSE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 0 | 5.28 | 1271 | 12799.82 | 5.28 | 5 | 3.51 | 3.159 | NORMAL | 50.43 | FALSE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 0 | 1.73 | 124.31 | 4778.28 | 1.73 | 5 | 3.51 | 3.159 | UNDERPERFORMING | -50.71 | TRUE
MAJOR ENGINEERING LOT 8 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 0 | 0.67 | 34.79 | 978.01 | 0.67 | 5 | 3.51 | 3.159 | UNDERPERFORMING | -80.91 | TRUE
VINDA PHASE 4 (MSB 3-2) | NORMAL | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 0 | 5.52 | 11703.83 | 533782.37 | 5.52 | 5 | 3.51 | 3.159 | NORMAL | 57.26 | FALSE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 220.1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | NORMAL | MALAYSIA | PUCHONG | 2026-03-19 | 2380.8 | 0 | 3.68 | 8767.35 | 308738.54 | 3.68 | 1 | 3.68 | 3.312 | NO COMPARISON REQUIRED | 0 | FALSE
THOR SPECIALTIES | NORMAL | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 0 | 3.84 | 350.13 | 4008.89 | 3.84 | 1 | 3.84 | 3.456 | NO COMPARISON REQUIRED | 0 | FALSE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 533.82 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
WASCO PIPE SDN BHD (MILL) | FAULTY | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 0.09 | 78.52 | 29940.5 | 0.09 | 1 | 0.09 | 0.081 | NO COMPARISON REQUIRED | 0 | FALSE