## low_psh_plants_report
PLANT_NAME | STATUS | COUNTRY | CITY | GRID_CONNECTION_DATE | TOTAL_STRING_CAPACITY_KWP | CURRENT_POWER_KW | SPECIFIC_ENERGY_KWH_KWP | YIELD_TODAY_KWH | TOTAL_YIELD_KWH | PSH | CITY_PLANT_COUNT | CITY_AVG_PSH | THRESHOLD_PSH | PERFORMANCE_STATUS | PSH_DEVIATION_PCT_VS_CITY_AVG | UNDERPERFORMING
TS UNITED METAL | NORMAL | MALAYSIA | ALOR GAJAH | 2024-05-16 | 25.155 | 0 | 4.47 | 112.49 | 71104.24 | 4.47 | 1 | 4.47 | 4.023 | NO COMPARISON REQUIRED | 0 | FALSE
BIMB BDR PENAWAR - 1ST FLOOR | NORMAL | MALAYSIA | BANDAR PENAWAR | 2025-04-28 | 15.47 | 0 | 0.09 | 1.35 | 49.54 | 0.09 | 2 | 1.385 | 1.2465 | UNDERPERFORMING | -93.5 | TRUE
BIMB BDR PENAWAR - G FLOOR | NORMAL | MALAYSIA | BANDAR PENAWAR | 2025-04-29 | 15.47 | 0 | 2.68 | 41.51 | 1916.37 | 2.68 | 2 | 1.385 | 1.2465 | NORMAL | 93.5 | FALSE
KOMPLEX PKNS BANGI | NORMAL | MALAYSIA | BANGI | 2024-09-04 | 379.08 | 0 | 3.55 | 1346.13 | 452350.3 | 3.55 | 1 | 3.55 | 3.195 | NO COMPARISON REQUIRED | 0 | FALSE
JIANN LIH SAFETY PRODUCT | NORMAL | MALAYSIA | BANTING | 2024-03-21 | 475.605 | 0 | 3.8 | 1806.45 | 842688.36 | 3.8 | 1 | 3.8 | 3.42 | NO COMPARISON REQUIRED | 0 | FALSE
C0102_QL BATANG KALI | NORMAL | MALAYSIA | BATANG KALI | 2022-02-24 | 526 | 0 | 8.16 | 4291.63 | 2986938.85 | 8.16 | 1 | 8.16 | 7.344 | NO COMPARISON REQUIRED | 0 | FALSE
BP PLASTICS BP9 | FAULTY | MALAYSIA | BATU PAHAT | 2025-07-22 | 2979.1 | 0 | 1.97 | 5875.74 | 3379050.32 | 1.97 | 3 | 2.3967 | 2.157 | UNDERPERFORMING | -17.8 | TRUE
BP PLASTICS HQ | NORMAL | MALAYSIA | BATU PAHAT | 2025-01-16 | 1063.425 | 0 | 2.19 | 2331.05 | 1861163.71 | 2.19 | 3 | 2.3967 | 2.157 | NORMAL | -8.62 | FALSE
CK PACKAGING AND PLASTIC INDUSTRIES | OFFLINE | MALAYSIA | BATU PAHAT | 2026-01-19 | 138.88 | 0 | 3.03 | 420.69 | 64733.76 | 3.03 | 3 | 2.3967 | 2.157 | NORMAL | 26.43 | FALSE
GUH METER 1 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 210.6 | 0 | 4.31 | 906.73 | 546275.03 | 4.31 | 3 | 4.1767 | 3.759 | NORMAL | 3.19 | FALSE
GUH METER 2 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-04-29 | 278.46 | 0 | 4.13 | 1149.87 | 680962.28 | 4.13 | 3 | 4.1767 | 3.759 | NORMAL | -1.12 | FALSE
GUH METER 3 | NORMAL | MALAYSIA | BAYAN LEPAS | 2024-05-04 | 534.69 | 0 | 4.09 | 2186.09 | 1341487.94 | 4.09 | 3 | 4.1767 | 3.759 | NORMAL | -2.08 | FALSE
TELEWIRING | NORMAL | MALAYSIA | CHENG | 2024-05-16 | 25.155 | 0 | 4.31 | 108.37 | 66420.27 | 4.31 | 1 | 4.31 | 3.879 | NO COMPARISON REQUIRED | 0 | FALSE
C0176_GETHA | OFFLINE | MALAYSIA | CHERAS | 2023-03-01 | 178.215 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
C0172_ATRIA NORTH | NORMAL | MALAYSIA | DAMANSARA | 2023-06-06 | 130.8 | 0 | 4.23 | 553.39 | 396265.43 | 4.23 | 3 | 2.9133 | 2.622 | NORMAL | 45.19 | FALSE
C0172_ATRIA SOUTH | OFFLINE | MALAYSIA | DAMANSARA | 2023-06-06 | 287.76 | 0 | 0 | 0 | 858635.28 | 0 | 3 | 2.9133 | 2.622 | UNDERPERFORMING | -100 | TRUE
RESTORAN CHIMAEK (KFRY) | NORMAL | MALAYSIA | DAMANSARA | 2024-10-25 | 24.4 | 0 | 4.51 | 110 | 49652.49 | 4.51 | 3 | 2.9133 | 2.622 | NORMAL | 54.81 | FALSE
QL ENDAU DEEP SEA FISHING | NORMAL | MALAYSIA | ENDAU | 2025-09-04 | 897.76 | 0 | 2.83 | 2541.95 | 685438.28 | 2.83 | 1 | 2.83 | 2.547 | NO COMPARISON REQUIRED | 0 | FALSE
PROGUARD SAFETY MANUFACTURING SDN BHD | NORMAL | MALAYSIA | HULU LANGAT | 2022-12-30 | 202.195 | 0 | 3.35 | 677.07 | 582117.18 | 3.35 | 1 | 3.35 | 3.015 | NO COMPARISON REQUIRED | 0 | FALSE
GLASS PLASTIC PACKAGING | NORMAL | MALAYSIA | IPOH | 2025-04-19 | 704.94 | 0 | 3.85 | 2717.11 | 904100.12 | 3.85 | 3 | 3.9333 | 3.54 | NORMAL | -2.12 | FALSE
SWH INDUSTRIES (PLOT 132113) | FAULTY | MALAYSIA | IPOH | 2024-05-21 | 752.98 | 0 | 4.24 | 3194.24 | 1768290.02 | 4.24 | 3 | 3.9333 | 3.54 | NORMAL | 7.8 | FALSE
SWH INDUSTRIES (PLOT6311) | NORMAL | MALAYSIA | IPOH | 2025-01-15 | 204.96 | 0 | 3.71 | 760.64 | 346885.42 | 3.71 | 3 | 3.9333 | 3.54 | NORMAL | -5.68 | FALSE
PLEASURE LATEX | NORMAL | MALAYSIA | JERAM | 2023-07-25 | 520.3 | 0 | 4.16 | 2165.81 | 1769047.46 | 4.16 | 2 | 2.08 | 1.872 | NORMAL | 100 | FALSE
PLEASURE LATEX PHASE 2 | OFFLINE | MALAYSIA | JERAM | 2024-12-20 | 1010.295 | 0 | 0 | 0 | 0 | 0 | 2 | 2.08 | 1.872 | UNDERPERFORMING | -100 | TRUE
FOX ONE LOT 14 | NORMAL | MALAYSIA | KAJANG | 2025-08-13 | 91.76 | 0 | 4.11 | 377.02 | 70431.72 | 4.11 | 9 | 3.7856 | 3.407 | NORMAL | 8.57 | FALSE
FOX ONE LOT 8 | NORMAL | MALAYSIA | KAJANG | 2026-01-28 | 91.76 | 0 | 4.17 | 383.04 | 31888.15 | 4.17 | 9 | 3.7856 | 3.407 | NORMAL | 10.16 | FALSE
IOI KNOWLEDGE VISION SDN BHD | NORMAL | MALAYSIA | KAJANG | 2025-06-19 | 71.92 | 0 | 4.17 | 299.63 | 86311.12 | 4.17 | 9 | 3.7856 | 3.407 | NORMAL | 10.16 | FALSE
IOI MAYANG DEVELOPMENT | NORMAL | MALAYSIA | KAJANG | 2025-07-18 | 71.92 | 0 | 3.27 | 235.13 | 55685.57 | 3.27 | 9 | 3.7856 | 3.407 | UNDERPERFORMING | -13.62 | TRUE
LKW FROZEN SDN BHD | NORMAL | MALAYSIA | KAJANG | 2024-05-12 | 54.99 | 0 | 3.51 | 193.25 | 99376.79 | 3.51 | 9 | 3.7856 | 3.407 | NORMAL | -7.28 | FALSE
P.A. FOOD SDN. BHD. | NORMAL | MALAYSIA | KAJANG | 2024-05-07 | 25.155 | 0 | 4.01 | 100.93 | 65213.92 | 4.01 | 9 | 3.7856 | 3.407 | NORMAL | 5.93 | FALSE
UCS_BLOCK A | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 125 | 0 | 3.47 | 433.19 | 494163.47 | 3.47 | 9 | 3.7856 | 3.407 | NORMAL | -8.34 | FALSE
UCS_BLOCK B | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 135 | 0 | 3.73 | 503.1 | 573923.06 | 3.73 | 9 | 3.7856 | 3.407 | NORMAL | -1.47 | FALSE
UCS_BLOCK C | NORMAL | MALAYSIA | KAJANG | 2022-07-24 | 185.5 | 0 | 3.63 | 674.26 | 790347.35 | 3.63 | 9 | 3.7856 | 3.407 | NORMAL | -4.11 | FALSE
FDP AND MTB INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KERLING | 2026-01-25 | 186 | 0 | 5.3 | 985.95 | 15339.08 | 5.3 | 1 | 5.3 | 4.77 | NO COMPARISON REQUIRED | 0 | FALSE
AMT PC DISTRIBUTORS SDN. BHD. | NORMAL | MALAYSIA | KLANG | 2024-01-04 | 88.335 | 0 | 4.7 | 415.4 | 260480.25 | 4.7 | 35 | 4.0057 | 3.6051 | NORMAL | 17.33 | FALSE
ASHITA COMMUNICATION | OFFLINE | MALAYSIA | KLANG | 2025-11-03 | 91.76 | 0 | 0 | 0 | 0 | 0 | 35 | 4.0057 | 3.6051 | UNDERPERFORMING | -100 | TRUE
ASIA WIRE STEEL MESH MANUFACTURERS SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-03-03 | 908.97 | 0 | 4.63 | 4210.48 | 263516.12 | 4.63 | 35 | 4.0057 | 3.6051 | NORMAL | 15.58 | FALSE
ADVANCE VI TECH LOT 1629 | NORMAL | MALAYSIA | KLANG | 2024-10-27 | 240.13 | 0 | 5.07 | 1216.32 | 420172.56 | 5.07 | 35 | 4.0057 | 3.6051 | NORMAL | 26.57 | FALSE
BUNCHO (M) SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-10-01 | 91.14 | 0 | 4.57 | 416.35 | 36728.94 | 4.57 | 35 | 4.0057 | 3.6051 | NORMAL | 14.09 | FALSE
HOON YUEN FURNITURE | NORMAL | MALAYSIA | KLANG | 2023-11-20 | 88.335 | 0 | 4.08 | 360.21 | 247194.9 | 4.08 | 35 | 4.0057 | 3.6051 | NORMAL | 1.85 | FALSE
KCCCI 2FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 4.13 | 0 | 4.73 | 19.55 | 5374.28 | 4.73 | 35 | 4.0057 | 3.6051 | NORMAL | 18.08 | FALSE
KCCCI FIRST FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 15.34 | 0 | 4.69 | 71.91 | 21584.61 | 4.69 | 35 | 4.0057 | 3.6051 | NORMAL | 17.08 | FALSE
KCCCI GROUND FLOOR | NORMAL | MALAYSIA | KLANG | 2025-03-27 | 3.54 | 0 | 4.75 | 16.81 | 4604.11 | 4.75 | 35 | 4.0057 | 3.6051 | NORMAL | 18.58 | FALSE
KOSSAN PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2026-04-23 | 240.56 | 0 | 5.17 | 1242.95 | 14042.77 | 5.17 | 35 | 4.0057 | 3.6051 | NORMAL | 29.07 | FALSE
KAMMA KLANG ENTERPRISE | NORMAL | MALAYSIA | KLANG | 2023-03-28 | 88 | 0 | 4.5 | 396.16 | 337748.52 | 4.5 | 35 | 4.0057 | 3.6051 | NORMAL | 12.34 | FALSE
KWANG HUA PERSENDIRIAN METER 2-3-4-5-6 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 302.475 | 0 | 3.22 | 972.62 | 1120486.54 | 3.22 | 35 | 4.0057 | 3.6051 | UNDERPERFORMING | -19.61 | TRUE
LIAN TECK SENG LOT 11 | OFFLINE | MALAYSIA | KLANG | 2025-05-06 | 18.04 | 0 | 0 | 0 | 0 | 0 | 35 | 4.0057 | 3.6051 | UNDERPERFORMING | -100 | TRUE
MAJOR ENGINEERING LOT 10 | NORMAL | MALAYSIA | KLANG | 2026-04-20 | 71.92 | 0 | 3.32 | 238.46 | 5016.74 | 3.32 | 35 | 4.0057 | 3.6051 | UNDERPERFORMING | -17.12 | TRUE
MAJOR ENGINEERING LOT 8 | OFFLINE | MALAYSIA | KLANG | 2026-04-20 | 52.08 | 0 | 1.17 | 61.05 | 1039.06 | 1.17 | 35 | 4.0057 | 3.6051 | UNDERPERFORMING | -70.79 | TRUE
MEWAH OILS SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-12-01 | 220.1 | 0 | 5.02 | 1105.16 | 32242.21 | 5.02 | 35 | 4.0057 | 3.6051 | NORMAL | 25.32 | FALSE
MIAW FRESH | OFFLINE | MALAYSIA | KLANG | 2024-05-31 | 24.57 | 0 | 0 | 0 | 57463.87 | 0 | 35 | 4.0057 | 3.6051 | UNDERPERFORMING | -100 | TRUE
MAXTWO ENGINEERING (FACTORY) | NORMAL | MALAYSIA | KLANG | 2025-04-21 | 35.38 | 0 | 4.31 | 152.57 | 36786.16 | 4.31 | 35 | 4.0057 | 3.6051 | NORMAL | 7.6 | FALSE
PKT THE SHIP | NORMAL | MALAYSIA | KLANG | 2025-01-21 | 1068.21 | 0 | 3.55 | 3789.54 | 1276300.02 | 3.55 | 35 | 4.0057 | 3.6051 | UNDERPERFORMING | -11.38 | TRUE
ROYAL KLANG CLUB | NORMAL | MALAYSIA | KLANG | 2025-07-14 | 91.76 | 0 | 4.29 | 393.58 | 88320.8 | 4.29 | 35 | 4.0057 | 3.6051 | NORMAL | 7.1 | FALSE
RS POLY INDUSTRY | NORMAL | MALAYSIA | KLANG | 2024-08-02 | 727.155 | 0 | 4.57 | 3322.84 | 1457242.87 | 4.57 | 35 | 4.0057 | 3.6051 | NORMAL | 14.09 | FALSE
SIME KANSAI PAINT SDN BHD | NORMAL | MALAYSIA | KLANG | 2025-09-17 | 123.825 | 0 | 4.19 | 519.19 | 104438.77 | 4.19 | 35 | 4.0057 | 3.6051 | NORMAL | 4.6 | FALSE
SJK (C) WU TECK | NORMAL | MALAYSIA | KLANG | 2025-12-25 | 71.92 | 0 | 4.9 | 352.23 | 41302.2 | 4.9 | 35 | 4.0057 | 3.6051 | NORMAL | 22.33 | FALSE
SJK （ C ） PIN HWA 1 | NORMAL | MALAYSIA | KLANG | 2025-09-23 | 183.52 | 0 | 4.38 | 803.68 | 114971 | 4.38 | 35 | 4.0057 | 3.6051 | NORMAL | 9.34 | FALSE
SM CHUNG CHUNG HUA (PSDN) KLANG | NORMAL | MALAYSIA | KLANG | 2022-02-14 | 420.195 | 0 | 4.33 | 1820.89 | 330350.06 | 4.33 | 35 | 4.0057 | 3.6051 | NORMAL | 8.1 | FALSE
SP LOGISTICS SDN BHD | NORMAL | MALAYSIA | KLANG | 2024-06-14 | 90.675 | 0 | 4.33 | 392.26 | 201062.22 | 4.33 | 35 | 4.0057 | 3.6051 | NORMAL | 8.1 | FALSE
TOMEI | NORMAL | MALAYSIA | KLANG | 2024-11-07 | 215.28 | 0 | 4.43 | 953.23 | 350043.53 | 4.43 | 35 | 4.0057 | 3.6051 | NORMAL | 10.59 | FALSE
TEMBIKAR WEI KHING | NORMAL | MALAYSIA | KLANG | 2025-01-27 | 977.22 | 0 | 4.5 | 4397.37 | 1160679.24 | 4.5 | 35 | 4.0057 | 3.6051 | NORMAL | 12.34 | FALSE
TONG SEH | NORMAL | MALAYSIA | KLANG | 2024-01-18 | 260.91 | 0 | 4.27 | 1113.71 | 673915.34 | 4.27 | 35 | 4.0057 | 3.6051 | NORMAL | 6.6 | FALSE
UC BLASTING PAINTING | NORMAL | MALAYSIA | KLANG | 2024-05-08 | 219.96 | 0 | 4.21 | 925.34 | 568431.01 | 4.21 | 35 | 4.0057 | 3.6051 | NORMAL | 5.1 | FALSE
VINDA PHASE 4 (MSB 3-2) | NORMAL | MALAYSIA | KLANG | 2026-03-06 | 2119.14 | 0 | 5.87 | 12448.98 | 546231.35 | 5.87 | 35 | 4.0057 | 3.6051 | NORMAL | 46.54 | FALSE
VISKO INDUSTRIES SDN BHD | NORMAL | MALAYSIA | KLANG | 2023-07-07 | 948.75 | 0 | 4.7 | 4455.71 | 3303691.93 | 4.7 | 35 | 4.0057 | 3.6051 | NORMAL | 17.33 | FALSE
VINDA PHASE 1 AND 2 (MSB 2) | NORMAL | MALAYSIA | KLANG | 2023-08-20 | 2561.65 | 0 | 4.77 | 12216.15 | 7316904.61 | 4.77 | 35 | 4.0057 | 3.6051 | NORMAL | 19.08 | FALSE
VINDA PHASE 3 (MSB 3-1) | NORMAL | MALAYSIA | KLANG | 2024-06-28 | 1502.28 | 0 | 4.86 | 7295.17 | 4814007.77 | 4.86 | 35 | 4.0057 | 3.6051 | NORMAL | 21.33 | FALSE
KWANG HUA PERSENDIRIAN METER 1 | NORMAL | MALAYSIA | KLANG | 2022-03-04 | 73.03 | 0 | 4.12 | 301.16 | 343938.65 | 4.12 | 35 | 4.0057 | 3.6051 | NORMAL | 2.85 | FALSE
APEX UNIPARTS | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 41.535 | 0 | 3.38 | 140.49 | 97571.62 | 3.38 | 3 | 3.17 | 2.853 | NORMAL | 6.62 | FALSE
KLUANG COFFEE POWDER | NORMAL | MALAYSIA | KLUANG | 2024-05-28 | 25.135 | 0 | 3.37 | 84.72 | 64472.08 | 3.37 | 3 | 3.17 | 2.853 | NORMAL | 6.31 | FALSE
SAWIPAC SDN BHD | NORMAL | MALAYSIA | KLUANG | 2025-09-04 | 44.28 | 0 | 2.76 | 122.2 | 34084.08 | 2.76 | 3 | 3.17 | 2.853 | UNDERPERFORMING | -12.93 | TRUE
CHYE JOO HIANG SDN. BHD. (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2025-02-22 | 25.83 | 0 | 4.96 | 128.07 | 42769.53 | 4.96 | 3 | 4.41 | 3.969 | NORMAL | 12.47 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 1) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 0 | 4.41 | 39.03 | 12846.74 | 4.41 | 3 | 4.41 | 3.969 | NORMAL | 0 | FALSE
SWEE CHEONG WATCH SDN BHD (METER 2) | NORMAL | MALAYSIA | KOTA BHARU | 2024-10-30 | 8.85 | 0 | 3.86 | 34.17 | 12048.98 | 3.86 | 3 | 4.41 | 3.969 | UNDERPERFORMING | -12.47 | TRUE
SUCCESS ELECTRONIC LOT 3 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-29 | 251.72 | 0 | 3.61 | 907.93 | 96076.14 | 3.61 | 2 | 3.625 | 3.2625 | NORMAL | -0.41 | FALSE
SUCCESS ELECTRONIC LOT 7 | NORMAL | MALAYSIA | KOTA DAMANSARA | 2025-12-31 | 395.56 | 0 | 3.64 | 1438.98 | 125300.15 | 3.64 | 2 | 3.625 | 3.2625 | NORMAL | 0.41 | FALSE
QL AGROFOOD SDN BHD | NORMAL | MALAYSIA | KOTA KINABALU | 2025-06-25 | 409.92 | 0 | 2.52 | 1033.5 | 291697.4 | 2.52 | 1 | 2.52 | 2.268 | NO COMPARISON REQUIRED | 0 | FALSE
KIARA BAY | NORMAL | MALAYSIA | KUALA LUMPUR | 2025-01-21 | 1004.18 | 0 | 4.07 | 4087.49 | 1400087.2 | 4.07 | 3 | 4.1467 | 3.732 | NORMAL | -1.85 | FALSE
MENARA PJD | NORMAL | MALAYSIA | KUALA LUMPUR | 2024-05-18 | 80.145 | 0 | 4.37 | 350.05 | 155923.06 | 4.37 | 3 | 4.1467 | 3.732 | NORMAL | 5.39 | FALSE
TOA PAINT KEPONG WAREHOUSE | NORMAL | MALAYSIA | KUALA LUMPUR | 2023-11-02 | 25.74 | 0 | 4 | 102.86 | 78345.89 | 4 | 3 | 4.1467 | 3.732 | NORMAL | -3.54 | FALSE
QL ENDAU MARINE | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-08-01 | 430.28 | 0 | 3.08 | 1326.62 | 507822.06 | 3.08 | 2 | 1.85 | 1.665 | NORMAL | 66.49 | FALSE
TIMURIKAN TRENGGANU MARINE PRODUCTS SDN BHD | NORMAL | MALAYSIA | KUALA ROMPIN | 2025-12-08 | 260.4 | 0 | 0.62 | 161.64 | 17692.64 | 0.62 | 2 | 1.85 | 1.665 | UNDERPERFORMING | -66.49 | TRUE
AFI BRAKE MANUFACTURING SDN BHD | NORMAL | MALAYSIA | KUALA TERENGGANU | 2023-10-02 | 454.3 | 0 | 2.94 | 1335.6 | 1339873.67 | 2.94 | 3 | 1.9033 | 1.713 | NORMAL | 54.47 | FALSE
AFI METAL | NORMAL | MALAYSIA | KUALA TERENGGANU | 2024-03-14 | 55.35 | 0 | 2.77 | 153.34 | 126143.7 | 2.77 | 3 | 1.9033 | 1.713 | NORMAL | 45.53 | FALSE
REDANG LAGOON RESORT | OFFLINE | MALAYSIA | KUALA TERENGGANU | 2023-02-16 | 53.41 | 0 | 0 | 0 | 0 | 0 | 3 | 1.9033 | 1.713 | UNDERPERFORMING | -100 | TRUE
C0156_DENIM CODE | NORMAL | MALAYSIA | KULIM | 2022-09-04 | 86.445 | 0 | 4.8 | 414.58 | 379811.4 | 4.8 | 1 | 4.8 | 4.32 | NO COMPARISON REQUIRED | 0 | FALSE
ECO OILS - LAHAD DATU | NORMAL | MALAYSIA | LAHAD DATU | 2024-10-15 | 39.78 | 0 | 2.63 | 104.43 | 60583.75 | 2.63 | 1 | 2.63 | 2.367 | NO COMPARISON REQUIRED | 0 | FALSE
LUNAS JAYA PETROL SDN BHD | NORMAL | MALAYSIA | LUNAS | 2025-03-19 | 25.86 | 0 | 4.83 | 124.81 | 34184.19 | 4.83 | 1 | 4.83 | 4.347 | NO COMPARISON REQUIRED | 0 | FALSE
QL PAJAM PHASE 2 | NORMAL | MALAYSIA | MANTIN | 2025-08-05 | 566.68 | 0 | 4730.2 | 2680510.87 | 3157601.2 | 4730.2 | 1 | 4730.2 | 4257.18 | NO COMPARISON REQUIRED | 0 | FALSE
LIAN FOO POULTRY FARM SDN BHD | OFFLINE | MALAYSIA | MASJID TANAH | 2026-04-26 | 220.1 | 0 | 0 | 0 | 0 | 0 | 1 | 0 | 0 | NO COMPARISON REQUIRED |  | FALSE
FIBERTEX PHASE 2 | NORMAL | MALAYSIA | NILAI | 2024-08-30 | 1251.704 | 0 | 4.69 | 5875.8 | 3199162.4 | 4.69 | 2 | 4.07 | 3.663 | NORMAL | 15.23 | FALSE
WEIDA MARKETING SDN. BHD. | NORMAL | MALAYSIA | NILAI | 2022-12-01 | 500.31 | 0 | 3.45 | 1725.34 | 1723216.55 | 3.45 | 2 | 4.07 | 3.663 | UNDERPERFORMING | -15.23 | TRUE
KLH SDN BHD | NORMAL | MALAYSIA | PADANG SERAI | 2024-09-05 | 265.005 | 0 | 4.01 | 1063.32 | 461641.21 | 4.01 | 1 | 4.01 | 3.609 | NO COMPARISON REQUIRED | 0 | FALSE
QL AGROVENTURE | NORMAL | MALAYSIA | PAPAR | 2022-05-19 | 418.965 | 0 | 1.53 | 642.17 | 1350074.42 | 1.53 | 1 | 1.53 | 1.377 | NO COMPARISON REQUIRED | 0 | FALSE
ECOOILS (PHASE 2) - P.GUDANG | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-13 | 38.61 | 0 | 1.4 | 53.91 | 42054.06 | 1.4 | 4 | 1.19 | 1.071 | NORMAL | 17.65 | FALSE
IOI PAN - CENTURY | NORMAL | MALAYSIA | PASIR GUDANG | 2023-05-31 | 116.815 | 0 | 1.71 | 199.42 | 276371.66 | 1.71 | 4 | 1.19 | 1.071 | NORMAL | 43.7 | FALSE
KISWIRE CORD PHASE 1 (DATA) | OFFLINE | MALAYSIA | PASIR GUDANG | 2023-10-24 | 1248.5 | 0 | 0 | 0 | 0 | 0 | 4 | 1.19 | 1.071 | UNDERPERFORMING | -100 | TRUE
KISWIRE CORD SDN BHD | NORMAL | MALAYSIA | PASIR GUDANG | 2024-12-03 | 4732.09 | 0 | 1.65 | 7827.4 | 5209607.06 | 1.65 | 4 | 1.19 | 1.071 | NORMAL | 38.66 | FALSE
KB AIS SDN. BHD. | NORMAL | MALAYSIA | PASIR MAS | 2022-07-23 | 49.05 | 0 | 3.8 | 186.59 | 234978.18 | 3.8 | 1 | 3.8 | 3.42 | NO COMPARISON REQUIRED | 0 | FALSE
BRC INDUSTRIES | NORMAL | MALAYSIA | PENANG | 2024-05-26 | 162.63 | 0 | 4.88 | 794.18 | 409499.4 | 4.88 | 3 | 3.97 | 3.573 | NORMAL | 22.92 | FALSE
LEAN GIAP ENTERPRISE SDN BHD | NORMAL | MALAYSIA | PENANG | 2024-03-13 | 7.02 | 0 | 3.7 | 25.95 | 20104.69 | 3.7 | 3 | 3.97 | 3.573 | NORMAL | -6.8 | FALSE
PKT 12 WAVES | NORMAL | MALAYSIA | PENANG | 2025-02-05 | 1337.31 | 0 | 3.33 | 4458.16 | 1408088.76 | 3.33 | 3 | 3.97 | 3.573 | UNDERPERFORMING | -16.12 | TRUE
PENGERANG INDEPENDENT TERMINAL | FAULTY | MALAYSIA | PENGERANG | 2024-10-24 | 718.965 | 0 | 2.8 | 2012.89 | 1250629.07 | 2.8 | 1 | 2.8 | 2.52 | NO COMPARISON REQUIRED | 0 | FALSE
CHYE JOO HIANG SDN. BHD. (METER 2) | NORMAL | MALAYSIA | PENGKALAN CHEPA | 2025-02-20 | 25.83 | 0 | 4.76 | 122.89 | 44599.58 | 4.76 | 1 | 4.76 | 4.284 | NO COMPARISON REQUIRED | 0 | FALSE
DURASAFE SDN. BHD. | NORMAL | MALAYSIA | PERAI | 2024-12-02 | 91.5 | 0 | 4.32 | 395.24 | 181783.59 | 4.32 | 3 | 4.3067 | 3.876 | NORMAL | 0.31 | FALSE
MULTI CHOICE (M) SDN BHD | NORMAL | MALAYSIA | PERAI | 2025-10-26 | 423.46 | 0 | 4 | 1695.86 | 223476.48 | 4 | 3 | 4.3067 | 3.876 | NORMAL | -7.12 | FALSE
TEONG HUAT MEDICAL | NORMAL | MALAYSIA | PERAI | 2025-11-26 | 349.32 | 0 | 4.6 | 1606.05 | 111886.93 | 4.6 | 3 | 4.3067 | 3.876 | NORMAL | 6.81 | FALSE
GEMILITE SDN BERHAD | NORMAL | MALAYSIA | PETALING JAYA | 2025-02-20 | 39.36 | 0 | 4.74 | 186.68 | 55153.64 | 4.74 | 3 | 2.7267 | 2.454 | NORMAL | 73.84 | FALSE
MENARA PKNS PJ | OFFLINE | MALAYSIA | PETALING JAYA | 2026-02-11 | 112.32 | 0 | 0 | 0 | 2181.01 | 0 | 3 | 2.7267 | 2.454 | UNDERPERFORMING | -100 | TRUE
SUCCESS ELECTRONIC LOT 5 | NORMAL | MALAYSIA | PETALING JAYA | 2025-12-29 | 80.6 | 0 | 3.44 | 277.49 | 21275.56 | 3.44 | 3 | 2.7267 | 2.454 | NORMAL | 26.16 | FALSE
FUNGICULTURE | NORMAL | MALAYSIA | PORT KLANG | 2023-06-10 | 262.515 | 0 | 4.85 | 1272.44 | 980006.38 | 4.85 | 6 | 4.3967 | 3.957 | NORMAL | 10.31 | FALSE
JY1(PHASE 1) | NORMAL | MALAYSIA | PORT KLANG | 2023-03-06 | 259.42 | 0 | 4.81 | 1248.18 | 999686.27 | 4.81 | 6 | 4.3967 | 3.957 | NORMAL | 9.4 | FALSE
JY1(PHASE 2) | NORMAL | MALAYSIA | PORT KLANG | 2025-10-07 | 140.74 | 0 | 4.67 | 657.78 | 114899.1 | 4.67 | 6 | 4.3967 | 3.957 | NORMAL | 6.22 | FALSE
JY2 | NORMAL | MALAYSIA | PORT KLANG | 2023-03-10 | 397.305 | 0 | 4.59 | 1823.59 | 1506398.47 | 4.59 | 6 | 4.3967 | 3.957 | NORMAL | 4.4 | FALSE
JAYA NETS | NORMAL | MALAYSIA | PORT KLANG | 2024-07-15 | 99 | 0 | 4.19 | 415.25 | 209346.96 | 4.19 | 6 | 4.3967 | 3.957 | NORMAL | -4.7 | FALSE
SJK (C) TSHING NIAN | NORMAL | MALAYSIA | PORT KLANG | 2026-02-02 | 48.36 | 0 | 3.27 | 158.07 | 15023.8 | 3.27 | 6 | 4.3967 | 3.957 | UNDERPERFORMING | -25.63 | TRUE
AMEBA MGMT | NORMAL | MALAYSIA | PUCHONG | 2024-01-30 | 18.72 | 0 | 3.96 | 74.12 | 36588.49 | 3.96 | 6 | 4.085 | 3.6765 | NORMAL | -3.06 | FALSE
IOI MALL PUCHONG (NEW WING) | NORMAL | MALAYSIA | PUCHONG | 2025-01-14 | 544.275 | 0 | 4.47 | 2430.35 | 923368.69 | 4.47 | 6 | 4.085 | 3.6765 | NORMAL | 9.42 | FALSE
IOI MALL PUCHONG (NEW WING) PHASE 2 | NORMAL | MALAYSIA | PUCHONG | 2026-03-19 | 2383.28 | 0 | 4.33 | 10313.79 | 319052.33 | 4.33 | 6 | 4.085 | 3.6765 | NORMAL | 6 | FALSE
IOI MALL PUCHONG (OLD WING) | NORMAL | MALAYSIA | PUCHONG | 2025-04-25 | 2193.09 | 0 | 4.08 | 8944.21 | 2483470.86 | 4.08 | 6 | 4.085 | 3.6765 | NORMAL | -0.12 | FALSE
MCC TECHNIQUE SDN BHD LOT 10 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 0 | 3.89 | 120.44 | 25821.68 | 3.89 | 6 | 4.085 | 3.6765 | NORMAL | -4.77 | FALSE
MCC TECHNIQUE SDN BHD LOT 12 | NORMAL | MALAYSIA | PUCHONG | 2025-08-18 | 31 | 0 | 3.78 | 117.32 | 25472.11 | 3.78 | 6 | 4.085 | 3.6765 | NORMAL | -7.47 | FALSE
BREMFIELD SDN BHD | NORMAL | MALAYSIA | PULAU INDAH | 2024-05-02 | 150.93 | 0 | 4.76 | 718.77 | 401787.51 | 4.76 | 3 | 4.3867 | 3.948 | NORMAL | 8.51 | FALSE
C0149_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-18 | 25.175 | 0 | 4.22 | 106.31 | 93847.12 | 4.22 | 3 | 4.3867 | 3.948 | NORMAL | -3.8 | FALSE
C150_VERTEX MISSION | NORMAL | MALAYSIA | PULAU INDAH | 2022-08-17 | 72.2 | 0 | 4.18 | 302.12 | 318402.88 | 4.18 | 3 | 4.3867 | 3.948 | NORMAL | -4.71 | FALSE
FUJI M1 | NORMAL | MALAYSIA | PUNCAK ALAM | 2023-12-23 | 265.005 | 0 | 3.29 | 872.78 | 749017.47 | 3.29 | 4 | 3.51 | 3.159 | NORMAL | -6.27 | FALSE
FUJI M2 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-04-18 | 264.42 | 0 | 3.43 | 907.58 | 597353.37 | 3.43 | 4 | 3.51 | 3.159 | NORMAL | -2.28 | FALSE
FUJI M3 | NORMAL | MALAYSIA | PUNCAK ALAM | 2024-02-04 | 264.89 | 0 | 3.32 | 880.26 | 418046.1 | 3.32 | 4 | 3.51 | 3.159 | NORMAL | -5.41 | FALSE
FUJI M4 | NORMAL | MALAYSIA | PUNCAK ALAM | 2025-12-12 | 133.92 | 0 | 4 | 535.52 | 73855.23 | 4 | 4 | 3.51 | 3.159 | NORMAL | 13.96 | FALSE
IOI CITY MALL INC. FEEDER 1 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 3049.605 | 0 | 3.81 | 11615.15 | 5828326.09 | 3.81 | 3 | 3.7467 | 3.372 | NORMAL | 1.69 | FALSE
IOI CITY MALL INC. FEEDER 2 | NORMAL | MALAYSIA | PUTRAJAYA | 2024-11-07 | 1019.07 | 0 | 3.8 | 3870.48 | 1791815.53 | 3.8 | 3 | 3.7467 | 3.372 | NORMAL | 1.42 | FALSE
IOI RESORT VILLA GOLF COURSE | NORMAL | MALAYSIA | PUTRAJAYA | 2024-03-12 | 250.38 | 0 | 3.63 | 908.12 | 495551.92 | 3.63 | 3 | 3.7467 | 3.372 | NORMAL | -3.11 | FALSE
MARINE GOLD SDN BHD | OFFLINE | MALAYSIA | RAWANG | 2023-10-28 | 148.5 | 0 | 0 | 0 | 0 | 0 | 6 | 3.2 | 2.88 | UNDERPERFORMING | -100 | TRUE
SCENT PUR MANUFACTURING SDN BHD NO.35 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 0 | 4.02 | 49.81 | 27682.97 | 4.02 | 6 | 3.2 | 2.88 | NORMAL | 25.62 | FALSE
SCENT PUR MANUFACTURING SDN BHD NO.37 | NORMAL | MALAYSIA | RAWANG | 2024-09-26 | 12.39 | 0 | 3.99 | 49.38 | 27447.49 | 3.99 | 6 | 3.2 | 2.88 | NORMAL | 24.69 | FALSE
WCS UNIT 6 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 21.06 | 0 | 3.61 | 75.96 | 53819.51 | 3.61 | 6 | 3.2 | 2.88 | NORMAL | 12.81 | FALSE
WCS UNIT 7 | NORMAL | MALAYSIA | RAWANG | 2024-02-04 | 16.38 | 0 | 3.63 | 59.5 | 42428.44 | 3.63 | 6 | 3.2 | 2.88 | NORMAL | 13.44 | FALSE
WCS_HOME | NORMAL | MALAYSIA | RAWANG | 2024-09-13 | 8.85 | 0 | 3.95 | 34.92 | 17593.64 | 3.95 | 6 | 3.2 | 2.88 | NORMAL | 23.44 | FALSE
BM COCO MARKETING | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 0 | 2.95 | 75.32 | 77201.71 | 2.95 | 3 | 3.14 | 2.826 | NORMAL | -6.05 | FALSE
BM COCO PALM | NORMAL | MALAYSIA | RENGIT | 2023-10-29 | 25.52 | 0 | 3.01 | 76.9 | 81759.65 | 3.01 | 3 | 3.14 | 2.826 | NORMAL | -4.14 | FALSE
CHONG HWA SBR RENGIT | NORMAL | MALAYSIA | RENGIT | 2024-05-28 | 25.155 | 0 | 3.46 | 87.15 | 58564.84 | 3.46 | 3 | 3.14 | 2.826 | NORMAL | 10.19 | FALSE
SUPERCOWBOY (SEGAMAT) | NORMAL | MALAYSIA | SEGAMAT | 2025-07-23 | 250.75 | 0 | 3.9 | 977.42 | 271378.45 | 3.9 | 1 | 3.9 | 3.51 | NO COMPARISON REQUIRED | 0 | FALSE
DONG SING FOOD LINK SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-12-08 | 71.92 | 0 | 3.92 | 281.81 | 28672.23 | 3.92 | 8 | 4.0088 | 3.6079 | NORMAL | -2.21 | FALSE
FOX ONE MARKETING SDN BHD | NORMAL | MALAYSIA | SEMENYIH | 2025-01-06 | 91.5 | 0 | 3.95 | 361.14 | 121008.35 | 3.95 | 8 | 4.0088 | 3.6079 | NORMAL | -1.47 | FALSE
P.A FOOD SDN BHD 2ATKT | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 47.97 | 0 | 3.86 | 185.3 | 99284.62 | 3.86 | 8 | 4.0088 | 3.6079 | NORMAL | -3.71 | FALSE
P.A FOOD SDN BHD LOT 10 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 52.65 | 0 | 3.88 | 204.53 | 104339.26 | 3.88 | 8 | 4.0088 | 3.6079 | NORMAL | -3.21 | FALSE
P.A FOOD SDN BHD LOT 12 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-05 | 51.48 | 0 | 4.05 | 208.7 | 95496.64 | 4.05 | 8 | 4.0088 | 3.6079 | NORMAL | 1.03 | FALSE
P.A. FOOD WAREHOUSE NO. 9 | NORMAL | MALAYSIA | SEMENYIH | 2024-08-28 | 21.06 | 0 | 3.9 | 82.1 | 42196.69 | 3.9 | 8 | 4.0088 | 3.6079 | NORMAL | -2.71 | FALSE
YAN JIAN 2 | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 63.86 | 0 | 4.39 | 280.27 | 57599.47 | 4.39 | 8 | 4.0088 | 3.6079 | NORMAL | 9.51 | FALSE
YAN JIAN 2A | NORMAL | MALAYSIA | SEMENYIH | 2025-08-08 | 74.4 | 0 | 4.12 | 306.55 | 76551.55 | 4.12 | 8 | 4.0088 | 3.6079 | NORMAL | 2.78 | FALSE
LYBASE SDN BHD | NORMAL | MALAYSIA | SENAI | 2024-11-04 | 400.14 | 0 | 1.8 | 720.07 | 431928.1 | 1.8 | 2 | 1.735 | 1.5615 | NORMAL | 3.75 | FALSE
SUPERMICRO COMPUTER SDN BHD | NORMAL | MALAYSIA | SENAI | 2025-08-16 | 2550.85 | 0 | 1.67 | 4254.99 | 1700909.04 | 1.67 | 2 | 1.735 | 1.5615 | NORMAL | -3.75 | FALSE
ENGE PLAS | NORMAL | MALAYSIA | SENAWANG | 2024-12-10 | 302.4 | 0 | 3.59 | 1086.4 | 470761.55 | 3.59 | 1 | 3.59 | 3.231 | NO COMPARISON REQUIRED | 0 | FALSE
CIC CONTRACT SDN BHD | NORMAL | MALAYSIA | SERI KEMBANGAN | 2023-12-14 | 20.475 | 0 | 4.09 | 83.74 | 60224.5 | 4.09 | 1 | 4.09 | 3.681 | NO COMPARISON REQUIRED | 0 | FALSE
BJC FOOD (MALAYSIA) SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2023-01-10 | 320.46 | 0 | 3.36 | 1078.31 | 1114053.02 | 3.36 | 15 | 4.092 | 3.6828 | UNDERPERFORMING | -17.89 | TRUE
KUASA BAKTI (PETRON SETIA ALAM) | NORMAL | MALAYSIA | SHAH ALAM | 2025-08-27 | 44.64 | 0 | 4.46 | 199.29 | 31696.93 | 4.46 | 15 | 4.092 | 3.6828 | NORMAL | 8.99 | FALSE
KOSSAN RUBBER INDUSTRIES BERHAD | OFFLINE | MALAYSIA | SHAH ALAM | 2026-05-18 | 0 | 0 | 0 | 0 | 0 | 0 | 15 | 4.092 | 3.6828 | UNDERPERFORMING | -100 | TRUE
MARBACH ASIA PACIFIC LOT17 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.02 | 0 | 4.46 | 223.16 | 80409.64 | 4.46 | 15 | 4.092 | 3.6828 | NORMAL | 8.99 | FALSE
MARBACH ASIA PACIFIC LOT 15 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-26 | 50.05 | 0 | 4.61 | 230.9 | 83137.58 | 4.61 | 15 | 4.092 | 3.6828 | NORMAL | 12.66 | FALSE
MITSUI COPPER FOIL P3 | NORMAL | MALAYSIA | SHAH ALAM | 2025-06-26 | 706.33 | 0 | 4.1 | 2895.71 | 764789.24 | 4.1 | 15 | 4.092 | 3.6828 | NORMAL | 0.2 | FALSE
NEW AGE 160 | NORMAL | MALAYSIA | SHAH ALAM | 2024-12-17 | 166.67 | 0 | 4.33 | 721.78 | 288799.19 | 4.33 | 15 | 4.092 | 3.6828 | NORMAL | 5.82 | FALSE
NEW AGE 510 | NORMAL | MALAYSIA | SHAH ALAM | 2024-11-18 | 127.92 | 0 | 4.49 | 574.93 | 254946.7 | 4.49 | 15 | 4.092 | 3.6828 | NORMAL | 9.73 | FALSE
PKT 8 WAVES | NORMAL | MALAYSIA | SHAH ALAM | 2024-08-13 | 176.67 | 0 | 4.22 | 745.45 | 263994.57 | 4.22 | 15 | 4.092 | 3.6828 | NORMAL | 3.13 | FALSE
QL MAXINCOME | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-05 | 79.3 | 0 | 4.56 | 361.77 | 114075.36 | 4.56 | 15 | 4.092 | 3.6828 | NORMAL | 11.44 | FALSE
QL LOT 14 | NORMAL | MALAYSIA | SHAH ALAM | 2025-02-24 | 61.61 | 0 | 4.54 | 279.44 | 86085.93 | 4.54 | 15 | 4.092 | 3.6828 | NORMAL | 10.95 | FALSE
QL LOT 16 | NORMAL | MALAYSIA | SHAH ALAM | 2025-03-01 | 64.05 | 0 | 4.49 | 287.47 | 88020.71 | 4.49 | 15 | 4.092 | 3.6828 | NORMAL | 9.73 | FALSE
SAN SOON SENG FOOD INDUSTRIES SDN BHD | NORMAL | MALAYSIA | SHAH ALAM | 2025-10-02 | 1292.7 | 0 | 4.73 | 6111.88 | 774977.91 | 4.73 | 15 | 4.092 | 3.6828 | NORMAL | 15.59 | FALSE
SUCCESFUEL SDN. BHD. | NORMAL | MALAYSIA | SHAH ALAM | 2024-10-22 | 90.86 | 0 | 4.34 | 394.23 | 163908.38 | 4.34 | 15 | 4.092 | 3.6828 | NORMAL | 6.06 | FALSE
THOR SPECIALTIES | NORMAL | MALAYSIA | SHAH ALAM | 2026-04-20 | 91.14 | 0 | 4.69 | 427.25 | 4436.14 | 4.69 | 15 | 4.092 | 3.6828 | NORMAL | 14.61 | FALSE
FURUTEC | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-07-06 | 132.21 | 0 | 4.87 | 643.87 | 302419.73 | 4.87 | 3 | 4.7367 | 4.263 | NORMAL | 2.81 | FALSE
PERBADANAN PENGURUSAN VILLA RAINTREE II | NORMAL | MALAYSIA | SIMPANG AMPAT | 2025-04-18 | 25.83 | 0 | 4.53 | 116.91 | 37215.87 | 4.53 | 3 | 4.7367 | 4.263 | NORMAL | -4.36 | FALSE
THP MEDICAL | NORMAL | MALAYSIA | SIMPANG AMPAT | 2024-01-08 | 377.325 | 0 | 4.81 | 1814.68 | 1185271.05 | 4.81 | 3 | 4.7367 | 4.263 | NORMAL | 1.55 | FALSE
JEBSEN AND JESSEN MALAYSIA SDN BHD (MHE) | NORMAL | MALAYSIA | SIMPANG RENGGAM | 2025-05-24 | 184.76 | 0 | 3.18 | 587.6 | 171315.57 | 3.18 | 1 | 3.18 | 2.862 | NO COMPARISON REQUIRED | 0 | FALSE
ATS AIR SOLUTION | NORMAL | MALAYSIA | SUBANG JAYA | 2024-02-08 | 22.23 | 0 | 4.12 | 91.65 | 60137.7 | 4.12 | 2 | 2.06 | 1.854 | NORMAL | 100 | FALSE
BOILERMECH LOT 873 | OFFLINE | MALAYSIA | SUBANG JAYA | 2025-09-15 | 280.5 | 0 | 0 | 0 | 155517.23 | 0 | 2 | 2.06 | 1.854 | UNDERPERFORMING | -100 | TRUE
KILANG BATU BATA | NORMAL | MALAYSIA | SUNGAI SIPUT | 2025-06-27 | 545.505 | 0 | 3.92 | 2140.18 | 541601.92 | 3.92 | 1 | 3.92 | 3.528 | NO COMPARISON REQUIRED | 0 | FALSE
FARM FRESH TAIPING (FACTORY) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 190.125 | 0 | 4.8 | 912.22 | 486343.13 | 4.8 | 3 | 3.4733 | 3.126 | NORMAL | 38.2 | FALSE
FARM FRESH TAIPING (FARM) | NORMAL | MALAYSIA | TAIPING | 2024-06-14 | 335.79 | 0 | 4.52 | 1517.83 | 744418.08 | 4.52 | 3 | 3.4733 | 3.126 | NORMAL | 30.13 | FALSE
QL FOODS | NORMAL | MALAYSIA | TAIPING | 2024-10-03 | 2061.225 | 0 | 1.1 | 2265.08 | 3525673.94 | 1.1 | 3 | 3.4733 | 3.126 | UNDERPERFORMING | -68.33 | TRUE
QL FARM SDN BHD | OFFLINE | MALAYSIA | TAWAU | 2026-04-23 | 533.82 | 0 | 0 | 0 | 0 | 0 | 5 | 1.952 | 1.7568 | UNDERPERFORMING | -100 | TRUE
QL TAWAU FEEDMILL | NORMAL | MALAYSIA | TAWAU | 2025-11-05 | 317.2 | 0 | 2.99 | 947.39 | 63502.5 | 2.99 | 5 | 1.952 | 1.7568 | NORMAL | 53.18 | FALSE
SABAH CHINESE HIGH SCHOOL (CANTEEN) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 26.91 | 0 | 1.71 | 46.06 | 13946.12 | 1.71 | 5 | 1.952 | 1.7568 | UNDERPERFORMING | -12.4 | TRUE
SABAH CHINESE HIGH SCHOOL (CULTURE AND EDUCATION) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.768 | 0 | 1.66 | 157.22 | 35225.22 | 1.66 | 5 | 1.952 | 1.7568 | UNDERPERFORMING | -14.96 | TRUE
SABAH CHINESE HIGH SCHOOL (TAK YUEN BUILDING) | NORMAL | MALAYSIA | TAWAU | 2024-02-08 | 94.77 | 0 | 3.4 | 321.83 | 74744.85 | 3.4 | 5 | 1.952 | 1.7568 | NORMAL | 74.18 | FALSE
CHAN KAH WHYE | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-01-20 | 14.75 | 0 | 3.4 | 50.18 | 22635.74 | 3.4 | 3 | 3.38 | 3.042 | NORMAL | 0.59 | FALSE
DSG MALAYSIA SDN. BHD | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2022-11-24 | 2310.255 | 0 | 2.39 | 5515.39 | 6383263.23 | 2.39 | 3 | 3.38 | 3.042 | UNDERPERFORMING | -29.29 | TRUE
LAM SOON EDIBLE OILS | NORMAL | MALAYSIA | TELOK PANGLIMA GARANG | 2025-07-04 | 86.8 | 0 | 4.35 | 377.91 | 107943.63 | 4.35 | 3 | 3.38 | 3.042 | NORMAL | 28.7 | FALSE
LAU AND TAN PHARMACY (1ST FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 12.375 | 0 | 3.1 | 38.32 | 49379.78 | 3.1 | 2 | 2.85 | 2.565 | NORMAL | 8.77 | FALSE
LAU AND TAN PHARMACY (G.FLOOR) | NORMAL | MALAYSIA | TERENGGANU | 2022-01-22 | 38.115 | 0 | 2.6 | 98.92 | 180401.1 | 2.6 | 2 | 2.85 | 2.565 | NORMAL | -8.77 | FALSE
WASCO PIPE SDN BHD (COATING) | NORMAL | MALAYSIA | TUARAN | 2026-02-12 | 350.92 | 0 | 1.58 | 554.37 | 7813.14 | 1.58 | 2 | 2.055 | 1.8495 | UNDERPERFORMING | -23.11 | TRUE
WASCO PIPE SDN BHD (MILL) | NORMAL | MALAYSIA | TUARAN | 2026-02-13 | 850.64 | 0 | 2.53 | 2152.9 | 32093.4 | 2.53 | 2 | 2.055 | 1.8495 | NORMAL | 23.11 | FALSE